APPROVED – 06/06/02

MINUTES OF THE ERCOT TECHNICAL ADVISORY COMMITTEE (TAC) MEETING

ERCOT Austin Office

7620 Metro Center Drive

Austin, Texas

May 9, 2002

Chair Les Barrow called the meeting to order on May 9, 2002 at 9:45 a.m.

Attendance:

| Dreyfus, Mark | AEN | Guest |
| --- | --- | --- |
| Ramirez, Andy | AEN | Member |
| Bender, Don | AEP | RMS Chair |
| Ross, Richard | AEP | Member |
| Smith, Barry | AEP | Guest |
| Whatley, Linda | Air Liquide | Member |
| Christensen, Trey | ANP | Member Representative (for Helton) |
| Holligan, Jeff | BP Energy | Member |
| Lenox, Hugh | Brazos Electric Cooperative | Member |
| Smith, Richard | Brownsville PUB | Member |
| Jones, Randy | Calpine | Member |
| Stokes, Denise | Competitive Assets/FPL Energy | Guest |
| Greer, Clayton | Constellation Power Source | Member |
| Keegan, Doug | Constellation Power Source | Guest |
| Barrow, Les | CPS | Member/Chair |
| Mays, Sharon | Denton | Member |
| Crockett, Brenda | Dynegy | RMS Vice Chair |
| Huddleston, Barry | Dynegy | Member/WMS Chair |
| Bojorquez, Bill | ERCOT | Staff |
| Day, Betty | ERCOT | Staff |
| Flores, Isabel | ERCOT | Staff |
| Galvin, Jim | ERCOT | Staff |
| Grimm, Larry | ERCOT | Staff |
| Jones, Sam | ERCOT | COO |
| Moseley, Cheryl | ERCOT | Staff |
| Saathoff, Kent | ERCOT | Staff |
| Walker, Mark | ERCOT | Staff |
| Trenary, Michelle | First Choice Power | Member |
| Garza, Beth | FPL Energy | Member |
| McGowan, Amy | Frontier Associates | Guest |
| Kimbrough, Todd | Green Mountain Energy | Member |
| Malone, Melanie | Green Mountain Energy | Guest |
| Belk, Brady | LCRA | Guest |
| Phillips, Ross | LCRA | Member |
| Bruce, Mark | Legislative Oversight Committee | Guest |
| Wittmeyer, Bob | Longhorn Power | Member |
| Stockstill, Dottie | Mirant | Member/Vice Chair |
| Herrera, John | MVEC | Member |
| Weathersbee, Tommy | Oncor | Guest |
| McClellan, Suzi | OPUC | Member |
| Downey, Marty | PG&E | Member |
| Adib, Parviz | PUCT | Guest |
| Rogas, Keith | PUCT | Guest |
| Hughes, Hal | R. J. Covington Consulting | Guest |
| Carlson, Trent | Reliant | Guest |
| Daniels, Howard | Reliant | Guest |
| Gresham, Kevin | Reliant | Member Representative (for Meyer)/PRS Chair |
| Pieniazek, Adrian | Reliant | Guest |
| Zake, Diana | Reliant | Guest |
| Shumate, Walt | Shumate & Associates | Guest |
| Wood, Henry | STEC/MEC | Member/ROS Chair |
| Comstock, Read | Strategic Energy | Member |
| Seymour, Cesar | Tractebel Energy | Guest |
| Smith, Mark W. | TXI | Guest |
| Fenoglio, Walt | TXU | Guest |
| Jenkins, Charles | TXU | Member |
| Ward, Jerry | TXU | Guest |
| Pacheco, Leonardo | UBS Warburg | Guest |

The following Proxies were held:

·	Jill Hall – Held by Suzi McClellan

·	Dr. Mark Morgan – Held by Suzi McClellan

·	Ed Mader – Held by Suzi McClellan

·	John Werner – Held by Read Comstock

·	Jim Reynolds – Held by Read Comstock

·	Trey Christensen – Held by Barry Huddleston (after 12:00 p.m.)

Approval of Minutes of the April 4, 2002 TAC Meeting

A motion was made by Dottie Stockstill and seconded by Marty Downey to approve the draft April 4, 2002 TAC Meeting Minutes as amended.  The motion was approved by a unanimous voice vote.

ERCOT Board Update

Les Barrow reported on the activities of the Board.  The Board met on April 16th.  The Board approved PRR 287, however, PRRs 311 and 312 were conditionally approved pending cost and time estimates from ERCOT Staff.  The Board discussed the need for cost and time estimates to implement projects to fully understand the implications of their votes.  The Board also approved revised effective dates for PRRs 258, 259 and 260 to be coincident with Texas SET Version 1.5, which is expected to be implemented by November 15, 2002.

The Board discussed PRR315 – Cost Recovery of OOM Down Costs.  The Board voted on a proposal to remove the following sentence from PRR 315:  “In the case of renewable resources this cost may also include the loss of production tax credits, tax benefits, REC, or REC Offsets, which would have been earned absent the OOME Down instruction.”  The motion failed.

The Board approved the resolution regarding the disposition of the nearly $5 million remaining in the 2001 System Congestion Fund (SCF) as recommended by the TAC.  The Board also approved the Resolution related to backdating Retail Switches for Non-Price-To-Beat Customers as recommended by the TAC.

For details, the draft minutes of the April 16, 2002 ERCOT Board Meeting will be posted on the ERCOT Website.  The next Board Meeting is scheduled for May 21, 2002.

Retail Market Subcommittee (RMS) Report

Don Bender reported on the activities of the RMS.  Bender discussed a plan to synchronize the CR of Record and focuses on the PTB (Price to Beat) ESI IDs.  Bender noted that ERCOT settles on 5,710,000 PTB Premises each month.  There is currently a market issue with the REP of record getting out of synch between ERCOT and various MP systems.  Currently, the Texas retail market place has a number of discrepancies in retail statuses of ESI IDs.  The RMS agreed to undertake the synchronization of the CR of Record utilizing a project plan with the following objectives:

1.	Quantify the number of ESI IDs that are at issue.

2.	Document the steps required to synchronize the REP of record in all systems.

3.	Present root causes of out of synch CR of Record.

4.	Report to the RMS on objectives 1, 2, and 3 above by no later than June 1, 2002.

Bender responded to several questions.  A motion was made by Suzi McClellan and seconded by Charles Jenkins that the RMS undertake the synchronization of the CR of Record utilizing the above project plan.  The RMS was directed to proceed in resolving identified issues as long as all affected parties are in agreement.  If there is not 100 percent support from all affected parties on a specific issue, the issue should be brought to the TAC.  The motion was approved by a unanimous voice vote.

Bender discussed RMS actions related to the RMS Operating Guides and Protocols.  The RMS does not add/change/delete Protocol language.  The majority of RMS actions address areas where the Protocols are silent or add clarity to the Protocols, or create additional manual workarounds or further refine a current workaround.  Bender discussed whether RMS actions should remain in the RMS Operating Guides or whether PRRs should be developed and submitted.  The TAC discussed the usability of the Protocols.  It was suggested that identified gaps in the Protocols be addressed through the Protocol Revision Process and that revisions to the RMS Operating Guides be submitted to the TAC for approval. Concern was expressed that there are different “Operating Guides” from different sources that might not be consistent with each other or the Protocols.  Ultimately, the guiding document is still the Protocols and clarifications and additions should be addressed through the Protocol Revision Process.

Brenda Crockett discussed an issue where Load Serving Entities are incurring incorrect settlement charges.  By not having this IDR data available during each stage of the settlement process, loads under the profiled 3 MW level are being incorrectly charged various settlement fees.  The RMS recommends the following Resolution (RMS approved by e-mail vote):

The ERCOT Board direct the ERCOT Staff to perform a one-time re-settlement of July 31, 2001 through the current Wholesale Settlement Statement published.  Such re-settlement will commence after ERCOT’s receipt of consumption data for at least 95 percent of the IDR premises from each TDSP.  In addition, ERCOT would suspend future true-up settlements until the 95 percent IDR consumption data standard is met.

In addition, TDSPs would be required to correct Load Profile ID assignments identified in the Initial Validation Process for Non-IDR ESI IDs retroactively to the last meter read date in 2001.  Such corrections shall be transmitted to ERCOT by June 15, 2002.

Crockett further suggested that a joint RMS/WMS working group be formed to develop a long-term Protocol Revision.

Bill Bojorquez noted that in order to reduce confusion and facilitate implementation, ERCOT suggests that several points in the Resolution be clarified before attempting to implement the Resolution.  Bojorquez discussed several proposed clarifications/Issues and recommendations, and presented and discussed the following amended Resolution:

The ERCOT Board direct the ERCOT Staff to perform a one-time re-settlement of July 31, 2001 through the current Wholesale Settlement Statement published.  Such re-settlement will commence after ERCOT has successfully received and validated at least 99 percent of the IDR data from each Meter Reading Entity (MRE).  In addition, ERCOT would suspend future true-up settlements until the 99 percent IDR consumption data standard is met.  The true-up settlement timeline would be extended to a maximum of 12 months in cases where the IDR data threshold is not met.

In addition, TDSPs would be required to correct Load Profile ID assignments identified in the Initial Validation Process for Non-IDR ESI IDs retroactively to a meter read date prior to July 31, 2001.  Such corrections shall be transmitted to ERCOT by June 15, 2002.

A motion was made by Barry Huddleston and seconded by Henry Wood to approve the RMS recommended Resolution as amended by Bojorquez above.  The motion was approved by a 26 to 3 vote.  The TAC asked for an update related to IDR data at each future TAC Meeting.  Bojorquez reviewed an implementation timeline.  ERCOT will start re-settlement of 2001 trade dates on July 15th.

Mark Walker reported that he was developing a petition to be filed at the PUCT for a Good Cause Exception for Switch Date Effective Date Notice for Drop to POLR.  ERCOT is having difficulty in obtaining meter read dates from TDSPs.  The TAC discussed why this information is not available.  Walker noted that the issue would be taken to the Board on May 21st.  Bill Bojorquez agreed to send an issues document to the TAC to provide additional information.

For details, the RMS Meeting Minutes are posted on the ERCOT Website.  The next RMS Meeting is scheduled for May 29, 2002.

Protocol Revisions Subcommittee (PRS) Report

Kevin Gresham reported on the activities of the PRS.  Gresham discussed the following PRRs that the PRS is recommending be placed on an expedited timeline:

·	PRR 329 – TCR Simultaneous Combinatorial Auction

·	PRR 330 – True-Up Settlement

·	PRR 331 – OOMC Floor Price

Proposed Urgent Timeline

Comments:				May 21, 2002

PRS Review:			May 22, 2002

TAC Consideration:		June 6, 2002

Board Consideration:	June 18, 2002

A motion was made by Charles Jenkins and seconded by Dottie Stockstill to approve the urgent timeline for PRRs 329, 330, and 331 as recommended by the PRS.  The motion was approved by a unanimous voice vote.

Gresham then presented and discussed the following PRRs recommended for approval by the PRS:

·	PRR 318 – Two Zone Adjustment:  Approved as submitted.

o	System Impact:  Minor impact on ERCOT process, no system build required.

o	Benefit:  Alleviates the situation of one station having transmission busses assigned to two different transmission congestion zones.

o	Recommended Effective Date:  June 1, 2002.

·	PRR 321 – Uninstructed Resource Charge Process:  Approved as revised by the PRS.

o	System Impact:  None.

o	Benefit:  Allows for better frequency control and a more stable Ancillary Service market.

o	Recommended Effective Date:  June 1, 2002.

·	PRR 323 – TCR Creditworthiness Monitoring:  Approved as revised by the PRS.

o	System Impact:  None.

o	Benefit:  Clarifies TCR late payment enforcement.

o	Recommended Effective Date:  June 1, 2002.

·	PRR 324 – EPS Meter Polling Timeline:  Approved as submitted.

o	System Impact:  None.

o	Benefit:  Eases meter staffing burden on weekends and holidays for ERCOT and TDSPs.  For ERCOT, it reduces the need for metering staff to work overtime and reduces current need for additional meter staff.

o	Recommended Effective Date:  June 1, 2002.

A motion was made by Andy Ramirez and seconded by Richard Ross to approve PRRs 318, 321, 323, and 324 as recommended by the PRS.  The motion was approved by a unanimous voice vote.

Gresham then discussed the following PRR:

·	PRR 329 – TCR Simultaneous Combinatorial Auction – Implements the PUCT’s order to convert the simple auction to a combinatorial auction of TCRs (Transmission Congestion Rights).

Gresham noted that one of the requirements in the PUCT Order in Docket No. 23220 was to implement a single-round simultaneous combinatorial auction for selling TCRs.  The auction process currently in place does not meet the PUCT’s requirement.  This revision was drafted by the Congestion Management Working Group of the Wholesale Market Subcommittee and is supported by WMS.  There is a system change required in ERCOT’s systems in order to implement the new auction process.  In order for ERCOT to meet the target implementation date, the system change project needs to start immediately.  The cost of this system change is estimated to be $400,000.  ERCOT submitted a comment to delete a sentence that is not needed in Section 7.5.3.2.2(7) because the updated auction engine will impose the 25% limitation at award time rather than during the bidding process.  There won’t be a limit on the bids accepted by ERCOT when the combinatorial auction process is implemented.  The TAC Chair requested action from the TAC to consider immediate approval of PRR 329 in light of the urgency of the situation. A motion was made by Henry Wood and seconded by Randy Jones to approve PRR 329 as presented, including ERCOT’s comment.  The motion was approved by a unanimous voice vote.

Gresham noted that the PRS would be addressing changes to Section 21 at its next meeting.  For details, the PRS Meeting Minutes are posted on the ERCOT Website.  The next PRS Meeting is scheduled for May 22, 2002.

Reliability and Operations Subcommittee (ROS) Report

Henry Wood reported on the activities of the ROS.  At the April 4th TAC Meeting, the ROS had requested that the sunset provision on the Interim Reactive Standards be extended for one year.  A concern was expressed that it is difficult to budget for improvements based on Interim Standards.  The ROS was directed to review the dates in the previously approved Interim Reactive Standards and provide revised dates at the May 9th TAC Meeting.  Wood discussed a revised version of the ERCOT Interim Reactive Standards with updated dates and a sunset provision of June 1, 2003.  Wood asked the TAC to approve extending the date of the Interim Reactive Standards to June 1, 2003 (as well as all other proposed implementation dates in the phased in approach of the attached ERCOT Interim Reactive Standards by one year).  The ROS would also commit to the TAC that additional studies would be conducted with the necessary stakeholder/staff input to develop proper OGRRs and/or PRRs to replace the Interim Reactive Standards.  The findings and recommendations of the Voltage/Reactive Study would be included in the OGRRs and PRRs developed by the ROS.  A motion was made by Richard Ross and seconded by Beth Garza to approve the revised dates in the ERCOT Interim Reactive Standards and extend the sunset date of the updated ERCOT Interim Reactive Standards to June 1, 2003.  The motion was approved by a 29 to 0 vote with 1 abstention.  The ROS will conduct additional studies with the necessary stakeholder/staff input to develop proper OGRRs and/or PRRs to replace the Interim Reactive Standards.  These OGRRs and PRRs would take into account the findings and recommendations of the Voltage/Reactive Study.

Larry Grimm provided a Frequency Control Study Progress Report.  The consultant’s focus to date has been on ERCOT Frequency Control Performance, not QSE performance.  ERCOT has asked the consultant to review the methodology incorporated into the ERCOT EMS for calculating CPS1 against the NERC CPS1 requirements.  It is still expected that preliminary analysis results and recommendations will be available by May 28th, including review of proposals for Relaxed Balanced Schedules in ERCOT.

For details, the ROS Meeting Minutes are posted on the ERCOT Website.  The next ROS Meeting is scheduled for May 14, 2002.

Wholesale Market Subcommittee (WMS) Report

Barry Huddleston reported on the activities of the WMS.  The WMS (Congestion Management Working Group) is attempting to address the issue of Direct Assignment of Local Congestion.  To date, progress has been extremely slow and disappointing.  The CMWG plans to meet on May 10th to discuss two additional proposals and begin development of Protocol Revision language.

The WMS also discussed proposed PRR language relating to an appropriate floor payment for OOMC.  The WMS agreed on a proposal, at least conceptually, to modify the way OOMC is calculated.  As directed by the TAC, the WMS has formed an ad hoc task force to review the Generation Adequacy Study Results and ROS recommendations.  The task force met on May 7th and will meet again on May 13th to perform its analysis and develop recommendations from a Market perspective for the WMS.

Huddleston discussed the following SMOGRRs that are recommended for approval by the WMS:

·	SMOGRR 2002-1 – Section 3.2 Quantity of Current Transformers & Section 4.1 Quantity of Voltage Transformers:  Change the wording of Sections 3.2 & 4.1 to correctly distinguish between the type of power system neutral grounding and the appropriate metering configuration. Change the wording of Sections 3.2 & 4.1 to clarify that the application of current transformers in two phases, three voltage transformers connected line-to-ground and two-stator metering will be correct for metering a facility connected to a three-wire wye neutral grounded transmission system provided single-phase power equipment is not connected line-to-ground.

·	SMOGRR 2002-2 – Section 3.8 Sizing of Current Transformers:  Amend Section 3.8 to clarify the intent and harmonize with the performance of commercially available current transformers built to the most stringent nationally accepted standards.  Currently, Section 3.8 can be interpreted to require capabilities that are not available and could be extended to require current transformers to be replaced every time the state of the art is advanced incrementally.

The TAC questioned and discussed the significance of the “October 1, 2000” date in SMOGGR 2002-2.  A motion was made by Richard Ross and seconded by Henry Wood to approve SMOGRRs 2002-1 & 2 as recommended by the WMS.  The motion was approved by a unanimous voice vote.

Huddleston and Mark Walker discussed a petition to be filed at the PUCT for an Extension of Time to Implement Direct Assignment of Local Congestion.  The PUCT has noted that implementation would need to address a broader package of issues if an extension is granted.  Concern has been expressed by some Market Participants that the congestion zones change every year.  Sam Jones noted that a decision was needed right away if ERCOT was to make even a January 1, 2003 implementation date.  Keith Rogas expressed concern about the progress to date and stressed that the issue must be resolved in a timely fashion.

For details, the WMS Meeting Minutes are posted on the ERCOT Web Site.  The next WMS Meeting is scheduled for May 20, 2002.

Operations Report

Kevin Gresham discussed several issues.  They are: 1) sending out deployment instructions (i.e., when will ERCOT be able to meet the 10 minute requirement?), 2) the need to post additional information to help the Market better understand how ERCOT is performing various functions – transparency (i.e., how are decisions being made to operate the grid?), and 3) flow limits on transmission lines in real time (i.e., why are they changing erratically and so often?).  Several data requirements have been identified and ERCOT Staff has been asked to address.  Henry Wood noted that the ROS had discussed how the single contingency criteria is enforced and that ERCOT will provide a presentation on the process used to determine limits at the next ROS Meeting.  Kent Saathoff discussed the process used by ERCOT Operations Staff to address the projects referred to by Gresham.  A number of the projects requested will require greater than forty hours each of staff time.  Saathoff discussed an estimated timeline for completing the requested projects.

John Adams discussed details of the April 1st frequency decline event.  The event occurred near the time of a system fail-over.  The event was related to a deployment of balancing energy to relieve an overflow from West to North.  The down balancing deployments occurred much faster than the up balancing deployments. A “White Paper” has been written addressing the issue and will be distributed to the TAC.  Parviz Adib noted that checks should be made to ensure that the Protocols were being met.

The next TAC Meeting is scheduled for June 6, 2002 from 9:30 p.m. to 4:00 p.m. to be held at the ERCOT Austin Office.  Additional meetings are scheduled for July 2nd and August 8th.

There being no further business, the meeting was adjourned at 2:55 p.m. on May 9, 2002.