Summary of Protocol Revisions

Effective:  March 30, 2006

Section 6:

PRR 502 – Aggregation of Combined Cycle Units Providing RRS

This PRR allows Responsive Reserve obligations awarded to combined cycle plants to be aggregated for all units in a block for consideration of compliance.

Revised Subsection:	6.10.5.4 [language unboxed due to system implementation]