Protocol Section 8.1.2.4.2 (3) states that a Responsive Reserve Service performance metric must be provided in the Operating Guides.

Insert in the “Performance/Disturbance/Compliance Analysis section”

Responsive Reserve Performance Metric:  All generators providing RRS must respond to frequency disturbances with a droop 5% or greater unless limited by a HSL or other limit filed with ERCOT.  Generators performing with a droop 5% or better on 90% of the previous 10 frequency events in which they were not limited shall be used to measure their performance.