Public – DRAFT

ERCOT TECHNICAL ADVISORY COMMITTEE (TAC) MEETING

#### ERCOT Austin

7620 Metro Center Drive – Austin, Texas 78744

#### February 1, 2007 – 9:30 a.m.-4:30 p.m.

Attendance

Members:

| Ashley, Kristy | Exelon Generation Company, LLC |  |
| --- | --- | --- |
| Barrow, Les | CPS Energy |  |
| Belk, Brad | LCRA |  |
| Boyd, Phillip | City of Lewisville |  |
| Brewster, Chris | City of Eastland |  |
| Brown, Jeff | Coral Power LLC |  |
| Bruce, Mark | FPL Energy |  |
| Carlson, Trent | BP Energy |  |
| Comstock, Read | Strategic Energy |  |
| Downey, Marty | TriEagle Energy LP |  |
| Dreyfus, Mark | Austin Energy |  |
| Greer, Clayton | Constellation Energy Commodities |  |
| Gurley, Larry | TXU Energy Company, LLC |  |
| Hancock, Tom | BTU |  |
| Johnson, Eddie | Brazos Electric Power Cooperative | Alternate Representative for H. Lenox |
| Jones, Randy | Calpine Corporation |  |
| Lewis, William | Cirro Energy |  |
| Lozano, Rafael | PSEG |  |
| Mays, Sharon | Denton Municipal Electric |  |
| McClendon, Shannon | Residential Consumer |  |
| Pappas, Laurie | OPUC |  |
| Robinson, Oscar | Austin White Lime Company |  |
| Sims, John L. | Nueces Electric Cooperative, Inc. |  |
| Walker, DeAnn | CenterPoint Energy | Alternate Representative for J. Houston |
| Walker, Mark | NRG Texas, LLC |  |
| Wood, Tim | First Choice Power | Alternate Representative for L. LeMaster |

The following proxies were assigned:

- John Houston to DeAnn Walker

- Linda LeMaster to Tim Wood

- Hugh Lenox to Eddie Johnson

- Henry Wood to John Sims

Guests:

| Adib, Parviz | PUCT |
| --- | --- |
| Bowling, Shannon | Cirro Energy |
| Clemenhagen, Barbara | Topaz |
| Flowers, BJ | TXU Energy |
| Gresham, Kevin | Reliant Energy |
| Gross, Blake | AEP |
| Helton, Bob | IPA |
| Hughes, Hal | R.J. Covington Consulting |
| Jones, Dan | IMM |
| Kolodziej Eddie | Customized Energy Solutions |
| Marlett, Valerie | Independent Consultant |
| Morris, Sandy | LCRA |
| Nelson, Stuart | LCRA |
| Pieniazek, Adrian | NRG Texas |
| Priestly, Vanus | Constellation New Energy |
| Rodriquez, Robert | Constellation New Energy |
| Rowley, Mike | Stream |
| Shumate, Walt | Shumate & Assoc. |
| Starr, Lee | Bryan Texas Utilities |
| Trenary, Michelle | Tenaska |
| Wagner, Marguerite | Reliant Energy |
| Webking, Cathey | TEAM |
| Zlotnik, Marcie | StarTex |

ERCOT Staff:

Adams, Jack

Albracht, Brittney

Anderson, Troy

Chudgar, Raj

Day, Betty

Doggett, Trip

Grable, Mike

Flores, Isabel

Grimm, Larry

Heino, Shari

Hobbs, Kristi

Petoskey, Lisa

Saathoff, Kent

Smallwood, Aaron

Sullivan, Jerry

Thorne, James

TAC Chair Mark Dreyfus called the meeting to order at 9:34 a.m.

Antitrust Admonition

Mr. Dreyfus directed attention to the Antitrust Admonition, which was displayed.  A copy of the Antitrust Guidelines was available for review.  Mr. Dreyfus announced that this was to be Shannon McClendon’s last TAC meeting, and thanked her for her service and attention to detail.  Laurie Pappas added that the Consumer segment was disappointed by the news, that Ms. McClendon had served as a passionate and persuasive advocate for the ERCOT residential consumers at both the TAC and board level, and that she would be missed.  Ms. McClendon expressed her gratitude and said that she would organize the next Unofficial TAC and Friends Golf Tournament.

Approval of the Draft January 4, 2007 TAC Meeting Minutes (see Key Documents)

Mr. Dreyfus asked if there were any comments on or changes to the draft January 4, 2007 TAC meeting minutes.  DeAnn Walker moved to approve the draft January 4, 2007 minutes as posted.  Oscar Robinson seconded the motion.  The motioned carried by unanimous voice vote.  There were no abstentions.  All Market Segments were represented.

Approval of 2007 Subcommittee Leadership (see Key Documents)

Mr. Dreyfus presented the 2007 subcommittee leadership for TAC approval.  John Sims moved to approve leadership as presented.  Ms. McClendon seconded the motion.  Mr. Robinson expressed appreciation for all the work that is done by the subcommittee leaders.  The motion carried by unanimous voice vote.  There were no abstentions.  All Market Segments were represented.

Goals Discussion (see Key Documents)

Subcommittee chairs reviewed 2006 accomplishments and 2007 goals.  Mr. Dreyfus emphasized the importance of the goal-setting process, announced other input that was received, and invited additional comment.  Participants noted appreciation for improved business processes not related to reliability, and noted retail processing stability and reliability, a review of generation adequacy as it relates to energy-only markets, restoring regulatory certainty of the Capacity Demand Reserve (CDR) process, articulating  a policy of when synchronization is to be required between Protocol Revision Requests (PRRs) and Nodal Protocol Revision Requests (NPRRs,) ERCOT laptop security, and public appeals to conservation measures as additional concerns.  Mr. Dreyfus added that he and Mark Bruce would be communicating TAC and subcommittee goals to the ERCOT Board of Directors (Board) and the Public Utility Commission (PUC).

ERCOT Board Update (see Key Documents)

Mr. Dreyfus provided a summary of the January 4, 2007 Board meeting, noting that the Board approved all TAC recommendations including the following revision requests:

- PRR647, Gross and Net MW/Mvar Data Reporting

- PRR672, Retail Market Timing Necessary for PUCT Project 29637

- PRR679, Revision to NLRI Formula and Other Credit Requirements

- PRR686, Black Start Testing Requirements

- PRR693, Update Transactions for Texas SET 3.0 Implementation and Timing for Processing Priority/Standard Move- In Transactions

- NPRR034, Conforming Section 10 to Nodal Format

- NPRR038, Synchronization of PRR624

Mr. Dreyfus reported that the Board received a report from Nodal consultant IBM recommending a 20% contingency in the nodal budget, as opposed to the current 7% contingency, and that the fee proposal of $0.127 per mega watt hour (MWH) was now filed.  Participants expressed concern that the Bylaws workshop requested by TAC was not held, per the directive of two Board members, and asked that TAC’s disappointment be expressed to the Board.  Mr. Dreyfus reiterated to Mike Grable the stakeholder request for a Bylaws review workshop.  Mr. Grable thanked Ms. McClendon and others for working with ERCOT staff on an informal basis to improve Bylaw revision language.

Protocol Revision Subcommittee Report (see Key Documents)

Kevin Gresham reported that there were no PRRs or NPRRs for TAC consideration, but called attention to the Texas Regional Entity (TRE) cost recovery issue, the versioning of NPRRs, and noted that PRS had tabled discussion the for Emergency Interruptible Load Service (EILS) PRRs, requesting more information from ERCOT staff, ROS and WMS.

NPRR024, Synchronization of PRRs 627 and 640 (see Key Documents)

Mr. Dreyfus gave a history of NPRR024, noted that a preliminary Impact Analysis (IA) was available, and asked if the item should be taken up, or deferred until receipt of a final IA.  Mr. Robinson moved to defer discussion until a final IA was available.  Mc. McClendon seconded the motion.  The motion carried by unanimous voice vote.  There were no abstentions.  All Market Segments were represented.

Texas Nodal Implementation (see Key Documents)

ERCOT Report

Jerry Sullivan reported that the overall status of the Nodal project is “red” on timeline and critical dependencies.  Mr. Sullivan noted that a critical path has now been established, making improvement and improvement-tracking possible, and that IBM recommended more teamwork between Nodal and ERCOT officers.  Mr. Sullivan expressed confidence on timeline, quality of the product, and budget, but had concerns relating to the Energy Management System (EMS) and Market Management System (MMS) requirements, and the fact that the budget filed was associated with May 2006 nodal Protocols.  Mr. Sullivan added that requirements passed since May 2006 were being reviewed.

Mr. Sullivan reported that a plan is now in place for EMS resources, but hiring is not on schedule, and offered the idea that if Market Participant could offer EMS developers to the project, some constraints could be alleviated.  Other key areas for escalation were facilities for Nodal staffing, and Market Participant training facilities.

Participants asked when an EMS baseline would be reported, if the Nodal delivery date might slip, and emphasized that it was imperative that the market be notified immediately should a slip in the delivery date be determined.  Sharon Mays stated that if EMS was still “red,” then entire project should be “red.”  Parviz Adib requested that clear language be placed at the top of the report plainly stating the estimated delivery date.

TPTF Report

Raj Chudgar presented an update on Network Modeling and Telemetry (NMT), noting that there were 1100 new issues, for a total baseline of 5400 issues, and of which NMT has closed 4100.  Mr. Chudgar noted that all remaining issues had been assigned to either ERCOT or Market Participants, and that the next report will be a handover to the normal operations stage.

Trip Doggett reviewed the January 2006 activities of the TPTF, commended participants for their work and dedication, requested that Market Participants acknowledge their companies’ representative’s considerable effort, and asked that TAC approve Milestone Documents.  Chris Brewster opined that in approving Milestones, TAC is only acknowledging the creation, review and decision, and not the substance of the Milestones.  Mr. Doggett concurred, and Mr. Dreyfus noted that the process was noticed for discussion at the TAC Leadership Retreat.  Randy Jones moved to approve the TPTF Milestones as posted:

- Commercial Operations Credit Monitoring and Management System Conceptual System Design

- Commercial Operations Registration Business Requirements

- MIS Portal Conceptual System Design

- MMS SCED Business Requirements

- Overall MMS Business Requirements

- MMS RUC Business Requirements

- MMS DAM and SASM Business Requirements

- MMS Constraint Competitive Test Business Requirements

- Commercial Operations Financial Transfer Conceptual System Design

- Commercial Operations Statements and Invoices Conceptual System Design

- Commercial Operations DAM Conceptual System Design

- Commercial Operations RUC Conceptual System Design

- Commercial Operations Real-time Market Conceptual System Design

- Commercial Operations Data Aggregation Conceptual System Design

- Commercial Operations AIEC Conceptual System Design

- Commercial Operations CRR Settlements Conceptual System Design

- Commercial Operations Eligibility Conceptual System Design

- NMMS Conceptual System Design

Larry Gurley seconded the motion.  The motion carried on hand vote.  There were five abstentions (Consumer (4) and Independent Power Marketer segments).  All Market Segments were represented.

Participants discussed the role of TPTF and its evolution.  Members opined that there might be work for TPTF beyond market design, Protocol synchronization and vendor contracting, to include readiness testing and training, implementation and initial troubleshooting.   Participants discussed when work is to be transitioned to the regular stakeholder process, and that a new committee structure may be warranted.  Mr. Dreyfus asked that TPTF review the current TPTF charter and transition plan to suggest any specific changes that may be necessary.

Commercial Operations Subcommittee Report (see Key Documents)

Lee Starr commended BJ Flowers and Judy Briscoe for their work as chair and vice-chair, respectively, since the inception of COPS.  Mr. Starr reported on January COPS activities, highlighting the formation of the Settlements and Data Aggregation Working Group (SDAWG), necessitating a revision to the COPS Scope Document and the COPS Procedure Document.  Mr. Gurley moved to approve revisions to both documents as posted.  Mr. R. Jones seconded the motion.  The motions carried on voice vote.  There were no abstentions.  All Market Segments were represented.

Retail Market Subcommittee Report (see Key Documents)

Blake Gross reported a single RMS voting item for TAC’s consideration, RMGRR048, Retail Market Guide Revision Process, and noted that its passage would result in a more efficient process by eliminating the second comment period.  Mr. Gross also asked that RMGRR048 be made effective immediately, rather than March 1, 2007.  Mr. Comstock moved to approve RMGRR048 with an immediate effective date.  Mr. Gurley seconded the motion.  Ms. McClendon asked if there were any procedural problems with changing the effective date.  Mr. Gurley answered that there were no system impacts, and Mr. Dreyfus answered that is was properly noticed.  The motion carried on voice vote.  There were no abstentions.  All Market Segments were represented.

Retail Outage Update

Aaron Smallwood reported that there would be a Service Level Agreement Workshop on February 27, 2006.  Agenda items would include a review of maintenance windows, a target of 99.9% availability, and service degradation metrics.  Mr. Smallwood also reported that availability numbers were poor for January 2007, and that the remainder of 2007 would have to be exceptional to reach the 99.25% target.

Participants noted that degradation metrics were very important; that 814_16 Move Ins and 814_01 Switches are critical to the market, but are never reported because the problem is found by the Market Participant, and are re-rerouted quickly; and that Retail Electric Providers (REPs) are making extraordinary efforts to overcome degradation issues, which drives up the cost of the market.  Participants asked that ERCOT look at the number of days between when an event happens and when the market is noticed, as well as why ERCOT systems are blind to problems with 814 transactions.  Mr. Bruce requested that the March report to TAC include discussion of the SLA forum, a summary of questions raised by Market Participants, answers provided by ERCOT or status of answers, and where ERCOT is on resolving the issues raised by Market Participants.

Wholesale Market Subcommittee Report (see Key Documents)

Brad Belk reported on the January activities of the WMS, highlighting the work of the Emergency Interruptible Load Service (EILS) Task Force and the discussion of the four related proposed PRRs.  Mr. Belk reviewed the January 2007 WMS discussion of the merits of the EILS program; estimates of the value of the service, considering 1000MW of load to interrupt on a low-probability for a short period of time; and the Value of Lost Load (VOLL) at approximately $6300 / megawatt hour, which is close to an annual value of $1-2 million dollar insurance value.  Mr. Belk continued that with ERCOT’s proposed $20 million cap, there was a disconnect between the value of the program and the cost of the program, and that even if enacted, was still no guarantee against firm Load shed, as Emergency Energy Curtailment Program (EECP) events are unpredictable.  Mr. Belk reported that following a long discussion, WMS is not convinced that EILS is a useful addition to the ERCOT toolbox, and is now working on an assignment from PRS to determine the benefit of the program, the cost based on the EILS PRRs, and changes to the market since April 17, 2006.

During discussion, participants noted debate as to the necessity of the EILS as it pertains to reliability, whether the solution proposed was comprehensive, the disparity of the cost of the program and probability of it being utilized to utmost effect – that being the avoidance of firm Load shed – and the lack of Market Participant support for the initiative.

Clayton Greer moved to waive notice of vote in order to weigh-in on the EILS.  Ms. McClendon seconded the motion. The motion carried on unanimous voice vote.  There were no abstentions.  All Market Segments were represented.

Mr. Dreyfus announced that the PUC will consider an emergency rulemaking to put an EILS in place for April 2007, and that it was likely that something akin to PRR705, Emergency Interruptible Load Service (EILS) – Interim Option, would be adopted on a temporary basis, to allow time for stakeholder groups to develop other, less costly options.  Participants expressed frustration that the stakeholder process seemed to have been circumvented in proposing an EILS, and that key considerations were still missing from the EILS, such as performance metrics, and penalties for non-performance.  Participants noted that the PUC was reacting to a request from ERCOT for an EILS, and were anxious that the PUC have as much information as possible before ruling, such as commercial and grid operation changes, any NERC reliability standards related to an EILS, and the remaining unresolved problem of potential firm Load shed in future EECP events.  Parviz Adib reiterated that the PUC remains interested in Market Participant involvement, and that it was important that stakeholders continue their work on the issue.

Mr. Greer moved to affirm the decisions of PRS and WMS as they relate to all EILS PRRs.  Jeff Brown seconded the motion.  The motion carried on hand vote, with 23 affirmations and four abstentions (Independent REP, Municipal, and Investor Owned Utility (2) segments.)  All Market Segments were represented.

Reliability and Operations Subcommittee Report (see Key Documents)

Stuart Nelson reported that there were no voting items for TAC’s consideration, and summarized the January 2007 ROS meeting.  Trent Carlson inquired as to the possibility of ROS, WMS and ERCOT investigating ways to minimize Replacement Reserve Service (RPRS) procurement, except in cases of localized constraints.  Mr. Belk offered to open the topic for discussion at WMS to determine the subcommittee’s appetite.

Compliance Reports

Q&A on December Scores Related to SCE Performance and Monitoring

Larry Grimm reported that January 2007 scores were improved over December 2006 scores, and that the rolling 12 month average had also improved.  Mr. Grimm reported on the October 3, 2006 event, noting that the event resulted in firm Load shed by local area Transmission Operators (TO).  Participants inquired as to the consequence of Protocol violation notices, the disposition of fines where ERCOT is the registered TO, and how many of the six non-responding Qualified Scheduling Entities (QSEs) were also involved with the April 17, 2006 event.  Mr. Grimm responded that notices of Protocol violations are sent to the Market Participant, with a copy going to the PUC.  The involved Market Participant is required to provide a mitigation plan.  Penalty moneys that will be received by the Texas RE as a result of NERC Standards violations will stay in Texas and be applied as a general offset to the Texas RE’s budget requirements for the subsequent fiscal year.  Although not certain, Mr. Grimm noted that there were three or four common QSEs that did not respond in accordance with the Protocols on both April 17th and October 3rd.

Operations and Planning Reports (see Key Documents)

2007 CRE Addition Request

Isabel Flores presented three Closely Related Elements (CRE) addition requests:

- Graham to Long Creek

- Long Creek to Graham

- STP-WA to Parish

Mr. Dreyfus noted that in 2006, TAC gave ERCOT staff authority over the creation of CREs.  Mr. Greer moved to endorse the CRE additions.  Mr. R. Jones seconded the motion.  The motion carried on voice vote. There were no abstentions.   All Market Segments were represented.

ERCOT System Planning Report

Ken Donohoo distributed copies of the Constraints and Needs Assessment for the ERCOT Region (and 5-Year Transmission Plan), highlighting that the report satisfies several of the NERC requirements, and that congestion costs are now below $40 million.  In the interest of time, the Long Term System Assessment for the ERCOT Region was moved to the March 2007 TAC agenda.  Dan Woodfin presented the Entergy Texas Integration Phase II Study, reviewed the impetus for the study, and noted the need for an efficient and reliable system in response to potential commission requirements.  Participants voiced concerns over potentially spending more than the value of the contracts to make-whole on the hardware.  Mr. Woodfin reported that the study found that while reliability criteria would be met, it would not be efficient.

Other Business

Pursuant to PUCT Substantive Rule 25.365, Independent Market Monitor, Dan Jones invited suggestions on what reporting from the Independent Market Monitor (IMM) would be useful and interesting to Market Participants.  In addition to novelty information, participants asked that reports address common misconceptions, operational problems, education on best and worst practices that might improve the performance of all QSEs, and information on chart production.  Mr. Dreyfus asked the IMM if there would be a year-end State of the Market report, and commented that it would be helpful to see follow-through on concerns and recommendations brought by Market Participants.  Mr. D. Jones offered that quarterly reporting was under consideration.

Kristi Hobbs announced the resignation of Richard Gruber, Director of Market Services, who had accepted a position with DT Solar, a Turner Renewable Energy Company, and directed communication to Ray Giuliani in the interim.

Mr. Greer noted that Unaccounted for Energy (UFE) on January 16, 2007 was 26%, and asked that WMS or COPS report on the cause.

Mr. Dreyfus reminded members of the upcoming March 8 and March 30, 2007 TAC meetings.

Adjournment

Mr. Dreyfus adjourned the TAC meeting at 3:33 p.m.

# Footnotes

# Key Documents referenced in these minutes can be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2007/02/20070201-TAC.html