Open Discussion on “Expectations around Renewable Generation”

Need a definition for small renewable generation?  Protocols and commission rules may not be in sync on this definition.  Definitions seem to be context specific in different documents.

50 kW

2 MW

10 MW

REP would like options for billing customers – Net energy usage or price of generation in the market.   With the deployment of AMI Time of Day Pricing is another option.

- TX SET discussed some of the following issues at a high level and came to the conclusion that these issues are BIGGER than TX SET:   The Retail Market Workshop discussed these bullets and modified them per the conversations at the meeting.

  - Currently TX SET 867_03 Monthly Usage does not support negative values in usage (Note: Generation IDR data can be flagged as subtractive for a channel of data.)

    - Some TDSPs will not allow a meter to run backward

    - For some TDSPs the net usage value billed will never be below zero.

  - Does the CR expect to be settled on the electricity generated?  If yes, what are the Settlement implications and how would the information be communicated?

  - What needs to be changed in Protocols to support renewable generation settlements, without 15 minute interval data?  Can settlements be performed using monthly consumption data?

    - Current Protocols require 15 minute interval data for generation settlements in ERCOT.  Is this appropriate for renewable generation of 50kW and smaller?

  - Could this type of premise require a change or addition to the Load Profile Assignment because of the frequent fluctuation of usage?

Registration requirements for small renewable generation:

Who has the responsibility (REP, Distributed renewable generation provider, other)

Are the current ERCOT registration requirements for distributed generation applicable for small renewable generation?

Should there be penalties if grid connected renewable generation is installed at a location and the TDSP has not been notified?

What are the acceptable metering arrangements and meter reporting arrangements to support settlement and/or REP billing options? What are the REPs expectations on metering?

What will be the incremental metering costs to support a distributed renewable generation provider?  Will this be a tariff cost?

Is there a role for Aggregator involvement for energy settlement of small renewable generation?

What is the proper commercial relationship between the:

Distributed renewable generation provider and REP?

Distributed renewable generation provider and QSE?

Wires charges for power delivered to a premise.  Should the TDSP bill for all power delivered or on the net flow for the billing period?

Protocols

Section 16.5

Section 10.2.2

Operating Guides 3.1.4

Substantive rules:

25.211

25.212

25.242

Impact on the ERCOT Grid:

Voltage support service responsibilities of the Distribution Service Provider (DSP) (Nodal Protocols section 3)

The meeting scheduled for May 22nd will be postponed to allow current legislative activities to finalize.  A meeting will be scheduled in early June to continue discussions on this subject.