Open Discussion on “Expectations around Renewable Generation”

Need a definition for small renewable generation?  Protocols and commission rules may not be in sync on this definition.  Definitions seem to be context specific in different documents.

50 kW – Protocols section 10 exempt this generation for renewable from being sent to ERCOT for settlements

2 MW – HB 3693 uses this value to define Distributed Renewable Generation

10 MW – EPS metering required at this level

Recommendation from the group is to define small renewable generation as generation below 50kW for this task.  The thoughts are that generation above 50kW would currently follow the existing market processes for inclusion in settlements.

REP would like options for billing customers – Net energy usage or price of generation in the market.   With the deployment of AMI Time of Day Pricing is another option.

- TX SET discussed some of the following issues at a high level and came to the conclusion that these issues are BIGGER than TX SET:   The Retail Market Workshop discussed these bullets and modified them per the conversations at the meeting.

  - Currently TX SET 867_03 Monthly Usage does not support negative values in usage (Note: Generation IDR data can be flagged as subtractive for a channel of data.)

    - Some TDSPs will not allow a meter to run backward

    - For some TDSPs the net usage value billed will never be below zero.

    - Discussion around whether the TDSP should continue to “net” the generation and load for a monthly value

      - Option discussed to send in load without netting generation (no consensus, just discussion)

      - Should all TDSPs do this the same?

      - Does HB 3693 require the TDSP to stop “netting” the load and generation over the “monthly interval”

    - How does TDSP send generation values?  Priority item that needs to be addressed.  Group would like Texas SET to provide options and recommendations on haw this can be facilitated.

  - Does the CR expect to be settled on the electricity generated?  Short Term no. Long Term - HB 3693 requires this by January 1, 2009. What are the Settlement implications and how would the information be communicated? Short Term - Need decision by September 1, 2007 to determine how the market will utilize the “load” and “generation” values required by HB 3693.  Long Term - Needs lots of discussion by the Stakeholder process.

  - What needs to be changed in Protocols to support renewable generation settlements, without 15 minute interval data?  Can settlements be performed using monthly consumption data?

    - Current Protocols require 15 minute interval data for generation settlements in ERCOT.  Is this appropriate for renewable generation of 50kW and smaller?  Some discussion on investigating the possibility of using a monthly “generation” value that could be subtracted from the REP load in the data aggregation process. This is similar to what some TDSPs are doing today at an ESI ID level for small renewable generation.

  - Could this type of premise require a change or addition to the Load Profile Assignment because of the frequent fluctuation of usage?

Registration requirements for small renewable generation:

Who has the responsibility (REP, Distributed renewable generation provider, other)

Are the current ERCOT registration requirements for distributed generation applicable for small renewable generation?

Should there be penalties if grid connected renewable generation is installed at a location and the TDSP has not been notified?

What are the acceptable metering arrangements and meter reporting arrangements to support settlement and/or REP billing options? What are the REPs expectations on metering?

What will be the incremental metering costs to support a distributed renewable generation provider?  Will this be a tariff cost?

Is there a role for Aggregator involvement for energy settlement of small renewable generation?

What is the proper commercial relationship between the:

Distributed renewable generation provider and REP?

Distributed renewable generation provider and QSE?

Wires charges for power delivered to a premise.  Should the TDSP bill for all power delivered or on the net flow for the billing period?

Protocols

Section 16.5

Section 10.2.2

Operating Guides 3.1.4

Substantive rules: Need to make sure these rules are consistent with HB 3693 (The commission will probably review this to ensure consistency.)

25.211

25.212

25.242

Impact on the ERCOT Grid:

Voltage support service responsibilities of the Distribution Service Provider (DSP) (Nodal Protocols section 3)

The meeting scheduled for May 22nd will be postponed to allow current legislative activities to finalize.  A meeting will be scheduled in early June to continue discussions on this subject.

If customer is settled on 15 minute data for generation, does this require settlement of the load on 15 minute interval data?  Some TDSP systems do not currently support sending IDR data for residential and small commercials customers.  Time would be needed to incorporate this system functionality.

What are the market relationships for settlements?

- At what threshold should a QSE be scheduling generation? Does 2 kW generation need to be scheduled and represented by a QSE

- Other relationships

- What happens when the aggregate generation on a distribution feeder affects the circuit flows for a TDSP?  This is something that may need to be discussed with ROS from a reliability viewpoint.

- HB 3693 required REP to purchase power. Does this obligate the QSE representing the REP to purchase the power?

Can the process for registration and settlements be simplified?

Does the output of a renewable generator (ie generator output before serving load) need to be measured for evaluation of energy efficiency programs for the PUCT?  If yes, who would be responsible for measuring and reporting this information?