| NOGRR Number | 013 | NOGRR Title | Nodal Operating Guides - Section 8 - Attachment F, Seasonal Hydro Responsive Reserve Net Capability Verification |
| --- | --- | --- | --- |
| Date | July 17, 2007 |
| Submitter’s Information |
| Name | Rick Keetch on behalf of the Operating Guide Revisions Task Force (OGRTF) |
| E-mail Address | rkeetch@reliant.com |
| Company | Reliant Energy |
| Phone Number | 713-497-2526 |
| Cell Number |  |
| Market Segment | Power Marketer |

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Comments

OGRTF proposes that the Operations Working Group (OWG) recommend approval of NOGRR013 as submitted.

Revised Proposed Nodal Operating Guide Language

ERCOT Nodal Operating Guides

Section 8

Attachment F

Seasonal Hydro Responsive Reserve Net Capability Verification

(Effective Upon Texas Nodal Market Implementation)

### Seasonal Hydro Responsive Reserve Net Capability Verification

General Information

Unit Code (16 character):   			Location (County):

Unit Name:  					Date of test:

Generator’s QSE:  				Resource Entity:

Test Details

Start Time

Start MW

MW at 20 seconds

Max MW

Submittal

Resource Entity Representative:

QSE Representative:

Date submitted to ERCOT Rep.: