## TitlePage
Report on the Capacity, Demand and Reserves in the ERCOT Region
December 2009

## Contents
Contents
Tab | Notes
Disclaimer | Please read.
Definitions | List of definitions
Changes | Lists changes from prior report
SummerSummary | Shows load forecast, generation resources, and reserve margin for summer 2010 through summer 2015
SummerCapacities | Lists units and their capabilities used in determining the generation resources in the Summer Summary

## Disclaimer
Disclaimer
CDR WORKING PAPER
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided by ERCOT market participants. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS. The specific suitability for any use of the Working Paper and its accuracy should be confirmed by each ERCOT market participant that contributed data for this Working Paper.
This Working Paper is based on data submitted by ERCOT market participants as part of their Annual Load Data Request (ALDR) and their resource asset registration. As such, this data is updated on an ongoing basis, which means that this report can be rendered obsolete without notice.

## SummerSummary
2009 Report on the Capacity, Demand, and Reserves in the ERCOT Region
Summer Summary (December Update)
| Load Forecast: |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
|  | Total Summer Peak Demand, MW | 64056 | 65494 | 67394 | 69399 | 70837 | 72172
|  | less LaaRs Serving as Responsive Reserve, MW | 1115 | 1115 | 1115 | 1115 | 1115 | 1115
|  | less LaaRs Serving as Non-Spinning Reserve, MW | 0 | 0 | 0 | 0 | 0 | 0
|  | less BULs, MW | 0 | 0 | 0 | 0 | 0 | 0
|  | less Energy Efficiency Programs (per HB3693) | 242 | 242 | 242 | 242 | 242 | 242
|  | Firm Load Forecast, MW | 62699 | 64137 | 66037 | 68042 | 69480 | 70815
| Resources: |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2014
|  | Installed Capacity, MW | 64939.65 | 64939.65 | 64939.65 | 64939.65 | 64939.65 | 64939.65
|  | Capacity from Private Use Networks, MW | 5318 | 5343 | 5343 | 5343 | 5343 | 5343
|  | Effective Load-Carrying Capability (ELCC) of Wind Generation, MW | 775.692 | 775.692 | 775.692 | 775.692 | 775.692 | 775.692
|  | RMR Units to be under Contract, MW | 627 | 0 | 0 | 0 | 0 | 0
|  | Operational Generation, MW | 71660.342 | 71058.342 | 71058.342 | 71058.342 | 71058.342 | 71058.342
|  | 50% of DC-Ties, MW | 553 | 553 | 553 | 553 | 553 | 553
|  | Switchable Resources, MW | 2848 | 2848 | 2848 | 2848 | 2848 | 2848
|  | Available Mothballed Generation , MW | 104.25 | 157 | 157 | 157 | 157 | 157
|  | Planned Units (not wind) with Signed IA and Air Permit, MW * | 1329 | 2212 | 3237 | 3237 | 3237 | 3237
|  | ELCC of Planned Wind Units with Signed IA, MW | 26.1 | 68.556 | 141.81 | 163.647 | 163.647 | 163.647
|  | Total Resources, MW | 76520.692 | 76896.898 | 77995.152 | 78016.989 | 78016.989 | 78016.989
|  | less Switchable Resources Unavailable to ERCOT, MW | 158 | 0 | 0 | 0 | 0 | 0
|  | less Retiring Units, MW | 0 | 0 | 0 | 0 | 0 | 0
|  | Resources, MW | 76362.692 | 76896.898 | 77995.152 | 78016.989 | 78016.989 | 78016.989
|  | Reserve Margin | 21.79% | 19.89% | 18.11% | 14.66% | 12.29% | 10.17%
(Resources - Firm Load Forecast)/Firm Load Forecast
| Other Potential Resources: |  | 6357.257 | 12257.5537 | 19456.8231 | 21051.0201 | 23991.8701 | 24035.3701
|  | Remaining Mothballed Capacity , MW | 3053.45 | 3000.7 | 3000.7 | 3000.7 | 3000.7 | 3000.7
|  | 50% of DC-Ties, MW | 553 | 553 | 553 | 553 | 553 | 553
|  | Planned Units in Full Interconnection Study Phase, MW | 2750.807 | 8703.8537 | 15903.1231 | 17497.3201 | 20438.1701 | 20481.6701
* | According to the Board-approved CDR methodology, a planned generator is included in the reserves calculation if it has obtained a signed interconnection agreement and air permit. However, one generator which meets these criteria has provided a formal letter from a corporate officer to ERCOT stating that, based on its current expectations, its planned 1,792 MW unit that had requested interconnection beginning in 2013 should not be included in the reserves calculation. Therefore, that unit has been excluded.

## SummerCapacities
Unit Capacities - Summer
Units used in determining the generation resources in the Summer Summary
Operational capacities are based on unit testing. Other capacities are based on information provided by the plant owners. This list includes MW available to the grid from private network (self-serve) units. It also includes distributed generation units that have registered with ERCOT. Data without unit names are for private network units or are planned generation that is not public.
Unit Name | Unit Code | County | Fuel | CM Zone | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
A von Rosenberg 1-CT1 | BRAUNIG_AVR1_CT1 | Bexar | Gas | South | 145 | 145 | 145 | 145 | 145 | 145
A von Rosenberg 1-CT2 | BRAUNIG_AVR1_CT2 | Bexar | Gas | South | 145 | 145 | 145 | 145 | 145 | 145
A von Rosenberg 1-ST1 | BRAUNIG_AVR1_ST | Bexar | Gas | South | 160 | 160 | 160 | 160 | 160 | 160
AEDOMG 1 | DG_SUMMI_1UNIT | Travis | Gas | South | 5 | 5 | 5 | 5 | 5 | 5
AES Deepwater | APD_APD_G1 | Harris | Other | South | 138 | 138 | 138 | 138 | 138 | 138
Amistad Hydro 1 | AMISTAD_AMISTAG1 | Val Verde | Hydro | South | 38 | 38 | 38 | 38 | 38 | 38
Amistad Hydro 2 | AMISTAD_AMISTAG2 | Val Verde | Hydro | South | 38 | 38 | 38 | 38 | 38 | 38
Atascocita 1 | _HB_DG1 | Harris | Biomass | Houston | 10.1 | 10.1 | 10.1 | 10.1 | 10.1 | 10.1
Atkins 7 | ATKINS_ATKINSG7 | Brazos | Gas | North | 20 | 20 | 20 | 20 | 20 | 20
Austin 1 | AUSTPL_AUSTING1 | Travis | Hydro | South | 8 | 8 | 8 | 8 | 8 | 8
Austin 2 | AUSTPL_AUSTING2 | Travis | Hydro | South | 9 | 9 | 9 | 9 | 9 | 9
Austin Landfill Gas | DG_SPRIN_4UNITS | Travis | Other | South | 6.4 | 6.4 | 6.4 | 6.4 | 6.4 | 6.4
B M Davis 1 | B_DAVIS_B_DAVIG1 | Nueces | Gas | South | 335 | 335 | 335 | 335 | 335 | 335
B M Davis 2 | B_DAVIS_B_DAVIG2 | Nueces | Gas | South | 344 | 344 | 344 | 344 | 344 | 344
B M Davis 3 | B_DAVIS_B_DAVIG3 | Nueces | Gas | South | 190 | 190 | 190 | 190 | 190 | 190
B M Davis 4 | B_DAVIS_B_DAVIG4 | Nueces | Gas | South | 190 | 190 | 190 | 190 | 190 | 190
Bastrop Energy Center 1 | BASTEN_GTG1100 | Bastrop | Gas | South | 152 | 152 | 152 | 152 | 152 | 152
Bastrop Energy Center 2 | BASTEN_GTG2100 | Bastrop | Gas | South | 150 | 150 | 150 | 150 | 150 | 150
Bastrop Energy Center 3 | BASTEN_ST0100 | Bastrop | Gas | South | 233 | 233 | 233 | 233 | 233 | 233
Baytown 1 | TRN_DG1 | Chambers | Biomass | Houston | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9
Big Brown 1 | BBSES_UNIT1 | Freestone | Coal | North | 617 | 617 | 617 | 617 | 617 | 617
Big Brown 2 | BBSES_UNIT2 | Freestone | Coal | North | 615 | 615 | 615 | 615 | 615 | 615
Bio Energy Partners | DG_BIOE_2UNITS | Denton | Gas | North | 5.6 | 5.6 | 5.6 | 5.6 | 5.6 | 5.6
Bluebonnet 1 | _LB_DG1 | Harris | Biomass | Houston | 3.9 | 3.9 | 3.9 | 3.9 | 3.9 | 3.9
Bosque County Peaking 1 | BOSQUESW_BSQSU_1 | Bosque | Gas | North | 153 | 153 | 153 | 153 | 153 | 153
Bosque County Peaking 2 | BOSQUESW_BSQSU_2 | Bosque | Gas | North | 153 | 153 | 153 | 153 | 153 | 153
Bosque County Peaking 3 | BOSQUESW_BSQSU_3 | Bosque | Gas | North | 154 | 154 | 154 | 154 | 154 | 154
Bosque County Peaking 4 | BOSQUESW_BSQSU_4 | Bosque | Gas | North | 83 | 83 | 83 | 83 | 83 | 83
Bosque County Unit 5 | BOSQUESW_BSQSU_5 | Bosque | Gas | North | 240 | 240 | 240 | 240 | 240 | 240
Brazos Valley 1 | BVE_Unit1 | Ft Bend | Gas | Houston | 163 | 163 | 163 | 163 | 163 | 163
Brazos Valley 2 | BVE_Unit2 | Ft Bend | Gas | Houston | 163 | 163 | 163 | 163 | 163 | 163
Brazos Valley 3 | BVE_Unit3 | Ft Bend | Gas | Houston | 253 | 253 | 253 | 253 | 253 | 253
Buchanan 1 | BUCHAN_BUCHANG1 | Llano | Hydro | South | 18 | 18 | 18 | 18 | 18 | 18
Buchanan 2 | BUCHAN_BUCHANG2 | Llano | Hydro | South | 18 | 18 | 18 | 18 | 18 | 18
Buchanan 3 | BUCHAN_BUCHANG3 | Llano | Hydro | South | 18 | 18 | 18 | 18 | 18 | 18
Calenergy (Falcon Seaboard) 1 | FLCNS_UNIT1 | Howard | Gas | West | 75 | 75 | 75 | 75 | 75 | 75
Calenergy (Falcon Seaboard) 2 | FLCNS_UNIT2 | Howard | Gas | West | 75 | 75 | 75 | 75 | 75 | 75
Calenergy (Falcon Seaboard) 3 | FLCNS_UNIT3 | Howard | Gas | West | 70 | 70 | 70 | 70 | 70 | 70
Canyon 1 | CANYHY_CANYHYG1 | Comal | Hydro | South | 3 | 3 | 3 | 3 | 3 | 3
Canyon 2 | CANYHY_CANYHYG2 | Comal | Hydro | South | 3 | 3 | 3 | 3 | 3 | 3
Cedar Bayou 1 | CBY_CBY_G1 | Chambers | Gas | Houston | 745 | 745 | 745 | 745 | 745 | 745
Cedar Bayou 2 | CBY_CBY_G2 | Chambers | Gas | Houston | 749 | 749 | 749 | 749 | 749 | 749
Cedar Bayou 4 | CBY4_CT41 | Chambers | Gas | Houston | 169 | 169 | 169 | 169 | 169 | 169
Cedar Bayou 5 | CBY4_CT42 | Chambers | Gas | Houston | 169 | 169 | 169 | 169 | 169 | 169
Cedar Bayou 6 | CBY4_ST04 | Chambers | Gas | Houston | 180 | 180 | 180 | 180 | 180 | 180
Channel Energy Deepwater | CHEDPW_GT2 | Harris | Gas | Houston | 182 | 182 | 182 | 182 | 182 | 182
Coastal Plains RDF | _AV_DG1 | Galveston | Biomass | South | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7
Coleto Creek | COLETO_COLETOG1 | Goliad | Coal | South | 632 | 632 | 632 | 632 | 632 | 632
Colorado Bend Energy Center | CBEC_GT1 | Wharton | Gas | Houston | 77 | 77 | 77 | 77 | 77 | 77
Colorado Bend Energy Center | CBEC_GT2 | Wharton | Gas | Houston | 77 | 77 | 77 | 77 | 77 | 77
Colorado Bend Energy Center | CBEC_GT3 | Wharton | Gas | Houston | 77 | 77 | 77 | 77 | 77 | 77
Colorado Bend Energy Center | CBEC_GT4 | Wharton | Gas | Houston | 77 | 77 | 77 | 77 | 77 | 77
Colorado Bend Energy Center | CBEC_STG1 | Wharton | Gas | Houston | 105 | 105 | 105 | 105 | 105 | 105
Colorado Bend Energy Center | CBEC_STG2 | Wharton | Gas | Houston | 105 | 105 | 105 | 105 | 105 | 105
Comanche Peak 1 | CPSES_UNIT1 | Somervell | Nuclear | North | 1209 | 1209 | 1209 | 1209 | 1209 | 1209
Comanche Peak 2 | CPSES_UNIT2 | Somervell | Nuclear | North | 1158 | 1158 | 1158 | 1158 | 1158 | 1158
Corrugated Medium Mill | DG_FORSW_1UNIT | Kaufman | Gas | North | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75
Covel Gardens LG Power Station | DG_MEDIN_1UNIT | Bexar | Other | South | 10 | 10 | 10 | 10 | 10 | 10
CVC Channelview 1 | CVC_CVC_G1 | Harris | Gas | Houston | 156 | 156 | 156 | 156 | 156 | 156
CVC Channelview 2 | CVC_CVC_G2 | Harris | Gas | Houston | 158 | 158 | 158 | 158 | 158 | 158
CVC Channelview 3 | CVC_CVC_G3 | Harris | Gas | Houston | 160 | 160 | 160 | 160 | 160 | 160
CVC Channelview 5 | CVC_CVC_G5 | Harris | Gas | Houston | 122 | 122 | 122 | 122 | 122 | 122
Dansby 1 | DANSBY_DANSBYG1 | Brazos | Gas | North | 110 | 110 | 110 | 110 | 110 | 110
Dansby 2 | DANSBY_DANSBYG2 | Brazos | Gas | North | 48 | 48 | 48 | 48 | 48 | 48
Dansby 3 | DANSBY_DANSBYG3 | Brazos | Gas | North | 48 | 48 | 48 | 48 | 48 | 48
Decker Creek 1 | DECKER_DPG1 | Travis | Gas | South | 315 | 315 | 315 | 315 | 315 | 315
Decker Creek 2 | DECKER_DPG2 | Travis | Gas | South | 420 | 420 | 420 | 420 | 420 | 420
Decker Creek G1 | DECKER_DPGT_1 | Travis | Gas | South | 48 | 48 | 48 | 48 | 48 | 48
Decker Creek G2 | DECKER_DPGT_2 | Travis | Gas | South | 48 | 48 | 48 | 48 | 48 | 48
Decker Creek G3 | DECKER_DPGT_3 | Travis | Gas | South | 48 | 48 | 48 | 48 | 48 | 48
Decker Creek G4 | DECKER_DPGT_4 | Travis | Gas | South | 48 | 48 | 48 | 48 | 48 | 48
DeCordova A | DCSES_CT10 | Hood | Gas | North | 66 | 66 | 66 | 66 | 66 | 66
DeCordova B | DCSES_CT20 | Hood | Gas | North | 66 | 66 | 66 | 66 | 66 | 66
DeCordova C | DCSES_CT30 | Hood | Gas | North | 66 | 66 | 66 | 66 | 66 | 66
DeCordova D | DCSES_CT40 | Hood | Gas | North | 66 | 66 | 66 | 66 | 66 | 66
Deer Park Energy Center 1 | DDPEC_GT1 | Harris | Gas | Houston | 163 | 163 | 163 | 163 | 163 | 163
Deer Park Energy Center 2 | DDPEC_GT2 | Harris | Gas | Houston | 157 | 157 | 157 | 157 | 157 | 157
Deer Park Energy Center 3 | DDPEC_GT3 | Harris | Gas | Houston | 158 | 158 | 158 | 158 | 158 | 158
Deer Park Energy Center 4 | DDPEC_GT4 | Harris | Gas | Houston | 157 | 157 | 157 | 157 | 157 | 157
Deer Park Energy Center S | DDPEC_ST1 | Harris | Gas | Houston | 238 | 238 | 238 | 238 | 238 | 238
Denison Dam 1 | DNDAM_DENISOG1 | Grayson | Hydro | North | 40 | 40 | 40 | 40 | 40 | 40
Denison Dam 2 | DNDAM_DENISOG2 | Grayson | Hydro | North | 40 | 40 | 40 | 40 | 40 | 40
DFW Gas Recovery | DG_BIO2_4UNITS | Denton | Biomass | North | 6.4 | 6.4 | 6.4 | 6.4 | 6.4 | 6.4
Dunlop (Schumansville) 1 | DG_SCHUM_2UNITS | Guadalupe | Hydro | South | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6
Eagle Pass 1 | EAGLE_HY_EAGLE_HY1 | Maverick | Hydro | South | 2 | 2 | 2 | 2 | 2 | 2
Eagle Pass 2 | EAGLE_HY_EAGLE_HY2 | Maverick | Hydro | South | 2 | 2 | 2 | 2 | 2 | 2
Eagle Pass 3 | EAGLE_HY_EAGLE_HY3 | Maverick | Hydro | South | 2 | 2 | 2 | 2 | 2 | 2
Ennis Power Station 1 | ETCCS_UNIT1 | Ellis | Gas | North | 116 | 116 | 116 | 116 | 116 | 116
Ennis Power Station 2 | ETCCS_CT1 | Ellis | Gas | North | 196 | 196 | 196 | 196 | 196 | 196
ExTex La Porte Power Station (AirPro) 1 | _AZ__AZ_G1 | Harris | Gas | Houston | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Station (AirPro) 2 | _AZ__AZ_G2 | Harris | Gas | Houston | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Station (AirPro) 3 | _AZ__AZ_G3 | Harris | Gas | Houston | 38 | 38 | 38 | 38 | 38 | 38
ExTex La Porte Power Station (AirPro) 4 | _AZ__AZ_G4 | Harris | Gas | Houston | 38 | 38 | 38 | 38 | 38 | 38
Falcon Hydro 1 | FALCON_FALCONG1 | Starr | Hydro | South | 12 | 12 | 12 | 12 | 12 | 12
Falcon Hydro 2 | FALCON_FALCONG2 | Starr | Hydro | South | 12 | 12 | 12 | 12 | 12 | 12
Falcon Hydro 3 | FALCON_FALCONG3 | Starr | Hydro | South | 12 | 12 | 12 | 12 | 12 | 12
Fayette Power Project 1 | FPPYD1_FPP_G1 | Fayette | Coal | South | 608 | 608 | 608 | 608 | 608 | 608
Fayette Power Project 2 | FPPYD1_FPP_G2 | Fayette | Coal | South | 608 | 608 | 608 | 608 | 608 | 608
Fayette Power Project 3 | FPPYD2_FPP_G3 | Fayette | Coal | South | 445 | 445 | 445 | 445 | 445 | 445
Forney Energy Center GT11 | FRNYPP_GT11 | Kaufman | Gas | North | 165 | 165 | 165 | 165 | 165 | 165
Forney Energy Center GT12 | FRNYPP_GT12 | Kaufman | Gas | North | 165 | 165 | 165 | 165 | 165 | 165
Forney Energy Center GT13 | FRNYPP_GT13 | Kaufman | Gas | North | 165 | 165 | 165 | 165 | 165 | 165
Forney Energy Center GT21 | FRNYPP_GT21 | Kaufman | Gas | North | 165 | 165 | 165 | 165 | 165 | 165
Forney Energy Center GT22 | FRNYPP_GT22 | Kaufman | Gas | North | 165 | 165 | 165 | 165 | 165 | 165
Forney Energy Center GT23 | FRNYPP_GT23 | Kaufman | Gas | North | 165 | 165 | 165 | 165 | 165 | 165
Forney Energy Center STG10 | FRNYPP_ST10 | Kaufman | Gas | North | 415 | 415 | 415 | 415 | 415 | 415
Forney Energy Center STG20 | FRNYPP_ST20 | Kaufman | Gas | North | 415 | 415 | 415 | 415 | 415 | 415
Freestone Energy Center 1 | FREC_GT1 | Freestone | Gas | North | 152 | 152 | 152 | 152 | 152 | 152
Freestone Energy Center 2 | FREC_GT2 | Freestone | Gas | North | 152 | 152 | 152 | 152 | 152 | 152
Freestone Energy Center 3 | FREC_ST3 | Freestone | Gas | North | 175 | 175 | 175 | 175 | 175 | 175
Freestone Energy Center 4 | FREC_GT4 | Freestone | Gas | North | 152 | 152 | 152 | 152 | 152 | 152
Freestone Energy Center 5 | FREC_GT5 | Freestone | Gas | North | 152 | 152 | 152 | 152 | 152 | 152
Freestone Energy Center 6 | FREC_ST6 | Freestone | Gas | North | 175 | 175 | 175 | 175 | 175 | 175
Frontera 1 | FRONTERA_FRONTEG1 | Hidalgo | Gas | South | 146 | 146 | 146 | 146 | 146 | 146
Frontera 2 | FRONTERA_FRONTEG2 | Hidalgo | Gas | South | 148 | 148 | 148 | 148 | 148 | 148
Frontera 3 | FRONTERA_FRONTEG3 | Hidalgo | Gas | South | 173 | 173 | 173 | 173 | 173 | 173
FW Regional LFG Generation Facility 1 | DG_RDLML_1UNIT | Tarrant | Other | North | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
GBRA 4 & 5 | DG_LKWDT_2UNITS | Gonzales | Other | South | 4.8 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8
Gibbons Creek 1 | GIBCRK_GIB_CRG1 | Grimes | Coal | North | 470 | 470 | 470 | 470 | 470 | 470
Graham 1 | GRSES_UNIT1 | Young | Gas | North | 230 | 230 | 230 | 230 | 230 | 230
Graham 2 | GRSES_UNIT2 | Young | Gas | North | 390 | 390 | 390 | 390 | 390 | 390
Granite Shoals 1 | WIRTZ_WIRTZ_G1 | Burnet | Hydro | South | 30 | 30 | 30 | 30 | 30 | 30
Granite Shoals 2 | WIRTZ_WIRTZ_G2 | Burnet | Hydro | South | 30 | 30 | 30 | 30 | 30 | 30
Greens Bayou 5 | GBY_GBY_5 | Harris | Gas | Houston | 406 | 406 | 406 | 406 | 406 | 406
Greens Bayou 73 | GBY_GBYGT73 | Harris | Gas | Houston | 46 | 46 | 46 | 46 | 46 | 46
Greens Bayou 74 | GBY_GBYGT74 | Harris | Gas | Houston | 46 | 46 | 46 | 46 | 46 | 46
Greens Bayou 81 | GBY_GBYGT81 | Harris | Gas | Houston | 46 | 46 | 46 | 46 | 46 | 46
Greens Bayou 82 | GBY_GBYGT82 | Harris | Gas | Houston | 56 | 56 | 56 | 56 | 56 | 56
Greens Bayou 83 | GBY_GBYGT83 | Harris | Gas | Houston | 56 | 56 | 56 | 56 | 56 | 56
Greens Bayou 84 | GBY_GBYGT84 | Harris | Gas | Houston | 56 | 56 | 56 | 56 | 56 | 56
Guadalupe Generating Station 1 | GUADG_GAS1 | Guadalupe | Gas | South | 151 | 151 | 151 | 151 | 151 | 151
Guadalupe Generating Station 2 | GUADG_GAS2 | Guadalupe | Gas | South | 151 | 151 | 151 | 151 | 151 | 151
Guadalupe Generating Station 3 | GUADG_GAS3 | Guadalupe | Gas | South | 149 | 149 | 149 | 149 | 149 | 149
Guadalupe Generating Station 4 | GUADG_GAS4 | Guadalupe | Gas | South | 152 | 152 | 152 | 152 | 152 | 152
Guadalupe Generating Station 5 | GUADG_STM5 | Guadalupe | Gas | South | 170 | 170 | 170 | 170 | 170 | 170
Guadalupe Generating Station 6 | GUADG_STM6 | Guadalupe | Gas | South | 169 | 169 | 169 | 169 | 169 | 169
Handley 3 | HLSES_UNIT3 | Tarrant | Gas | North | 395 | 395 | 395 | 395 | 395 | 395
Handley 4 | HLSES_UNIT4 | Tarrant | Gas | North | 435 | 435 | 435 | 435 | 435 | 435
Handley 5 | HLSES_UNIT5 | Tarrant | Gas | North | 435 | 435 | 435 | 435 | 435 | 435
Hays Energy Facility 1 | HAYSEN_HAYSENG1 | Hays | Gas | South | 216 | 216 | 216 | 216 | 216 | 216
Hays Energy Facility 2 | HAYSEN_HAYSENG2 | Hays | Gas | South | 216 | 216 | 216 | 216 | 216 | 216
Hays Energy Facility 3 | HAYSEN_HAYSENG3 | Hays | Gas | South | 225 | 225 | 225 | 225 | 225 | 225
Hays Energy Facility 4 | HAYSEN_HAYSENG4 | Hays | Gas | South | 225 | 225 | 225 | 225 | 225 | 225
Hidalgo 1 | DUKE_DUKE_GT1 | Hidalgo | Gas | South | 141 | 141 | 141 | 141 | 141 | 141
Hidalgo 2 | DUKE_DUKE_GT2 | Hidalgo | Gas | South | 141 | 141 | 141 | 141 | 141 | 141
Hidalgo 3 | DUKE_DUKE_ST1 | Hidalgo | Gas | South | 168 | 168 | 168 | 168 | 168 | 168
Inks 1 | INKSDA_INKS_G1 | Llano | Hydro | South | 14 | 14 | 14 | 14 | 14 | 14
J K Spruce 1 | CALAVERS_JKS1 | Bexar | Coal | South | 555 | 555 | 555 | 555 | 555 | 555
J K Spruce 2 | CALAVERS_JKS2 | Bexar | Coal | South | 772 | 772 | 772 | 772 | 772 | 772
J T Deely 1 | CALAVERS_JTD1 | Bexar | Coal | South | 440 | 440 | 440 | 440 | 440 | 440
J T Deely 2 | CALAVERS_JTD2 | Bexar | Coal | South | 440 | 440 | 440 | 440 | 440 | 440
Jack County Generation Facility 1 | JACKCNTY_CT1 | Jack | Gas | North | 142 | 142 | 142 | 142 | 142 | 142
Jack County Generation Facility 2 | JACKCNTY_CT2 | Jack | Gas | North | 142 | 142 | 142 | 142 | 142 | 142
Jack County Generation Facility 3 | JACKCNTY_STG | Jack | Gas | North | 281 | 281 | 281 | 281 | 281 | 281
Johnson County Generation Facility 1 | TEN_CT1 | Johnson | Gas | North | 150 | 150 | 150 | 150 | 150 | 150
Johnson County Generation Facility 2 | TEN_STG | Johnson | Gas | North | 106 | 106 | 106 | 106 | 106 | 106
Lake Hubbard 1 | LHSES_UNIT1 | Dallas | Gas | North | 392 | 392 | 392 | 392 | 392 | 392
Lake Hubbard 2 | LH2SES_UNIT2 | Dallas | Gas | North | 524 | 524 | 524 | 524 | 524 | 524
Lamar Power Project CT11 | LPCCS_CT11 | Lamar | Gas | North | 156 | 156 | 156 | 156 | 156 | 156
Lamar Power Project CT12 | LPCCS_CT12 | Lamar | Gas | North | 157 | 157 | 157 | 157 | 157 | 157
Lamar Power Project CT21 | LPCCS_CT21 | Lamar | Gas | North | 156 | 156 | 156 | 156 | 156 | 156
Lamar Power Project CT22 | LPCCS_CT22 | Lamar | Gas | North | 157 | 157 | 157 | 157 | 157 | 157
Lamar Power Project STG1 | LPCCS_UNIT1 | Lamar | Gas | North | 198 | 198 | 198 | 198 | 198 | 198
Lamar Power Project STG2 | LPCCS_UNIT2 | Lamar | Gas | North | 198 | 198 | 198 | 198 | 198 | 198
Laredo Peaking 4 | LARDVFTN_G4 | Webb | Gas | South | 94 | 94 | 94 | 94 | 94 | 94
Laredo Peaking 5 | LARDVFTN_G5 | Webb | Gas | South | 94 | 94 | 94 | 94 | 94 | 94
Leon Creek 3 | LEON_CRK_LCP3G3 | Bexar | Gas | South | 56 | 56 | 56 | 56 | 56 | 56
Leon Creek 4 | LEON_CRK_LCP4G4 | Bexar | Gas | South | 88 | 88 | 88 | 88 | 88 | 88
Leon Creek Peaking 1 | LEON_CRK_LCPCT1 | Bexar | Gas | South | 45 | 45 | 45 | 45 | 45 | 45
Leon Creek Peaking 2 | LEON_CRK_LCPCT2 | Bexar | Gas | South | 45 | 45 | 45 | 45 | 45 | 45
Leon Creek Peaking 3 | LEON_CRK_LCPCT3 | Bexar | Gas | South | 45 | 45 | 45 | 45 | 45 | 45
Leon Creek Peaking 4 | LEON_CRK_LCPCT4 | Bexar | Gas | South | 45 | 45 | 45 | 45 | 45 | 45
Lewisville 1 | DG_LWSVL_1UNIT | Denton | Hydro | North | 2.8 | 2.8 | 2.8 | 2.8 | 2.8 | 2.8
Limestone 1 | LEG_LEG_G1 | Limestone | Coal | North | 831 | 831 | 831 | 831 | 831 | 831
Limestone 2 | LEG_LEG_G2 | Limestone | Coal | North | 858 | 858 | 858 | 858 | 858 | 858
Lost Pines 1 | LOSTPI_LOSTPGT1 | Bastrop | Gas | South | 167 | 167 | 167 | 167 | 167 | 167
Lost Pines 2 | LOSTPI_LOSTPGT2 | Bastrop | Gas | South | 164 | 164 | 164 | 164 | 164 | 164
Lost Pines 3 | LOSTPI_LOSTPST1 | Bastrop | Gas | South | 184 | 184 | 184 | 184 | 184 | 184
Magic Valley 1 | NEDIN_NEDIN_G1 | Hidalgo | Gas | South | 166 | 166 | 166 | 166 | 166 | 166
Magic Valley 2 | NEDIN_NEDIN_G2 | Hidalgo | Gas | South | 166 | 166 | 166 | 166 | 166 | 166
Magic Valley 3 | NEDIN_NEDIN_G3 | Hidalgo | Gas | South | 204 | 204 | 204 | 204 | 204 | 204
Marble Falls 1 | MARBFA_MARBFAG1 | Burnet | Hydro | South | 21 | 21 | 21 | 21 | 21 | 21
Marble Falls 2 | MARBFA_MARBFAG2 | Burnet | Hydro | South | 21 | 21 | 21 | 21 | 21 | 21
Marshall Ford 1 | MARSFO_MARSFOG1 | Travis | Hydro | South | 36 | 36 | 36 | 36 | 36 | 36
Marshall Ford 2 | MARSFO_MARSFOG2 | Travis | Hydro | South | 35 | 35 | 35 | 35 | 35 | 35
Marshall Ford 3 | MARSFO_MARSFOG3 | Travis | Hydro | South | 36 | 36 | 36 | 36 | 36 | 36
Martin Lake 1 | MLSES_UNIT1 | Rusk | Coal | North | 800 | 800 | 800 | 800 | 800 | 800
Martin Lake 2 | MLSES_UNIT2 | Rusk | Coal | North | 800 | 800 | 800 | 800 | 800 | 800
Martin Lake 3 | MLSES_UNIT3 | Rusk | Coal | North | 818 | 818 | 818 | 818 | 818 | 818
McQueeney (Abbott) | DG_MCQUE_5UNITS | Guadalupe | Hydro | South | 8 | 8 | 8 | 8 | 8 | 8
Midlothian 1 | MDANP_CT1 | Ellis | Gas | North | 216 | 216 | 216 | 216 | 216 | 216
Midlothian 2 | MDANP_CT2 | Ellis | Gas | North | 216 | 216 | 216 | 216 | 216 | 216
Midlothian 3 | MDANP_CT3 | Ellis | Gas | North | 216 | 216 | 216 | 216 | 216 | 216
Midlothian 4 | MDANP_CT4 | Ellis | Gas | North | 216 | 216 | 216 | 216 | 216 | 216
Midlothian 5 | MDANP_CT5 | Ellis | Gas | North | 225 | 225 | 225 | 225 | 225 | 225
Midlothian 6 | MDANP_CT6 | Ellis | Gas | North | 225 | 225 | 225 | 225 | 225 | 225
Monticello 1 | MNSES_UNIT1 | Titus | Coal | North | 583 | 583 | 583 | 583 | 583 | 583
Monticello 2 | MNSES_UNIT2 | Titus | Coal | North | 583 | 583 | 583 | 583 | 583 | 583
Monticello 3 | MNSES_UNIT3 | Titus | Coal | North | 765 | 765 | 765 | 765 | 765 | 765
Morgan Creek A | MGSES_CT1 | Mitchell | Gas | West | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek B | MGSES_CT2 | Mitchell | Gas | West | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek C | MGSES_CT3 | Mitchell | Gas | West | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek D | MGSES_CT4 | Mitchell | Gas | West | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek E | MGSES_CT5 | Mitchell | Gas | W10 | 68 | 68 | 68 | 68 | 68 | 68
Morgan Creek F | MGSES_CT6 | Mitchell | Gas | West | 68 | 68 | 68 | 68 | 68 | 68
Morris Sheppard | MSP_MSP_1 | Palo Pinto | Hydro | North | 12 | 12 | 12 | 12 | 12 | 12
Morris Sheppard | MSP_MSP_2 | Palo Pinto | Hydro | North | 12 | 12 | 12 | 12 | 12 | 12
Mountain Creek 6 | MCSES_UNIT6 | Dallas | Gas | North | 120 | 120 | 120 | 120 | 120 | 120
Mountain Creek 7 | MCSES_UNIT7 | Dallas | Gas | North | 115 | 115 | 115 | 115 | 115 | 115
Mountain Creek 8 | MCSES_UNIT8 | Dallas | Gas | North | 565 | 565 | 565 | 565 | 565 | 565
Nelson Gardens Landfill 1 | DG_PEARS_2UNITS | Bexar | Other | South | 3.6 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6
North Texas 1 | NTX_NTX_1 | Parker | Gas | North | 18 | 18 | 18 | 18 | 18 | 18
North Texas 2 | NTX_NTX_2 | Parker | Gas | North | 18 | 18 | 18 | 18 | 18 | 18
North Texas 3 | NTX_NTX_3 | Parker | Gas | North | 39 | 39 | 39 | 39 | 39 | 39
Nueces Bay 7 | NUECES_B_NUECESG7 | Nueces | Gas | South | 351 | 351 | 351 | 351 | 351 | 351
Nueces Bay 8 | NUECES_B_NUECESG8 | Nueces | Gas | South | 175 | 175 | 175 | 175 | 175 | 175
Nueces Bay 9 | NUECES_B_NUECESG9 | Nueces | Gas | South | 175 | 175 | 175 | 175 | 175 | 175
O W Sommers 1 | CALAVERS_OWS1 | Bexar | Gas | South | 400 | 400 | 400 | 400 | 400 | 400
O W Sommers 2 | CALAVERS_OWS2 | Bexar | Gas | South | 395 | 395 | 395 | 395 | 395 | 395
Oak Grove SES Unit 1 | OGSES_UNIT1 | Robertson | Coal | North | 917 | 917 | 917 | 917 | 917 | 917
Oak Ridge North 1-3 | DG__RA_3UNITS | Montgomery | Other | Houston | 4.8 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8
Odessa-Ector Generating Station C11 | OECCS_CT11 | Ector | Gas | West | 146 | 146 | 146 | 146 | 146 | 146
Odessa-Ector Generating Station C12 | OECCS_CT12 | Ector | Gas | West | 139 | 139 | 139 | 139 | 139 | 139
Odessa-Ector Generating Station C21 | OECCS_CT21 | Ector | Gas | West | 135 | 135 | 135 | 135 | 135 | 135
Odessa-Ector Generating Station C22 | OECCS_CT22 | Ector | Gas | West | 153 | 153 | 153 | 153 | 153 | 153
Odessa-Ector Generating Station ST1 | OECCS_UNIT1 | Ector | Gas | West | 210 | 210 | 210 | 210 | 210 | 210
Odessa-Ector Generating Station ST2 | OECCS_UNIT2 | Ector | Gas | West | 210 | 210 | 210 | 210 | 210 | 210
Oklaunion 1 | OKLA_OKLA_G1 | Wilbarger | Coal | West | 650 | 650 | 650 | 650 | 650 | 650
Paris Energy Center 1 | TNSKA_GT1 | Lamar | Gas | North | 77 | 77 | 77 | 77 | 77 | 77
Paris Energy Center 2 | TNSKA_GT2 | Lamar | Gas | North | 80 | 80 | 80 | 80 | 80 | 80
Paris Energy Center 3 | TNSKA_STG | Lamar | Gas | North | 88 | 88 | 88 | 88 | 88 | 88
Pearsall 1 | PEARSALL_PEARS_1 | Frio | Gas | South | 25 | 25 | 25 | 25 | 25 | 25
Pearsall 2 | PEARSALL_PEARS_2 | Frio | Gas | South | 25 | 25 | 25 | 25 | 25 | 25
Pearsall 3 | PEARSALL_PEARS_3 | Frio | Gas | South | 25 | 25 | 25 | 25 | 25 | 25
Pearsall Engine Plant | PEARSAL2_ENG1 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG2 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG3 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG4 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG5 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG6 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG7 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG8 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG9 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG10 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG11 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG12 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG13 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG14 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG15 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG16 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG17 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Pearsall Engine Plant | PEARSAL2_ENG18 | Frio | Gas | South | 8.4 | 8.4 | 8.4 | 8.4 | 8.4 | 8.4
Permian Basin A | PB2SES_CT1 | Ward | Gas | West | 68 | 68 | 68 | 68 | 68 | 68
Permian Basin B | PB2SES_CT2 | Ward | Gas | West | 65 | 65 | 65 | 65 | 65 | 65
Permian Basin C | PB2SES_CT3 | Ward | Gas | West | 68 | 68 | 68 | 68 | 68 | 68
Permian Basin D | PB2SES_CT4 | Ward | Gas | West | 69 | 69 | 69 | 69 | 69 | 69
Permian Basin E | PB2SES_CT5 | Ward | Gas | West | 70 | 70 | 70 | 70 | 70 | 70
Powerlane Plant 1 | STEAM_STEAM_1 | Hunt | Gas | North | 20 | 20 | 20 | 20 | 20 | 20
Powerlane Plant 2 | STEAM_STEAM_2 | Hunt | Gas | North | 1 | 1 | 1 | 1 | 1 | 1
Powerlane Plant 3 | STEAM_STEAM_3 | Hunt | Gas | North | 41 | 41 | 41 | 41 | 41 | 41
Quail Run Energy GT1 | QALSW_GT2 | Ector | Gas | West | 70 | 70 | 70 | 70 | 70 | 70
Quail Run Energy GT2 | QALSW_GT3 | Ector | Gas | West | 70 | 70 | 70 | 70 | 70 | 70
Quail Run Energy GT3 | QALSW_STG1 | Ector | Gas | West | 90 | 90 | 90 | 90 | 90 | 90
Quail Run Energy GT4 | QALSW_STG2 | Ector | Gas | West | 90 | 90 | 90 | 90 | 90 | 90
Quail Run Energy STG1 | QALSW_GT1 | Ector | Gas | West | 70 | 70 | 70 | 70 | 70 | 70
Quail Run Energy STG2 | QALSW_GT4 | Ector | Gas | West | 70 | 70 | 70 | 70 | 70 | 70
R W Miller 1 | MIL_MILLERG1 | Palo Pinto | Gas | North | 75 | 75 | 75 | 75 | 75 | 75
R W Miller 2 | MIL_MILLERG2 | Palo Pinto | Gas | North | 120 | 120 | 120 | 120 | 120 | 120
R W Miller 3 | MIL_MILLERG3 | Palo Pinto | Gas | North | 208 | 208 | 208 | 208 | 208 | 208
R W Miller 4 | MIL_MILLERG4 | Palo Pinto | Gas | North | 104 | 104 | 104 | 104 | 104 | 104
R W Miller 5 | MIL_MILLERG5 | Palo Pinto | Gas | North | 104 | 104 | 104 | 104 | 104 | 104
Ray Olinger 1 | OLINGR_OLING_1 | Collin | Gas | North | 78 | 78 | 78 | 78 | 78 | 78
Ray Olinger 2 | OLINGR_OLING_2 | Collin | Gas | North | 107 | 107 | 107 | 107 | 107 | 107
Ray Olinger 3 | OLINGR_OLING_3 | Collin | Gas | North | 146 | 146 | 146 | 146 | 146 | 146
Ray Olinger 4 | OLINGR_OLING_4 | Collin | Gas | North | 75 | 75 | 75 | 75 | 75 | 75
Rayburn 1 | RAYBURN_RAYBURG1 | Victoria | Gas | South | 11 | 11 | 11 | 11 | 11 | 11
Rayburn 10 | RAYBURN_RAYBURG10 | Victoria | Gas | South | 40 | 40 | 40 | 40 | 40 | 40
Rayburn 2 | RAYBURN_RAYBURG2 | Victoria | Gas | South | 11 | 11 | 11 | 11 | 11 | 11
Rayburn 3 | RAYBURN_RAYBURG3 | Victoria | Gas | South | 24 | 24 | 24 | 24 | 24 | 24
Rayburn 7 | RAYBURN_RAYBURG7 | Victoria | Gas | South | 50 | 50 | 50 | 50 | 50 | 50
Rayburn 8 | RAYBURN_RAYBURG8 | Victoria | Gas | South | 50 | 50 | 50 | 50 | 50 | 50
Rayburn 9 | RAYBURN_RAYBURG9 | Victoria | Gas | South | 50 | 50 | 50 | 50 | 50 | 50
RGV Sugar Mill | DG_S_SNR_UNIT1 | Hidalgo | Biomass | South | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5
Rhodia Houston Plant | DG__HG_2UNITS | Harris | Other | Houston | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5
Rio Nogales 1 | RIONOG_CT1 | Guadalupe | Gas | South | 142 | 142 | 142 | 142 | 142 | 142
Rio Nogales 2 | RIONOG_CT2 | Guadalupe | Gas | South | 142 | 142 | 142 | 142 | 142 | 142
Rio Nogales 3 | RIONOG_CT3 | Guadalupe | Gas | South | 142 | 142 | 142 | 142 | 142 | 142
Rio Nogales 4 | RIONOG_ST1 | Guadalupe | Gas | South | 323 | 323 | 323 | 323 | 323 | 323
Sam Bertron 1 | SRB_SRB_G1 | Harris | Gas | Houston | 174 | 174 | 174 | 174 | 174 | 174
Sam Bertron 2 | SRB_SRB_G2 | Harris | Gas | Houston | 174 | 174 | 174 | 174 | 174 | 174
Sam Bertron 3 | SRB_SRB_G3 | Harris | Gas | Houston | 230 | 230 | 230 | 230 | 230 | 230
Sam Bertron 4 | SRB_SRB_G4 | Harris | Gas | Houston | 230 | 230 | 230 | 230 | 230 | 230
Sam Bertron T2 | SRB_SRBGT_2 | Harris | Gas | Houston | 13 | 13 | 13 | 13 | 13 | 13
San Jacinto SES 1 | SJS_SJS_G1 | Harris | Gas | Houston | 81 | 81 | 81 | 81 | 81 | 81
San Jacinto SES 2 | SJS_SJS_G2 | Harris | Gas | Houston | 81 | 81 | 81 | 81 | 81 | 81
San Miguel 1 | SANMIGL_SANMIGG1 | Atascosa | Coal | South | 391 | 391 | 391 | 391 | 391 | 391
Sandhill Energy Center 1 | SANDHSYD_SH1 | Travis | Gas | South | 45 | 45 | 45 | 45 | 45 | 45
Sandhill Energy Center 2 | SANDHSYD_SH2 | Travis | Gas | South | 46 | 46 | 46 | 46 | 46 | 46
Sandhill Energy Center 3 | SANDHSYD_SH3 | Travis | Gas | South | 46 | 46 | 46 | 46 | 46 | 46
Sandhill Energy Center 4 | SANDHSYD_SH4 | Travis | Gas | South | 47 | 47 | 47 | 47 | 47 | 47
Sandhill Energy Center 5A | SANDHSYD_SH_5A | Travis | Gas | South | 155 | 155 | 155 | 155 | 155 | 155
Sandhill Energy Center 5C | SANDHSYD_SH_5C | Travis | Gas | South | 145 | 145 | 145 | 145 | 145 | 145
Sandow 5 | SD5SES_UNIT5 | Milam | Coal | South | 560 | 560 | 560 | 560 | 560 | 560
Silas Ray 10 | SILASRAY_SILAS_10 | Cameron | Gas | South | 48 | 48 | 48 | 48 | 48 | 48
Silas Ray 5 | SILASRAY_SILAS_5 | Cameron | Gas | South | 10 | 10 | 10 | 10 | 10 | 10
Silas Ray 6 | SILASRAY_SILAS_6 | Cameron | Gas | South | 20 | 20 | 20 | 20 | 20 | 20
Silas Ray 9 | SILASRAY_SILAS_9 | Cameron | Gas | South | 38 | 38 | 38 | 38 | 38 | 38
Sim Gideon 1 | GIDEON_GIDEONG1 | Bastrop | Gas | South | 137 | 137 | 137 | 137 | 137 | 137
Sim Gideon 2 | GIDEON_GIDEONG2 | Bastrop | Gas | South | 139 | 139 | 139 | 139 | 139 | 139
Sim Gideon 3 | GIDEON_GIDEONG3 | Bastrop | Gas | South | 335 | 335 | 335 | 335 | 335 | 335
Skyline Landfill Gas | DG_FERIS_4UNITS | Dallas | Other | North | 6.4 | 6.4 | 6.4 | 6.4 | 6.4 | 6.4
Small Hydro of Texas 1 | CUECPL_UNIT1 | Dewitt | Hydro | South | 1 | 1 | 1 | 1 | 1 | 1
South Texas 1 | STP_STP_G1 | Matagorda | Nuclear | Houston | 1362 | 1362 | 1362 | 1362 | 1362 | 1362
South Texas 2 | STP_STP_G2 | Matagorda | Nuclear | Houston | 1362 | 1362 | 1362 | 1362 | 1362 | 1362
Spencer 4 | SPNCER_SPNCE_4 | Denton | Gas | North | 61 | 61 | 61 | 61 | 61 | 61
Spencer 5 | SPNCER_SPNCE_5 | Denton | Gas | North | 61 | 61 | 61 | 61 | 61 | 61
Stryker Creek 1 | SC2SES_UNIT1 | Cherokee | Gas | North | 174 | 174 | 174 | 174 | 174 | 174
Stryker Creek 2 | SCSES_UNIT2 | Cherokee | Gas | North | 502 | 502 | 502 | 502 | 502 | 502
T H Wharton 3 | THW_THWST_3 | Harris | Gas | Houston | 104 | 104 | 104 | 104 | 104 | 104
T H Wharton 31 | THW_THWGT31 | Harris | Gas | Houston | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 32 | THW_THWGT32 | Harris | Gas | Houston | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 33 | THW_THWGT33 | Harris | Gas | Houston | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 34 | THW_THWGT34 | Harris | Gas | Houston | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 4 | THW_THWST_4 | Harris | Gas | Houston | 104 | 104 | 104 | 104 | 104 | 104
T H Wharton 41 | THW_THWGT41 | Harris | Gas | Houston | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 42 | THW_THWGT42 | Harris | Gas | Houston | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 43 | THW_THWGT43 | Harris | Gas | Houston | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 44 | THW_THWGT44 | Harris | Gas | Houston | 57 | 57 | 57 | 57 | 57 | 57
T H Wharton 51 | THW_THWGT51 | Harris | Gas | Houston | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 52 | THW_THWGT52 | Harris | Gas | Houston | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 53 | THW_THWGT53 | Harris | Gas | Houston | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 54 | THW_THWGT54 | Harris | Gas | Houston | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 55 | THW_THWGT55 | Harris | Gas | Houston | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton 56 | THW_THWGT56 | Harris | Gas | Houston | 58 | 58 | 58 | 58 | 58 | 58
T H Wharton G1 | THW_THWGT_1 | Harris | Gas | Houston | 13 | 13 | 13 | 13 | 13 | 13
Tessman Road 1 | DG_WALZE_4UNITS | Bexar | Biomass | South | 10 | 10 | 10 | 10 | 10 | 10
Texas City 1 | TXCTY_CTA | Galveston | Gas | Houston | 100 | 100 | 100 | 100 | 100 | 100
Texas City 2 | TXCTY_CTB | Galveston | Gas | Houston | 93 | 93 | 93 | 93 | 93 | 93
Texas City 3 | TXCTY_CTC | Galveston | Gas | Houston | 93 | 93 | 93 | 93 | 93 | 93
Texas City 4 | TXCTY_ST | Galveston | Gas | Houston | 128 | 128 | 128 | 128 | 128 | 128
Texas Gulf Sulphur | TGF_TGFGT_1 | Wharton | Gas | Houston | 70 | 70 | 70 | 70 | 70 | 70
Thomas C Ferguson 1 | FERGUS_FERGUSG1 | Llano | Gas | South | 424 | 424 | 424 | 424 | 424 | 424
Tradinghouse 2 | THSES_UNIT2 | Mclennan | Gas | North | 787 | 787 | 787 | 787 | 787 | 787
Trinidad 6 | TRSES_UNIT6 | Henderson | Gas | North | 230 | 230 | 230 | 230 | 230 | 230
Trinity Oaks LFG | DG_KLBRG_1UNIT | Dallas | Biomass | North | 3.2 | 3.2 | 3.2 | 3.2 | 3.2 | 3.2
Twin Oaks 1 | TNP_ONE_TNP_O_1 | Robertson | Coal | North | 156 | 156 | 156 | 156 | 156 | 156
Twin Oaks 2 | TNP_ONE_TNP_O_2 | Robertson | Coal | North | 156 | 156 | 156 | 156 | 156 | 156
V H Braunig 1 | BRAUNIG_VHB1 | Bexar | Gas | South | 215 | 215 | 215 | 215 | 215 | 215
V H Braunig 2 | BRAUNIG_VHB2 | Bexar | Gas | South | 220 | 220 | 220 | 220 | 220 | 220
V H Braunig 3 | BRAUNIG_VHB3 | Bexar | Gas | South | 397 | 397 | 397 | 397 | 397 | 397
Valley 1 | VLSES_UNIT1 | Fannin | Gas | North | 174 | 174 | 174 | 174 | 174 | 174
Valley 2 | VLSES_UNIT2 | Fannin | Gas | North | 520 | 520 | 520 | 520 | 520 | 520
Valley 3 | VLSES_UNIT3 | Fannin | Gas | North | 375 | 375 | 375 | 375 | 375 | 375
Victoria Power Station 5 | VICTORIA_VICTORG5 | Victoria | Gas | South | 133 | 133 | 133 | 133 | 133 | 133
Victoria Power Station 6 | VICTORIA_VICTORG6 | Victoria | Gas | South | 164 | 164 | 164 | 164 | 164 | 164
W A Parish 1 | WAP_WAP_G1 | Ft. Bend | Gas | Houston | 174 | 174 | 174 | 174 | 174 | 174
W A Parish 2 | WAP_WAP_G2 | Ft. Bend | Gas | Houston | 174 | 174 | 174 | 174 | 174 | 174
W A Parish 3 | WAP_WAP_G3 | Ft. Bend | Gas | Houston | 278 | 278 | 278 | 278 | 278 | 278
W A Parish 4 | WAP_WAP_G4 | Ft. Bend | Gas | Houston | 552 | 552 | 552 | 552 | 552 | 552
W A Parish 5 | WAP_WAP_G5 | Ft. Bend | Coal | Houston | 645 | 645 | 645 | 645 | 645 | 645
W A Parish 6 | WAP_WAP_G6 | Ft. Bend | Coal | Houston | 650 | 650 | 650 | 650 | 650 | 650
W A Parish 7 | WAP_WAP_G7 | Ft. Bend | Coal | Houston | 565 | 565 | 565 | 565 | 565 | 565
W A Parish 8 | WAP_WAP_G8 | Ft. Bend | Coal | Houston | 600 | 600 | 600 | 600 | 600 | 600
W A Parish T1 | WAP_WAPGT_1 | Ft. Bend | Gas | Houston | 13 | 13 | 13 | 13 | 13 | 13
Whitney 1 | WND_WHITNEY1 | Bosque | Hydro | North | 15 | 15 | 15 | 15 | 15 | 15
Whitney 2 | WND_WHITNEY2 | Bosque | Hydro | North | 15 | 15 | 15 | 15 | 15 | 15
Wichita Falls 1 | WFCOGEN_UNIT1 | Wichita | Gas | North | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 2 | WFCOGEN_UNIT2 | Wichita | Gas | North | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 3 | WFCOGEN_UNIT3 | Wichita | Gas | North | 20 | 20 | 20 | 20 | 20 | 20
Wichita Falls 4 | WFCOGEN_UNIT4 | Wichita | Gas | North | 17 | 17 | 17 | 17 | 17 | 17
Winchester Power Park 1 | WIPOPA_WPP_G1 | Fayette | Gas | South | 45 | 45 | 45 | 45 | 45 | 45
Winchester Power Park 2 | WIPOPA_WPP_G2 | Fayette | Gas | South | 45 | 45 | 45 | 45 | 45 | 45
Winchester Power Park 3 | WIPOPA_WPP_G3 | Fayette | Gas | South | 45 | 45 | 45 | 45 | 45 | 45
Winchester Power Park 4 | WIPOPA_WPP_G4 | Fayette | Gas | South | 45 | 45 | 45 | 45 | 45 | 45
Wise-Tractebel Power Proj. 1 | WCPP_CT1 | Wise | Gas | North | 212 | 212 | 212 | 212 | 212 | 212
Wise-Tractebel Power Proj. 2 | WCPP_CT2 | Wise | Gas | North | 212 | 212 | 212 | 212 | 212 | 212
Wise-Tractebel Power Proj. 3 | WCPP_ST1 | Wise | Gas | North | 241 | 241 | 241 | 241 | 241 | 241
Wolf Hollow Power Proj. 1 | WHCCS_CT1 | Hood | Gas | North | 212 | 212 | 212 | 212 | 212 | 212
Wolf Hollow Power Proj. 2 | WHCCS_CT2 | Hood | Gas | North | 212 | 212 | 212 | 212 | 212 | 212
Wolf Hollow Power Proj. 3 | WHCCS_STG | Hood | Gas | North | 280 | 280 | 280 | 280 | 280 | 280
Operational |  |  |  |  | 64939.65 | 64939.65 | 64939.65 | 64939.65 | 64939.65 | 64939.65
[5 empty] | 12 | 12 | 12 | 12 | 12 | 12
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 661 | 661 | 661 | 661 | 661 | 661
[5 empty] | 74 | 74 | 74 | 74 | 74 | 74
[5 empty] | 565 | 565 | 565 | 565 | 565 | 565
[5 empty] | 300 | 300 | 300 | 300 | 300 | 300
[5 empty] | 166 | 166 | 166 | 166 | 166 | 166
[5 empty] | 18 | 18 | 18 | 18 | 18 | 18
[5 empty] | 341 | 341 | 341 | 341 | 341 | 341
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 269 | 269 | 269 | 269 | 269 | 269
[5 empty] | 10 | 0 | 0 | 0 | 0 | 0
[5 empty] | 280 | 280 | 280 | 280 | 280 | 280
[5 empty] | 215 | 215 | 215 | 215 | 215 | 215
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 50 | 50 | 50 | 50 | 50 | 50
[5 empty] | 31 | 56 | 56 | 56 | 56 | 56
[5 empty] | 400 | 400 | 400 | 400 | 400 | 400
[5 empty] | 360 | 360 | 360 | 360 | 360 | 360
[5 empty] | 110 | 110 | 110 | 110 | 110 | 110
[5 empty] | 25 | 25 | 25 | 25 | 25 | 25
[5 empty] | 6 | 6 | 6 | 6 | 6 | 6
[5 empty] | 485 | 485 | 485 | 485 | 485 | 485
[5 empty] | 325 | 325 | 325 | 325 | 325 | 325
[5 empty] | 596 | 596 | 596 | 596 | 596 | 596
[5 empty] | 3 | 3 | 3 | 3 | 3 | 3
[5 empty] | 15 | 15 | 15 | 15 | 15 | 15
[5 empty] | 0 | 10 | 10 | 10 | 10 | 10
[5 empty] | 1 | 1 | 1 | 1 | 1 | 1
Generation from Private Use Networks |  |  |  |  | 5318 | 5343 | 5343 | 5343 | 5343 | 5343
Permian Basin 5 | PB5SES_UNIT5 | Ward | Gas | West | 112 | 0 | 0 | 0 | 0 | 0
Permian Basin 6 | PBSES_UNIT6 | Ward | Gas | West | 515 | 0 | 0 | 0 | 0 | 0
RMR |  |  |  |  | 627 | 0 | 0 | 0 | 0 | 0
Eagle Pass | DC Tie | Maverick | Other | South | 36 | 36 | 36 | 36 | 36 | 36
East | DC Tie | Fannin | Other | North | 600 | 600 | 600 | 600 | 600 | 600
Laredo VFT | DC Tie | Webb | Other | South | 100 | 100 | 100 | 100 | 100 | 100
North | DC Tie | Wilbarger | Other | West | 220 | 220 | 220 | 220 | 220 | 220
Sharyland | DC Tie | Hidalgo | Other | South | 150 | 150 | 150 | 150 | 150 | 150
DC-Ties |  |  |  |  | 1106 | 1106 | 1106 | 1106 | 1106 | 1106
Kiamichi Energy Facility 1CT101 | KMCHI_1CT101 | Pittsburg | Gas | North | 142 | 142 | 142 | 142 | 142 | 142
Kiamichi Energy Facility 1CT201 | KMCHI_1CT201 | Pittsburg | Gas | North | 144 | 144 | 144 | 144 | 144 | 144
Kiamichi Energy Facility 1ST | KMCHI_1ST | Pittsburg | Gas | North | 310 | 310 | 310 | 310 | 310 | 310
Kiamichi Energy Facility 2CT101 | KMCHI_2CT101 | Pittsburg | Gas | North | 136 | 136 | 136 | 136 | 136 | 136
Kiamichi Energy Facility 2CT201 | KMCHI_2CT201 | Pittsburg | Gas | North | 138 | 138 | 138 | 138 | 138 | 138
Kiamichi Energy Facility 2ST | KMCHI_2ST | Pittsburg | Gas | North | 303 | 303 | 303 | 303 | 303 | 303
Tenaska-Frontier 1 | FTR_FTR_G1 | Grimes | Gas | North | 156 | 156 | 156 | 156 | 156 | 156
Tenaska-Frontier 2 | FTR_FTR_G2 | Grimes | Gas | North | 159 | 159 | 159 | 159 | 159 | 159
Tenaska-Frontier 3 | FTR_FTR_G3 | Grimes | Gas | North | 158 | 158 | 158 | 158 | 158 | 158
Tenaska-Frontier 4 | FTR_FTR_G4 | Grimes | Gas | North | 380 | 380 | 380 | 380 | 380 | 380
Tenaska-Gateway 1 | TGCCS_CT1 | Rusk | Gas | North | 149 | 149 | 149 | 149 | 149 | 149
Tenaska-Gateway 2 | TGCCS_CT2 | Rusk | Gas | North | 128 | 128 | 128 | 128 | 128 | 128
Tenaska-Gateway 3 | TGCCS_CT3 | Rusk | Gas | North | 146 | 146 | 146 | 146 | 146 | 146
Tenaska-Gateway 4 | TGCCS_UNIT4 | Rusk | Gas | North | 399 | 399 | 399 | 399 | 399 | 399
Switchable Resources |  |  |  |  | 2848 | 2848 | 2848 | 2848 | 2848 | 2848
Barton Chapel Wind | BRTSW_BCW1 | Jack | Wind | North | 120 | 120 | 120 | 120 | 120 | 120
Buffalo Gap Wind Farm 1 | BUFF_GAP_UNIT1 | Taylor | Wind | West | 120 | 120 | 120 | 120 | 120 | 120
Buffalo Gap Wind Farm 2 | BUFF_GAP_UNIT2 | Taylor | Wind | West | 233 | 233 | 233 | 233 | 233 | 233
Buffalo Gap Wind Farm 3 | BUFF_GAP_UNIT3 | Taylor | Wind | West | 150 | 150 | 150 | 150 | 150 | 150
Bull Creek Wind Plant | BULLCRK_WND1 | Borden | Wind | West | 91 | 91 | 91 | 91 | 91 | 91
Bull Creek Wind Plant | BULLCRK_WND2 | Borden | Wind | West | 89 | 89 | 89 | 89 | 89 | 89
Callahan Wind | CALLAHAN_WND1 | Callahan | Wind | West | 114 | 114 | 114 | 114 | 114 | 114
Camp Springs 1 | CSEC_CSECG1 | Scurry | Wind | West | 130 | 130 | 130 | 130 | 130 | 130
Camp Springs 2 | CSEC_CSECG2 | Scurry | Wind | West | 120 | 120 | 120 | 120 | 120 | 120
Capricorn Ridge Wind 1 | CAPRIDGE_CR1 | Sterling | Wind | West | 200 | 200 | 200 | 200 | 200 | 200
Capricorn Ridge Wind 2 | CAPRIDGE_CR3 | Sterling | Wind | West | 186 | 186 | 186 | 186 | 186 | 186
Capricorn Ridge Wind 3 | CAPRIDGE_CR2 | Sterling | Wind | West | 140 | 140 | 140 | 140 | 140 | 140
Capricorn Ridge Wind 4 | CAPRIDG4_CR4 | Sterling | Wind | West | 115 | 115 | 115 | 115 | 115 | 115
Champion Wind Farm | TKWSW_CHAMPION | Nolan | Wind | West | 120 | 120 | 120 | 120 | 120 | 120
Delaware Mountain Wind Farm | DELAWARE_WIND_NWP | Culberson | Wind | West | 30 | 30 | 30 | 30 | 30 | 30
Desert Sky Wind Farm 1 | INDNENR_INDNENR | Pecos | Wind | West | 25 | 25 | 25 | 25 | 25 | 25
Desert Sky Wind Farm 2 | INDNENR_INDNENR_2 | Pecos | Wind | West | 135 | 135 | 135 | 135 | 135 | 135
Elbow Creek Wind Project | ELB_ELBCREEK | Howard | Wind | West | 117 | 117 | 117 | 117 | 117 | 117
Forest Creek Wind Farm | MCDLD_FCW1 | Glasscock | Wind | West | 124 | 124 | 124 | 124 | 124 | 124
Goat Wind | GOAT_GOATWIND | Sterling | Wind | West | 150 | 150 | 150 | 150 | 150 | 150
Green Mountain Energy 1 | BRAZ_WND_WND1 | Scurry | Wind | West | 99 | 99 | 99 | 99 | 99 | 99
Green Mountain Energy 2 | BRAZ_WND_WND2 | Scurry | Wind | West | 61 | 61 | 61 | 61 | 61 | 61
Gulf Wind I | TGW_T1 | Kenedy | Wind | South | 143 | 143 | 143 | 143 | 143 | 143
Gulf Wind II | TGW_T2 | Kenedy | Wind | South | 140 | 140 | 140 | 140 | 140 | 140
Hackberry Wind Farm | HWF_HWFG1 | Shackelford | Wind | North | 165 | 165 | 165 | 165 | 165 | 165
Horse Hollow Wind 1 | H_HOLLOW_WND1 | Taylor | Wind | West | 210 | 210 | 210 | 210 | 210 | 210
Horse Hollow Wind 2 | HHOLLOW4_WND1 | Taylor | Wind | West | 115 | 115 | 115 | 115 | 115 | 115
Horse Hollow Wind 3 | HHOLLOW3_WND_1 | Taylor | Wind | West | 220 | 220 | 220 | 220 | 220 | 220
Horse Hollow Wind 4 | HHOLLOW2_WIND1 | Taylor | Wind | West | 180 | 180 | 180 | 180 | 180 | 180
Inadale Wind | INDL_INADALE1 | Nolan | Wind | West | 197 | 197 | 197 | 197 | 197 | 197
Indian Mesa Wind Farm | INDNNWP_INDNNWP | Pecos | Wind | West | 80 | 80 | 80 | 80 | 80 | 80
King Mountain NE | KING_NE_KINGNE | Upton | Wind | West | 80 | 80 | 80 | 80 | 80 | 80
King Mountain NW | KING_NW_KINGNW | Upton | Wind | West | 80 | 80 | 80 | 80 | 80 | 80
King Mountain SE | KING_SE_KINGSE | Upton | Wind | West | 43 | 43 | 43 | 43 | 43 | 43
King Mountain SW | KING_SW_KINGSW | Upton | Wind | West | 80 | 80 | 80 | 80 | 80 | 80
Kunitz Wind | KUNITZ_WIND_LGE | Culberson | Wind | West | 35 | 35 | 35 | 35 | 35 | 35
Langford Wind Power | LGD_LANGFORD | Tom Green | Wind | West | 150 | 150 | 150 | 150 | 150 | 150
Loraine Windpark I | LONEWOLF_G1 | Mitchell | Wind | West | 126 | 126 | 126 | 126 | 126 | 126
Loraine Windpark II | LONEWOLF_G2 | Mitchell | Wind | West | 125 | 125 | 125 | 125 | 125 | 125
McAdoo Wind Farm | MWEC_G1 | Dickens | Wind | West | 150 | 150 | 150 | 150 | 150 | 150
Mesquite Wind | LNCRK_G83 | Shackelford | Wind | North | 200 | 200 | 200 | 200 | 200 | 200
Notrees-1 | NWF_NWF1 | Winkler | Wind | West | 153 | 153 | 153 | 153 | 153 | 153
Ocotillo Wind Farm | OWF_OWF | Howard | Wind | West | 59 | 59 | 59 | 59 | 59 | 59
Panther Creek 1 | PC_NORTH_PANTHER1 | Howard | Wind | West | 143 | 143 | 143 | 143 | 143 | 143
Panther Creek 2 | PC_SOUTH_PANTHER2 | Howard | Wind | West | 115 | 115 | 115 | 115 | 115 | 115
Pecos Wind (Woodward 1) | WOODWRD1_WOODWRD1 | Pecos | Wind | West | 80 | 80 | 80 | 80 | 80 | 80
Pecos Wind (Woodward 2) | WOODWRD2_WOODWRD2 | Pecos | Wind | West | 80 | 80 | 80 | 80 | 80 | 80
Penascal Wind | PENA_UNIT1 | Kenedy | Wind | South | 101 | 101 | 101 | 101 | 101 | 101
Penascal Wind | PENA_UNIT2 | Kenedy | Wind | South | 101 | 101 | 101 | 101 | 101 | 101
Post Oak Wind 1 | LNCRK2_G871 | Shackelford | Wind | North | 100 | 100 | 100 | 100 | 100 | 100
Post Oak Wind 2 | LNCRK2_G872 | Shackelford | Wind | North | 100 | 100 | 100 | 100 | 100 | 100
Pyron Wind Farm | PYR_PYRON1 | Scurry | Wind | West | 249 | 249 | 249 | 249 | 249 | 249
Red Canyon | RDCANYON_RDCNY1 | Borden | Wind | West | 84 | 84 | 84 | 84 | 84 | 84
Roscoe Wind Farm | TKWSW1_ROSCOE | Nolan | Wind | West | 200 | 200 | 200 | 200 | 200 | 200
Sand Bluff Wind Farm | MCDLD_SBW1 | Glasscock | Wind | West | 90 | 90 | 90 | 90 | 90 | 90
Sherbino I | KEO_KEO_SM1 | Pecos | Wind | West | 150 | 150 | 150 | 150 | 150 | 150
Silver Star | FLTCK_SSI | Eastland | Wind | North | 60 | 60 | 60 | 60 | 60 | 60
Snyder Wind Farm | ENAS_ENA1 | Scurry | Wind | West | 63 | 63 | 63 | 63 | 63 | 63
South Trent Wind Farm | STWF_T1 | Nolan | Wind | West | 98 | 98 | 98 | 98 | 98 | 98
Stanton Wind Energy | SWEC_G1 | Martin | Wind | West | 120 | 120 | 120 | 120 | 120 | 120
Sweetwater Wind 1 | SWEETWND_WND1 | Nolan | Wind | West | 37 | 37 | 37 | 37 | 37 | 37
Sweetwater Wind 2 | SWEETWN2_WND24 | Nolan | Wind | West | 16 | 16 | 16 | 16 | 16 | 16
Sweetwater Wind 3 | SWEETWN2_WND2 | Nolan | Wind | West | 100 | 100 | 100 | 100 | 100 | 100
Sweetwater Wind 4 | SWEETWN3_WND3 | Nolan | Wind | West | 130 | 130 | 130 | 130 | 130 | 130
Sweetwater Wind 5 | SWEETWN4_WND5 | Nolan | Wind | West | 80 | 80 | 80 | 80 | 80 | 80
Sweetwater Wind 6 | SWEETWN4_WND4B | Nolan | Wind | West | 105 | 105 | 105 | 105 | 105 | 105
Sweetwater Wind 7 | SWEETWN4_WND4A | Nolan | Wind | West | 119 | 119 | 119 | 119 | 119 | 119
Texas Big Spring | SGMTN_SIGNALMT | Howard | Wind | West | 40 | 40 | 40 | 40 | 40 | 40
Trent Wind Farm | TRENT_TRENT | Nolan | Wind | West | 150 | 150 | 150 | 150 | 150 | 150
TSTC West Texas Wind | DG_ROSC2_1UNIT | Nolan | Wind | West | 2 | 2 | 2 | 2 | 2 | 2
Turkey Track Wind Energy Center | TTWEC_G1 | Nolan | Wind | West | 170 | 170 | 170 | 170 | 170 | 170
West Texas Wind Energy | SW_MESA_SW_MESA | Upton | Wind | West | 70 | 70 | 70 | 70 | 70 | 70
Whirlwind Energy | WEC_WECG1 | Floyd | Wind | West | 60 | 60 | 60 | 60 | 60 | 60
Wolfe Flats | DG_TURL_UNIT1 | Hall | Wind | West | 10 | 10 | 10 | 10 | 10 | 10
Wolfe Ridge | WHTTAIL_WR1 | Cooke | Wind | North | 113 | 113 | 113 | 113 | 113 | 113
Papalote Creek Wind Farm | PAP1_PAP1 | San Patricio | Wind | South | 180 | 180 | 180 | 180 | 180 | 180
Panther Creek 3 | PC_SOUTH_PANTHER3 | Howard | Wind | West | 200 | 200 | 200 | 200 | 200 | 200
WIND |  |  |  |  | 8916 | 8916 | 8916 | 8916 | 8916 | 8916
Cedro Hill Wind | 09INR0082 | Webb | Wind |  | 150 | 150 | 150 | 150 | 150 | 150
Sherbino Mesa Wind Farm 2 | 06INR0012b | Pecos | Wind |  | 150 | 150 | 150 | 150 | 150 | 150
Senate Wind Project | 08INR0011 | Jack | Wind |  | 0 | 150 | 150 | 150 | 150 | 150
Cedar Elm | 04INR0011b | Shackelford | Wind |  | 0 | 136 | 136 | 136 | 136 | 136
Penascal Wind Farm 2 | 06INR0022c | Kenedy | Wind |  | 0 | 202 | 202 | 202 | 202 | 202
Gunsight Mountain | 08INR0018 | Howard | Wind |  | 0 | 0 | 120 | 120 | 120 | 120
Cottonwood Wind | 04INR0011c | Shackelford | Wind |  | 0 | 0 | 100 | 100 | 100 | 100
Wild Horse Mountain | 06INR0026 | Howard | Wind |  | 0 | 0 | 120 | 120 | 120 | 120
Penascal Wind Farm 3 | 06INR0022b | Kenedy | Wind |  | 0 | 0 | 202 | 202 | 202 | 202
Sterling Energy Center | 09INR0026 | Sterling | Wind |  | 0 | 0 | 300 | 300 | 300 | 300
Lenorah Project | 08INR0040 | Martin | Wind |  | 0 | 0 | 0 | 251 | 251 | 251
New Wind Generation |  |  |  |  | 300 | 788 | 1630 | 1881 | 1881 | 1881
V H Braunig 6 | 09INR0028 | Bexar | Gas |  | 185 | 185 | 185 | 185 | 185 | 185
TECO Central Plant | 11INR0014 | Harris | Gas |  | 50 | 50 | 50 | 50 | 50 | 50
Lufkin | 08INR0033 | Angelina | Biomass |  | 45 | 45 | 45 | 45 | 45 | 45
Oak Grove SES 2 | 09INR0006b | Robertson | Coal |  | 855 | 855 | 855 | 855 | 855 | 855
Pearsall Engine Phase II | 09INR0079b | Frio | Gas |  | 100 | 100 | 100 | 100 | 100 | 100
Sand Hill Peakers | 09INR0045 | Travis | Gas |  | 94 | 94 | 94 | 94 | 94 | 94
CFB Power Plant Units 11&12 | 09INR0029 | Calhoun | Coal |  | 0 | 263 | 263 | 263 | 263 | 263
Jack County 2 | 10INR0010 | Jack | Gas |  | 0 | 620 | 620 | 620 | 620 | 620
Nacogdoches Project | 09INR0007 | Nacogdoches | Biomass |  | 0 | 0 | 100 | 100 | 100 | 100
Sandy Creek 1 | 09INR0001 | McLennan | Coal |  | 0 | 0 | 925 | 925 | 925 | 925
New Units with Signed IA and Air Permit |  |  |  |  | 1329 | 2212 | 3237 | 3237 | 3237 | 3237
Atkins 3 | ATKINS_ATKINSG3 | Brazos | Gas | North | 12 | 12 | 12 | 12 | 12 | 12
Atkins 4 | ATKINS_ATKINSG4 | Brazos | Gas | North | 22 | 22 | 22 | 22 | 22 | 22
Atkins 5 | ATKINS_ATKINSG5 | Brazos | Gas | North | 25 | 25 | 25 | 25 | 25 | 25
Atkins 6 | ATKINS_ATKINSG6 | Brazos | Gas | North | 50 | 50 | 50 | 50 | 50 | 50
C E Newman 5 | NEWMAN_NEWMA_5 | Dallas | Gas | North | 37 | 37 | 37 | 37 | 37 | 37
Collin 1 | CNSES_UNIT1 | Collin | Gas | North | 147 | 147 | 147 | 147 | 147 | 147
W B Tuttle 1 | TUTTLE_WBT1G1 | Bexar | Gas | South | 61 | 61 | 61 | 61 | 61 | 61
W B Tuttle 3 | TUTTLE_WBT3G3 | Bexar | Gas | South | 90 | 90 | 90 | 90 | 90 | 90
W B Tuttle 4 | TUTTLE_WBT4G4 | Bexar | Gas | South | 154 | 154 | 154 | 154 | 154 | 154
DeCordova 1 | DC3SES_UNIT1 | Hood | Gas | North | 816 | 816 | 816 | 816 | 816 | 816
Eagle Mountain 1 | EMSES_UNIT1 | Tarrant | Gas | North | 118 | 118 | 118 | 118 | 118 | 118
Eagle Mountain 2 | EMSES_UNIT2 | Tarrant | Gas | North | 100 | 100 | 100 | 100 | 100 | 100
Eagle Mountain 3 | EMSES_UNIT3 | Tarrant | Gas | North | 390 | 390 | 390 | 390 | 390 | 390
Lake Creek 1 | LCSES_UNIT1 | Mclennan | Gas | North | 81 | 81 | 81 | 81 | 81 | 81
Lake Creek 2 | LCSES_UNIT2 | Mclennan | Gas | North | 239 | 239 | 239 | 239 | 239 | 239
Permian Basin 5 | PB5SES_UNIT5 | Ward | Gas | West | 112 | 112 | 112 | 112 | 112 | 112
Permian Basin 6 | PBSES_UNIT6 | Ward | Gas | West | 515 | 515 | 515 | 515 | 515 | 515
J L Bates 1 | BATES_BATES_G1 | Hidalgo | Gas | South | 75 | 75 | 75 | 75 | 75 | 75
J L Bates 2 | BATES_BATES_G2 | Hidalgo | Gas | South | 113.7 | 113.7 | 113.7 | 113.7 | 113.7 | 113.7
Mothballed Resources |  |  |  |  | 3157.7 | 3157.7 | 3157.7 | 3157.7 | 3157.7 | 3157.7
Panda Temple Power | 10INR0020 | Bell | Gas |  | 0 | 1092 | 1092 | 1092 | 1092 | 1092
Pampa Energy Center | 07INR0004 | Gray | Coal |  | 0 | 0 | 165 | 165 | 165 | 165
Comanche Peak 3 and 4 | 15INR0002 | Somervel | Nuclear |  | 0 | 0 | 0 | 0 | 0 | 3200
STP 3 and 4 | 15INR0008 | Matagorda | Nuclear |  | 0 | 0 | 0 | 0 | 0 | 2700
Potential Public Non-Wind Resources |  |  |  |  | 0 | 1092 | 1257 | 1257 | 1257 | 7157
Gatesville Wind Farm | 09INR0034 | Coryell | Wind |  | 200 | 200 | 200 | 200 | 200 | 200
M Bar Wind | 08INR0038 | Andrews | Wind |  | 194 | 194 | 194 | 194 | 194 | 194
Scurry County Wind III | 09INR0037 | Scurry | Wind |  | 350 | 350 | 350 | 350 | 350 | 350
Papalote Creek Phase 2 | 08INR0012b | San Patricio | Wind |  | 151 | 151 | 151 | 151 | 151 | 151
Gulf Wind 3 | 05INR0015c | Kenedy | Wind |  | 0 | 400 | 400 | 400 | 400 | 400
Gulf Wind 2 | 05INR0015b | Kenedy | Wind |  | 0 | 400 | 400 | 400 | 400 | 400
Throckmorton Wind Farm | 12INR0003 | Throckmorton | Wind |  | 0 | 400 | 400 | 400 | 400 | 400
Buffalo Gap 4 and 5 | 08INR0065 | Nolan | Wind |  | 0 | 465 | 465 | 465 | 465 | 465
Pistol Hill Energy Center | 08INR0025 | Ector | Wind |  | 0 | 0 | 300 | 300 | 300 | 300
B&B Panhandle Wind | 09INR0024 | Carson | Wind |  | 0 | 0 | 1001 | 1001 | 1001 | 1001
Sterling Energy Center | 09INR0026a | Sterling | Wind |  | 0 | 0 | 200 | 200 | 200 | 200
Fort Concho Wind Farm | 12INR0004 | Tom Green | Wind |  | 0 | 0 | 400 | 400 | 400 | 400
McAdoo Energy Center II | 09INR0036 | Dickens | Wind |  | 0 | 0 | 0 | 500 | 500 | 500
Potential Public Wind Resources |  |  |  |  | 895 | 2560 | 4461 | 4961 | 4961 | 4961
| 10INR0011 | Johnson | Gas |  | 275 | 275 | 275 | 275 | 275 | 275
| 10INR0069 | Rusk | Coal |  | 13 | 13 | 13 | 13 | 13 | 13
| 09INR0081 | Rusk | Coal |  | 18 | 18 | 18 | 18 | 18 | 18
| 10INR0029 | Hood | Gas |  | 810 | 810 | 810 | 810 | 810 | 810
| 10INR0035 | Harris | Gas |  | 416 | 416 | 416 | 416 | 416 | 416
| 10INR0012 | Nacogdoches | Gas |  | 300 | 300 | 300 | 300 | 300 | 300
| 10INR0070 | Hunt | Gas |  | 0 | 50 | 50 | 50 | 50 | 50
| 09INR0031 | Ector | Gas |  | 0 | 275 | 275 | 275 | 275 | 275
| 10INR0032 | Navarro | Gas |  | 0 | 775 | 775 | 775 | 775 | 775
| 10INR0080 | Presidio | Solar |  | 0 | 144 | 144 | 144 | 144 | 144
| 11INR0037 | Smith | Biomass |  | 0 | 50 | 50 | 50 | 50 | 50
| 11INR0028 | Grimes | Gas |  | 0 | 1280 | 1280 | 1280 | 1280 | 1280
| 11INR0046 | Brazoria | Gas |  | 0 | 300 | 300 | 300 | 300 | 300
| 11INR0048 | Harris | Gas |  | 0 | 300 | 300 | 300 | 300 | 300
| 11INR0058 | Pecos | Solar |  | 0 | 135 | 135 | 135 | 135 | 135
| 11INR0060 | Tom Green | Solar |  | 0 | 90 | 90 | 90 | 90 | 90
| 11INR0061 | Presidio | Solar |  | 0 | 90 | 90 | 90 | 90 | 90
| 09INR0050 | Fannin | Gas |  | 0 | 1200 | 1200 | 1200 | 1200 | 1200
| 11INR0006 | Lamar | Gas |  | 0 | 579 | 579 | 579 | 579 | 579
| 11INR0040 | freestone | Gas |  | 0 | 0 | 640 | 640 | 640 | 640
| 10INR0021 | Grayson | Gas |  | 0 | 0 | 646 | 646 | 646 | 646
| 10INR0018 | Madison | Gas |  | 0 | 0 | 550 | 550 | 550 | 550
| 11INR0049 | Wharton | Gas |  | 0 | 0 | 275 | 275 | 275 | 275
| 12INR0007 | Lamar | Gas |  | 0 | 0 | 296 | 296 | 296 | 296
| 12INR0006 | Limestone | Coal |  | 0 | 0 | 875 | 875 | 875 | 875
| 10INR0022 | Harris | Gas |  | 0 | 0 | 3500 | 3500 | 3500 | 3500
| 12INR0016 | Nueces | Other |  | 0 | 0 | 0 | 1200 | 1200 | 1200
| 14INR0002 | Goliad | Coal |  | 0 | 0 | 0 | 0 | 756 | 756
| 14INR0003 | Nolan | Coal |  | 0 | 0 | 0 | 0 | 850 | 850
| 14INR0005 | Matagorda | Coal |  | 0 | 0 | 0 | 0 | 1200 | 1200
Potential Confidential Non-Wind Resources |  |  |  |  | 1832 | 7100 | 13882 | 15082 | 17888 | 17888
| 08INR0049 | Clay | Wind |  | 50 | 50 | 50 | 50 | 50 | 50
| 09INR0073 | Scurry | Wind |  | 200 | 200 | 200 | 200 | 200 | 200
| 08INR0022 | Floyd | Wind |  | 100 | 100 | 100 | 100 | 100 | 100
| 08INR0023 | Floyd | Wind |  | 100 | 100 | 100 | 100 | 100 | 100
| 08INR0039 | Hamilton | Wind |  | 90 | 90 | 90 | 90 | 90 | 90
| 08INR0056 | Nolan | Wind |  | 149 | 149 | 149 | 149 | 149 | 149
| 09INR0051 | Borden | Wind |  | 249 | 249 | 249 | 249 | 249 | 249
| 09INR0054 | Stonewall | Wind |  | 148.5 | 148.5 | 148.5 | 148.5 | 148.5 | 148.5
| 09INR0061 | Kent | Wind |  | 258 | 258 | 258 | 258 | 258 | 258
| 09INR0058 | Howard | Wind |  | 250 | 250 | 250 | 250 | 250 | 250
| 09INR0065 | Webb | Wind |  | 150 | 150 | 150 | 150 | 150 | 150
| 11INR0012 | Duval | Wind |  | 400 | 400 | 400 | 400 | 400 | 400
| 11INR0013 | Mills | Wind |  | 150 | 150 | 150 | 150 | 150 | 150
| 09INR0077 | Reagan | Wind |  | 500 | 500 | 500 | 500 | 500 | 500
| 10INR0024 | Briscoe | Wind |  | 2940 | 2940 | 2940 | 2940 | 2940 | 2940
| 10INR0048 | Hardeman | Wind |  | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 11INR0033a | Cameron | Wind |  | 200 | 200 | 200 | 200 | 200 | 200
| 10INR0045 | Webb | Wind |  | 734 | 734 | 734 | 734 | 734 | 734
| 10INR0046 | Jim Hogg | Wind |  | 264 | 264 | 264 | 264 | 264 | 264
| 09INR0018 | Concho | Wind |  | 249 | 249 | 249 | 249 | 249 | 249
| 09INR0035 | Concho | Wind |  | 750 | 750 | 750 | 750 | 750 | 750
| 07INR0032 | Tom Green | Wind |  | 249 | 249 | 249 | 249 | 249 | 249
| 10INR0016 | Childress | Wind |  | 150 | 150 | 150 | 150 | 150 | 150
| 10INR0023 | Haskell | Wind |  | 386 | 386 | 386 | 386 | 386 | 386
| 09INR0069 | Reagan | Wind |  | 36 | 36 | 36 | 36 | 36 | 36
| 09INR0070 | Reagan | Wind |  | 42 | 42 | 42 | 42 | 42 | 42
| 10INR0054 | Palo Pinto | Wind |  | 36 | 36 | 36 | 36 | 36 | 36
| 10INR0062a | Pecos | Wind |  | 49.5 | 49.5 | 49.5 | 49.5 | 49.5 | 49.5
| 10INR0079 | Nolan | Wind |  | 60 | 60 | 60 | 60 | 60 | 60
| 10INR0013 | Upton | Wind |  | 400 | 400 | 400 | 400 | 400 | 400
| 10INR0052a | Knox | Wind |  | 21 | 21 | 21 | 21 | 21 | 21
| 10INR0057 | Taylor | Wind |  | 200 | 200 | 200 | 200 | 200 | 200
| 10INR0071 | Matagorda | Wind |  | 0 | 88 | 88 | 88 | 88 | 88
| 10INR0015 | Mitchell | Wind |  | 0 | 350 | 350 | 350 | 350 | 350
| 09INR0074 | Motley | Wind |  | 0 | 70 | 70 | 70 | 70 | 70
| 10INR0041 | Floyd | Wind |  | 0 | 135 | 135 | 135 | 135 | 135
| 10INR0081a | Clay | Wind |  | 0 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4
| 10INR0039 | Dickens | Wind |  | 0 | 200 | 200 | 200 | 200 | 200
| 11INR0029 | Throckmorton | Wind |  | 0 | 200 | 200 | 200 | 200 | 200
| 07INR0013 | Coke | Wind |  | 0 | 200 | 200 | 200 | 200 | 200
| 07INR0015 | Foard | Wind |  | 0 | 180 | 180 | 180 | 180 | 180
| 10INR0008 | Pecos | Wind |  | 0 | 500 | 500 | 500 | 500 | 500
| 07INR0026 | Baylor | Wind |  | 0 | 400 | 400 | 400 | 400 | 400
| 07INR0035 | Tom Green | Wind |  | 0 | 270 | 270 | 270 | 270 | 270
| 08INR0061 | Hardeman | Wind |  | 0 | 200 | 200 | 200 | 200 | 200
| 08INR0062 | Archer | Wind |  | 0 | 249 | 249 | 249 | 249 | 249
| 10INR0019 | Deaf Smith | Wind |  | 0 | 609 | 609 | 609 | 609 | 609
| 10INR0033 | Armstrong | Wind |  | 0 | 399 | 399 | 399 | 399 | 399
| 10INR0042 | Mason | Wind |  | 0 | 170 | 170 | 170 | 170 | 170
| 09INR0076 | Jackson | Wind |  | 0 | 300 | 300 | 300 | 300 | 300
| 10INR0056 | Borden | Wind |  | 0 | 249 | 249 | 249 | 249 | 249
| 10INR0059 | Zapata | Wind |  | 0 | 250.7 | 250.7 | 250.7 | 250.7 | 250.7
| 10INR0060 | Willacy | Wind |  | 0 | 400.5 | 400.5 | 400.5 | 400.5 | 400.5
| 10INR0077 | Callahan | Wind |  | 0 | 101 | 101 | 101 | 101 | 101
| 10INR0051 | Brazoria | Wind |  | 0 | 200 | 200 | 200 | 200 | 200
| 09INR0041 | Mitchell | Wind |  | 0 | 300 | 300 | 300 | 300 | 300
| 11INR0033b | Cameron | Wind |  | 0 | 200 | 200 | 200 | 200 | 200
| 08INR0014 | Webb | Wind |  | 0 | 183 | 183 | 183 | 183 | 183
| 11INR0050 | Crosby | Wind |  | 0 | 149 | 149 | 149 | 149 | 149
| 10INR0009 | Castro | Wind |  | 0 | 300 | 300 | 300 | 300 | 300
| 09INR0075 | Kinney | Wind |  | 0 | 248 | 248 | 248 | 248 | 248
| 11INR0062 | Nueces | Wind |  | 0 | 149 | 149 | 149 | 149 | 149
| 10INR0062b | Pecos | Wind |  | 0 | 49.5 | 49.5 | 49.5 | 49.5 | 49.5
| 08INR0020 | Eastland | Wind |  | 0 | 200 | 200 | 200 | 200 | 200
| 11INR0019 | Upton | Wind |  | 0 | 200 | 200 | 200 | 200 | 200
| 11INR0057 | Cameron | Wind |  | 0 | 144 | 144 | 144 | 144 | 144
| 11INR0008a | Roberts | Wind |  | 0 | 0 | 1000 | 1000 | 1000 | 1000
| 11INR0039 | Starr | Wind |  | 0 | 0 | 201 | 201 | 201 | 201
| 11INR0047 | Deaf Smith | Wind |  | 0 | 0 | 600 | 600 | 600 | 600
| 07INR0014a | Wilbarger | Wind |  | 0 | 0 | 140 | 140 | 140 | 140
| 07INR0014b | Wilbarger | Wind |  | 0 | 0 | 70 | 70 | 70 | 70
| 10INR0081b | Clay | Wind |  | 0 | 0 | 19.2 | 19.2 | 19.2 | 19.2
| 06INR0022d | Kenedy | Wind |  | 0 | 0 | 200 | 200 | 200 | 200
| 11INR0005 | Upton | Wind |  | 0 | 0 | 500 | 500 | 500 | 500
| 11INR0025 | Crockett | Wind |  | 0 | 0 | 400 | 400 | 400 | 400
| 11INR0043 | Coke | Wind |  | 0 | 0 | 300 | 300 | 300 | 300
| 09INR0048 | Jack | Wind |  | 0 | 0 | 150 | 150 | 150 | 150
| 12INR0021 | Edwards | Wind |  | 0 | 0 | 165 | 165 | 165 | 165
| 10INR0062c | Pecos | Wind |  | 0 | 0 | 201 | 201 | 201 | 201
| 08INR0031 | Childress | Wind |  | 0 | 0 | 100 | 100 | 100 | 100
| 12INR0002 | Briscoe | Wind |  | 0 | 0 | 750 | 750 | 750 | 750
| 08INR0041 | Coke | Wind |  | 0 | 0 | 0 | 200 | 200 | 200
| 08INR0019a | Gray | Wind |  | 0 | 0 | 0 | 250 | 250 | 250
| 08INR0019b | Gray | Wind |  | 0 | 0 | 0 | 250 | 250 | 250
| 08INR0019c | Gray | Wind |  | 0 | 0 | 0 | 250 | 250 | 250
| 08INR0044 | Concho | Wind |  | 0 | 0 | 0 | 200 | 200 | 200
| 06INR0022f | Kenedy | Wind |  | 0 | 0 | 0 | 200 | 200 | 200
| 08INR0054 | Comanche | Wind |  | 0 | 0 | 0 | 401 | 401 | 401
| 08INR0042 | Coke | Wind |  | 0 | 0 | 0 | 200 | 200 | 200
| 09INR0025 | Concho | Wind |  | 0 | 0 | 0 | 180 | 180 | 180
| 12INR0005 | Floyd | Wind |  | 0 | 0 | 0 | 1100 | 1100 | 1100
| 12INR0018 | Gray | Wind |  | 0 | 0 | 0 | 600 | 600 | 600
| 12INR0022 | Hidalgo | Wind |  | 0 | 0 | 0 | 200 | 200 | 200
| 12INR0029 | Swisher | Wind |  | 0 | 0 | 0 | 500 | 500 | 500
| 13INR0005 | Carson | Wind |  | 0 | 0 | 0 | 0 | 600 | 600
| 13INR0006 | Gray | Wind |  | 0 | 0 | 0 | 0 | 750 | 750
| 06INR0022e | Kenedy | Wind |  | 0 | 0 | 0 | 0 | 200 | 200
| 14INR0001 | Pecos | Wind |  | 0 | 0 | 0 | 0 | 0 | 500
Potential Confidential Wind Resources |  |  |  |  | 10561 | 18435.1 | 23231.3 | 27762.3 | 29312.3 | 29812.3
Cobisa-Greenville | 06INR0006 | Hunt | Gas |  | 0 | 0 | 0 | 1792 | 1792 | 1792
Excluded Resources |  |  |  |  | 0 | 0 | 0 | 1792 | 1792 | 1792
Confidential
Confidential
Confidential
Confidential
Confidential

## Changes
Changes from Last Report (May 2009 CDR)
1 | The addition of 428 MW of available generation through newly signed interconnection agreements together with the seasonal re-ratings of existing units showed an increase in resources through 2014 from May 2009 report. However, the exclusion of the Cobisa-Greenville plant offsets that increase by 1,792 MW, beginning in 2013, lowering the expected reserve margin below target levels for 2014 and beyond.
2 | The chart below shows the differences by summary line item by year from our last report. Positive amounts indicate an increase from the last report.
Load Forecast: |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Total Summer Peak Demand, MW
less LAARs Serving as Responsive Reserve, MW
| less LAARs Serving as Non-Spinning Reserve, MW |  | No change from prior report |  |  |  | N/A
less BULs, MW
less Energy Efficiency Programs (per HB3693)
Firm Load Forecast, MW
Resources: |  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
| Installed Capacity, MW | 3139.85 | 3139.85 | 3139.85 | 3139.85 | 3139.85
| Capacity from Private Networks, MW | 0 | 25 | 25 | 25 | 25
| Effective Load-Carrying Capability (ELCC) of Wind Generation, MW | 67.947 | 67.947 | 67.947 | 67.947 | 67.947
| RMR Units to be under Contract, MW | 627 | 0 | 0 | 0 | 0
| Operational Generation, MW | 3834.797 | 3232.797 | 3232.797 | 3232.797 | 3232.797
N/A
| 50% of Non-Synchronous Ties, MW | 0 | 0 | 0 | 0 | 0
| Switchable Units, MW | 0 | 0 | 0 | 0 | 0
| Available Mothballed Generation , MW | -296.5 | -321.5 | -321.5 | -321.5 | -321.5
| Planned Units (not wind) with Signed IA and Air Permit, MW | -2440 | -2177 | -2177 | -3969 | -3969
| ELCC of Planned Wind Units with Signed IA, MW | -49.677 | -52.896 | -26.622 | -47.154 | -47.154
| Total Resources, MW | 1048.62 | 681.401 | 707.675 | -1104.857 | -1104.857
| less Switchable Units Unavailable to ERCOT, MW | 0 | 0 | 0 | 0 | 0
| less Retiring Units, MW | 0 | 0 | 0 | 0 | 0 | N/A
| Resources, MW | 1048.62 | 681.401 | 707.675 | -1104.857 | -1104.857

## Definitions
CDR Definitions
Available Mothballed Generation
The probability that a mothballed unit will return to service, as provided by its owner, multiplied by the capacity of the unit. Return probabilities are considered protected information under the ERCOT Protocols and therefore are not included in this report.
Balancing Up Load (BUL)
Loads capable of reducing the need for electrical energy when providing Balancing Up Load Energy Service as described in the ERCOT Protocols, Section 6, Ancillary Services.
DC Tie
Any non-synchronous transmission interconnections between ERCOT and non-ERCOT electric power systems. For this report, 50% of DC Tie capacity is included in the Resources section and 50% is included in Other Potential Resources.
Effective Load-Carrying Capability (ELCC) of Wind Generation
The amount of wind generation that contributes toward the margin calculation. Currently, the value is 8.7% of the nameplate capacity.
Energy Efficiency
Improvements in the use of electricity that are achieved through facility or equipment improvements, devices, or processes that produce reductions in demand or energy consumption with the same or higher level of end-use service and that do not materially degrade existing levels of comfort, convenience, and productivity.
Interconnection Agreement (IA)
An agreement that sets forth requirements for physical connection between an Eligible Transmission Service Customer and Transmission and/or Distribution Service Providers.
Loads acting as a Resource (LaaR)
Load capable of reducing or increasing the need for electrical energy or providing Ancillary Services to the ERCOT System, as described in the ERCOT Protocols, Section 6, Ancillary Services.
Mothballed Generation Resource
A Generation Resource for which a Generation Entity has submitted a Notification of Suspension of Operations, for which ERCOT has declined to execute an RMR Agreement, and for which the Generation Entity has not announced retirement of the Generation Resource.
Net Dependable Capability
Maximum sustainable capability of a Generation Resource as demonstrated by performance testing.
Other Potential Resources
Capacity Resources that include one of the following:
• Remaining Mothballed Capacity
• DC tie capacity not included as resources in the reserve margin calculation
• Planned Units in Full Interconnection Study Phase. New wind generation is derated to the ELCC of 8.7% of nameplate capacity.
Planned Units in Full Interconnection Study Phase
Units undergoing detailed studies to determine the effects of the addition of new generation on the transmission system prior to signing an IA.
Planned Units with Signed IA
Units committed to operation via an agreement with the transmission provider. For some Resources, in order to be counted in reserve margin calculations, air permits must also be secured.
Private Use Networks
An electric network connected to the ERCOT Transmission Grid that contains load that is not directly metered by ERCOT (i.e., load that is typically netted with internal generation).
Reliability Must-Run (RMR) Unit
A Generation Resource unit operated under the terms of an Agreement with ERCOT that would not otherwise be operated except that they are necessary to provide voltage support, stability or management of localized transmission constraints under first contingency criteria.
Remaining Mothballed Capacity
The difference in the Available Mothballed Generation and the total capacity of Mothballed Generation Resources in the ERCOT Region.
Retiring Unit
A Generation Resource for which a Generation Entity has submitted a Notification of Suspension of Operations, for which ERCOT has declined to execute an RMR Agreement, and for which the Generation Entity has announced retirement of the Generation Resource.
Switchable Resouce
A Generation Resource that can be connected to either the ERCOT Transmission Grid or a grid outside the ERCOT Region.