## Sheet1
| ROS List of Issues | ROS ACTION ITEM | Priority | Votes
HIGH | Operations Reactive Power and Voltage Control | Historical review of generation changes that would impact reactive power and voltage control. Voltage control guides may need to be adjusted based on ongoing studies. | 77 | 2 | 2 | 1 | 4 | 1 | 4 | 4 | 6 | 4 | 5 | 7 | 1 | 1 | 5 | 2 | 6 | 6 | 6 | 10
HIGH | Planning Reactive Power Analysis | Re-examine available data cases and analysis to improve ongoing reactive power planning. | 88 | 5 | 3 | 2 | 8 | 2 | 7 | 3 | 4 | 5 | 6 | 6 | 2 | 2 | 4 | 4 | 3 | 7 | 4 | 11
HIGH | NMMS (MOD) Implementation in Planning Environment | SSWG is working on this one. | 114 | 11 | 10 | 7 | 1 | 10 | 1 | 1 | 12 | 1 | 11 | 12 | 3 | 5 | 2 | 9 | 1 | 10 | 1 | 6
HIGH | Off Peak modeling (MW and Mvar) and cases | Investigate available data and determine appropriate cases to support analysis. | 118 | 4 | 7 | 6 | 5 | 4 | 8 | 6 | 3 | 8 | 2 | 8 | 8 | 7 | 9 | 7 | 4 | 8 | 5 | 9
HIGH | Stability Analysis Models and Data (includes RARF) | Work with ERCOT Staff to develop central database and validation methods. Includes feedback to the database supplier. | 121 | 6 | 8 | 5 | 6 | 5 | 6 | 2 | 11 | 7 | 3 | 4 | 10 | 3 | 8 | 5 | 7 | 9 | 3 | 13
MEDIUM | Expansion of Series Capacitors (Compensation) and Possible Interactions with Power System Elements | ERCOT study underway. Develop policies to address subsynchronous issues. | 122 | 12 | 1 | 3 | 11 | 3 | 12 | 7 | 5 | 3 | 7 | 5 | 7 | 6 | 6 | 1 | 5 | 5 | 8 | 15
MEDIUM | Planning Compliance Coordination | Develop matrix of planning responsibilities and work with ERCOT and other TSPs | 123 | 9 | 5 | 10 | 2 | 7 | 2 | 12 | 7 | 2 | 10 | 2 | 6 | 9 | 7 | 11 | 2 | 12 | 7 | 1
MEDIUM | Creation of Planning Guides and Working Group (PLWG) | ROS approved the working group and guide work has started. | 129 | 7 | 4 | 14 | 7 | 11 | 9 | 5 | 1 | 6 | 12 | 3 | 5 | 11 | 1 | 12 | 8 | 1 | 10 | 2
MEDIUM | Renewable Integration Reduced Load Level Analysis | Examine with ERCOT staff cases to develop lower load levels with increased input of renewable generation. | 146 | 3 | 9 | 4 | 12 | 9 | 10 | 8 | 2 | 13 | 1 | 9 | 9 | 8 | 10 | 3 | 11 | 11 | 2 | 12
MEDIUM | Integration of new standards in criteria and guides | Consider creation of task force to monitor NERC Standards development and keep ROS informed of activities. Investigate use of TRE group to meet this need. | 148 | 10 | 9 | 12 | 3 | 6 | 3 | 10 | 8 | 9 | 8 | 1 | 4 | 10 | 3 | 8 | 10 | 14 | 13 | 7
LOW | Generator expectation communication and certification | Support ERCOT Staff efforts in communication and certification. | 165 | 1 | 12 | 8 | 10 | 13 | 5 | 11 | 9 | 14 | 4 | 10 | 11 | 4 | 11 | 10 | 14 | 4 | 9 | 5
LOW | Consolidation of working groups | Included in planning working group effort. | 220 | 8 | 6 | 15 | 15 | 14 | 13 | 12 | 14 | 12 | 15 | 14 | 15 | 12 | 12 | 14 | 9 | 2 | 15 | 3
LOW | Automation of PDCWG analysis | Have PDCWG consider possible ways to automate and improve their analysis. | 222 | 14 | 15 | 9 | 9 | 8 | 11 | 9 | 10 | 11 | 14 | 13 | 13 | 14 | 13 | 13 | 15 | 3 | 14 | 14
LOW | Smart grid incorporation in planning and operations | TBD | 230 | 13 | 14 | 11 | 13 | 12 | 14 | 15 | 15 | 10 | 9 | 11 | 14 | 15 | 15 | 6 | 12 | 15 | 12 | 4
LOW | Energy Efficiency and loss reduction | TBD | 254 | 15 | 13 | 13 | 14 | 15 | 15 | 14 | 13 | 15 | 13 | 15 | 12 | 13 | 14 | 15 | 13 | 13 | 11 | 8