| PGRR Number |  | PGRR Title | New Planning Guide Section 6.8, Generation Resource Data Procedures |
| --- | --- | --- | --- |
| Date Posted |  |

| Planning Guide Section(s) Requiring Revision (Include Section No. and Title) | 6.8, Generation Resource Data Procedures (New) |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | None. |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Normal |
| Revision Description | This Planning Guide Revision Request (PGRR) adds new Section 6.8, Generation Resource Data Procedures, to the Planning Guide. Specifically, this PGRR establishes the basic processes to be used by Resource Entities to supply Resource information to ERCOT through the Resource Asset Registration Form (RARF) process and through the Managed Capacity Declaration Form (MCDF) process. |
| Reason for Revision | There is currently no specific language in either the Nodal Protocols or Nodal Operating Guides related to the submission of Resource Asset registered data and information or MCDFs. Since this type of information is primarily used for planning, they are deemed appropriate to be part of the Planning Guide. |
| Overall Market Benefit | Clarifies process used to input and update Generation Resource data through the RARF and MDCF submission processes. |
| Overall Market Impact | None since RARF and MCDF data are already being submitted to ERCOT by Resource Entities. |
| Consumer Impact | None. |

Quantitative Impacts and Benefits

.

| Assumptions | 1 |  |
| --- | --- | --- |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None, utilizes existing processes | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Resource planning data submittal process is located within the Planning Guide |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
| Other Comments | 1 |  |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |

| Sponsor |
| --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |
| --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Guide Language Revision

6.8	Generation Resource Data Procedures

In accordance with Section 3.7, Resource Parameters, Section 3.10, Network Operations Modeling and Telemetry, and Section 16.5, Registration of Resource Entity, of the Protocols requires a Resource Entity to register each All-Inclusive Resource with ERCOT.  The Resource Entity submits Resource asset data and information through registration process made available by ERCOT on a public website and Market Information System (MIS).

6.8.1	Resource Asset Registration

(1)       A Resource Entity shall properly complete Resource asset registration for each Generation Resource site that contains all pertinent data for all Generation Resources at that site prior to inclusion in the ERCOT Network Operations Model and applicable production systems.  Load Resources represented by the Resource Entity shall be registered through the Resource asset registration process.

(2)	ERCOT shall post a detailed Resource Asset Registration Guide on the ERCOT website that provides detailed instructions and explanations for the various data types and field rules required for Resource registration.

(3)	ERCOT shall make available related documents for Resource registration on the public ERCOT website and shall notify Market Participants whenever changes are made to the Resource registration process and requirements via a Market Notice.

(4)       Prior to an official Resource registration submission for inclusion in the ERCOT Network Operations Model, a similar document as stated in the section 4 Generation Resource Interconnection of this Planning Guide shall be completed for new Resources.  The information in these documents will be used to model future generation for Reliability and Operations Subcommittee Working Group base cases used in the planning process.

(4)	A Resource Entity shall revise Resource registration as necessary to reflect changes in any operational data related to a Generation or Load Resource.

6.8.2	Resource Asset Registration Process

(1)	A Resource Entity shall submit and authorize Resource asset data as described in the Resource Asset Registration Guide.

(2)	Upon receipt of Resource asset registered data, ERCOT shall review the completeness and provide notice of acceptance and/or deficiencies to the Resource Entity..

(4)	ERCOT shall provide notice if Resource asset data is approved, which is not to be confused with an approved NOMCR.  The approval of Resource asset data only means that the registered data moves to the next step of being converted to a NOMCR.

(5)	If ERCOT’s notice reports deficiencies, the Resource Entity shall make necessary changes specified and re-submit Resource asset data in whole and as many times as necessary until approval of total set of registered data is granted.

(7)	Upon approval of Resource asset data, ERCOT shall provide the Resource Entity with the Model Ready Date which the Resource asset data will be implemented in production and create a Special Action Model Request (SAMR) and submit the SAMR to be converted to a NOMCR.  During this process, more iteration may be necessary between ERCOT and the RE before a NOMCR can be submitted.  Once complete, the NOMCR will be used to populate the various operational models that utilize Resource data in accordance with Protocol Section 3.10.4, Network Operations Model Change Schedule.

(8)	If a Resource Entity desires that approved Resource asset data become effective earlier than the schedule established in Protocol Section 3.10.4, it may submit a request for interim update as described in Resource Asset Registration Guide..

6.8.3	Managed Capacity Declaration Form

(1)	Pursuant to PUCT Substantive Rule 25.502(e) and paragraph (2)(c)(i) of Protocol Section 3.19.1, Annual Competitiveness Test, each Resource Entity shall submit by the Resource Entity and complete the form as instructed on the form.

# Comments

Is this a new form for ERCOT to develop?

No, it is already contained in the zip files titled “Resource_Asset_Registration_Forms” available on the ERCOT website.

new acronym for Section 2

The deleted text can be found on the form itself, so no need to have redundant instructions in case one is changed but not the other.