| NPRR Number | 425 | NPRR Title | Creation of a Wind Resource Group for GREDP and Base Point Deviation Evaluation |
| --- | --- | --- | --- |
| Impact Analysis Date |  | March 21 2012 |  |
| Cost/Budgetary Impact |  | System implementation cost: $350k – $380k |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | Estimated Duration: Between 8 to 10 months The timeline for implementing this Nodal Protocol Revision Request (NPRR) is dependent upon ERCOT Board prioritization and approval. Please see the Project Priority List (PPL) for additional information. |  |
| ERCOT Staffing Impacts (across all areas) |  | No impacts to ERCOT staffing. Also, see comments. |  |
| ERCOT Computer System Impacts |  | The following ERCOT system(s) will be impacted: - Registration Systems/ - Network Modeling and Management System (NMMS) - Settlements and Billing (S&B) - Market Management System (MMS) - Energy Management System (EMS) - Enterprise Integration (EIS) - Current Day Reports (CDR) - Information Systems Master (ISM) |  |
| ERCOT Business Function Impacts |  | The following departments will update their business processes to implement this NPRR: - Wholesale client services. - Resource integration. |  |
| Grid Operations & Practices Impacts |  | This NPRR provides improved visibility to evaluate Reactive Capability and quantify Dynamic Response of Wind-powered Generation Resources (WGRs). |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None offered.

Evaluation of Interim Solutions (e.g., manual workarounds)

None offered.

Feasibility of Implementation

Impact on Resource Availability: None identified. Impact on Other Projects: None identified.

Comments

The ERCOT Wholesale client services department and Resource integration department will review Resource Asset Registration Form (RARF) changes to ensure that WGRs are aggregated consistent with Section 2.1, Definitions. Using the current population of WGRs, and a reasonable estimate for anticipated changes to WGR configurations, ERCOT has estimated that it can implement the business processes necessary to review and evaluate WGR RARF changes with existing staff. If the number of WGRs increase significantly and/or if there is a higher than anticipated number of changes to WGR configurations, ERCOT may not be able to implement the business processes with existing staff.