| NOGRR Number | 096 | NOGRR Title | Clarification of RRS Obligation |
| --- | --- | --- | --- |
| Timeline | Normal | Action | Recommended Approval |
| Date of Decision | June 13, 2012 |
| Proposed Effective Date | To be determined. |
| Priority and Rank Assigned | To be determined. |
| Nodal Operating Guide Section Requiring Revision | 2.3.1.1, Obligation |
| Protocol Section(s) Requiring Revision | None. |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) references the Other Binding Document - Methodologies for Determining Ancillary Service Requirements, which describes a process that may be used to procure additional Responsive Reserve (RRS) Service; and adds clarifying language affirming that the minimum RRS Obligation remains unchanged (2300 MW), but that additional RRS may be procured if there is a reliability need. |
| Reason for Revision | To make Operating Guide language generic so that if the RRS process described in the Methodologies for Determining Ancillary Service Requirements is modified, the Operating Guides may not need to be. |
| Procedural History | On 5/22/12, NOGRR096 was posted. On 6/13/12, the Operations Working Group (OWG) considered NOGRR096. |
| OWG Decision | On 6/13/12, the OWG was in consensus to recommend approval of NOGRR096 as submitted. |
| Summary of OWG Discussion | On 6/13/12, Revisions to align the Methodologies for Determining Ancillary Services Requirements with NOGRR096 were discussed. ERCOT Staff agreed to include necessary changes in a future revision of the document. |

| Business Case |
| --- |
| Business Case | 1 | This NOGRR will help eliminate confusion regarding the minimum RRS obligation. |

| Sponsor |
| --- |
| Name | Frank Owens on behalf of the Nodal Protocol and Guides Resolution Task Force (NPGRTF) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |
| --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |
| --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

#### 2.3.1.1	Obligation

ERCOT operating reserve requirements are more restrictive than North American Electric Reliability Corporation (NERC) Reliability Standards.  The RRS obligation is a minimum of 2300 MW.  The amount of RRS procured may be adjusted as described in ERCOT Methodologies for Determining Ancillary Service Requirements or if ERCOT determines a reliability need for additional Ancillary Service Resources.