## Example_ON
AS Imbalance Settlement Example for Interim Solution B+ (post 555)
[5 empty] | DAM Solution and Settlement | [7 empty] | Real Time Solution | [7 empty] | RT Settlement with Price Adder | [8 empty] | RT Settlement Change |  | Net Settlement
|  |  |  | RTCLRCAP (NPF - LSL) | DAEP | DAES | PCXX | DASPP | MCPCXX | DAESAMT | PCXXAMT |  | RTMG | RTAML | RTNCLRRRS | RTSPP | PCXX_s | RTRUCRESP | RTRSVPOR | RTSPP + RTRSVPOR | RTMG + DAEP - DAES | DAEP - DAES - RTAML | RTOLCAP | RTASOLRESP | RTASOLIMB | RTRUCRSVAMT | RTEIAMT | RTASIAMT
Case # | QSE Name | Resource Name | HSL (MWh) | CLR Available to SCED (MWh) | DAM Purchase Award (MW) | DAM Sale Award (MW) | DAM AS Award (MW) | DAM SPP ($/MWh) | DAM MCPC ($/MWh) | DAM Energy Amount ($) | DAM AS Payment ($) | DAM Total ($) | RTMG (MWh) | RTAML (MWh) | Non-CLR RRS Schedule (MWh) | RTSPP ($/MWh) | SASM AS Award (MW) | RUC Opt Out AS Award (MW) | Price Adder P_S ($/MWh) | RTSPP New ($/MWh) | RN Energy Imbalance (MWh) | LZ Energy Imbalance (MWh) | RT Online Reserve Rs (MW) | RT Online Obligation (MW) | RT Online Reserve Imbalance (MWh) | RT RUC AS Opt Out Award Payment ($) | RT Energy Imbalance Pmnt/Chrg ($) | RT Online Reserve Imbalance Pmnt/Chrg ($) | RT Total Imbalance Payment (Energy + AS + RUC Awd) ($) | RT Energy Amount Change ($) | RT Net Payment Change (Energy+AS) ($) | Daily Net Payment or Charge to Resource (DAM + RT)
1 | QSE1 | UNIT1 | 125 | 0 | 0 | 0 | 25 | 30 | 10 | 0 | -250 | -250 | 100 |  | 0 | 30 | 0 | 0 | 5 | 35 | 100 |  | 25 | 25 | 0 | 0 | -3500 | 0 | -3500 | -500 | -500 | -3750
2 | QSE1 | UNIT1 | 125 | 0 | 0 | 0 | 25 | 30 | 10 | 0 | -250 | -250 | 125 |  | 0 | 30 | 0 | 0 | 5 | 35 | 125 |  | 0 | 25 | -25 | 0 | -4375 | 125 | -4250 | -625 | -500 | -4500
3 | QSE1 | UNIT1 | 125 | 0 | 0 | 100 | 25 | 30 | 10 | -3000 | -250 | -3250 | 100 |  | 0 | 30 | 0 | 0 | 5 | 35 | 0 |  | 25 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3250
4 | QSE2 | UNIT2 | 150 | 0 | 0 | 0 | 0 | 30 | 10 | 0 | 0 | 0 | 150 |  | 0 | 30 | 0 | 25 | 15 | 45 | 150 |  | 0 | 0 | -25 | -375 | -6750 | 375 | -6750 | -2250 | -1875 | -7125
Controllable Load Resource
5 | QSE3 | UNIT4 | 0 | 50 | 0 | 0 | 0 | 30 | 10 | 0 | 0 | 0 |  | 50 | 0 | 30 | 0 | 0 | 5 | 35 | 0 | -50 | 50 | 0 | 50 |  | 1750 | -250 | 1500 | 250 | 0 | 1500
6 | QSE3 | UNIT4 | 0 | 50 | 0 | 0 | 20 | 30 | 10 | 0 | -200 | -200 |  | 50 | 0 | 30 | 0 | 0 | 5 | 35 | 0 | -50 | 50 | 20 | 30 |  | 1750 | -150 | 1600 | 250 | 100 | 1400
7 | QSE3 | UNIT4 | 0 | 0 | 0 | 0 | 20 | 30 | 10 | 0 | -200 | -200 |  | 0 | 0 | 30 | 0 | 0 | 5 | 35 | 0 | 0 | 0 | 20 | -20 |  | 0 | 100 | 100 | 0 | 100 | -100
8 | QSE3 | UNIT4 | 0 | 30 | 50 | 0 | 20 | 30 | 10 | 1500 | -200 | 1300 |  | 30 | 0 | 30 | 0 | 0 | 5 | 35 | 0 | 20 | 30 | 20 | 10 |  | -700 | -50 | -750 | -100 | -150 | 550
Non-.Controllable Load Resource
9 | QSE4 | UNIT5 | 0 | 0 | 0 | 0 | 20 | 30 | 10 | 0 | -200 | -200 |  | 20 | 20 | 30 | 0 | 0 | 5 | 35 | 0 | -20 | 20 | 20 | 0 |  | 700 | 0 | 700 | 100 | 100 | 500
10 | QSE4 | UNIT5 | 0 | 0 | 0 | 0 | 20 | 30 | 10 | 0 | -200 | -200 |  | 0 | 0 | 30 | 0 | 0 | 5 | 35 | 0 | 0 | 0 | 20 | -20 |  | 0 | 100 | 100 | 0 | 100 | -100
11 | QSE4 | UNIT5 | 0 | 0 | 20 | 0 | 20 | 30 | 10 | 600 | -200 | 400 |  | 20 | 20 | 30 | 0 | 0 | 5 | 35 | 0 | 0 | 20 | 20 | 0 |  | 0 | 0 | 0 | 0 | 0 | 400
12 | QSE4 | UNIT5 | 0 | 0 | 20 | 0 | 20 | 30 | 10 | 600 | -200 | 400 |  | 0 | 0 | 30 | 0 | 0 | 5 | 35 | 0 | 20 | 0 | 20 | -20 |  | -700 | 100 | -600 | -100 | 0 | -200
Note:
This example only considers the online reserve and the RT Offline Reserve Imbalance is not considered.
User can change the cells without grey color. The cells with grey color have pre-defined formular and shall not be changed.
User can modify existing case (row) or copy and insert additional row to create different case/scenario.
The $ amount with negative value indicates payment to QSE and positive value indicates charge to QSE.
The DAM solution and Settlement is calculated for each 15-minute interval to align with the RT Energy and AS Imbalance.
The RT AS Imbalance Settlement is calculated for each 15-minute interval. All inputs have been converted to MWh for ease of use.
Discount Factors have not been applied.
Case #1 is thermal generator carrying AS that has not been deployed.
Case #2 is thermal generator carrying AS that has been fully deployed
Case #3 is thermal generator carrying AS with a DAM award
Case #4 is thermal generator RUC for AS but Opted out of the RUC settlement.
Case #5 is Controllable Load in SCED with no AS award.
Case #6 is Controllable Load in SCED with AS award that has not been deployed.
Case #7 is Controllable Load in SCED with AS award that has been fully deployed.
Case #8 is Controllable Load Resource with DAM hedge and AS award that has been fully deployed.
Case #9 is Non-Controllable Load Resource with AS award that has not been deployed.
Case #10 is Non-Controllable Load Resource with AS award that has been fully deployed.
Case #11 is Non-Controllable Load Resource with DAM hedge and AS award that has not been deployed.
Case #12 is Non-Controllable Load Resource with DAM hedge and AS award that has been fully deployed.
DAM Energy amount ($)=-1*DAM Energy Purchase Award - DAM Energy Sales Award * DAM SPP ($/MWh)
DAM AS Payment ($) =-1*DAM AS Award * DAM MCPC ($/MWh)
DAM Total Payment ($)=DAM Energy Amount ($)+DAM AS Payment ($)
RTSPP New ($/MWh)=RT SPP ($/MWh)+Price Adder P_S($/MWh)
RN Energy Imbalance =RT Metered Energy (RTMG) + DAM Energy Purchases -DAM Energy Sales
LZ Energy Imbalance = DAM Energy Purchases -DAM Energy Sales - RT Adjusted Meter Load (RTAML)
RT Online Reserve Rs = HSL - RT Metered Generation + CLR (Net Power Flow - LSL) + NCLR RRS Schedule
RT Online Reserve Imbalance =RT Online Reserve Rs - DAM AS Award
RT Energy Imbalance Payment ($)=-1* RTSPP New ($/MWh)*RT Energy Imbalance (RN or LZ)
RT Online Reserve Imbalance Payment ($)=-1*Price Adder P_S ($/MWh)*RT Online Reserve Imbalance
RT RUC Reserves Payment ($) = -1*Price Adder P_S ($/MWh)*RT RUC AS Award
RT Total Imbalance Payment (Energy+AS) ($)=RT Energy Imbalance Payment ($)+RT Online Reserve Imbalance Payment ($)
RT Energy Payment Change ($)=-1*Price Adder P_S ($/MWh)*RT Energy Imbalance (MW)*(SCED Time Duration (Sec.)/3600)
RT Net Payment Change (Energy+AS) ($)=RT Energy Payment Change ($)+RT Online Reserve Imbalance Payment ($)

## Extreme Pricing Example_ON
AS Imbalance Settlement Example for Interim Solution B+ (post 555)
[5 empty] | DAM Solution and Settlement | [7 empty] | Real Time Solution | [7 empty] | RT Settlement with Price Adder | [8 empty] | RT Settlement Change |  | Net Settlement
|  |  |  | RTCLRCAP (NPF - LSL) | DAEP | DAES | PCXX | DASPP | MCPCXX | DAESAMT | PCXXAMT |  | RTMG | RTAML | RTNCLRRRS | RTSPP | PCXX_s | RTRUCRESP | RTRSVPOR | RTSPP + RTRSVPOR | RTMG + DAEP - DAES | DAEP - DAES - RTAML | RTOLCAP | RTASOLRESP | RTASOLIMB | RTRUCRSVAMT | RTEIAMT | RTASIAMT
Case # | QSE Name | Resource Name | HSL (MWh) | CLR Available to SCED (MWh) | DAM Purchase Award (MW) | DAM Sale Award (MW) | DAM AS Award (MW) | DAM SPP ($/MWh) | DAM MCPC ($/MWh) | DAM Energy Amount ($) | DAM AS Payment ($) | DAM Total ($) | RTMG (MWh) | RTAML (MWh) | Non-CLR RRS Schedule (MWh) | RTSPP ($/MWh) | SASM AS Award (MW) | RUC Opt Out AS Award (MW) | Price Adder P_S ($/MWh) | RTSPP New ($/MWh) | RN Energy Imbalance (MWh) | LZ Energy Imbalance (MWh) | RT Online Reserve Rs (MW) | RT Online Obligation (MW) | RT Online Reserve Imbalance (MWh) | RT RUC AS Opt Out Award Payment ($) | RT Energy Imbalance Pmnt/Chrg ($) | RT Online Reserve Imbalance Pmnt/Chrg ($) | RT Total Imbalance Payment (Energy + AS + RUC Awd) ($) | RT Energy Amount Change ($) | RT Net Payment Change (Energy+AS) ($) | Daily Net Payment or Charge to Resource (DAM + RT)
1 | QSE1 | UNIT1 | 125 | 0 | 0 | 0 | 25 | 7000 | 7000 | 0 | -175000 | -175000 | 100 |  | 0 | 7000 | 0 | 0 | 2000 | 9000 | 100 |  | 25 | 25 | 0 | 0 | -900000 | 0 | -900000 | -200000 | -200000 | -1075000
2 | QSE1 | UNIT1 | 125 | 0 | 0 | 0 | 25 | 7000 | 7000 | 0 | -175000 | -175000 | 125 |  | 0 | 7000 | 0 | 0 | 2000 | 9000 | 125 |  | 0 | 25 | -25 | 0 | -1125000 | 50000 | -1075000 | -250000 | -200000 | -1250000
3 | QSE1 | UNIT1 | 125 | 0 | 0 | 100 | 25 | 7000 | 7000 | -700000 | -175000 | -875000 | 100 |  | 0 | 7000 | 0 | 0 | 2000 | 9000 | 0 |  | 25 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -875000
4 | QSE2 | UNIT2 | 150 | 0 | 0 | 0 | 0 | 7000 | 7000 | 0 | 0 | 0 | 150 |  | 0 | 7000 | 0 | 25 | 2000 | 9000 | 150 |  | 0 | 0 | -25 | -50000 | -1350000 | 50000 | -1350000 | -300000 | -250000 | -1400000
Controllable Load Resource
5 | QSE3 | UNIT4 | 0 | 50 | 0 | 0 | 0 | 7000 | 7000 | 0 | 0 | 0 |  | 50 | 0 | 7000 | 0 | 0 | 2000 | 9000 | 0 | -50 | 50 | 0 | 50 | 0 | 450000 | -100000 | 350000 | 100000 | 0 | 350000
6 | QSE3 | UNIT4 | 0 | 50 | 0 | 0 | 20 | 7000 | 7000 | 0 | -140000 | -140000 |  | 50 | 0 | 7000 | 0 | 0 | 2000 | 9000 | 0 | -50 | 50 | 20 | 30 | 0 | 450000 | -60000 | 390000 | 100000 | 40000 | 250000
7 | QSE3 | UNIT4 | 0 | 0 | 0 | 0 | 20 | 7000 | 7000 | 0 | -140000 | -140000 |  | 0 | 0 | 7000 | 0 | 0 | 2000 | 9000 | 0 | 0 | 0 | 20 | -20 | 0 | 0 | 40000 | 40000 | 0 | 40000 | -100000
8 | QSE3 | UNIT4 | 0 | 30 | 50 | 0 | 20 | 7000 | 7000 | 350000 | -140000 | 210000 |  | 30 | 0 | 7000 | 0 | 0 | 2000 | 9000 | 0 | 20 | 30 | 20 | 10 | 0 | -180000 | -20000 | -200000 | -40000 | -60000 | 10000
Non-.Controllable Load Resource
9 | QSE4 | UNIT5 | 0 | 0 | 0 | 0 | 20 | 7000 | 7000 | 0 | -140000 | -140000 |  | 20 | 20 | 7000 | 0 | 0 | 2000 | 9000 | 0 | -20 | 20 | 20 | 0 | 0 | 180000 | 0 | 180000 | 40000 | 40000 | 40000
10 | QSE4 | UNIT5 | 0 | 0 | 0 | 0 | 20 | 7000 | 7000 | 0 | -140000 | -140000 |  | 0 | 0 | 7000 | 0 | 0 | 2000 | 9000 | 0 | 0 | 0 | 20 | -20 | 0 | 0 | 40000 | 40000 | 0 | 40000 | -100000
11 | QSE4 | UNIT5 | 0 | 0 | 20 | 0 | 20 | 7000 | 7000 | 140000 | -140000 | 0 |  | 20 | 20 | 7000 | 0 | 0 | 2000 | 9000 | 0 | 0 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | QSE4 | UNIT5 | 0 | 0 | 20 | 0 | 20 | 7000 | 7000 | 140000 | -140000 | 0 |  | 0 | 0 | 7000 | 0 | 0 | 2000 | 9000 | 0 | 20 | 0 | 20 | -20 | 0 | -180000 | 40000 | -140000 | -40000 | 0 | -140000
Note:
This example only considers the online reserve and the RT Offline Reserve Imbalance is not considered.
User can change the cells without grey color. The cells with grey color have pre-defined formular and shall not be changed.
User can modify existing case (row) or copy and insert additional row to create different case/scenario.
The $ amount with negative value indicates payment to QSE and positive value indicates charge to QSE.
The DAM solution and Settlement is calculated for each 15-minute interval to align with the RT Energy and AS Imbalance.
The RT AS Imbalance Settlement is calculated for each 15-minute interval. All inputs have been converted to MWh for ease of use.
Discount Factors have not been applied.
Case #1 is thermal generator carrying AS that has not been deployed.
Case #2 is thermal generator carrying AS that has been fully deployed
Case #3 is thermal generator carrying AS with a DAM award
Case #4 is thermal generator RUC for AS but Opted out of the RUC settlement.
Case #5 is Controllable Load in SCED with no AS award.
Case #6 is Controllable Load in SCED with AS award that has not been deployed.
Case #7 is Controllable Load in SCED with AS award that has been fully deployed.
Case #8 is Controllable Load Resource with DAM hedge and AS award that has been fully deployed.
Case #9 is Non-Controllable Load Resource with AS award that has not been deployed.
Case #10 is Non-Controllable Load Resource with AS award that has been fully deployed.
Case #11 is Non-Controllable Load Resource with DAM hedge and AS award that has not been deployed.
Case #12 is Non-Controllable Load Resource with DAM hedge and AS award that has been fully deployed.
DAM Energy amount ($)=-1*DAM Energy Purchase Award - DAM Energy Sales Award * DAM SPP ($/MWh)
DAM AS Payment ($) =-1*DAM AS Award * DAM MCPC ($/MWh)
DAM Total Payment ($)=DAM Energy Amount ($)+DAM AS Payment ($)
RTSPP New ($/MWh)=RT SPP ($/MWh)+Price Adder P_S($/MWh)
RN Energy Imbalance =RT Metered Energy (RTMG) + DAM Energy Purchases -DAM Energy Sales
LZ Energy Imbalance = DAM Energy Purchases -DAM Energy Sales - RT Adjusted Meter Load (RTAML)
RT Online Reserve Rs = HSL - RT Metered Generation + CLR (Net Power Flow - LSL) + NCLR RRS Schedule
RT Online Reserve Imbalance =RT Online Reserve Rs - DAM AS Award
RT Energy Imbalance Payment ($)=-1* RTSPP New ($/MWh)*RT Energy Imbalance (RN or LZ)
RT Online Reserve Imbalance Payment ($)=-1*Price Adder P_S ($/MWh)*RT Online Reserve Imbalance
RT RUC Reserves Payment ($) = -1*Price Adder P_S ($/MWh)*RT RUC AS Award
RT Total Imbalance Payment (Energy+AS) ($)=RT Energy Imbalance Payment ($)+RT Online Reserve Imbalance Payment ($)
RT Energy Payment Change ($)=-1*Price Adder P_S ($/MWh)*RT Energy Imbalance (MW)*(SCED Time Duration (Sec.)/3600)
RT Net Payment Change (Energy+AS) ($)=RT Energy Payment Change ($)+RT Online Reserve Imbalance Payment ($)