| NOGRR Number | 134 | NOGRR Title | Posting Process for Black Start Plans |
| --- | --- | --- | --- |
| Date Posted | May 22, 2014 |
| Requested Resolution | Normal |
| Nodal Operating Guide Sections Requiring Revision | 4.6, Black Start Service |
| Other Binding Documents Requiring Revision or Related Revision Requests | NPRR629, Removal of Start Plan Posting Requirement |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) clarifies the responsibility of ERCOT to post the ERCOT Black Start plan on the Market Information System (MIS) Certified Area for Transmission Operators (TOs), and post TOs’ new or revised Black Start plans on the MIS Certified Area for specified Market Participants. |
| Reason for Revision | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |

| Business Case |
| --- |
| Qualitative Benefits | Clearly identifies the process for which ERCOT will post the ERCOT Black Start plan and a TO’s new or revised Black Start plan. Provides efficiency in the process and reinforces importance of restricting distribution of Black Start plans, which contain sensitive reliability information, to those Market Participants with a need to review the plans. |
| Quantitative Benefits |  |
| Impact to Market Segments | Market Participants benefit from Nodal Operating Guides that are clear and concise. |
| Other |  |

| Sponsor |
| --- |
| Name | Kelly Blackmer; Patrick Peters |
| E-mail Address | Kelly.Blackmer@ercot.com; Patrick.Peters@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4101; 512-275-7447 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |
| --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

Proposed Guide Language Revision

## 4.6	Black Start Service

(1)	This section provides general guidelines to be followed in the event of a Partial Blackout or Blackout of the ERCOT System.  Timely implementation of a Black Start plan compiled in accordance with Section 8, Attachment E, Black Start Plan Template, should facilitate coordination between ERCOT, Qualified Scheduling Entities (QSEs) who represent Black Start Resources, Black Start Resources, and Transmission Operators (TOs) and ensure restoration of service to the ERCOT System at the earliest possible time.  The Authorized Representative for Resource Entities that own contracted Black Start Resources will provide their QSE and ERCOT with a copy of the individual plant start-up procedures for coordination of their activities with those of the appropriate TO.

(2)	Pre-established plans and procedures cannot foresee all the possible combinations of system problems that may occur after a major failure.  It is the responsibility of ERCOT to restore the system to normal, applying the principles, strategies, and priorities outlined in the ERCOT Black Start Plan.

(3)	No more than 30 days after ERCOT revises the ERCOT Black Start plan, ERCOT shall post the plan on the Market Information System (MIS) Certified Area for TOs.

(4)	A TO may request that ERCOT post the TO’s new or revised Black Start plan on the MIS Certified Area for specified Market Participants. No more than 30 days after ERCOT receives such a request, ERCOT shall post the TO’s new or revised Black Start plan on the MIS Certified Area for specified Market Participants. The TO will have the responsibility to notify specified Market Participants that the new or revised Black Start plan has been posted on the MIS Certified Area.