## Sheet1
Requirement |  | Resource Registration Glossary | [11 empty] | Data Validation Rules
Groups that use data element | Purpose of data element | RARF Tab | Wind | Conventional Generation (Gen) | Combined Cycle (CC) | Load Resources | Notes | Field Name | Definition / Detailed Description | Screening Study (SS) (R, C, O, A) | Full Interconnect Study (FIS) (R, C, O, A) | Planning Model Require d Data | Full Registration (R, C, O, A) | RARF DATA FIELD | Business Rules/Basic UI validations | Field/ Tab Type | Data type | Validation Type | Source | Destination Application | Required for Screening Study (SS) | Required for Full Interconnect Study (FIS) | Required for Planning
|  | Gen Load Split - ESIID | X | X | X |  | Y/N | ERCOT Read (Y or N) | Indicate if the meter is an EPS Meter. |  |  |  | R | ERCOT Read Meter? | Select from the list: Y or N | R | Dropdown List | B,DVB | RARF Glossary Version 4.0 /RARF Guide version 4.0/ RARF Forms | Lodestar | N | N
|  | Gen Load Split - ESIID | X | X | X |  | Number | ESI ID | Enter the ESI ID. Required unless behind a NOIE Settlement Point. |  |  |  | C | ESI ID: | 1.Data type is character 2.If Generation Load Split is 'N' then If RE_BHND_NOIE_SMP_FLG is 'Y', then no ESIID is required. else ESIID is required 3. If Generation Load Split is 'Y' then If RE_BHND_NOIE_SMP_FLG is 'Y' and Site_Code is in NON_MODELED, then no ESIID is required else ESIID is required | C | Character | B | Angela Moy/RARF Glossary Version 4.0/RARF Guide Version 4.0 |  | N | N
|  | Gen Load Split - ESIID | X | X | X |  | List | TDSP Providing Service To Resource | From the drop-down menu, select the name of the TDSP that provides transmission or distribution service to the site for the ESI ID. Required unless behind a NOIE Settlement Point. |  |  |  | C | TDSP Providing Service To Resource: | This field is conditional. Required only if If the Generation Load Split question is answered as 'N' . Validate with the existing record in ERCOT?? | C | Character | B,DVE | RARF Glossary Version 4.0 /RARF Guide version 4.0/ RARF Forms | Lodestar | N | N
|  | Gen Load Split - ESIID | X | X | X |  | Automatic | TDSP DUNS Number | The TDSP DUNS number is automatically populated based on TDSP selection. |  |  |  | A | TDSP DUNS Number: | 1. Not null 2. Must match with the data existing in Siebel 3. Data type: varchar (as sometimes the value contains # with a leading zero) 4. Either a 9 or 13 digit DUNS number | R | Integer | B,DVE | Angela Moy/RARF Glossary Version 4.0/RARF Guide Version 4.0 | Lodestar | N | N
|  | Gen Load Split - ESIID | X | X | X |  | % | Fixed Load Splitting % | Enter the fixed percentage of Load associated with each ESI ID. Required only if Generator Site is split among multiple ESI Ids. |  |  |  | C | Fixed Load Splitting | 1.This field is optional/conditional. Required only if Gen Site is split among multiple ESI Id's.If entered, cross check the data with Lodestar. 2. Sum of the Fixed Load Splitting % (corresponding to each ESIID) should be 100. Generate an error if the rule fails | C/O | Numeric | B | Angela Moy/RARF Glossary Version 4.0/RARF Guide Version 4.0 | Lodestar | N | N
| Used in data aggregation and settlements | Gen Load Split - ESIID | X | X | X |  | List | Load Serving Entity | Enter the Load Serving Entity (LSE) associated with that ESI ID. Required only if Generator Site is split among multiple ESI Ids. This should match with information in Lodestar. |  |  |  | C | Load Serving Entity | This field is optional/conditional. Required only if Gen Site is split among multiple ESI Id's. | C | Character | B | RARF Glossary Version 4.0 /RARF Guide version 4.0/ RARF Forms | Lodestar | N | N
|  | Gen Load Split - ESIID | X | X | X |  | Automatic | Load Serving Entity DUNS # | The LSE DUNS number is automatically populated based on LSE selection. Required only if Generator Site is split among multiple ESI Ids. This should match with information in Lodestar. |  |  |  | A | Load Serving Entity Duns# | This field is optional/conditional. Required only if Gen Site is split among multiple ESI Id's. If entered it should be either 9 or 13 digit number AND should match with the existing record in Lodestar? | C | Integer | B,DVE | Angela Moy/RARF Glossary Version 4.0/RARF Guide Version 4.0 | Lodestar | N | N
|  | Private Network - Site | X | X | X |  | Y/N | Private Network? | Indicate if the site is a Private Use Network as defined in the Protocol Section 2. | R | R | R | R | Private Network? | Select from Y or N. Private Network Flag is not null | R | RARF Glossary Version 4.0/RARF Guide Version 4.0/RARF Forms/Kittiepong | EMS |  |  | Y | Y
|  | Private Network - Site | X | X | X |  | MW | Average Amount of Self-Serve private Load | If the site is a Private Use Network, then enter the average amount of the total site generation MW output used for self serve and not available for the grid. | C | C | C | C | Average Amount Of Self-serve Private Load | This field is conditional. Required if Private Network flag is 'Y' | C | RARF Glossary Version 4.0/RARF Guide Version 4.0/RARF Forms | EMS |  |  | Y | Y
|  | Private Network - Site | X | X | X |  | MVAr | Average Amount of Self-Serve private reactive Load | If the site is a Private Use Network, then enter the average amount of the total site generation MVAr output used for self serve and not available for the grid. | C | C | C | C | Average Amount Of Self-serve Private Reactive Load | This field is conditional. Required if Private Network flag is 'Y' | C | RARF Glossary Version 4.0/RARF Guide Version 4.0/RARF Forms |  |  |  | Y | Y
|  | Private Network - Site | X | X | X |  | MW | Expected Typical Private Network Net Interchange | If the site is a Private Use Network, then enter the MW Net Interchange with ERCOT grid (typically Net=Gen-Load). | C | C | C | C | Expected Typical Private Network Net Interchange | This field is conditional. Required if Private Network flag is 'Y' | C | RARF Glossary Version 4.0/RARF Guide Version 4.0/RARF Forms | EMS |  |  | Y | Y
|  | Private Network - Site | X | X | X |  | MVAr | Expected Typical Private Network Net Reactive Interchange | If the site is a Private Use Network, then enter the MVAr Net Interchange with ERCOT grid (typically Net=Gen-Load). | C | C | C | C | Expected Typical Private Network Net Reactive Interchange | This field is conditional. Required if Private Network flag is 'Y' | C | RARF Glossary Version 4.0/RARF Guide Version 4.0/RARF Forms |  |  |  | Y | Y
|  | Private Network - Site | X | X | X |  | MW | Private Network Gross Unit Site Generation Capability | If the site is a Private Use Network, then enter the MW Gross Generation Capability for the Site | C | C | C | C | Private Network Gross Unit Capability | This field is conditional. Required if Private Network flag is 'Y' | C | RARF Glossary Version 4.0/RARF Guide Version 4.0/RARF Forms |  |  |  | Y | Y
|  | Private Network - Site | X | X | X |  | MVAr | Private Network Gross Unit Site Generation Reactive Capability | If the site is a Private Use Network, then enter the MVAr Gross Generation Capability for the Site | C | C | C | C | Private Network Gross Unit Reactive Capability | This field is conditional. Required if Private Network flag is 'Y' | C | RARF Glossary Version 4.0/RARF Guide Version 4.0/RARF Forms |  |  |  | Y | Y
Dynamics working group | Used for Dynamic simulations | Private Network - Site | X | X | X |  | % | Large Motor, percent of total MW Load | Enter estimated % of total MW Load per Load type based on sound engineering judgment using a reasonable estimation methodology. The split between large and small motor should be along voltage lines - where motors connected at 2400/4160V and above should be considered large, and below 2400/4160V should be considered small. |  |  | C | C | Large Motor, Percent Of Total MW Load | Large Motor, percent of total MW load+Small Motor, percent of total MW load+Resistive (Heating) Load, percent of total MW load+ Discharge Lighting, percent of total MW load+Other, percent of total MW load = 100. This field is conditional. Required if Private Network flag is 'Y' | C | Lin Xu | MMS |  |  | N | N
|  | Private Network - Site | X | X | X |  | % | Small Motor, percent of total MW Load | Enter % of total MW Load per Load type. The split between large and small motor should be along voltage lines - where motors connected at 2400/4160V and above should be considered large, and below 2400/4160V should be considered small. |  |  | C | C | Small Motor, Percent Of Total OF MW Load | Large Motor, percent of total MW load+Small Motor, percent of total MW load+Resistive (Heating) Load, percent of total MW load+ Discharge Lighting, percent of total MW load+Other, percent of total MW load = 100. This field is conditional. Required if Private Network flag is 'Y' | C | Lin Xu | MMS |  |  | N | N
|  | Private Network - Site | X | X | X |  | % | Resistive (Heating) Load, percent of total MW Load | Enter estimated % of total MW Load per Load type based on sound engineering judgment using a reasonable estimation methodology. |  |  | C | C | Resistive (heating) Load, Percent Of Total MW Load | Large Motor, percent of total MW load+Small Motor, percent of total MW load+Resistive (Heating) Load, percent of total MW load+ Discharge Lighting, percent of total MW load+Other, percent of total MW load = 100. This field is conditional. Required if Private Network flag is 'Y' | C | Lin Xu | MMS |  |  | N | N
|  | Private Network - Site | X | X | X |  | % | Discharge Lighting, percent of total MW Load | Enter estimated % of total MW Load per Load type based on sound engineering judgment using a reasonable estimation methodology. |  |  | C | C | Discharge Lighting, Percent Of Total Mw Load | Large Motor, percent of total MW load+Small Motor, percent of total MW load+Resistive (Heating) Load, percent of total MW load+ Discharge Lighting, percent of total MW load+Other, percent of total MW load = 100. This field is conditional. Required if Private Network flag is 'Y' | C | Lin Xu | MMS |  |  | N | N
|  | Private Network - Site | X | X | X |  | % | Other, percent of total MW Load | Enter estimated % of total MW Load per Load type based on sound engineering judgment using a reasonable estimation methodology. |  |  | C | C | Other, Percent Of Total MW Load | Large Motor, percent of total MW load+Small Motor, percent of total MW load+Resistive (Heating) Load, percent of total MW load+ Discharge Lighting, percent of total MW load+Other, percent of total MW load = 100. This field is conditional. Required if Private Network flag is 'Y' | C | Lin Xu | MMS |  |  | N | N
|  | Private Network - Site | X | X | X |  | % | Large Motor, percent of total MVAr Load | Enter estimated % of total MVAr Load per Load type based on sound engineering judgment using a reasonable estimation methodology. The split between large and small motor should be along voltage lines - where motors connected at 2400/4160V and above should be considered large, and below 2400/4160V should be considered small. |  |  | C | C | Large Motor, Percent Of Total MVAR Load | Large Motor, percent of total MVAR load+ Small Motor, percent of total MVAR load Discharge Lighting, percent of total MVAR load+Other, percent of total MVAR load = 100. This field is conditional. Required if Private Network flag is 'Y' | C | Lin Xu | MMS |  |  | N | N
|  | Private Network - Site | X | X | X |  | % | Small Motor, percent of total MVAr Load | Enter estimated % of total MVAr Load per Load type based on sound engineering judgment using a reasonable estimation methodology.The split between large and small motor should be along voltage lines - where motors connected at 2400/4160V and above should be considered large, and below 2400/4160V should be considered small. |  |  | C | C | Small Motor, Percent Of Total MVAR Load | Large Motor, percent of total MVAR load+ Small Motor, percent of total MVAR load Discharge Lighting, percent of total MVAR load+Other, percent of total MVAR load = 100. This field is conditional. Required if Private Network flag is 'Y' | R | Lin Xu | MMS |  |  | N | N
|  | Private Network - Site | X | X | X |  | % | Discharge Lighting, percent of total MVAr Load | Enter estimated % of total MVAr Load per Load type based on sound engineering judgment using a reasonable estimation methodology. |  |  | C | C | Discharge Lighting, Percent Of Total MVAR Load | Large Motor, percent of total MVAR load+ Small Motor, percent of total MVAR load Discharge Lighting, percent of total MVAR load+Other, percent of total MVAR load = 100. This field is conditional. Required if Private Network flag is 'Y' | C | Lin Xu | MMS |  |  | N | N
|  | Private Network - Site | X | X | X |  | % | Other, percent of total MVAr Load | Enter estimated % of total MVAr Load per Load type based on sound engineering judgment using a reasonable estimation methodology. Ensure that Large Motor, percent of total MVAR load+ Small Motor, percent of total MVAR load Discharge Lighting, percent of total MVAR load+Other, percent of total MVAR load = 100. |  |  | C | C | Other, Percent Of Total MVAR Load | Large Motor, percent of total MVAR load+ Small Motor, percent of total MVAR load Discharge Lighting, percent of total MVAR load+Other, percent of total MVAR load = 100. This field is conditional. Required if Private Network flag is 'Y' | C | Lin Xu | MMS |  |  | N | N