Reduce the need for procurement of RUC and review the compensation for it.

The task force will dissolve at the end of March, 2015.

Review RUCs over the last year or so – why.

RUC for capacity (ORDC price indicative of start up)

- Last hour not always possible due to huge capacity deficits

- Requirements around COPs, especially for morning shifts updating COPs when they arrive to work.

- Provide a tool for operations to evaluate whether expected ORDC price adders for online units, plus, potentially, expected energy values, are sufficiently high to provide a high level of confidence that the resource owners will start the unit for commercial purposes, OR evaluation of mechanisms to encourage QSEs to do this on their own.

- Inclusion of an evaluation of an augmented ORDC for the above (AKA NPRR 626)

- How to encourage accurate COPs?

RUC for cold weather – expected failed starts (ORDC price indicative of start up) (how to anticipate failed startups)

- More information into the ERCOT decision making process

- Wind mitigation in cold weather plans

- Look at Jan 6 study as part of work

- Evaluate the current procedures, and where there may be points of failure that lead to trips or failed starts.

- How to evaluate whether very high price risk can have indirect benefits on units having more reliable operations. Include a review or the ORDC tool or procedure above.

For congestion (direct relief and contingencies)

- Preparing for a contingency – ERCOT has 30 minutes under an IROL

- Evaluate examples of when we did RUC for direct congestion relief to determine what occurred in the DAM for that area.

- Valley example? Deep dive on the several days or RUC

RUC buyback during operating period and RUC compensation

- Can we provide flexibility for owners to buy back within the operating period?

- Compensation issues related to net revenues for a resource RUC period.

Evaluate whether a GTL can be established in larger areas instead of RUCing for voltage support, such as the DFW area.

Real-time economic commitment of resources, hour ahead market.

We won’t discuss:

- RUC for system inertia

Settlement of RUC for AS?