## Original 6 from 3-11 Workshop
ID # | High Level Proposal Description
1 | The FAST Proposal, as described at the 9-25-14 TAC meeting but with NO cap on the FFRS MCPC.
2 | Alternative 1 Proposal, as described at the 9-25-14 TAC meeting. | Not in Matrix
3 | Alternative 2 Proposal, as described at the 9-25-14 TAC meeting. (This is essentially NPRR 018) | Not in Matrix
4 | The Luminant Proposal, as described at the 3-11-15 FAS Workshop | Not in Matrix
5 | IMM Modification to Alternative Proposal 2, as described at the 9-25-14 TAC meeting that introduced the “Linked Load Bids – AS Offers Concept"
6 | The Enhanced 2015-2018 Alternative Proposal

## Constraint MCPC for PFR, FFR
| Constraints | PFR MCPC | FFR MCPC
FAST Proposal | (a) Sum(PFR)+R*Sum(FFR)>=PFR_Req+R*FFR_Req (Shadow Price SP_a) (b) Sum(FFR) <= FFR_Req (Shadow Price SP_b) | SP_a | R*SP_a
IMM Modification to Alternative Proposal 2 | (a) Sum(PFR)+R*Sum(FFR)>=PFR_Req+R*FFR_Req (Shadow Price SP_a) (b) Sum(FFR) <= FFR_Req (Shadow Price SP_b) (c) For each Load Resource with linked energy bid: EnergyBid_cleared_MW - FFR >= LPC (Shadow Price SP_c) | SP_a | R*SP_a + SP_b Note: The formula is the same as Alternate Proposal 2 but allows for opportunity costs for Load Resource energy bid to be incorporated into the FFR MCPC
Enhanced 2015-2018 Alternative Proposal | (a) Sum(PFR)+Sum(FFR)>=PFR_Req+FFR_Req (Shadow Price SP_x) (b) Sum(FFR) <= FFR_Req (Shadow Price SP_b) | SP_x | SP_x

## Example
SCENARIOs |  | Case 1 | Case 2 | Case 3 | Case 4 | Case 5 | Case 6 | Case 7
|  | a) Lots of capacity, i.e. no opportunity costs for energy or other AS b) FFR max procurement limit reached | a) Lots of capacity, i.e. no opportunity costs for energy or other AS b) Not enough FFR cleared to bind on FFR max procurement limit | a) Lots of capacity, i.e. no opportunity costs for energy or other AS b) Not enough FFR cleared to bind on FFR max procurement limit c) FFR Offers more expensive compared to PFR Offers | a) Lots of capacity, i.e. no opportunity costs for energy or other AS b) FFR Offers more expensive compared to PFR Offers c) Lots of PFR Offers available that are cheaper than FFR Offers | a) Capacity for PFR has moderate opportunity cost. Note: In this scenario, the energy prices are not somewhat elevated but not too much. For the IMM proposal, it is expected that the LR energy bids are much higher than the energy prices and hence any linked FFR offers will not have opportunity cost included. b) For the marginal PFR offer the opportunity costs for energy impacts procurement constraint = $20 (for example) c) For the marginal FFR offer the opportunity costs for energy is zero (for example).<-- note this is used in the IMM proposal with linked energy bids d) FFR max procurement limit reached | a) For the marginal PFR offer the opportunity costs for energy impacts procurement constraint = $20 (for example) b) Not enough FFR cleared to bind on FFR max procurement limit | a) For the marginal PFR offer the opportunity costs for energy impacts procurement constraint = $2000 (for example) b) For the marginal FFR offer the opportunity costs for energy is $1100 (for example)<-- note this is used in the IMM proposal with linked energy bids c) FFR max procurement limit reached
Requirement
PFR |  | 1240 | 1240 | 1240 | 1240 | 1240 | 1240 | 1240
FFR |  | 1060 | 1060 | 1060 | 1060 | 1060 | 1060 | 1060
Equivalence Ratio (R ) FFR to PFR i.e. 1 MW of FFR = R MW of PFR |  | 2 | 2 | 2 | 2 | 2 | 2 | 2
Equivalent total in PFR MW = PFR_Req+Ratio*FFR_Req |  | 3360 | 3360 | 3360 | 3360 | 3360 | 3360 | 3360
OFFERS
PFR | MWs | 3000 | 3000 | 3000 | 4000 | 3000 | 3000 | 3000
PFR | $$$ | 10 | 10 | 10 | 10 | 10 | 10 | 10
FFR | MWs | 3000 | 1000 | 3000 | 3000 | 3000 | 1000 | 3000
FFR | $$$ | 3 | 3 | 22 | 22 | 3 | 3 | 3
AWARDS
PFR MW |  | 1240 | 1360 | 3000 | 3360 | 1240 | 1360 | 1240
FFR MW |  | 1060 | 1000 | 180 | 0 | 1060 | 1000 | 1060
Shadow Price
Sum(PFR) + R*Sum(FFR) >= 3360 |  | 10 | 10 | 11 | 10 | 30 | 30 | 2010
Sum(FFR) <= 1060 |  | -17 | 0 | 0 | 0 | -57 | 0 | -4017
MCPC
FAST PFR MCPC |  | 10 | 10 | 11 | 10 | 30 | 30 | 2010
FAST FFR MCPC |  | 20 | 20 | 22 | 20 | 60 | 60 | 4020
IMM Modification to Alternative Proposal 2 PFR MCPC |  | 10 | 10 | 11 | 10 | 30 | 30 | 2010
IMM Modification to Alternative Proposal 2 FFR MCPC |  | 3 | 20 | 22 | 20 | 3 | 60 | 1103
Enhanced 2015-2018 Alternative - No change to DAM software
Total Requirement PFR_req+FFR_req |  | 2300 | 2360 | 3360 | 3360 | 2300 | 2360 | 2300
Enhanced 2015-2018 Alternative --> Awards | PFR MW | 1240 | 1360 | 3000 | 3360 | 1240 | 1360 | 1240
| FFR MW | 1060 | 1000 | 360 | 0 | 1060 | 1000 | 1060
Enhanced 2015-2018 Alternative --> Shadow Price
Sum(PFR)+Sum(FFR)>-2300 --> Ratio=1 |  | 10 | 10 | 22 | 10 | 30 | 30 | 2010
Sum(FFR) <=1060 |  | -7 | 0 | 0 | 0 | -27 | 0 | -2007
Enhanced 2015-2018 Alternative --> MCPCs | PFR MCPC | 10 | 10 | 22 | 10 | 30 | 30 | 2010
| FFR MCPC | 10 | 10 | 22 | 10 | 30 | 30 | 2010
Note on I23: ERCOT: Note for IMM proposal the shadow price is -2917 $/MW
Note on H28: Moorty, Sai:FFR with linked energy bids will be cleared if LMP minus the submitted not to exceed energy bid price is <= $60-FFR Offer Price
Note on I28: Moorty, Sai: In this case opportunity cost of $1100 for energy is incorporated into FFR MCPC. Note, this also means that the linked energy bid to buy is cleared but at a higher price than the submitted not to exceed price by $1100
Note on D32: Moorty, Sai: ERCOT adjusts PFR requirements requirement after DAM close based on guestimate of how much FFR will be cleared

## Topics & Questions to Consider
Topic ID | Topic/Question | The FAST Proposal | IMM Proposal | Enhanced 2015-2018 Alternative Proposal
1 | Are the MCPC's determined on Shadow Prices | Yes | Yes | Yes
2 | Does the proposal or approach provide an efficient pricing outcomes? (energy and AS) | Pricing follows the philosophy of todays market (energy and AS). | Yes, assuming Load Resources are offering at marginal cost. (Energy and AS) | Uncertain and likely to result in over procurement or under procurement which may increase cost to load
3 | Does the proposal or approach provide efficient procurement outcomes? | Procurement amounts are the best possible | Procurement amounts are the best possible | Possible and likely there will be over and under procurement occasionally -- may need to build in a cushion in initial quantities or need SASMs occasionally. RT Co-Opt helps mitigate this issue.
4 | ERCOT Procedure Complexity | No Issues | No Issues | Extreme. ERCOT is modifying requirements after DAM submission window close and will lead to questions on transparencies and uniform operator behavior across all DAM runs
5 | Self-Arrangement | No Issues | No Issues | No Issue
6 | Replacement in Real-time | Resources must replace its FFR with same amount of FFR or equivalency ratio*PFR. | Resources must replace its FFR with same amount of FFR or equivalency ratio*PFR but may have been paid less than R*PFR price. | Significant issue as requirements are considering equivalency ratio, but procurement/optimization is not. Could lead to insufficient AS procurement.
7 | Cost to Load |  |  | over procurement
8 | Market Impact (# of SASMS) |  |  | probability increases for SASMs
9 | Withholding Incentives |  |  | Due to increased probability of SASM
10 | Impact on Resource's participation in FFRS |  | Replacement risk | Replacement risk
11 | Adequate competition for all Resources (new and existing)