## HHIOL
Outage Coordination Improvement Task Force
Historical High Impact Outage List
Equipment Type | Voltage Level | From Station | To Station | Notes | Notes 2
LN | 345 | Ajo | Rio Hondo
LN | 138 | Buttercup | Whitestone
LN | 138 | Azteca Sub | SE Edinburg
LN | 138 | Caddo Sw Sta Tnp | Apache Tnp
BR | 138 | Comanche Switch Tnp
LN | 138 | Coyote Sharyland Utilities | Bulldog_Su
LN | 345 | Fayetteville Plant 1 | Fayetteville
LN | 138 | La Palma | Rio Hondo
LN | 138 | Lamesa | Jim Payne POI
LN | 345 | Lon Hill | North Edinburg
XF | 345/138 | Lytton Springs
XF | 138/69 | Permian Basin SES
LN | 345 | Monticell SES | Sulphur Springs Switch
LN | 345 | W.A. Parrish | Bellaire
LN | 69 | Sinton | Skidmore
LN | 138 | Knapp | Bluff Creek Switch
XF | 138/69 | Concho
LN | 138 | Fort Bend | Brazos Valley
LN | 138 | Flewellen | Peters
LN | 138 | East Levee Switch | West Network
XF | 345/138 | Hutto
LN | 69 | Lorraine | Roscoe
LN | 138 | Lewisville Switch | Lewisville
LN | 345 | Kyukendahl | Rothwood
LN | 345 | Pawnee Switching Station | Lon Hill
BS | 345 | North Edinburg
LN | 345 | King | Chambers
LN | 138 | McNeil LCRA | Gilleland
XF | 345/138 | Everman Switch
LN | 138 | Odessa Southwest | Moss Switch
LN | 345 | Odessa EHV Switch | Moss Switch
LN | 345 | Moss Switch | Midland East
XF | 345/138 | Morgan Creek SES
XF | 345/138 | Odessa EHV Switch
BS | 345 | Forney Switch
XF | 345/138 | Carrolton Northwest

## 9DOSC
Outage Coordination Improvement Task Force
90 Day Outage Screening Criteria
Criteria Type | Description
EQMT | 345/138kV Autotransformers
EQMT | 345kV buses
AREA | San Angelo
AREA | Moss Switch
AREA | Rio Hondo
AREA | Valley Import
AREA | Houston Import