## Slide 1: Third Party DR Self-Deployment
Loads in SCEDv2 Subgroup
Sept. 18, 2015

## Slide 2: Background
Subgroup has been working on enabling 3rd Party DR QSE participation in the Real-Time Energy Market, while preserving the principle of LMP Minus G
Focus has been on the residential sector and its huge share of peak demand
Concepts and mechanisms behind LMP-Proxy $G have moved the discussion forward

## Slide 3: Background
However, evidence mounts that residential AC is not perfectly suited to SCED base point instructions
Challenges:
  Ramp periods
  Unknown event durations
  Load restoration times
  Snapback effect
  Etc.

## Slide 4: Third Party DR Self-Deployment
This proposal:
  Provides 3rd Party DR QSEs with access to the market by applying most of the concepts and mechanisms of LMP-Proxy $G
  Reduces dispatch complexities and compliance risk compared to implementing LMP-Proxy $G through LRIS 2.0

## Slide 5: Leveraging Work We’ve Done
This proposal keeps:
  DR Provider of Record (DRPOR) as a new type of Market Participant
  Aggregate Load Resource (ALR) concepts:
    Must be capable of being baselined
    Each REP portfolio within an ALR must meet a minimum size requirement
  Proxy $G Settlements:
    REP is paid Proxy $G
    Load reduction is added back to REP settlement load
    DR QSE is paid LMP-Proxy $G

## Slide 6: What’s Different
DR QSE self-deploys based on its own economics
  No active bid/offer in SCED
  No SCED base point instructions
DR QSE communicates event start and stop times to ERCOT at the same time as instructions are issued to customers
ERCOT calculates DR value using 15-minute AMI meter data & proven baseline methodologies
DR QSE is paid LMP-Proxy $G for delivered DR value, as measured & verified by ERCOT
  IE, ‘pay for performance’

## Slide 7: Notes & Discussion Points
AMI data available <48 hours could allow for Initial Settlement
DR QSE communication to ERCOT: via ICCP
  2-second telemetry 24/7?
  What are appropriate telemetry values?
    Real-time Load
    Expected DR value (for ERCOT situational awareness)
Minimum DR value needed to discourage abuse of ERCOT staff performing M&V
  Penalties for non-performance?
Charges to 3rd Party DR QSEs and payments to REP for:
  DR value when LMP<Proxy $G
  Snapback effect