| NOGRR Number | 157 | NOGRR Title | Administrative Changes for June 1, 2016 Nodal Operating Guides – Load Shed Table |
| --- | --- | --- | --- |
| Date Posted | May 16, 2016 |
| Status | Administrative Change |
| Nodal Operating Guide Sections Requiring Revision | 4.5.3.4, Load Shed Obligation |
| Related Documents Requiring Revision/Related Revision Requests | None. |
| Revision Description | This Administrative Nodal Operating Guide Revision Request (NOGRR) updates the ERCOT Load Shed Table for 2016. Administrative changes to the Load Shed Table are allowed under Section 1.3.1, Introduction. |
| Reason for Revision | Addressing current operational issues Meeting strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board) Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |

| Sponsor |
| --- |
| Name | Leo Villanueva |
| E-mail Address | Elias.Villanueva@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3135 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |
| --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

Proposed Guide Language Revision

4.5.3.4	Load Shed Obligation

Obligation for Load shed is by DSP.  Load shedding obligations need to be represented by an Entity with 24x7 operations and Hotline communications with ERCOT and control over breakers.  Percentages for Level 3 Load shedding will be based on the previous year’s TSP peak Loads, as reported to ERCOT, and will be reviewed by ERCOT and modified annually.  (Use TOs as list of Entities)

ERCOT Load Shed Table

| Transmission Operator | 2015 Total Transmission Operator Load (%MW) |
| --- | --- |
| AEP Texas Central Company | 8.59 |
| Brazos Electric Power Cooperative Inc. | 4.90 |
| Brownsville Public Utilities Board | 0.38 |
| Bryan Texas Utilities | 0.51 |
| CenterPoint Energy Houston Electric LLC | 25.27 |
| City of Austin DBA Austin Energy | 3.81 |
| City of College Station | 0.30 |
| City of Garland | 0.83 |
| CPS Energy (San Antonio) | 6.83 |
| Denton Municipal Electric | 0.50 |
| GEUS (Greenville) | 0.16 |
| LCRA Transmission Services Corporation | 5.65 |
| Oncor Electric Delivery Company LLC | 35.96 |
| Rayburn Country Electric Cooperative Inc. DBA Rayburn Electric | 1.10 |
| Sharyland Utilities | 0.59 |
| South Texas Electric Cooperative Inc. | 2.22 |
| Texas-New Mexico Power Company | 2.40 |
| ERCOT Total | 100.00 |