## Summary
Missed Postings - February 2017
EMIL_ID | Report Type ID | PRODUCT_NAME | GEN_FREQ | # Missed
NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 1
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 2
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 2
NP4-733-CD | 13071 | Wind Power Production - Actual 5-Minute Averaged Values | Chron - 5 Minutes | 2
NP4-738-CD | 13484 | Solar Power Production - Actual 5-Minute Averaged Values | Chron - 5 Minutes | 2
Missed Postings - March 1 - 22, 2017
EMIL_ID | Report Type ID | PRODUCT_NAME | GEN_FREQ | # Missed
NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 18
NP4-736-SG | 13482 | Solar Generation Resource Power Potential Forecast | Chron - Hourly | 18

## Detail
Missed Postings - February 2017
Report Name | EMIL ID | Report ID | Intervals Missed (DD/MM/YYYY) | Reason
Real Time Dynamic Rating Data | NP6-215-CD | 11024 | 22/02/2017 15:30 - 22/02/2017 15:45 | M-B021717-01, Core System Failover
Topology Consistency | NP6-291-CD | 12309 | 22/02/2017 15:35 - 22/02/2017 15:40 22/02/2017 15:40 - 22/02/2017 15:45 | M-B021717-01, Core System Failover
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 22/02/2017 15:35 - 22/02/2017 15:40 22/02/2017 15:40 - 22/02/2017 15:45 | M-B021717-01, Core System Failover
Wind Power Production - Actual 5-Minute Averaged Values | NP4-733-CD | 13071 | 22/02/2017 15:35 - 22/02/2017 15:40 22/02/2017 15:40 - 22/02/2017 15:45 | M-B021717-01, Core System Failover
Solar Power Production - Actual 5-Minute Averaged Values | NP4-738-CD | 13484 | 22/02/2017 15:35 - 22/02/2017 15:40 22/02/2017 15:40 - 22/02/2017 15:45 | M-B021717-01, Core System Failover
Missed Postings - March 1 - 22, 2017
Report Name | EMIL ID | Report ID | Intervals Missed (DD/MM/YYYY) | Reason
Aggregated Solar Resource Power Potential Forecast | NP4-739-SG | 13498 | 09/03/2017 16:00 - 09/03/2017 17:00 09/03/2017 17:00 - 09/03/2017 18:00 09/03/2017 18:00 - 09/03/2017 19:00 09/03/2017 19:00 - 09/03/2017 20:00 09/03/2017 20:00 - 09/03/2017 21:00 09/03/2017 21:00 - 09/03/2017 22:00 09/03/2017 22:00 - 09/03/2017 23:00 09/03/2017 23:00 - 10/03/2017 00:00 10/03/2017 00:00 - 10/03/2017 01:00 10/03/2017 01:00 - 10/03/2017 02:00 10/03/2017 02:00 - 10/03/2017 03:00 10/03/2017 03:00 - 10/03/2017 04:00 10/03/2017 04:00 - 10/03/2017 05:00 10/03/2017 05:00 - 10/03/2017 06:00 10/03/2017 06:00 - 10/03/2017 07:00 10/03/2017 07:00 - 10/03/2017 08:00 10/03/2017 08:00 - 10/03/2017 09:00 10/03/2017 09:00 - 10/03/2017 10:00 | M-A020317-03, R1 production release issue
Solar Generation Resource Power Potential Forecast | NP4-736-SG | 13482 | 09/03/2017 16:00 - 09/03/2017 17:00 09/03/2017 17:00 - 09/03/2017 18:00 09/03/2017 18:00 - 09/03/2017 19:00 09/03/2017 19:00 - 09/03/2017 20:00 09/03/2017 20:00 - 09/03/2017 21:00 09/03/2017 21:00 - 09/03/2017 22:00 09/03/2017 22:00 - 09/03/2017 23:00 09/03/2017 23:00 - 10/03/2017 00:00 10/03/2017 00:00 - 10/03/2017 01:00 10/03/2017 01:00 - 10/03/2017 02:00 10/03/2017 02:00 - 10/03/2017 03:00 10/03/2017 03:00 - 10/03/2017 04:00 10/03/2017 04:00 - 10/03/2017 05:00 10/03/2017 05:00 - 10/03/2017 06:00 10/03/2017 06:00 - 10/03/2017 07:00 10/03/2017 07:00 - 10/03/2017 08:00 10/03/2017 08:00 - 10/03/2017 09:00 10/03/2017 09:00 - 10/03/2017 10:00 | M-A020317-03, R1 production release issue