## Slide 1
ERCOT Frequency Control Report
November 2019
ERCOT
Operations Planning
PDCWG | December 11th, 2019

## Slide 2: Summary of November 2019
CPS1: 174.54%
Current CPS1 12-Month Rolling Average: 174.58%
0 BAAL Exceedance
2 hourly CPS1 score below 100%
BAAL-003 Events have updated through 2018
2018 BAAL-003 FRM Performance: -843.17
2019 RMS1 Statistics
  Mean: 15.08 mHz
  Min: 13.11 mHz
  Max: 18.90 mHz
Energy Statistics
  Total Energy: 27,652,184 MWh
  Wind Energy: 6,358,646 MWh
  Percent Energy from Wind: 23.00%
  Solar Energy: 259.938
  Percent Energy from Solar: 0.94%
Minimum System Inertia
  Mean: 179,908
  Max: 260,577 on Nov 12th
  Min: 144,925 on Nov 19th

## Slide 3: Frequency Control
CPS1, BAAL, & RMS1

## Slide 4: Hourly CPS1 by Day
Nov-19 CPS1 (%): 174.54
Notes: Outliers:
11/06/2019 19:00 88.8%:
Large Down Ramp Rate from wind at the beginning of the hour which led to a large expected generation deviation minimum of -1109 MW @ 19:20
11/06/2019 20:00 81.6%
Large generation deviation of -819.4MW @ 20:35:27 due large down ramp rate from wind
Large generation deviation of -903.4MW @ 20:52:57 due to large down ramp rate from wind

## Slide 5: BAAL Exceedances & Violations
There was 0 BAAL exceedances in Nov

## Slide 6: 15-Minute Average CPS1%
Nov-19 CPS1 (%): 174.54

## Slide 7: 12-Month Rolling Average CPS1
Current 12-Month Rolling Average: 174.58%

## Slide 8: Daily RMS1 of ERCOT Frequency by Year
Notes:   Mean: 15.08 mHz

## Slide 9: Daily RMS1 of ERCOT Frequency by Month

## Slide 10: Daily RMS1 of ERCOT Frequency by Month
Notes: Mean: 15.08 mHz
Min: 13.11 mHz
Max: 18.90 mHz

## Slide 11: Frequency Profile Comparison

## Slide 12: Frequency Profile Comparison

## Slide 13: Frequency Profile Comparison

## Slide 14: Time Error Correction

## Slide 15: ERCOT Daily Time Error

## Slide 16: Time Error Corrections Log Summary
There have been no time error corrections since December 2016

## Slide 17: BAL-003 Performance

## Slide 18: Op. Year 2018 BAL-003 Selected Events – Update
Notes: BAL-003

## Slide 19: Op. Year 2018 BAL-003 FRM Performance - Update

## Slide 20: ERCOT Energy Statistics

## Slide 21: Total Energy
Notes: 27,652,184 MWh

## Slide 22: Total Energy from Wind Generation
Notes: 6,358,646 MWh

## Slide 23: % Energy from Wind Generation
Notes: 23.00%

## Slide 24: Total Energy From Solar Generation
Notes: 259,938 MWh

## Slide 25: % Energy from Solar Generation
Notes: 0.94%

## Slide 26: ERCOT System Inertia

## Slide 27: Daily Minimum System Inertia
Notes: Minimum Inertia = 128,759 MW*s on 11/3/2018.
Previous Minimum was 130,014 MW*s on 10/27/2017. This was also our record wind day.
Data:
Mean: 179,908
Max: 260,577 on Nov 12th
Min: 144,925 on Nov 19th

## Slide 28: Questions?
Thank you!