## Slide 1: BESTF KTCs, Storage Revision Requests and Meetings Tracker
Revision Request | Related RR’s | Key Topic & Concept | Item | Decision Points and Issues for Developing Principle Concepts | Next Meeting(s)
NPRR957 RTF-4 Definition of Energy Storage Resource and Related Registration and Telemetry Requirements |  | KTC-1 Definitions and Registration for Energy Storage Resources | 1 | RTF-4 Definition of Energy Storage Resource and Related Registration and Telemetry Requirements) introduces the ESR definition so that subsequent NPRRs can use the ESR definition. | Board approved 12/10/19
NPRR963 Base Point Deviation Settlement and Deployment Performance Metrics for Energy Storage Resources (Combo Model) |  | KTC-5 Performance | 1 | Energy Storage Resource Performance Deployment (ESRDP) | Board approved 2/11/20
 |  | KTC-7 Settlement | 1 | Base-Point Deviation (BPD) | 
NPRR986 (BESTF-2) Energy Storage Resource Energy Offer Curves, Pricing, Dispatch, and Mitigation | VCMRR027 | KTC-3 Dispatch, Pricing, and Mitigation | 1 | SCED dispatch and Nodal pricing (Base-Point weighting) of Energy Storage Resources when charging and discharging | Board approved 2/11/20
 |  |  | 2 | Mitigation treatment in SCED | 
 |  |  | 3 | Reporting Requirements on how often mitigation would have been applied. | 
NPRR987 (BESTF-3) Energy Storage Resource Contribution to Physical Responsive Capability and Real-Time On-Line Reserve Capacity Calculations | OBDRR017 | KTC-2 Physical Responsive Capability, and ORDC Reserve | 1 | Energy Storage Resources contribution to PRC | 1/16/20 PRS table/refer 2/5/20 WMS table/refer 2/6/20 ROS table/refer 2/12/20 PDCWG endorsed 2/17/20 WMWG endorsed 3/4/20 WMS endorsed 3/5/20 ROS endorsed 4/16/20 PRS endorsed 5/13/20 PRS endorsed IA …TAC 5/27/20 ...BOD 6/9/20
 |  |  | 2 | Energy Storage Resources contribution to ORDC Reserves | 
Green indicates dependency and estimate.

## Slide 2: BESTF KTCs, Storage Revision Requests and Meetings Tracker
Revision Request | Related RR’s | Key Topic & Concept | Item | Decision Points and Issues for Developing Principle Concepts | Next Meeting(s)
NPRR989 (BESTF-1) Energy Storage Resource Technical Requirements | NOGRR204 | KTC-4 Technical Requirements | 1 | Reactive Capability and Voltage Support Service | 1/16/20 PRS table/refer 2/6/20 ROS table/refer 2/12/20 PDCWG endorsed 2/20/20 OWG endorsed 3/5/20 ROS endorsed 4/16/20 PRS endorsed 5/13/20 PRS endorsed IA …TAC 5/27/20 ...BOD 6/9/20
 |  |  | 2 | Voltage/frequency Ride-through requirements | 
 |  |  | 3 | Governor Deadband and Droop Setting Requirement | 
 |  |  | 4 | Governor Testing | 
NPRR1014 (BESTF-4) Single Model Energy Storage Resource |  | KTC-5 Performance | 2 | Energy Storage Resource Performance Deployment (ESRDP) | 4/16/20 PRS not taken up BESTF 4/16/20 BESTF 5/1/20 …BESTF 5/21/20 …BESTF 6/12/20 …BESTF 6/30/20 …BESTF 7/23/20 …BESTF 8/14/20 …BESTF 9/11/20 …PRS 10/15/20 ...PRS 11/11/20 (IA) ...TAC 11/18/20 ...BOD 12/08/20
 |  | KTC-6 ESR Options to maintain desired level of State of Charge | 2 | Single model ESR attributes and Offer structure | 
 |  | KTC-7 Settlement | 2 | Single model ESR Settlement changes | 
 |  |  | 3 | Single model ESR Base-Point Deviation (BPD) | 
 |  |  | 5 | ESR Settlement using Nodal Base-Point weighted prices | 
Green indicates dependency and estimate.

## Slide 3: BESTF KTCs, Storage Revision Requests and Meetings Tracker
Revision Request | Related RR’s | Key Topic & Concept | Item | Decision Points and Issues for Developing Principle Concepts | Next Meeting(s)
NPRR1002 (BESTF-5) Energy Storage Resource Single Model Registration and Charging Restrictions in Emergency Conditions | RRGRR023 PGRRbbb NOGRR208 | KTC-1 Definitions and Registration for Energy Storage Resources | 1 | Registration of a battery as a single Resource and identified as an Energy Storage Resource (ESR). (Protocol Language and system changes.) | 4/16/20 PRS not taken up BESTF 4/16/20 BESTF 5/1/20 ...OWG 5/21/20 ...PRS 6/11/20 ...PRS 7/16/20 (IA) ...TAC 7/29/20 ...BOD 8/11/20
 |  | KTC-3 Dispatch, Pricing, and Mitigation | 4 | Charging restrictions during an emergency conditions (Note PUCT rule on charging during emergencies.) | 
NPRR995 |  |  |  | RTF-6 Create Definition and Terms for Settlement Only Energy Storage | 2/13/20 PRS table 4/16/20 PRS table BESTF 4/16/20 BESTF 5/1/20 Not discussed BESTF 5/21/20 Not to be discussed ...WMS 6/3/20 ...BESTF 6/12/20 …PRS 7/16/20 …PRS 8/13/20 (IA) ...TAC 8/26/20 ...BOD 10/13/20
Green indicates dependency and estimate.

## Slide 4: BESTF KTCs, Storage Revision Requests and Meetings Tracker
Revision Request | Related RR’s | Key Topic & Concept | Item | Decision Points and Issues for Developing Principle Concepts | Next Meeting(s)
NPRRxxxx (BESTF-6) DC Coupled Resources |  | KTC-11 DC Coupled Resources | 1 | Resource Definition and Registration | Not yet submitted
 |  |  | 2 | Participation Model (EMS and MMS) | 
 |  |  | 3 | Forecasting PV/Wind | 
 |  |  | 4 | Performance | 
 |  |  | 5 | Mitigation treatment in SCED | 
 |  |  | 6 | WSL Treatment & Renewable Energy Credits | 
 |  |  | 7 | Data Requirements from QSEs | 
 |  |  | 8 | Operations and Planning Studies | 
 |  |  | 9 | Resource Adequacy Reporting | 
 |  |  | 10 | Proxy Offer Curve and Bid to Buy for DC Coupled Resources | 
 |  |  | 11 | RUC Capacity Short Calculations | 
 |  |  | 12 | Physical Responsive Reserve (PRC) and Real-Time On-Line Capacity (RTOLCAP Calculations | 
 |  |  | 13 | Charging an ESS portion of DC Coupled Resource under ERCOT Emergency Conditions | 
 |  |  | 14 | Resource Statuses | 
Green indicates dependency and estimate.

## Slide 5: BESTF KTCs, Storage Revision Requests and Meetings Tracker
Revision Request | Related RR’s | Key Topic & Concept | Item | Decision Points and Issues for Developing Principle Concepts | Next Meeting(s)
NPRRyyyy (BESTF-7) ESR Self-Limiting GINR | PGRRccc | KTC-13 Self-Limiting issues related to Interconnection Requests for Energy Storage Resources | 1 | Self Limit Assumptions | Not yet submitted
 |  |  | 2 | Compliance and Monitoring program for Self-Limiting Resources | 
 |  |  | 3 | Real-Time Telemetry and COP requirements | 
NPRR1020 | None | N/A |  | Add Definition of Integrated Battery Storage Systems (IBSS) | …PRS Workshop 5/27/20 …WMS 6/3/20
NOGRR204 | NPRR989 (BESTF-1) | KTC-4 Technical Requirements | 1 | Reactive Capability and Voltage Support Service | 1/9/20 ROS table/refer 2/12/20 PDCWG endorsed 2/20/20 OWG endorsed 3/5/20 ROS endorsed 5/7/20 ROS endorsed IA …TAC 5/27/20 ...BOD 6/9/20
 |  |  | 2 | Voltage/frequency Ride-through requirements | 
 |  |  | 3 | Governor Deadband and Droop Setting Requirement | 
 |  |  | 4 | Governor Testing | 
NOGRR208 | NPRR1002 (BESTF-5) PGRRbbb RRGRR023 | KTC-1 Definitions and Registration for Energy Storage Resources | 1 | Registration of a battery as a single Resource and identified as an Energy Storage Resource (ESR). (Protocol Language and system changes.) | 5/7/20 ROS not taken up ...OWG 5/21/20 ...ROS 6/4/20 ...ROS 7/9/20 (IA) ...TAC 7/29/20 ...BOD 8/11/20
 |  | KTC-3 Dispatch, Pricing, and Mitigation | 4 | Charging restrictions during an emergency conditions (Note PUCT rule on charging during emergencies.) | 
Green indicates dependency and estimate.

## Slide 6: BESTF KTCs, Storage Revision Requests and Meetings Tracker
Revision Request | Related RR’s | Key Topic & Concept | Item | Decision Points and Issues for Developing Principle Concepts | Next Meeting(s)
OBDRR017 | NPRR987 (BESTF-3) | KTC-2 Physical Responsive Capability, and ORDC Reserve | 1 | Energy Storage Resources contribution to PRC | 1/29/20 TAC tabled …TAC 5/27/20 ...BOD 6/9/20
 |  |  | 2 | Energy Storage Resources contribution to ORDC Reserves | 
PGRRccc | NPRRyyyy (BESTF-7) | KTC-13 ESR Self-Limiting GINR |  | Related to NPRRyyyy, BESTF-7 Self-Limiting Facilities and Self-Limiting Resources | Not yet submitted
RRGRR023 | NPRR1002 (BESTF-5) NOGRR208PGRRbbb | KTC-1 Definitions and Registration for Energy Storage Resources | 1 | Registration of a battery as a single Resource and identified as an Energy Storage Resource (ESR). (Protocol Language and system changes.) | 5/7/20 ROS not taken up ...OWG 5/21/20 ...ROS 6/4/20 ...ROS 7/9/20 (IA) ...TAC 7/29/20 ...BOD 8/11/20
VCMRR027 | NPRR986 (BESTF-2) | KTC-3 Dispatch, Pricing, and Mitigation | 1 | SCED dispatch and Nodal pricing (Base-Point weighting) of Energy Storage Resources when charging and discharging | 1/8/20 WMS approved 2/5/20 WMS (IA) endorsed Pending Revision Request at TAC ...TAC 7/29/20 ...BOD 8/11/20
 |  |  | 2 | Mitigation treatment in SCED | 
 |  |  | 3 | Reporting Requirements on how often mitigation would have been applied. | 
Green indicates dependency and estimate.

## Slide 7: BESTF KTCs, Storage Revision Requests and Meetings Tracker
Revision Request | Related RR’s | Key Topic & Concept | Item | Decision Points and Issues for Developing Principle Concepts | Next Meeting(s)
NPRRccc |  | KTC-10 ESR –Study and Capacity Assumptions | 1 | Define "Storage Peak Average Capacity Percentage" to be used in CDR for various batteries. | Not yet submitted ...SAWG 10/26/20
ROS White Papers/ Revised KTC |  | KTC-10 ESR –Study and Capacity Assumptions | 2 | Outage Coordination Studies | ROS 5/7/20 referred …BESTF TBD
 |  |  | 4 | Operational Studies | ROS 5/7/20 referred …BESTF TBD
 |  |  | 5 | Transmission Planning Studies | 
Green indicates dependency and estimate.

## Slide 8: Meeting Dates
SAWG | OWG | WMWG | PLWG | PDCWG | BESTF | WMS | ROS | PRS | TAC | BOD
1/24 | 1/15 | 1/27 | 1/21 | 1/14 | 1/17 | 1/8 | 1/9 | 1/16 | 1/29 | 
Cancelled |  |  |  |  |  |  |  |  |  | 
2/20 | 2/20 | 2/17 | 2/1 | 2/12 | 2/25 | 2/5 | 2/6 | 2/13 | 2/26 | 2/11
3/26 Cancelled | 3/19 | 3/23 | 3/10 | 3/18 Cancelled | 3/13 | 3/4 | 3/5 | 3/25 | 3/25 Cancelled | 
4/17 | 4/16 | 4/20 | 4/20 | 4/15 | 4/16 | 4/1 Cancelled | 4/2 Cancelled | 4/16 | 4/1 | 4/14
 |  |  |  |  |  |  |  |  | 4/29 | 
5/12 | 5/21 | 5/18 | 5/18 | 5/12 | 5/1 | 5/6 | 5/7 | 5/13 | 5/27 | 
 |  |  |  |  | 5/21 |  |  |  |  | 
6/22 | 6/18 | 6/15 | 6/17 | 6/10 | 6/12 | 6/3 | 6/4 | 6/11 | 6/24 | 6/9
 |  |  |  |  | 6/30 |  |  |  |  | 
7/27 | 7/14 | 7/20 | 7/20 | 7/15 | 7/23 | 7/8 | 7/9 | 7/16 | 7/29 | 
8/24 | 8/27 | 8/17 | 8/19 | 8/20 | 8/14 | 8/5 | 8/6 | 8/13 | 8/26 | 8/11
9/24 | 9/17 | 9/21 | 9/16 | 9/8 | 9/11 | 9/2 | 9/3 | 9/10 | 9/23 | 
 |  |  |  |  | 9/29 |  |  |  |  | 
10/26 | 10/23 | 10/19 | 10/19 | 10/14 | 10/22 | 10/7 | 10/8 | 10/15 | 10/28 | 10/13
11/19 | 11/19 | 11/16 | 11/9 | 11/17 | 11/13 | 11/4 | 11/5 | 11/11 | 11/18 | 
12/10 | 12/17 | 12/14 | 12/16 | 12/9 |  | 12/2 | 12/3 | 12/10 |  | 12/8