## Slide 1
Generation Curtailment by Constraints during the 2021 February Winter Event
Congestion Management Working Group
Market Analysis & Validation
5/10/2021

## Slide 2: Introduction
Stakeholders requested an analysis of the amount of capacity curtailed by transmission constraints during the February 14-19 winter event.
For this analysis, curtailed capacity is defined as the High Dispatch Limit (HDL) minus the Base Point (BP)
Reminder: curtailment can occur due to uneconomic offers as well as due to transmission constraints

## Slide 3: Methodology
All Generation Resources operating with a dispatchable status were considered
  Excluded offline or non-dispatchable online statuses were EMR, EMRSWGR, OFF, OFFNS, ONRR, ONTEST, OUT, SHUTDOWN, STARTUP
  Nuclear resources were excluded
Curtailed values were calculated for each SCED timestamp and then averaged to delivery hour using appropriate SCED interval time-weighting
The “with Hurting SF” category includes Resources that have greater than zero shift factor on a constraint with a non-zero shadow price
The “Constraint Curtailed” is a subset of the “with Hurting SF” category that only includes Resources that have a price point at HDL on their Step 2 SCED energy offer curve (post-mitigation) that is less than or equal to System Lambda
  Intent is to exclude Resources that were dispatched below their HDL because they were out of the money compared to System Lambda (had uneconomic offers) rather than due to binding constraints

## Slide 4: System-Wide Curtailment with All Constraints
Chart: Curtailment (MWh)

## Slide 5: System-Wide Curtailment with Base Case Constraints Only
Chart: Curtailment (MWh)

## Slide 6: System-Wide Curtailment with GTC Only
Chart: Curtailment (MWh)

## Slide 7: Wind & Solar Curtailment with All Constraints
Chart: Curtailment (MWh)

## Slide 8: Wind & Solar Curtailment with Base Case Constraints Only
Chart: Curtailment (MWh)

## Slide 9: Wind & Solar Curtailment with GTC Only
Chart: Curtailment (MWh)

## Slide 10: Conclusion
Majority of system-wide generation capacity curtailment was due to economics rather than constraints
  Curtailment amounts due to constraints were below 500 MW during 2/15/2021-2/17/2021 time period
Regardless of curtailed capacity, transmission limitations must be respected in order to maintain grid reliability and stability