## Slide 1
ERCOT Planned Project Success Tracking and Other Interconnection Queue Trends
Dan Mantena
Resource Adequacy
April 4, 2022

## Slide 2: Outline
This presentation highlights a new proposed report from ERCOT Resource Adequacy that will track topics of interest for SAWG related to the interconnection queue
The report would be updated on an annual frequency
Initial topics
  Success rates of planned generation projects
  Development cycle trends for planned projects (from initial request to operational)
  Delays to the in-service dates for planned projects
Interactive Tableau Dashboard Demo (for success rates analysis)

## Slide 3: Assumptions for Success Rates and Development Cycle Analysis
To account for the development cycle of generation projects, the success rate statistics in this analysis were limited to projects requested between 2002 and 2018 into the ERCOT queue
Successful projects are defined as a planned generation projects that have become operational resources (received Commercial Operations Approval or Synchronization Approval from ERCOT)
Due to Protocol confidentiality provisions, only those projects for which a Full Interconnection Study (FIS) has been requested are included in this dataset. (based on GIS reporting practice)
These statistics do not account for delays to in-service dates (Projected Commercial Operations Date)
Storage DGRs, wind repowers, thermal upgrade projects were excluded from this dataset due to having different interconnection milestone requirements compared to new Generation Resource (GR) projects.
Analysis based on queue data snapshot from 2/28/22

## Slide 4: Success rates of planned generation projects in ERCOT queue

## Slide 5: Development Cycle for Planned Projects Duration in Years for average successful project (from Queue Request to Commercial Operations or Synchronization Approval to ERCOT Grid)

## Slide 6: Delays to the in-service dates for planned projects Delay represents a change in the in-service date made by the project developer or ERCOT Resource Integration Department

## Slide 7: Delays to the in-service dates for planned projects Delay represents a change in the in-service date made by the project developer or ERCOT Resource Integration Department

## Slide 8: Delays to the in-service dates for planned projects Delay represents a change in the in-service date made by the project developer or ERCOT Resource Integration Department

## Slide 9: Delays to the in-service dates for planned projects Delay represents a change in the in-service date made by the project developer or ERCOT Resource Integration Department

## Slide 10: Delays to the in-service dates for planned projects Delay represents a change in the in-service date made by the project developer or ERCOT Resource Integration Department

## Slide 11
Interactive Tableau Dashboard Demo

## Slide 12: Wrap-up
  Are there any other interconnection queue topics that would be useful for SAWG stakeholders?
  If you have any questions on this analysis or requests for additional research, here is my contact info:
  Dan Mantena, dan.mantena@ercot.com

## Slide 13: Appendix
Appendix slides provides the success rates of projects that reached the signed interconnection agreement milestone by fuel and technology on an annual basis
  Screenshots are from the Tableau Dashboard highlighted in earlier slides.

## Slide 14: Annual Success Rates by Project Count - Battery Energy Storage

## Slide 15: Annual Success Rates by Project Count - Solar

## Slide 16: Annual Success Rates by Project Count - Wind

## Slide 17: Annual Success Rates by Project Count - Coal

## Slide 18: Annual Success Rates by Project Count – Natural Gas

## Slide 19: Annual Success Rates by Project Count – Natural Gas CC

## Slide 20: Annual Success Rates by Project Count – Natural Gas CT

## Slide 21: Annual Success Rates by Project Count – Natural Gas ST

## Slide 22: Annual Success Rates by Project Count – Natural Gas ICE

## Slide 23: Annual Success Rates by Project Capacity - Battery Energy Storage

## Slide 24: Annual Success Rates by Project Capacity - Solar

## Slide 25: Annual Success Rates by Project Capacity - Wind

## Slide 26: Annual Success Rates by Project Capacity - Coal

## Slide 27: Annual Success Rates by Project Capacity – Natural Gas

## Slide 28: Annual Success Rates by Project Capacity – Natural Gas CC

## Slide 29: Annual Success Rates by Project Capacity – Natural Gas CT

## Slide 30: Annual Success Rates by Project Capacity – Natural Gas ST

## Slide 31: Annual Success Rates by Project Capacity – Natural Gas ICE