## Slide 1
ERCOT Black Start Procurement Process
Operations Planning
Lilia Sanchez
April 19th, 2022

## Slide 2: ERCOT Black Start Procurement Process
Bi-annual RFP requesting offers for black start service
Analysis by ERCOT
  The following are considered for selecting Black Start Resources:
    Restored Load
    Restoration Time
    Total Black Start Resource Cost
  Used in-house tool MATLAB program
    Analyzes the start-up time and cost of proposed Black Start resources.
  Optimal Black-Start Capability (OBC) Tool
    Estimates the effectiveness of a black start unit (BSU), in terms of time and cost running power flow to crank non-black-start units and total available generation capability.
  Considerations
    Minimum and Maximum Start-up times
    Resources’ Ramp rates
    Units with alternate fuel storage capability
    Black Start Resource Alternate Resource
    Weather Limitations per Generation Resource Disclosure from Black Start Service form

## Slide 3: Questions?
Thank you!