## 2021 Regulation-up
2021 Regulation-up (this reflects the impact of SCR 811 after June 1st, 2021)
HE | Jan | Feb | Mar | Apr | May | Jun* | Jul | Aug | Sep | Oct | Nov | Dec
1 | 184 | 220 | 194 | 246 | 220 | 322 | 196 | 254 | 172 | 158 | 177 | 158
2 | 257 | 258 | 178 | 211 | 233 | 212 | 155 | 148 | 143 | 167 | 193 | 194
3 | 291 | 245 | 236 | 253 | 221 | 222 | 145 | 140 | 164 | 174 | 219 | 190
4 | 294 | 291 | 241 | 265 | 229 | 238 | 178 | 193 | 183 | 197 | 261 | 243
5 | 365 | 366 | 320 | 284 | 308 | 272 | 222 | 239 | 257 | 261 | 315 | 328
6 | 576 | 540 | 439 | 431 | 423 | 371 | 303 | 375 | 392 | 421 | 471 | 516
7 | 668 | 732 | 616 | 596 | 596 | 417 | 355 | 471 | 492 | 530 | 523 | 593
8 | 362 | 388 | 398 | 344 | 333 | 377 | 370 | 361 | 347 | 338 | 297 | 311
9 | 249 | 327 | 341 | 338 | 384 | 420 | 422 | 433 | 421 | 371 | 328 | 269
10 | 331 | 364 | 422 | 439 | 490 | 522 | 510 | 502 | 502 | 411 | 366 | 279
11 | 313 | 391 | 456 | 468 | 584 | 571 | 572 | 618 | 518 | 480 | 350 | 359
12 | 364 | 389 | 455 | 493 | 611 | 542 | 569 | 593 | 541 | 501 | 325 | 339
13 | 324 | 460 | 459 | 472 | 562 | 487 | 491 | 521 | 505 | 558 | 346 | 292
14 | 320 | 384 | 414 | 492 | 559 | 430 | 447 | 467 | 457 | 432 | 328 | 304
15 | 340 | 403 | 437 | 455 | 497 | 383 | 372 | 434 | 405 | 418 | 376 | 319
16 | 399 | 496 | 439 | 493 | 493 | 362 | 318 | 357 | 380 | 356 | 363 | 315
17 | 509 | 544 | 463 | 510 | 463 | 301 | 295 | 314 | 333 | 386 | 413 | 486
18 | 667 | 607 | 541 | 533 | 432 | 319 | 289 | 258 | 306 | 384 | 452 | 567
19 | 415 | 524 | 604 | 465 | 428 | 325 | 239 | 257 | 305 | 347 | 212 | 289
20 | 200 | 235 | 426 | 459 | 429 | 230 | 199 | 286 | 232 | 235 | 202 | 188
21 | 206 | 201 | 250 | 352 | 316 | 207 | 216 | 202 | 170 | 264 | 157 | 148
22 | 213 | 204 | 161 | 351 | 449 | 198 | 148 | 117 | 136 | 179 | 153 | 153
23 | 221 | 217 | 265 | 190 | 218 | 235 | 218 | 165 | 177 | 189 | 160 | 137
24 | 210 | 192 | 215 | 239 | 187 | 207 | 109 | 175 | 167 | 161 | 196 | 129
Total | 8278 | 8978 | 8970 | 9379 | 9665 | 8170 | 7338 | 7880 | 7705 | 7918 | 7183 | 7106
*The minimum amount of Reg-up shown here for June is only effective on June 4th, 2021. The minimum amount of Reg-up requirement between June 1st, 2021 and June 3rd, 2021 is provided in a separate sheet.

## 0601-0603 Reg-up
Regulation-up Jun 1 to Jun 3, 2021
HE | 2021-06-01 | 2021-06-02 | 2021-06-03
1 | 322 | 322 | 322
2 | 212 | 212 | 212
3 | 222 | 222 | 222
4 | 238 | 238 | 238
5 | 272 | 272 | 272
6 | 371 | 371 | 371
7 | 417 | 417 | 417
8 | 377 | 377 | 377
9 | 420 | 420 | 420
10 | 522 | 522 | 522
11 | 571 | 571 | 571
12 | 542 | 542 | 542
13 | 487 | 487 | 487
14 | 430 | 430 | 430
15 | 383 | 383 | 383
16 | 496 | 451 | 407
17 | 450 | 400 | 351
18 | 479 | 426 | 373
19 | 490 | 435 | 380
20 | 378 | 329 | 279
21 | 286 | 260 | 233
22 | 198 | 198 | 198
23 | 235 | 235 | 235
24 | 207 | 207 | 207
Total | 9005 | 8727 | 8449

## 2021 Regulation-down
2021 Regulation-down (this reflects the impact of SCR 811 after June 1st, 2021)
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 257 | 293 | 369 | 341 | 390 | 451 | 438 | 440 | 386 | 391 | 294 | 247
2 | 208 | 244 | 277 | 290 | 316 | 348 | 346 | 308 | 293 | 265 | 226 | 206
3 | 182 | 238 | 291 | 248 | 235 | 310 | 263 | 270 | 224 | 213 | 175 | 178
4 | 173 | 214 | 213 | 216 | 217 | 212 | 227 | 227 | 183 | 183 | 165 | 146
5 | 225 | 213 | 229 | 195 | 217 | 188 | 184 | 176 | 157 | 161 | 243 | 184
6 | 295 | 342 | 320 | 280 | 298 | 203 | 192 | 181 | 179 | 265 | 257 | 263
7 | 269 | 256 | 284 | 260 | 263 | 194 | 179 | 204 | 156 | 184 | 183 | 225
8 | 274 | 375 | 420 | 301 | 259 | 205 | 170 | 191 | 189 | 221 | 253 | 258
9 | 478 | 532 | 451 | 365 | 418 | 255 | 254 | 245 | 248 | 265 | 354 | 441
10 | 480 | 558 | 534 | 436 | 399 | 314 | 226 | 262 | 304 | 377 | 344 | 306
11 | 475 | 470 | 538 | 359 | 465 | 214 | 137 | 229 | 364 | 291 | 365 | 381
12 | 452 | 454 | 421 | 368 | 347 | 178 | 238 | 187 | 289 | 308 | 347 | 379
13 | 391 | 451 | 416 | 357 | 339 | 189 | 164 | 191 | 241 | 296 | 320 | 328
14 | 379 | 447 | 418 | 338 | 412 | 488 | 210 | 267 | 225 | 259 | 360 | 313
15 | 392 | 405 | 380 | 380 | 411 | 279 | 236 | 257 | 237 | 293 | 354 | 320
16 | 303 | 355 | 349 | 354 | 423 | 299 | 258 | 262 | 294 | 298 | 291 | 271
17 | 200 | 351 | 377 | 425 | 476 | 324 | 308 | 363 | 324 | 388 | 240 | 229
18 | 194 | 273 | 377 | 470 | 489 | 415 | 398 | 427 | 394 | 401 | 197 | 186
19 | 312 | 334 | 326 | 506 | 508 | 459 | 463 | 461 | 457 | 390 | 321 | 313
20 | 275 | 352 | 337 | 330 | 405 | 417 | 383 | 443 | 380 | 370 | 333 | 277
21 | 305 | 348 | 375 | 430 | 370 | 340 | 359 | 449 | 505 | 460 | 310 | 285
22 | 355 | 386 | 441 | 484 | 491 | 522 | 513 | 569 | 552 | 483 | 328 | 326
23 | 381 | 388 | 420 | 513 | 521 | 563 | 567 | 588 | 549 | 447 | 368 | 345
24 | 364 | 349 | 380 | 431 | 508 | 487 | 497 | 528 | 513 | 419 | 347 | 313
Total | 7619 | 8628 | 8943 | 8677 | 9177 | 7854 | 7210 | 7725 | 7643 | 7628 | 6975 | 6720

## 2021 NSRS
2021 NSRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul 1 - 11 | Jul 12 - 31 | Aug | Sep | Oct | Nov | Dec
1 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 3835 | 3817 | 1026 | 1158 | 1268 | 1047
2 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 3876 | 3923 | 1026 | 1158 | 1268 | 1047
3 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 3789 | 3891 | 1255 | 1555 | 1347 | 1292
4 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 3756 | 3838 | 1255 | 1555 | 1347 | 1292
5 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 3712 | 3792 | 1255 | 1555 | 1347 | 1292
6 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 3631 | 3656 | 1255 | 1555 | 1347 | 1292
7 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 3676 | 3646 | 1633 | 2012 | 1854 | 1873
8 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 3661 | 3756 | 1633 | 2012 | 1854 | 1873
9 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 3609 | 3684 | 1633 | 2012 | 1854 | 1873
10 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 3521 | 3615 | 1633 | 2012 | 1854 | 1873
11 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 3628 | 3582 | 2031 | 1695 | 1508 | 1637
12 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 3631 | 3607 | 2031 | 1695 | 1508 | 1637
13 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 3709 | 3679 | 2031 | 1695 | 1508 | 1637
14 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 3753 | 3733 | 2031 | 1695 | 1508 | 1637
15 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 3328 | 3266 | 1437 | 1555 | 1782 | 1936
16 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 3382 | 3343 | 1437 | 1555 | 1782 | 1936
17 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 3405 | 3386 | 1437 | 1555 | 1782 | 1936
18 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 3411 | 3442 | 1437 | 1555 | 1782 | 1936
19 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 3461 | 3443 | 1146 | 1144 | 1294 | 1281
20 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 3501 | 3414 | 1146 | 1144 | 1294 | 1281
21 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 3484 | 3498 | 1146 | 1144 | 1294 | 1281
22 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 3552 | 3583 | 1146 | 1144 | 1294 | 1281
23 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 3813 | 3906 | 1026 | 1158 | 1268 | 1047
24 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 3922 | 3896 | 1026 | 1158 | 1268 | 1047
Total | 36836 | 38500 | 35996 | 36732 | 35532 | 36644 | 32852 | 87046 | 87396 | 34112 | 36476 | 36212 | 36264
* The NSRS quantities have been calculated based on the historical data from 2018, 2019 and 2020.
**Note that beginning Jul 12, 2021 NSRS requirements for a day with increased risk of high variability day will be determined 2 days in advance and posted in the DAM AS Plan report (https://mis.ercot.com/public/data-products/grid/forecasts?id=NP4-33-CD).
***The table above reflects the changes that were discussed at the June 30, 2021 Special Technical Advisory Committee (TAC) meeting on June 30, 2021. The presentation for that meeting has been posted to the TAC meeting page on the ERCOT website. The posted Ancillary Services quantities reflect minimum requirements only. ERCOT will follow-up with a notification if any futher upward adjustments to these minimum quantities are made.

## 2021 RRS
Note that NERC has updated ERCOT's Resource Loss Protection Criteria (RLPC) to 2805 MW in NERC's 2020 BAL-003 Interconnection Frequency Response Obligation (IFRO) assessment (link : https://www.nerc.com/FilingsOrders/us/NERC%20Filings%20to%20FERC%20DL/2020%20FRAA%20Report_packaged.pdf). ERCOT's IFRO for 2021 is 471 MW/0.1 Hz. As a result of this ERCOT's minimum RRS-PFR limit for 2021 has been changed to 1420 MW. These 2021 quantities are based on an updated 2021 RRS table that was built using RCC of 2805 MW and the minimum RRS-PFR limit of 1420 MW.
***The table below reflects the changes that were discussed at the June 30, 2021 Special Technical Advisory Committee (TAC) meeting on June 30, 2021. The presentation for that meeting has been posted to the TAC meeting page on the ERCOT website. The posted Ancillary Services quantities reflect minimum requirements only. ERCOT will follow-up with a notification if any futher upward adjustments to these minimum quantities are made.
2021-01-01 | [6 empty] | 2021-02-01 | [6 empty] | 2021-03-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs
1 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 1 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 1 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28
2 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 2 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 2 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28
3 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 3 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28 | 3 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5
4 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 4 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28 | 4 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5
5 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 5 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28 | 5 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5
6 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 6 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28 | 6 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5
7 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 7 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 7 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56
8 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 8 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 8 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56
9 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 9 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 9 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56
10 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 10 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 10 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56
11 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 11 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 11 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
12 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 12 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 12 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
13 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 13 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 13 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
14 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 14 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 14 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
15 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 15 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 15 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
16 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 16 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 16 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
17 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 17 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 17 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
18 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 18 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 18 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
19 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 19 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 19 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
20 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 20 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 20 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
21 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 21 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 21 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
22 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 22 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 22 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
23 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 23 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 23 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28
24 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 24 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 24 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28
2021-04-01 | [6 empty] | 2021-05-01 | [6 empty] | 2021-06-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs
1 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 1 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 1 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64
2 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 2 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 2 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64
3 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 3 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 3 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57
4 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 4 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 4 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57
5 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 5 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 5 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57
6 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 6 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 6 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57
7 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 7 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 7 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
8 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 8 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 8 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
9 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 9 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 9 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
10 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 10 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 10 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
11 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 11 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 11 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
12 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 12 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 12 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
13 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 13 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 13 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
14 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 14 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 14 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
15 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 15 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4 | 15 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
16 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 16 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4 | 16 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
17 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 17 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4 | 17 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
18 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 18 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4 | 18 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
19 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 19 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 19 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
20 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 20 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 20 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
21 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 21 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 21 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
22 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 22 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 22 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
23 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 23 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 23 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64
24 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 24 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 24 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64
Jul 1, 2021 - Jul 11, 2021 | [6 empty] | Jul 12, 2021 - Jul 31, 2021
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs
1 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 1 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
2 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 2 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
3 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74 | 3 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74
4 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74 | 4 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74
5 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74 | 5 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74
6 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74 | 6 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74
7 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 7 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
8 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 8 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
9 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 9 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
10 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 10 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
11 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 11 | 2300 | 1420 | 880 | 1 | 38.26% | 2300
12 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 12 | 2300 | 1420 | 880 | 1 | 38.26% | 2300
13 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 13 | 2300 | 1420 | 880 | 1 | 38.26% | 2300
14 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 14 | 2300 | 1420 | 880 | 1 | 38.26% | 2300
15 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 15 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800
16 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 16 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800
17 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 17 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800
18 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 18 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800
19 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 19 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800
20 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 20 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800
21 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 21 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800
22 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 22 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800
23 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 23 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
24 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 24 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
2021-08-01 | [6 empty] | 2021-09-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs
1 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72 | 1 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
2 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72 | 2 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
3 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 3 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36
4 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 4 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36
5 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 5 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36
6 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 6 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36
7 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52 | 7 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
8 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52 | 8 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
9 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52 | 9 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
10 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52 | 10 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
11 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 11 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
12 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 12 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
13 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 13 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
14 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 14 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
15 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800 | 15 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
16 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800 | 16 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
17 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800 | 17 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
18 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800 | 18 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
19 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800 | 19 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
20 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800 | 20 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
21 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800 | 21 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
22 | 2800 | 1420 | 1380 | 1 | 49.29% | 2800 | 22 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
23 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72 | 23 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
24 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72 | 24 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
2021-10-01 | [6 empty] | 2021-11-01 | [6 empty] | 2021-12-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 1 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 1 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
2 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 2 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 2 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
3 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 3 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 3 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
4 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 4 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 4 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
5 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 5 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 5 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
6 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 6 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 6 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
7 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 7 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 7 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
8 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 8 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 8 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
9 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 9 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 9 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
10 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 10 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 10 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
11 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 11 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 11 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
12 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 12 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 12 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
13 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 13 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 13 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
14 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 14 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 14 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
15 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36 | 15 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 15 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
16 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36 | 16 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 16 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
17 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36 | 17 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 17 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
18 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36 | 18 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 18 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
19 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 19 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 19 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
20 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 20 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 20 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
21 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 21 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 21 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
22 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 22 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 22 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
23 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 23 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 23 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
24 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 24 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 24 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45

## 2021_RRS_table
2021 RRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul 1-11 | Jul 12 - 31 | Aug | Sep | Oct | Nov | Dec
1 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
2 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
3 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
4 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
5 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
6 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
7 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
8 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
9 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
10 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
11 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
12 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
13 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
14 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
15 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2800 | 2800 | 2383 | 2712 | 3002 | 2880
16 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2800 | 2800 | 2383 | 2712 | 3002 | 2880
17 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2800 | 2800 | 2383 | 2712 | 3002 | 2880
18 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2800 | 2800 | 2383 | 2712 | 3002 | 2880
19 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2800 | 2800 | 2469 | 2783 | 3002 | 2959
20 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2800 | 2800 | 2469 | 2783 | 3002 | 2959
21 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2800 | 2800 | 2469 | 2783 | 3002 | 2959
22 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2800 | 2800 | 2469 | 2783 | 3002 | 2959
23 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
24 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
Total | 71136 | 72564 | 72564 | 73424 | 67048 | 61148 | 57616 | 61616 | 60724 | 60972 | 69372 | 73596 | 70820