## 2025 Regulation Up
2025 Regulation-Up
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 309 | 367 | 362 | 374 | 370 | 334 | 312 | 299 | 307 | 367 | 393 | 369
2 | 266 | 265 | 361 | 345 | 296 | 300 | 295 | 248 | 267 | 284 | 348 | 298
3 | 234 | 299 | 288 | 280 | 359 | 290 | 285 | 240 | 253 | 283 | 352 | 301
4 | 279 | 274 | 309 | 289 | 317 | 333 | 250 | 243 | 258 | 306 | 311 | 283
5 | 278 | 286 | 302 | 269 | 282 | 290 | 299 | 264 | 268 | 336 | 325 | 333
6 | 282 | 352 | 318 | 328 | 336 | 274 | 270 | 285 | 259 | 333 | 317 | 339
7 | 304 | 360 | 295 | 322 | 376 | 357 | 411 | 318 | 272 | 345 | 366 | 361
8 | 356 | 358 | 348 | 324 | 363 | 352 | 297 | 283 | 364 | 335 | 473 | 395
9 | 353 | 580 | 500 | 432 | 494 | 551 | 497 | 366 | 506 | 475 | 720 | 446
10 | 588 | 638 | 650 | 614 | 539 | 597 | 609 | 520 | 502 | 745 | 647 | 575
11 | 508 | 522 | 557 | 562 | 528 | 545 | 496 | 509 | 505 | 535 | 575 | 486
12 | 464 | 523 | 558 | 505 | 509 | 581 | 477 | 474 | 467 | 555 | 653 | 407
13 | 420 | 552 | 571 | 580 | 610 | 544 | 478 | 459 | 548 | 496 | 591 | 448
14 | 489 | 613 | 529 | 527 | 521 | 535 | 472 | 472 | 530 | 552 | 624 | 568
15 | 493 | 587 | 626 | 569 | 604 | 522 | 522 | 574 | 630 | 570 | 660 | 602
16 | 487 | 580 | 609 | 650 | 622 | 570 | 645 | 565 | 634 | 588 | 626 | 638
17 | 714 | 623 | 660 | 593 | 617 | 566 | 645 | 593 | 665 | 660 | 897 | 738
18 | 682 | 815 | 745 | 655 | 670 | 622 | 627 | 614 | 694 | 736 | 541 | 439
19 | 259 | 536 | 739 | 753 | 578 | 633 | 548 | 624 | 637 | 617 | 366 | 244
20 | 259 | 332 | 549 | 742 | 637 | 666 | 600 | 598 | 440 | 314 | 341 | 284
21 | 267 | 277 | 341 | 337 | 417 | 407 | 328 | 294 | 321 | 342 | 356 | 300
22 | 284 | 287 | 309 | 308 | 344 | 348 | 295 | 389 | 259 | 275 | 344 | 296
23 | 270 | 261 | 294 | 295 | 359 | 322 | 261 | 314 | 266 | 303 | 309 | 327
24 | 256 | 266 | 271 | 346 | 339 | 314 | 254 | 258 | 259 | 287 | 325 | 339
Total | 9101 | 10553 | 11091 | 10999 | 11086.5201 | 10853 | 10173 | 9803 | 10111 | 10639 | 11460 | 9816

## 2025 Regulation Down
2025 Regulation-Down
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 339 | 318 | 378 | 354 | 337 | 329 | 285 | 286 | 302 | 344 | 334 | 315
2 | 246 | 277 | 318 | 296 | 295 | 302 | 262 | 235 | 230 | 232 | 323 | 245
3 | 227 | 305 | 273 | 301 | 262 | 304 | 253 | 264 | 254 | 247 | 302 | 255
4 | 280 | 271 | 311 | 294 | 254 | 283 | 233 | 279 | 264 | 201 | 293 | 242
5 | 257 | 253 | 281 | 273 | 273 | 278 | 262 | 256 | 222 | 240 | 264 | 270
6 | 288 | 286 | 307 | 309 | 328 | 240 | 261 | 270 | 227 | 238 | 312 | 257
7 | 299 | 346 | 310 | 267 | 309 | 224 | 255 | 291 | 254 | 255 | 308 | 269
8 | 337 | 415 | 418 | 495 | 486 | 500 | 377 | 372 | 326 | 276 | 324 | 324
9 | 674 | 672 | 676 | 670 | 577 | 566 | 528 | 506 | 564 | 522 | 546 | 642
10 | 503 | 476 | 556 | 528 | 482 | 438 | 514 | 448 | 543 | 579 | 632 | 632
11 | 440 | 532 | 483 | 469 | 532 | 431 | 450 | 430 | 511 | 520 | 563 | 519
12 | 429 | 505 | 541 | 471 | 492 | 488 | 435 | 452 | 535 | 505 | 548 | 455
13 | 407 | 523 | 454 | 485 | 531 | 430 | 447 | 502 | 491 | 501 | 463 | 411
14 | 469 | 508 | 498 | 512 | 464 | 512 | 451 | 480 | 465 | 476 | 452 | 468
15 | 461 | 496 | 510 | 569 | 545 | 508 | 457 | 547 | 518 | 461 | 511 | 474
16 | 442 | 512 | 547 | 602 | 543 | 601 | 555 | 575 | 555 | 529 | 496 | 464
17 | 429 | 554 | 501 | 549 | 558 | 586 | 542 | 574 | 504 | 589 | 425 | 385
18 | 429 | 379 | 606 | 576 | 561 | 614 | 549 | 621 | 507 | 569 | 590 | 459
19 | 392 | 516 | 556 | 497 | 541 | 545 | 502 | 558 | 432 | 533 | 447 | 345
20 | 309 | 397 | 458 | 601 | 408 | 451 | 350 | 382 | 443 | 459 | 338 | 267
21 | 298 | 317 | 415 | 508 | 463 | 426 | 435 | 446 | 358 | 446 | 272 | 224
22 | 259 | 333 | 311 | 345 | 407 | 363 | 353 | 301 | 285 | 274 | 273 | 267
23 | 292 | 272 | 343 | 309 | 327 | 343 | 290 | 266 | 301 | 264 | 257 | 235
24 | 297 | 292 | 318 | 304 | 315 | 316 | 281 | 246 | 234 | 215 | 251 | 263
Total | 8803 | 9755 | 10369 | 10584 | 10290 | 10078 | 9327 | 9587 | 9325 | 9475 | 9524 | 8687

## 2025 RRS
2025 RRS
HE | Jan | Feb | Mar | Apr | May | Jun | July | Aug | Sep | Oct | Nov | Dec
1 | 3031 | 3145 | 3145 | 3068 | 2699 | 2463 | 2425 | 2300 | 2425 | 2863 | 3031 | 2982
2 | 3031 | 3145 | 3145 | 3068 | 2699 | 2463 | 2425 | 2300 | 2425 | 2863 | 3031 | 2982
3 | 2982 | 3145 | 3145 | 3145 | 2699 | 2514 | 2463 | 2300 | 2463 | 2863 | 3068 | 2941
4 | 2982 | 3145 | 3145 | 3145 | 2699 | 2514 | 2463 | 2300 | 2463 | 2863 | 3068 | 2941
5 | 2982 | 3145 | 3145 | 3145 | 2699 | 2514 | 2463 | 2300 | 2463 | 2863 | 3068 | 2941
6 | 2982 | 3145 | 3145 | 3145 | 2699 | 2514 | 2463 | 2300 | 2463 | 2863 | 3068 | 2941
7 | 2863 | 3068 | 3068 | 3068 | 2699 | 2514 | 2463 | 2300 | 2425 | 2863 | 3031 | 2863
8 | 2863 | 3068 | 3068 | 3068 | 2699 | 2514 | 2463 | 2300 | 2425 | 2863 | 3031 | 2863
9 | 2863 | 3068 | 3068 | 3068 | 2699 | 2514 | 2463 | 2300 | 2425 | 2863 | 3031 | 2863
10 | 2863 | 3068 | 3068 | 3068 | 2699 | 2514 | 2463 | 2300 | 2425 | 2863 | 3031 | 2863
11 | 2941 | 3068 | 3068 | 3068 | 2595 | 2425 | 2380 | 2300 | 2380 | 2767 | 2982 | 2982
12 | 2941 | 3068 | 3068 | 3068 | 2595 | 2425 | 2380 | 2300 | 2380 | 2767 | 2982 | 2982
13 | 2941 | 3068 | 3068 | 3068 | 2595 | 2425 | 2380 | 2300 | 2380 | 2767 | 2982 | 2982
14 | 2941 | 3068 | 3068 | 3068 | 2595 | 2425 | 2380 | 2300 | 2380 | 2767 | 2982 | 2982
15 | 2767 | 3031 | 2982 | 2982 | 2558 | 2380 | 2343 | 2300 | 2343 | 2645 | 2941 | 2863
16 | 2767 | 3031 | 2982 | 2982 | 2558 | 2380 | 2343 | 2300 | 2343 | 2645 | 2941 | 2863
17 | 2767 | 3031 | 2982 | 2982 | 2558 | 2380 | 2343 | 2300 | 2343 | 2645 | 2941 | 2863
18 | 2767 | 3031 | 2982 | 2982 | 2558 | 2380 | 2343 | 2300 | 2343 | 2645 | 2941 | 2863
19 | 2767 | 2982 | 2982 | 2941 | 2558 | 2343 | 2300 | 2300 | 2300 | 2595 | 2863 | 2863
20 | 2767 | 2982 | 2982 | 2941 | 2558 | 2343 | 2300 | 2300 | 2300 | 2595 | 2863 | 2863
21 | 2767 | 2982 | 2982 | 2941 | 2558 | 2343 | 2300 | 2300 | 2300 | 2595 | 2863 | 2863
22 | 2767 | 2982 | 2982 | 2941 | 2558 | 2343 | 2300 | 2300 | 2300 | 2595 | 2863 | 2863
23 | 3031 | 3145 | 3145 | 3068 | 2699 | 2463 | 2425 | 2300 | 2425 | 2863 | 3031 | 2982
24 | 3031 | 3145 | 3145 | 3068 | 2699 | 2463 | 2425 | 2300 | 2425 | 2863 | 3031 | 2982
Total | 69404 | 73756 | 73560 | 73088 | 63232 | 58556 | 57496 | 55200 | 57344 | 66384 | 71664 | 69976
These 2025 quantities above are based on the 2025 RRS table that was built using Resource Contingency Criteria (RCC) of 2805 MW, the minimum RRS-PFR limit of 1365 MW and a floor of 2300 MW for all hours. Note that, NERC’s 2024 BAL-003 Interconnection Frequency Response Obligation (IFRO) assessment for ERCOT shows an increase in ERCOT’s IFRO. This is primarily because of an update in the IFRO methodology that was approved as a part of the Project 2017-01, Modifications to BAL-003. As a result of this ERCOT the minimum RRS-PFR limit for 2025 has been changed to align with ERCOT's new IFRO.

## 2025 RRS Table
These 2025 quantities above are based on the 2025 RRS table that was built using Resource Contingency Criteria (RCC) of 2805 MW, the minimum RRS-PFR limit of 1365 MW and a floor of 2300 MW for all hours. Note that, NERC’s 2024 BAL-003 Interconnection Frequency Response Obligation (IFRO) assessment for ERCOT shows an increase in ERCOT’s IFRO. This is primarily because of an update in the IFRO methodology that was approved as a part of the Project 2017-01, Modifications to BAL-003. As a result of this ERCOT the minimum RRS-PFR limit for 2025 has been changed to align with ERCOT's new IFRO.
2025-01-01 | [5 empty] | 2025-02-01 | [5 empty] | 2025-03-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 1 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 1 | 3145 | 1365 | 1780 | 1.83 | 56.6%
2 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 2 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 2 | 3145 | 1365 | 1780 | 1.83 | 56.6%
3 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 3 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 3 | 3145 | 1365 | 1780 | 1.83 | 56.6%
4 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 4 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 4 | 3145 | 1365 | 1780 | 1.83 | 56.6%
5 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 5 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 5 | 3145 | 1365 | 1780 | 1.83 | 56.6%
6 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 6 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 6 | 3145 | 1365 | 1780 | 1.83 | 56.6%
7 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 7 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 7 | 3068 | 1365 | 1703 | 1.74 | 55.51%
8 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 8 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 8 | 3068 | 1365 | 1703 | 1.74 | 55.51%
9 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 9 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 9 | 3068 | 1365 | 1703 | 1.74 | 55.51%
10 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 10 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 10 | 3068 | 1365 | 1703 | 1.74 | 55.51%
11 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 11 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 11 | 3068 | 1365 | 1703 | 1.74 | 55.51%
12 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 12 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 12 | 3068 | 1365 | 1703 | 1.74 | 55.51%
13 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 13 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 13 | 3068 | 1365 | 1703 | 1.74 | 55.51%
14 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 14 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 14 | 3068 | 1365 | 1703 | 1.74 | 55.51%
15 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 15 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 15 | 2982 | 1365 | 1617 | 1.58 | 54.23%
16 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 16 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 16 | 2982 | 1365 | 1617 | 1.58 | 54.23%
17 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 17 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 17 | 2982 | 1365 | 1617 | 1.58 | 54.23%
18 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 18 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 18 | 2982 | 1365 | 1617 | 1.58 | 54.23%
19 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 19 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 19 | 2982 | 1365 | 1617 | 1.58 | 54.23%
20 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 20 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 20 | 2982 | 1365 | 1617 | 1.58 | 54.23%
21 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 21 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 21 | 2982 | 1365 | 1617 | 1.58 | 54.23%
22 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 22 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 22 | 2982 | 1365 | 1617 | 1.58 | 54.23%
23 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 23 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 23 | 3145 | 1365 | 1780 | 1.83 | 56.6%
24 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 24 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 24 | 3145 | 1365 | 1780 | 1.83 | 56.6%
2025-04-01 | [5 empty] | 2025-05-01 | [5 empty] | 2025-06-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 1 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 1 | 2463 | 1365 | 1098 | 1.12 | 44.58%
2 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 2 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 2 | 2463 | 1365 | 1098 | 1.12 | 44.58%
3 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 3 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 3 | 2514 | 1365 | 1149 | 1.15 | 45.7%
4 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 4 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 4 | 2514 | 1365 | 1149 | 1.15 | 45.7%
5 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 5 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 5 | 2514 | 1365 | 1149 | 1.15 | 45.7%
6 | 3145 | 1365 | 1780 | 1.83 | 56.6% | 6 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 6 | 2514 | 1365 | 1149 | 1.15 | 45.7%
7 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 7 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 7 | 2514 | 1365 | 1149 | 1.15 | 45.7%
8 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 8 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 8 | 2514 | 1365 | 1149 | 1.15 | 45.7%
9 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 9 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 9 | 2514 | 1365 | 1149 | 1.15 | 45.7%
10 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 10 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 10 | 2514 | 1365 | 1149 | 1.15 | 45.7%
11 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 11 | 2595 | 1365 | 1230 | 1.24 | 47.4% | 11 | 2425 | 1365 | 1060 | 1.08 | 43.71%
12 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 12 | 2595 | 1365 | 1230 | 1.24 | 47.4% | 12 | 2425 | 1365 | 1060 | 1.08 | 43.71%
13 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 13 | 2595 | 1365 | 1230 | 1.24 | 47.4% | 13 | 2425 | 1365 | 1060 | 1.08 | 43.71%
14 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 14 | 2595 | 1365 | 1230 | 1.24 | 47.4% | 14 | 2425 | 1365 | 1060 | 1.08 | 43.71%
15 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 15 | 2558 | 1365 | 1193 | 1.19 | 46.64% | 15 | 2380 | 1365 | 1015 | 1.04 | 42.65%
16 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 16 | 2558 | 1365 | 1193 | 1.19 | 46.64% | 16 | 2380 | 1365 | 1015 | 1.04 | 42.65%
17 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 17 | 2558 | 1365 | 1193 | 1.19 | 46.64% | 17 | 2380 | 1365 | 1015 | 1.04 | 42.65%
18 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 18 | 2558 | 1365 | 1193 | 1.19 | 46.64% | 18 | 2380 | 1365 | 1015 | 1.04 | 42.65%
19 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 19 | 2558 | 1365 | 1193 | 1.19 | 46.64% | 19 | 2343 | 1365 | 978 | 1.01 | 41.74%
20 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 20 | 2558 | 1365 | 1193 | 1.19 | 46.64% | 20 | 2343 | 1365 | 978 | 1.01 | 41.74%
21 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 21 | 2558 | 1365 | 1193 | 1.19 | 46.64% | 21 | 2343 | 1365 | 978 | 1.01 | 41.74%
22 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 22 | 2558 | 1365 | 1193 | 1.19 | 46.64% | 22 | 2343 | 1365 | 978 | 1.01 | 41.74%
23 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 23 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 23 | 2463 | 1365 | 1098 | 1.12 | 44.58%
24 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 24 | 2699 | 1365 | 1334 | 1.33 | 49.43% | 24 | 2463 | 1365 | 1098 | 1.12 | 44.58%
2025-07-01 | [5 empty] | 2025-08-01 | [5 empty] | 2025-09-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2425 | 1365 | 1060 | 1.08 | 43.71% | 1 | 2300 | 1365 | 935 | 1 | 40.65% | 1 | 2425 | 1365 | 1060 | 1.08 | 43.71%
2 | 2425 | 1365 | 1060 | 1.08 | 43.71% | 2 | 2300 | 1365 | 935 | 1 | 40.65% | 2 | 2425 | 1365 | 1060 | 1.08 | 43.71%
3 | 2463 | 1365 | 1098 | 1.12 | 44.58% | 3 | 2300 | 1365 | 935 | 1 | 40.65% | 3 | 2463 | 1365 | 1098 | 1.12 | 44.58%
4 | 2463 | 1365 | 1098 | 1.12 | 44.58% | 4 | 2300 | 1365 | 935 | 1 | 40.65% | 4 | 2463 | 1365 | 1098 | 1.12 | 44.58%
5 | 2463 | 1365 | 1098 | 1.12 | 44.58% | 5 | 2300 | 1365 | 935 | 1 | 40.65% | 5 | 2463 | 1365 | 1098 | 1.12 | 44.58%
6 | 2463 | 1365 | 1098 | 1.12 | 44.58% | 6 | 2300 | 1365 | 935 | 1 | 40.65% | 6 | 2463 | 1365 | 1098 | 1.12 | 44.58%
7 | 2463 | 1365 | 1098 | 1.12 | 44.58% | 7 | 2300 | 1365 | 935 | 1 | 40.65% | 7 | 2425 | 1365 | 1060 | 1.08 | 43.71%
8 | 2463 | 1365 | 1098 | 1.12 | 44.58% | 8 | 2300 | 1365 | 935 | 1 | 40.65% | 8 | 2425 | 1365 | 1060 | 1.08 | 43.71%
9 | 2463 | 1365 | 1098 | 1.12 | 44.58% | 9 | 2300 | 1365 | 935 | 1 | 40.65% | 9 | 2425 | 1365 | 1060 | 1.08 | 43.71%
10 | 2463 | 1365 | 1098 | 1.12 | 44.58% | 10 | 2300 | 1365 | 935 | 1 | 40.65% | 10 | 2425 | 1365 | 1060 | 1.08 | 43.71%
11 | 2380 | 1365 | 1015 | 1.04 | 42.65% | 11 | 2300 | 1365 | 935 | 1 | 40.65% | 11 | 2380 | 1365 | 1015 | 1.04 | 42.65%
12 | 2380 | 1365 | 1015 | 1.04 | 42.65% | 12 | 2300 | 1365 | 935 | 1 | 40.65% | 12 | 2380 | 1365 | 1015 | 1.04 | 42.65%
13 | 2380 | 1365 | 1015 | 1.04 | 42.65% | 13 | 2300 | 1365 | 935 | 1 | 40.65% | 13 | 2380 | 1365 | 1015 | 1.04 | 42.65%
14 | 2380 | 1365 | 1015 | 1.04 | 42.65% | 14 | 2300 | 1365 | 935 | 1 | 40.65% | 14 | 2380 | 1365 | 1015 | 1.04 | 42.65%
15 | 2343 | 1365 | 978 | 1.01 | 41.74% | 15 | 2300 | 1365 | 935 | 1 | 40.65% | 15 | 2343 | 1365 | 978 | 1.01 | 41.74%
16 | 2343 | 1365 | 978 | 1.01 | 41.74% | 16 | 2300 | 1365 | 935 | 1 | 40.65% | 16 | 2343 | 1365 | 978 | 1.01 | 41.74%
17 | 2343 | 1365 | 978 | 1.01 | 41.74% | 17 | 2300 | 1365 | 935 | 1 | 40.65% | 17 | 2343 | 1365 | 978 | 1.01 | 41.74%
18 | 2343 | 1365 | 978 | 1.01 | 41.74% | 18 | 2300 | 1365 | 935 | 1 | 40.65% | 18 | 2343 | 1365 | 978 | 1.01 | 41.74%
19 | 2300 | 1365 | 935 | 1 | 40.65% | 19 | 2300 | 1365 | 935 | 1 | 40.65% | 19 | 2300 | 1365 | 935 | 1 | 40.65%
20 | 2300 | 1365 | 935 | 1 | 40.65% | 20 | 2300 | 1365 | 935 | 1 | 40.65% | 20 | 2300 | 1365 | 935 | 1 | 40.65%
21 | 2300 | 1365 | 935 | 1 | 40.65% | 21 | 2300 | 1365 | 935 | 1 | 40.65% | 21 | 2300 | 1365 | 935 | 1 | 40.65%
22 | 2300 | 1365 | 935 | 1 | 40.65% | 22 | 2300 | 1365 | 935 | 1 | 40.65% | 22 | 2300 | 1365 | 935 | 1 | 40.65%
23 | 2425 | 1365 | 1060 | 1.08 | 43.71% | 23 | 2300 | 1365 | 935 | 1 | 40.65% | 23 | 2425 | 1365 | 1060 | 1.08 | 43.71%
24 | 2425 | 1365 | 1060 | 1.08 | 43.71% | 24 | 2300 | 1365 | 935 | 1 | 40.65% | 24 | 2425 | 1365 | 1060 | 1.08 | 43.71%
2025-10-01 | [5 empty] | 2025-11-01 | [5 empty] | 2025-12-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 1 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 1 | 2982 | 1365 | 1617 | 1.58 | 54.23%
2 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 2 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 2 | 2982 | 1365 | 1617 | 1.58 | 54.23%
3 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 3 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 3 | 2941 | 1365 | 1576 | 1.51 | 53.59%
4 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 4 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 4 | 2941 | 1365 | 1576 | 1.51 | 53.59%
5 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 5 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 5 | 2941 | 1365 | 1576 | 1.51 | 53.59%
6 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 6 | 3068 | 1365 | 1703 | 1.74 | 55.51% | 6 | 2941 | 1365 | 1576 | 1.51 | 53.59%
7 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 7 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 7 | 2863 | 1365 | 1498 | 1.44 | 52.32%
8 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 8 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 8 | 2863 | 1365 | 1498 | 1.44 | 52.32%
9 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 9 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 9 | 2863 | 1365 | 1498 | 1.44 | 52.32%
10 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 10 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 10 | 2863 | 1365 | 1498 | 1.44 | 52.32%
11 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 11 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 11 | 2982 | 1365 | 1617 | 1.58 | 54.23%
12 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 12 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 12 | 2982 | 1365 | 1617 | 1.58 | 54.23%
13 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 13 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 13 | 2982 | 1365 | 1617 | 1.58 | 54.23%
14 | 2767 | 1365 | 1402 | 1.39 | 50.67% | 14 | 2982 | 1365 | 1617 | 1.58 | 54.23% | 14 | 2982 | 1365 | 1617 | 1.58 | 54.23%
15 | 2645 | 1365 | 1280 | 1.28 | 48.39% | 15 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 15 | 2863 | 1365 | 1498 | 1.44 | 52.32%
16 | 2645 | 1365 | 1280 | 1.28 | 48.39% | 16 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 16 | 2863 | 1365 | 1498 | 1.44 | 52.32%
17 | 2645 | 1365 | 1280 | 1.28 | 48.39% | 17 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 17 | 2863 | 1365 | 1498 | 1.44 | 52.32%
18 | 2645 | 1365 | 1280 | 1.28 | 48.39% | 18 | 2941 | 1365 | 1576 | 1.51 | 53.59% | 18 | 2863 | 1365 | 1498 | 1.44 | 52.32%
19 | 2595 | 1365 | 1230 | 1.24 | 47.4% | 19 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 19 | 2863 | 1365 | 1498 | 1.44 | 52.32%
20 | 2595 | 1365 | 1230 | 1.24 | 47.4% | 20 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 20 | 2863 | 1365 | 1498 | 1.44 | 52.32%
21 | 2595 | 1365 | 1230 | 1.24 | 47.4% | 21 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 21 | 2863 | 1365 | 1498 | 1.44 | 52.32%
22 | 2595 | 1365 | 1230 | 1.24 | 47.4% | 22 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 22 | 2863 | 1365 | 1498 | 1.44 | 52.32%
23 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 23 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 23 | 2982 | 1365 | 1617 | 1.58 | 54.23%
24 | 2863 | 1365 | 1498 | 1.44 | 52.32% | 24 | 3031 | 1365 | 1666 | 1.65 | 54.97% | 24 | 2982 | 1365 | 1617 | 1.58 | 54.23%

## 2025 ECRS
2025 ECRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 738 | 640 | 580 | 780 | 782 | 769 | 845 | 1010 | 837 | 582 | 657 | 864
2 | 794 | 618 | 659 | 742 | 882 | 730 | 756 | 986 | 797 | 567 | 719 | 727
3 | 781 | 664 | 707 | 694 | 996 | 812 | 779 | 934 | 798 | 688 | 764 | 842
4 | 759 | 696 | 669 | 802 | 867 | 817 | 795 | 886 | 784 | 577 | 780 | 696
5 | 817 | 783 | 746 | 775 | 1017 | 915 | 723 | 897 | 777 | 757 | 828 | 718
6 | 959 | 731 | 757 | 834 | 820 | 829 | 813 | 927 | 825 | 722 | 791 | 824
7 | 1061 | 845 | 789 | 848 | 1042 | 802 | 920 | 947 | 894 | 659 | 734 | 872
8 | 1128 | 896 | 995 | 927 | 1863 | 1692 | 1470 | 985 | 823 | 741 | 1085 | 970
9 | 1778 | 1994 | 1942 | 2159 | 2630 | 2395 | 2431 | 2197 | 1826 | 1639 | 2086 | 1266
10 | 2151 | 2078 | 2356 | 2374 | 2335 | 2227 | 2489 | 2008 | 1886 | 2453 | 1753 | 1349
11 | 1942 | 2093 | 2185 | 2136 | 2649 | 2571 | 2619 | 2398 | 2160 | 1909 | 1795 | 1179
12 | 1419 | 1522 | 1858 | 1899 | 2519 | 2119 | 2341 | 2269 | 1841 | 1621 | 1517 | 812
13 | 1272 | 1455 | 1722 | 1453 | 2387 | 2060 | 2195 | 1788 | 1646 | 1706 | 1418 | 714
14 | 1355 | 1701 | 1679 | 1658 | 2542 | 2002 | 2432 | 1664 | 1615 | 1590 | 1728 | 1231
15 | 1583 | 2264 | 2359 | 2038 | 2903 | 2062 | 2050 | 1774 | 2199 | 1597 | 2316 | 1639
16 | 1436 | 2171 | 2785 | 2239 | 3086 | 2583 | 2287 | 2070 | 2490 | 1660 | 2546 | 1802
17 | 1635 | 2108 | 2780 | 2320 | 3259 | 2302 | 2234 | 2462 | 2579 | 1704 | 2055 | 1622
18 | 1471 | 1452 | 2584 | 2556 | 3195 | 2264 | 2313 | 2518 | 2877 | 1643 | 1712 | 1391
19 | 1114 | 1469 | 1559 | 1710 | 2361 | 2031 | 1913 | 1822 | 2095 | 1196 | 974 | 1163
20 | 1120 | 841 | 938 | 1401 | 1650 | 1419 | 1296 | 1539 | 1451 | 1345 | 941 | 1060
21 | 1072 | 768 | 1076 | 1260 | 1503 | 1296 | 1523 | 1722 | 1440 | 1126 | 854 | 1004
22 | 972 | 743 | 728 | 997 | 1634 | 1220 | 1364 | 1449 | 1326 | 984 | 795 | 940
23 | 963 | 651 | 712 | 778 | 936 | 1115 | 1237 | 1354 | 1188 | 909 | 815 | 881
24 | 872 | 581 | 680 | 739 | 1120 | 944 | 1025 | 1195 | 1000 | 736 | 721 | 879
Total | 29192 | 29764 | 33845 | 34119 | 44978 | 37976 | 38850 | 37801 | 36154 | 29111 | 30384 | 25445

## 2025 NSRS
2025 NSRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 1997 | 1795 | 1729 | 1729 | 2461 | 1775 | 2284 | 2070 | 1713 | 1947 | 1728 | 2278
2 | 1997 | 1795 | 1729 | 1729 | 2461 | 1775 | 2284 | 2070 | 1713 | 1947 | 1728 | 2278
3 | 2722 | 2649 | 1916 | 2187 | 3001 | 2193 | 2541 | 2131 | 1572 | 1803 | 1963 | 2886
4 | 2722 | 2649 | 1916 | 2187 | 3001 | 2193 | 2541 | 2131 | 1572 | 1803 | 1963 | 2886
5 | 2722 | 2649 | 1916 | 2187 | 3001 | 2193 | 2541 | 2131 | 1572 | 1803 | 1963 | 2886
6 | 2722 | 2649 | 1916 | 2187 | 3001 | 2193 | 2541 | 2131 | 1572 | 1803 | 1963 | 2886
7 | 3701 | 3452 | 3519 | 3372 | 4907 | 3304 | 4102 | 3258 | 2509 | 3051 | 3178 | 3278
8 | 3701 | 3452 | 3519 | 3372 | 4907 | 3304 | 4102 | 3258 | 2509 | 3051 | 3178 | 3278
9 | 3701 | 3452 | 3519 | 3372 | 4907 | 3304 | 4102 | 3258 | 2509 | 3051 | 3178 | 3278
10 | 3701 | 3452 | 3519 | 3372 | 4907 | 3304 | 4102 | 3258 | 2509 | 3051 | 3178 | 3278
11 | 3330 | 2732 | 3251 | 3381 | 4984 | 4167 | 3980 | 2962 | 2655 | 3383 | 3162 | 3392
12 | 3330 | 2732 | 3251 | 3381 | 4984 | 4167 | 3980 | 2962 | 2655 | 3383 | 3162 | 3392
13 | 3334 | 2777 | 3211 | 3293 | 5068 | 4324 | 3621 | 2575 | 2489 | 3303 | 3258 | 3597
14 | 3334 | 2777 | 3211 | 3293 | 5068 | 4324 | 3621 | 2575 | 2489 | 3303 | 3258 | 3597
15 | 3397 | 3512 | 3651 | 3067 | 3864 | 2752 | 2528 | 2336 | 2299 | 2462 | 3113 | 3856
16 | 3397 | 3512 | 3651 | 3067 | 3864 | 2752 | 2528 | 2336 | 2299 | 2462 | 3113 | 3856
17 | 3397 | 3512 | 3651 | 3067 | 3864 | 2752 | 2528 | 2336 | 2299 | 2462 | 3113 | 3856
18 | 3397 | 3512 | 3651 | 3067 | 3864 | 2752 | 2528 | 2336 | 2299 | 2462 | 3113 | 3856
19 | 3589 | 3324 | 2746 | 2696 | 4225 | 3672 | 2637 | 1913 | 2339 | 2612 | 2582 | 3620
20 | 3589 | 3324 | 2746 | 2696 | 4225 | 3672 | 2637 | 1913 | 2339 | 2612 | 2582 | 3620
21 | 3589 | 3324 | 2746 | 2696 | 4225 | 3672 | 2637 | 1913 | 2339 | 2612 | 2582 | 3620
22 | 3589 | 3324 | 2746 | 2696 | 4225 | 3672 | 2637 | 1913 | 2339 | 2612 | 2582 | 3620
23 | 2479 | 2155 | 1900 | 1756 | 2688 | 2218 | 2114 | 1846 | 1710 | 2218 | 2122 | 2282
24 | 2479 | 2155 | 1900 | 1756 | 2688 | 2218 | 2114 | 1846 | 1710 | 2218 | 2122 | 2282
Total | 75916 | 70666 | 67510 | 65606 | 94390 | 72652 | 71230 | 57458 | 52010 | 61414 | 63884 | 77658

## Reg - Adj Tables
Regulation Up and Down Wind Adjustment Tables
Incremental MW Adjustment, per 1000 MW of Incremental Wind Generation Capacity, to Account for Wind Capacity Growth
RegUp | Hour Ending
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Jan. | 1.8 | 1.4 | 1.5 | 1.5 | 1.7 | 1.8 | 1.7 | 1.7 | 2.5 | 2.3 | 1.8 | 1.5 | 1.7 | 1.6 | 1.7 | 1.7 | 1.8 | 2.1 | 1.2 | 1.3 | 1.3 | 1.3 | 1.4 | 1.5 | #REF!
Feb. | 1.8 | 1.6 | 1.6 | 1.7 | 1.7 | 1.6 | 1.7 | 1.5 | 2.4 | 1.7 | 1.8 | 1.6 | 1.5 | 1.8 | 1.7 | 1.7 | 1.8 | 2 | 1.6 | 1.4 | 1.5 | 1.5 | 1.6 | 1.7 | #REF!
Mar. | 1.9 | 1.7 | 1.7 | 1.9 | 1.8 | 1.9 | 1.8 | 1.9 | 2.9 | 2.1 | 1.9 | 2.1 | 2.1 | 2 | 2.1 | 2 | 2.2 | 2.2 | 2.3 | 1.9 | 1.6 | 1.7 | 1.8 | 1.8 | #REF!
Apr. | 1.9 | 1.9 | 1.8 | 1.8 | 1.7 | 1.9 | 1.8 | 2 | 2.6 | 1.9 | 2.2 | 2.3 | 2.2 | 2.2 | 2.3 | 2.3 | 1.9 | 2.1 | 2.3 | 2.3 | 1.7 | 1.9 | 1.7 | 1.9 | #REF!
May | 1.9 | 2.1 | 1.8 | 1.7 | 1.8 | 1.8 | 2 | 2.1 | 2 | 1.7 | 2.1 | 1.9 | 1.7 | 1.8 | 1.8 | 1.9 | 2 | 1.9 | 2 | 2.1 | 2 | 1.7 | 2 | 2 | #REF!
Jun. | 1.8 | 1.6 | 1.8 | 1.7 | 1.5 | 1.5 | 1.7 | 2.3 | 1.4 | 1.4 | 1.6 | 1.7 | 1.5 | 1.7 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.8 | 1.6 | 1.5 | 1.5 | 1.7 | #REF!
Jul. | 1.7 | 1.6 | 1.8 | 1.6 | 1.7 | 1.5 | 1.6 | 2.2 | 1.8 | 1.6 | 1.8 | 1.6 | 1.4 | 1.4 | 1.6 | 1.6 | 1.7 | 1.7 | 1.8 | 1.6 | 1.7 | 1.3 | 1.5 | 1.5 | #REF!
Aug. | 1.6 | 1.4 | 1.3 | 1.4 | 1.3 | 1.4 | 1.1 | 1.5 | 1.7 | 1.3 | 1.6 | 1.5 | 1.3 | 1.5 | 1.7 | 1.7 | 1.8 | 1.8 | 1.9 | 1.9 | 1.4 | 1.3 | 1.3 | 1.4 | #REF!
Sep. | 1.4 | 1.6 | 1.4 | 1.5 | 1.5 | 1.4 | 1.3 | 1.4 | 2.6 | 1.3 | 1.4 | 1.4 | 1.3 | 1.3 | 1.4 | 1.4 | 1.4 | 1.7 | 1.5 | 1.3 | 0.9 | 1.3 | 1.4 | 1.5 | #REF!
Oct. | 1.4 | 1.4 | 1.3 | 1.4 | 1.3 | 1.4 | 1.5 | 1.3 | 2 | 2.2 | 1.4 | 1.5 | 1.5 | 1.5 | 1.6 | 1.5 | 1.7 | 1.6 | 1.6 | 1.1 | 1.2 | 1.2 | 1.4 | 1.5 | #REF!
Nov. | 1.4 | 1.5 | 1.6 | 1.4 | 1.6 | 1.5 | 1.5 | 1.5 | 2.4 | 1.8 | 1.5 | 1.5 | 1.6 | 1.5 | 1.5 | 1.5 | 1.8 | 1.4 | 1.1 | 1.2 | 1.2 | 1.4 | 1.2 | 1.5 | #REF!
Dec. | 1.4 | 1.4 | 1.5 | 1.6 | 1.6 | 1.4 | 1.6 | 1.6 | 2.2 | 1.9 | 1.4 | 1.4 | 1.5 | 1.5 | 1.4 | 1.6 | 2 | 1.4 | 1.1 | 1.1 | 1.3 | 1.6 | 1.4 | 1.6 | #REF!
Incremental MW Adjustment, per 1000 MW of Incremental Wind Generation Capacity, to Account for Wind Capacity Growth
RegDown | Hour Ending
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Jan. | 1.6 | 1.5 | 1.4 | 1.4 | 1.7 | 1.7 | 1.8 | 1.4 | 1.4 | 1.7 | 1.8 | 1.7 | 1.6 | 1.4 | 1.5 | 1.4 | 1.4 | 1.7 | 2.2 | 2 | 1.6 | 1.8 | 1.6 | 1.5
Feb. | 1.6 | 1.5 | 1.4 | 1.4 | 1.5 | 1.5 | 1.6 | 1.4 | 1.5 | 1.7 | 1.7 | 1.8 | 2 | 1.8 | 1.8 | 1.8 | 1.7 | 1.7 | 2.4 | 2.3 | 1.7 | 1.6 | 1.6 | 1.5
Mar. | 1.6 | 1.6 | 1.4 | 1.6 | 1.7 | 1.9 | 1.8 | 1.5 | 1.9 | 2.3 | 2 | 1.8 | 1.9 | 2.1 | 2.2 | 2.2 | 2.2 | 1.9 | 2.2 | 2.5 | 2.5 | 2.1 | 2 | 1.8
Apr. | 1.8 | 1.7 | 1.7 | 1.6 | 1.6 | 1.7 | 1.7 | 1.6 | 2.1 | 2.6 | 1.9 | 1.8 | 1.8 | 2.2 | 2.2 | 2.5 | 2.3 | 2.5 | 2.1 | 2.3 | 2.9 | 2.8 | 2.2 | 2
May | 2.2 | 1.9 | 1.6 | 1.6 | 1.6 | 1.9 | 2 | 1.6 | 2.2 | 1.9 | 1.8 | 1.7 | 1.6 | 1.9 | 2 | 2.3 | 2.4 | 2.6 | 2.5 | 2.1 | 2.5 | 2.5 | 2.1 | 1.9
Jun. | 1.9 | 1.6 | 1.5 | 1.6 | 1.3 | 1.4 | 1.3 | 1.3 | 2.2 | 1.3 | 1.2 | 1.2 | 1.1 | 1.6 | 1.7 | 1.9 | 2.1 | 2.1 | 2.2 | 2.1 | 2.2 | 2.4 | 1.9 | 1.9
Jul. | 1.5 | 1.4 | 1.5 | 1.2 | 1.4 | 1.2 | 1.2 | 0.9 | 2.1 | 1.3 | 1.1 | 1.2 | 1.4 | 1.6 | 1.9 | 2.1 | 2 | 2.2 | 2.3 | 2 | 2 | 2.5 | 2 | 1.7
Aug. | 1.4 | 1.2 | 1.1 | 1.1 | 1 | 1 | 0.9 | 0.8 | 1.7 | 1.3 | 0.9 | 1.2 | 1.3 | 1.6 | 1.9 | 2.3 | 2.3 | 2.3 | 2.4 | 1.9 | 2 | 2 | 1.6 | 1.4
Sep. | 1.4 | 1.2 | 1.1 | 1.1 | 1.1 | 1.2 | 1.1 | 0.9 | 1.3 | 1.6 | 1 | 1 | 1.1 | 1.2 | 1.5 | 1.7 | 1.8 | 1.6 | 1.6 | 2.1 | 3.1 | 2.1 | 1.7 | 1.4
Oct. | 1.2 | 1.1 | 1.1 | 1.2 | 1.2 | 1.3 | 1.3 | 1.1 | 1.2 | 1.7 | 1.5 | 1.2 | 1.4 | 1.6 | 1.6 | 1.7 | 1.8 | 1.5 | 1.4 | 2.2 | 2 | 1.4 | 1.4 | 1.2
Nov. | 1.3 | 1.3 | 1.4 | 1.4 | 1.4 | 1.4 | 1.2 | 1.2 | 1.4 | 1.6 | 1.7 | 1.3 | 1.5 | 1.5 | 1.5 | 1.5 | 1.4 | 1.7 | 2.3 | 2 | 1.7 | 1.5 | 1.4 | 1.5
Dec. | 1.4 | 1.4 | 1.4 | 1.3 | 1.4 | 1.4 | 1.5 | 1.5 | 1.2 | 1.6 | 1.7 | 1.5 | 1.7 | 1.6 | 1.4 | 1.4 | 1.3 | 1.8 | 2.1 | 1.5 | 1.4 | 1.5 | 1.6 | 1.4
Regulation Up and Down Solar Adjustment Tables
Incremental MW Adjustment, per 1000 MW of Incremental Solar Generation Capacity, to Account for Solar Capacity Growth
RegUp | Hour Ending
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Jan. | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 2.9 | 1.6 | 7.2 | 5.1 | 5.1 | 4.2 | 5.1 | 5.6 | 6.1 | 11.5 | 11.2 | 3.3 | 3 | 0 | 1.4 | 0 | 0
Feb. | 0 | 0 | 0 | 0 | 0 | 0 | 0.7 | 2.9 | 3 | 7 | 6 | 4.3 | 5.7 | 6.2 | 6.1 | 6 | 7.3 | 17.7 | 4.8 | 0.7 | 1 | 2.3 | 0 | 0
Mar. | 0 | 0 | 0 | 0 | 0 | 0 | 0.3 | 2.7 | 3.3 | 7 | 7 | 6 | 5.8 | 6.5 | 6.8 | 6.3 | 8.4 | 13.9 | 14.8 | 9.6 | 0 | 0 | 0 | 0
Apr. | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 2.8 | 3.9 | 6.2 | 5.6 | 5.2 | 5 | 5.7 | 5.6 | 6.2 | 6.9 | 6.4 | 11.9 | 12.4 | 2.5 | 0.5 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 2.7 | 2.4 | 4.9 | 6.4 | 5.8 | 5.8 | 5.6 | 6.7 | 5.8 | 6.1 | 7.5 | 7.6 | 8.1 | 11.2 | 3.8 | 0.1 | 0 | 0
Jun. | 0 | 0 | 0 | 0 | 0 | 0 | 3.4 | 1.3 | 5.9 | 6 | 5.1 | 6 | 4.9 | 5.5 | 5.1 | 5.8 | 6.4 | 7 | 7.1 | 11.7 | 4 | 4.7 | 0 | 0
Jul. | 0 | 0 | 0 | 0 | 0 | 0 | 3.7 | 2.1 | 5.8 | 5.7 | 5 | 4.9 | 4.7 | 4.5 | 5.1 | 6.1 | 5.5 | 5.9 | 6.1 | 10.1 | 3.9 | 0.3 | 0 | 0
Aug. | 0 | 0 | 0 | 0 | 0 | 0 | 1.9 | 2.9 | 3.8 | 6.5 | 4.5 | 4.8 | 4.5 | 4.8 | 5.3 | 6.1 | 6.6 | 6.3 | 6.6 | 7 | 2.8 | 0.1 | 0 | 0
Sep. | 0 | 0 | 0 | 0 | 0 | 0 | 0.6 | 4 | 2.5 | 6.8 | 5 | 4.3 | 5.3 | 4.5 | 5.7 | 5.3 | 6.5 | 7.1 | 10.8 | 5 | 3 | 0.1 | 0 | 0
Oct. | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 2.9 | 2.2 | 6 | 5.5 | 5.1 | 4.7 | 5.1 | 4.5 | 5.3 | 6.3 | 10.9 | 8.3 | 4.2 | 1.2 | 0.1 | 0 | 0
Nov. | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 2.2 | 3.4 | 6.4 | 4.6 | 3.8 | 4.8 | 4.3 | 5 | 4.9 | 7.3 | 4.5 | 5 | 0.1 | 0.1 | 0 | 0 | 0
Dec. | 0 | 0 | 0 | 0 | 0 | 0 | 0.4 | 2.8 | 2.1 | 5.6 | 3.7 | 3.5 | 3.5 | 3.6 | 4.3 | 5.8 | 8.9 | 3.8 | 1.4 | 0 | 0 | 0 | 0 | 0
Incremental MW Adjustment, per 1000 MW of Incremental Solar Generation Capacity, to Account for Solar Capacity Growth
RegDown | Hour Ending
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Jan. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1 | 16.1 | 7.7 | 4.9 | 3.8 | 4.1 | 4.4 | 4.5 | 6.2 | 4.2 | 3.3 | 3.5 | 0 | 0 | 0 | 0 | 0
Feb. | 0 | 0 | 0 | 0 | 0 | 0 | 0.7 | 4.9 | 18.8 | 6.4 | 5.6 | 5.9 | 5.4 | 5.9 | 6.2 | 5.8 | 7.1 | 4.2 | 5.2 | 0.5 | 0 | 2.3 | 0 | 0
Mar. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3 | 15.4 | 9.9 | 6 | 7.6 | 5.3 | 6.6 | 6.7 | 6.1 | 6.9 | 8.3 | 4.9 | 2.4 | 1.4 | 0 | 0 | 0
Apr. | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 7.9 | 16.3 | 6.5 | 5.6 | 5.8 | 5.7 | 5.2 | 5.9 | 6.5 | 6.9 | 8.3 | 6.4 | 2.1 | 4.6 | 0.2 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 9.4 | 11.8 | 5.7 | 6 | 6.6 | 4.8 | 5.6 | 6.8 | 6.9 | 6.2 | 7.2 | 6 | 2.7 | 3.7 | 0.8 | 0 | 0
Jun. | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 10.7 | 8.7 | 4.9 | 4.9 | 4.7 | 5.3 | 5 | 5.4 | 6.2 | 6.8 | 6.9 | 6.6 | 3.6 | 3.8 | 2.4 | 0 | 0
Jul. | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 9.4 | 9.9 | 4 | 4.2 | 4.1 | 4.2 | 4.6 | 5 | 6.1 | 6.5 | 6.7 | 6.2 | 1.8 | 4.8 | 2.7 | 0 | 0
Aug. | 0 | 0 | 0 | 0 | 0 | 0 | 5.7 | 6.3 | 8.7 | 4.8 | 4 | 3.5 | 4.8 | 4.7 | 5.7 | 6.8 | 6.6 | 7 | 5.5 | 2 | 4.4 | 0.3 | 0 | 0
Sep. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2 | 13.2 | 4.9 | 4.6 | 4.3 | 4.5 | 4.6 | 6.2 | 5.5 | 7.1 | 6.1 | 4.4 | 5 | 1.5 | 0 | 0 | 0
Oct. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3 | 10.4 | 6.7 | 4.2 | 4.8 | 4.6 | 4.7 | 4 | 5.1 | 6.9 | 6.6 | 2.5 | 3.6 | 0.1 | 0.1 | 0 | 0
Nov. | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 3.4 | 7.9 | 5.5 | 4.4 | 4.2 | 4 | 4 | 5.3 | 4.9 | 3.8 | 3.4 | 1 | 0 | 0 | 0 | 0 | 0
Dec. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4 | 10.4 | 4.5 | 3.5 | 3.1 | 3.6 | 3.9 | 4.2 | 5.4 | 2.5 | 4.1 | 1 | 0 | 0 | 0 | 0 | 0

## NSRS - Adj Tables
Incremental MW Adjustment to Non-Spinning Reserve Service, per 1000 MW of Incremental Wind Generation Capacity
Hour Ending
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Jan. | 27 | 27 | 27 | 27 | 27 | 27 | 28 | 28 | 28 | 28 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 27 | 27 | 27 | 27 | 27 | 27
Feb. | 27 | 27 | 27 | 27 | 27 | 27 | 28 | 28 | 28 | 28 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 27 | 27 | 27 | 27 | 27 | 27
Mar. | 29 | 29 | 31 | 31 | 31 | 31 | 30 | 30 | 30 | 30 | 24 | 24 | 24 | 24 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 29 | 29
Apr. | 29 | 29 | 31 | 31 | 31 | 31 | 30 | 30 | 30 | 30 | 24 | 24 | 24 | 24 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 29 | 29
May | 29 | 29 | 31 | 31 | 31 | 31 | 30 | 30 | 30 | 30 | 24 | 24 | 24 | 24 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 29 | 29
Jun. | 25 | 25 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 18 | 18 | 18 | 18 | 20 | 20 | 20 | 20 | 26 | 26 | 26 | 26 | 25 | 25
Jul. | 25 | 25 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 18 | 18 | 18 | 18 | 20 | 20 | 20 | 20 | 26 | 26 | 26 | 26 | 25 | 25
Aug. | 25 | 25 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 18 | 18 | 18 | 18 | 20 | 20 | 20 | 20 | 26 | 26 | 26 | 26 | 25 | 25
Sep. | 20 | 20 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 16 | 16 | 16 | 16 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 20 | 20
Oct. | 20 | 20 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 16 | 16 | 16 | 16 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 20 | 20
Nov. | 20 | 20 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 16 | 16 | 16 | 16 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 20 | 20
Dec. | 27 | 27 | 27 | 27 | 27 | 27 | 28 | 28 | 28 | 28 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 27 | 27 | 27 | 27 | 27 | 27
Incremental MW Adjustment to Non-Spinning Reserve Service, per 1000 MW of Incremental Solar Generation Capacity
Hour Ending
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Jan. | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 4 | 4 | 28 | 28 | 28 | 28 | 26 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0
Feb. | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 4 | 4 | 28 | 28 | 28 | 28 | 26 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0
Mar. | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 17 | 17 | 17 | 43 | 43 | 43 | 43 | 48 | 48 | 48 | 48 | 11 | 11 | 11 | 11 | 0 | 0
Apr. | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 17 | 17 | 17 | 43 | 43 | 43 | 43 | 48 | 48 | 48 | 48 | 11 | 11 | 11 | 11 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 17 | 17 | 17 | 43 | 43 | 43 | 43 | 48 | 48 | 48 | 48 | 11 | 11 | 11 | 11 | 0 | 0
Jun. | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 9 | 9 | 25 | 25 | 25 | 25 | 27 | 27 | 27 | 27 | 13 | 13 | 13 | 13 | 0 | 0
Jul. | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 9 | 9 | 25 | 25 | 25 | 25 | 27 | 27 | 27 | 27 | 13 | 13 | 13 | 13 | 0 | 0
Aug. | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 9 | 9 | 25 | 25 | 25 | 25 | 27 | 27 | 27 | 27 | 13 | 13 | 13 | 13 | 0 | 0
Sep. | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 7 | 7 | 25 | 25 | 25 | 25 | 26 | 26 | 26 | 26 | 3 | 3 | 3 | 3 | 0 | 0
Oct. | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 7 | 7 | 25 | 25 | 25 | 25 | 26 | 26 | 26 | 26 | 3 | 3 | 3 | 3 | 0 | 0
Nov. | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 7 | 7 | 25 | 25 | 25 | 25 | 26 | 26 | 26 | 26 | 3 | 3 | 3 | 3 | 0 | 0
Dec. | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 4 | 4 | 28 | 28 | 28 | 28 | 26 | 26 | 26 | 26 | 0 | 0 | 0 | 0 | 0 | 0
Incremental MW Adjustment to Non-Spinning Reserve Service to account for Intra-day Forced Outages of thermal resources
Hour Ending
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Jan. | 572 | 572 | 572 | 572 | 572 | 572 | 1095 | 1095 | 1095 | 1095 | 1095 | 1095 | 1099 | 1099 | 1099 | 1099 | 1099 | 1099 | 1054 | 1054 | 1054 | 1054 | 1054 | 1054
Feb. | 563 | 563 | 563 | 563 | 563 | 563 | 1087 | 1087 | 1087 | 1087 | 1087 | 1087 | 1132 | 1132 | 1132 | 1132 | 1132 | 1132 | 923 | 923 | 923 | 923 | 923 | 923
Mar. | 588 | 588 | 588 | 588 | 588 | 588 | 1051 | 1051 | 1051 | 1051 | 1051 | 1051 | 1011 | 1011 | 1011 | 1011 | 1011 | 1011 | 758 | 758 | 758 | 758 | 758 | 758
Apr. | 732 | 732 | 732 | 732 | 732 | 732 | 900 | 900 | 900 | 900 | 900 | 900 | 812 | 812 | 812 | 812 | 812 | 812 | 759 | 759 | 759 | 759 | 759 | 759
May | 757 | 757 | 757 | 757 | 757 | 757 | 1047 | 1047 | 1047 | 1047 | 1047 | 1047 | 1132 | 1132 | 1132 | 1132 | 1132 | 1132 | 985 | 985 | 985 | 985 | 985 | 985
Jun. | 509 | 509 | 509 | 509 | 509 | 509 | 570 | 570 | 570 | 570 | 570 | 570 | 727 | 727 | 727 | 727 | 727 | 727 | 952 | 952 | 952 | 952 | 952 | 952
Jul. | 839 | 839 | 839 | 839 | 839 | 839 | 940 | 940 | 940 | 940 | 940 | 940 | 582 | 582 | 582 | 582 | 582 | 582 | 669 | 669 | 669 | 669 | 669 | 669
Aug. | 689 | 689 | 689 | 689 | 689 | 689 | 766 | 766 | 766 | 766 | 766 | 766 | 378 | 378 | 378 | 378 | 378 | 378 | 465 | 465 | 465 | 465 | 465 | 465
Sep. | 509 | 509 | 509 | 509 | 509 | 509 | 769 | 769 | 769 | 769 | 769 | 769 | 602 | 602 | 602 | 602 | 602 | 602 | 505 | 505 | 505 | 505 | 505 | 505
Oct. | 692 | 692 | 692 | 692 | 692 | 692 | 1152 | 1152 | 1152 | 1152 | 1152 | 1152 | 1072 | 1072 | 1072 | 1072 | 1072 | 1072 | 963 | 963 | 963 | 963 | 963 | 963
Nov. | 672 | 672 | 672 | 672 | 672 | 672 | 938 | 938 | 938 | 938 | 938 | 938 | 1034 | 1034 | 1034 | 1034 | 1034 | 1034 | 1066 | 1066 | 1066 | 1066 | 1066 | 1066
Dec. | 764 | 764 | 764 | 764 | 764 | 764 | 998 | 998 | 998 | 998 | 998 | 998 | 1203 | 1203 | 1203 | 1203 | 1203 | 1203 | 768 | 768 | 768 | 768 | 768 | 768

## ECRS - Adj Table
Incremental MW Adjustment to ERCOT Contingency Reserve Service, per 1000 MW of Incremental Solar Generation Capacity
Hour Ending
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
Jan. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 21 | 21 | 21 | 20 | 20 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
Feb. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 33 | 33 | 33 | 20 | 20 | 20 | 20 | 0 | 0 | 0 | 0 | 0 | 0
Mar. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 33 | 33 | 33 | 73 | 73 | 73 | 73 | 0 | 0 | 0 | 0 | 0 | 0
Apr. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 30 | 30 | 30 | 55 | 55 | 55 | 55 | 6 | 6 | 6 | 6 | 0 | 0
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59 | 59 | 59 | 59 | 96 | 96 | 96 | 96 | 26 | 26 | 26 | 26 | 0 | 0
Jun. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 17 | 17 | 17 | 41 | 41 | 41 | 41 | 37 | 37 | 37 | 37 | 0 | 0
Jul. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 8 | 8 | 8 | 8 | 0 | 0
Aug. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 29 | 29 | 29 | 6 | 6 | 6 | 6 | 0 | 0
Sep. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 22 | 22 | 22 | 60 | 60 | 60 | 60 | 0 | 0 | 0 | 0 | 0 | 0
Oct. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 28 | 28 | 28 | 22 | 22 | 22 | 22 | 0 | 0 | 0 | 0 | 0 | 0
Nov. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 31 | 31 | 31 | 42 | 42 | 42 | 42 | 0 | 0 | 0 | 0 | 0 | 0
Dec. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0