Deployment

This is Thelma Garza with ERCOT System Operations.

Can you please state your full name?

Today we are conducting an actual load interruption test on the QSE ERS Test Portfolio which contains 30-minute ERS Resources.

Do you understand that this is a test deployment and not a system wide event deployment of ERS?

Are you familiar with the Resources in the ERS Test Portfolio?

(Start of instruction)

At 00:00:00 ERCOT is issuing a deployment instruction to QSE to deploy the ERS Test Portfolio. (End of instruction)

Please repeat the instruction.  (Operator only needs to repeat the sentence above)

Your resources have 30 minutes to respond to this instruction and must continue complying with the instruction until recalled by ERCOT.

Do you have any questions? no

Recall

(Start of instruction)

At 00:00:00 ERCOT is issuing an instruction to recall the QSE ERS Test Portfolio. (End of instruction)

Please repeat the instruction. (Operator only needs to repeat the sentence above)

You are now cleared to restore the Load associated with this test.

Do you have any questions?