## Slide 1
Status of Reliability Standard, VOLL and CONE Studies
Pete Warnken
Resource Adequacy
Supply Analysis Working Group
February 16, 2023

## Slide 2: Reliability Standard Scenario Study
Completed Phase fourth modeling simulations:
  Ran simulations for 22 portfolios using the December 2023 CDR as the base, with increasing numbers of Combustion Turbine additions:
    CT Additions from 0 to 20,776 MW; LOLEs range from 0.14 events/yr to 0 events/yr per year
    900 MW of thermal unit retirements, 85% weather-related outage improvement, historical weather years back to 1980
  Developed charts/tables to show total system (“societal”) costs as they relate to meeting the three reliability standard criteria: loss-of-load event frequency, max magnitude and max duration
    Incremental costs for reducing each MW of Expected Unserved Energy (EUE)
    Comparison of system costs for extreme cost years (i.e., 1 in 10-year, 1 in 20-year, 1 in 100-year cost events)
  Re-running Phase 3 simulations due to a SERVM bug that was discovered and fixed after the Phase 3 simulation filing
Results are expected to be filed for the April 11 PUCT Open Meeting

## Slide 3: Value of Lost Load (VOLL) Study
Project update filed with the Commission on March 14th
https://interchange.puc.texas.gov/Documents/55837_10_1375734.PDF
Get Commission input on communications plan and strategy for survey rollout (e.g., branding, FAQ webpage, etc.)
“Soft” Competitive Area survey launch planned for March 26th, followed by full roll-out and NOIE customer surveying in April
Still anticipating VOLL survey project completion by end of Q3
  Depending on sufficiency of initial sample sizes, may need to send out more surveys