## Summary
PEAK AVERAGE WIND CAPACITY PERCENTAGES, WINTER PEAK SEASONS
WINDPEAKPCT Values (Weighted Averages based on Installed Wind Capacity)*
Winter Peak Ave. Wind Capacity Percentages and Total Unit Capacities | [6 empty] | Winter, Coastal | Winter, Panhandle | Winter, Other
Top Twenty Peak Hours for Each year | [6 empty] | 55.56% | 37.36% | 28.32%
CDR Wind Region | Coastal |  | Panhandle |  | Other
Year | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | * The methodology for calculating WINDPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/mktrules/nprotocols/library
2023-2024 | 48.14% | 5131 | 39.05% | 4406 | 34.62% | 21024
2022-2023 | 68.41% | 4858 | 38.42% | 4406 | 42.27% | 19309
2021-2022 | 82.63% | 4437 | 51.81% | 4406 | 36.15% | 17116
2020-2021 | 53.88% | 3579 | 36.26% | 4406 | 17.57% | 14672
2019-2020 | 33.88% | 2977 | 38.21% | 4196 | 28.76% | 12636
2018-2019 | 39% | 2613 | 39.95% | 4196 | 21.77% | 11811
2017-2018 | 51.69% | 2613 | 33.84% | 4196 | 17.51% | 10576
2016-2017 | 79.18% | 2041 | 20.93% | 3428 | 18.15% | 8736
2015-2016 | 28.07% | 1674 | 31.53% | 2670 | 28.75% | 7619
2014-2015 | 42.02% | 1674 | 38.86% | 777 | 11.24% | 6247
PEAK AVERAGE SOLAR CAPACITY PERCENTAGES, WINTER PEAK SEASONS
SOLARPEAKPCT Value (Weighted Average based on Installed Solar Capacity) *
Winter Peak Ave. Solar Capacity Percentages and Total Unit Capacities | [6 empty] | Winter
Top Twenty Peak Hours for Each year | [6 empty] | 17.25%
Year | Capacity Contribution Percentage | Capacity (MW) |  |  |  |  | * The methodology for calculating SOLARPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/mktrules/nprotocols/library
2023-2024 | 20.2% | 11932
2022-2023 | 8.795% | 8983
2021-2022 | 22.8% | 7334

## W2023-2024
Wind - Coastal
HOUR ENDING | 2024-01-15 09:00 | 2024-01-15 10:00 | 2024-01-15 11:00 | 2024-01-15 12:00 | 2024-01-15 13:00 | 2024-01-15 18:00 | 2024-01-15 19:00 | 2024-01-15 20:00 | 2024-01-15 21:00 | 2024-01-15 22:00 | 2024-01-15 23:00 | 2024-01-16 06:00 | 2024-01-16 07:00 | 2024-01-16 08:00 | 2024-01-16 09:00 | 2024-01-16 10:00 | 2024-01-16 11:00 | 2024-01-17 07:00 | 2024-01-17 08:00 | 2024-01-17 09:00
ERCOT LOAD (MW) | 74473.5855 | 75654.674 | 76038.6364 | 75570.8632 | 74077.2321 | 73751.3709 | 76122.6954 | 76438.9004 | 76433.5012 | 75705.868 | 74228.1312 | 75171.3172 | 77407.1093 | 78349.2062 | 78089.3679 | 76736.7109 | 74694.9789 | 76275.0081 | 77557.3881 | 75589.706
TOTAL HSL (MW) | 3154.5567 | 3042.8375 | 2759.7398 | 2337.9287 | 1648.3729 | 1694.7877 | 1811.1536 | 1793.2798 | 2005.1324 | 2745.2581 | 3293.6066 | 3610.1749 | 3583.6161 | 3470.2204 | 3510.3377 | 3570.3614 | 3349.1961 | 770.5635 | 692.755 | 554.2303
TOTAL CAPACITY (MW) | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131 | 5131
CAPACITY FACTOR | 61.48% | 59.3% | 53.79% | 45.56% | 32.13% | 33.03% | 35.3% | 34.95% | 39.08% | 53.5% | 64.19% | 70.36% | 69.84% | 67.63% | 68.41% | 69.58% | 65.27% | 15.02% | 13.5% | 10.8%
CAPACITY FACTOR AVG | 2024-01-15 09:00: 48.14%
Wind - Panhandle
HOUR ENDING | 2024-01-15 09:00 | 2024-01-15 10:00 | 2024-01-15 11:00 | 2024-01-15 12:00 | 2024-01-15 13:00 | 2024-01-15 18:00 | 2024-01-15 19:00 | 2024-01-15 20:00 | 2024-01-15 21:00 | 2024-01-15 22:00 | 2024-01-15 23:00 | 2024-01-16 06:00 | 2024-01-16 07:00 | 2024-01-16 08:00 | 2024-01-16 09:00 | 2024-01-16 10:00 | 2024-01-16 11:00 | 2024-01-17 07:00 | 2024-01-17 08:00 | 2024-01-17 09:00
ERCOT LOAD (MW) | 74473.5855 | 75654.674 | 76038.6364 | 75570.8632 | 74077.2321 | 73751.3709 | 76122.6954 | 76438.9004 | 76433.5012 | 75705.868 | 74228.1312 | 75171.3172 | 77407.1093 | 78349.2062 | 78089.3679 | 76736.7109 | 74694.9789 | 76275.0081 | 77557.3881 | 75589.706
TOTAL HSL (MW) | 607.1478 | 493.257 | 316.6547 | 171.4884 | 151.5363 | 3464.9745 | 3611.8872 | 3577.1149 | 3324.2668 | 2815.1389 | 2266.8699 | 686.1705 | 611.2264 | 769.7864 | 620.6537 | 344.8794 | 186.296 | 3437.8823 | 3459.8499 | 3491.3581
TOTAL CAPACITY (MW) | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406
CAPACITY FACTOR | 13.78% | 11.2% | 7.187% | 3.892% | 3.439% | 78.64% | 81.98% | 81.19% | 75.45% | 63.89% | 51.45% | 15.57% | 13.87% | 17.47% | 14.09% | 7.827% | 4.228% | 78.03% | 78.53% | 79.24%
CAPACITY FACTOR AVG | 2024-01-15 09:00: 39.05%
Wind - Other
HOUR ENDING | 2024-01-15 09:00 | 2024-01-15 10:00 | 2024-01-15 11:00 | 2024-01-15 12:00 | 2024-01-15 13:00 | 2024-01-15 18:00 | 2024-01-15 19:00 | 2024-01-15 20:00 | 2024-01-15 21:00 | 2024-01-15 22:00 | 2024-01-15 23:00 | 2024-01-16 06:00 | 2024-01-16 07:00 | 2024-01-16 08:00 | 2024-01-16 09:00 | 2024-01-16 10:00 | 2024-01-16 11:00 | 2024-01-17 07:00 | 2024-01-17 08:00 | 2024-01-17 09:00
ERCOT LOAD (MW) | 74473.5855 | 75654.674 | 76038.6364 | 75570.8632 | 74077.2321 | 73751.3709 | 76122.6954 | 76438.9004 | 76433.5012 | 75705.868 | 74228.1312 | 75171.3172 | 77407.1093 | 78349.2062 | 78089.3679 | 76736.7109 | 74694.9789 | 76275.0081 | 77557.3881 | 75589.706
TOTAL HSL (MW) | 1443.814 | 1222.5237 | 1033.9017 | 1057.9318 | 1427.0744 | 11209.1367 | 12365.133 | 13132.2703 | 13791.5239 | 14224.3482 | 14321.9192 | 5233.5694 | 4508.9827 | 4012.0258 | 3483.8629 | 3800.4725 | 2978.7381 | 12051.8268 | 12269.0685 | 12007.9557
TOTAL CAPACITY (MW) | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024 | 21024
CAPACITY FACTOR | 6.867% | 5.815% | 4.918% | 5.032% | 6.788% | 53.32% | 58.81% | 62.46% | 65.6% | 67.66% | 68.12% | 24.89% | 21.45% | 19.08% | 16.57% | 18.08% | 14.17% | 57.32% | 58.36% | 57.12%
CAPACITY FACTOR AVG | 2024-01-15 09:00: 34.62%
Solar
HOUR ENDING | 2024-01-15 09:00 | 2024-01-15 10:00 | 2024-01-15 11:00 | 2024-01-15 12:00 | 2024-01-15 13:00 | 2024-01-15 18:00 | 2024-01-15 19:00 | 2024-01-15 20:00 | 2024-01-15 21:00 | 2024-01-15 22:00 | 2024-01-15 23:00 | 2024-01-16 06:00 | 2024-01-16 07:00 | 2024-01-16 08:00 | 2024-01-16 09:00 | 2024-01-16 10:00 | 2024-01-16 11:00 | 2024-01-17 07:00 | 2024-01-17 08:00 | 2024-01-17 09:00
ERCOT LOAD (MW) | 74473.5855 | 75654.674 | 76038.6364 | 75570.8632 | 74077.2321 | 73751.3709 | 76122.6954 | 76438.9004 | 76433.5012 | 75705.868 | 74228.1312 | 75171.3172 | 77407.1093 | 78349.2062 | 78089.3679 | 76736.7109 | 74694.9789 | 76275.0081 | 77557.3881 | 75589.706
TOTAL HSL (MW) | 1302.2414 | 4830.0883 | 5869.8597 | 6162.283 | 6067.0842 | 1454.1843 | 10.2291 | 58.6311 | 58.1066 | 18.0574 | 0.20503 | 0.27817 | 0.29246 | 72.1893 | 3160.3968 | 7757.6523 | 8557.8844 | 0.35331 | 71.3052 | 2752.8454
TOTAL CAPACITY (MW) | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932 | 11932
CAPACITY FACTOR | 10.91% | 40.48% | 49.19% | 51.65% | 50.85% | 12.19% | 0.08573% | 0.4914% | 0.487% | 0.1513% | 0.001718% | 0.002331% | 0.002451% | 0.605% | 26.49% | 65.02% | 71.72% | 0.002961% | 0.5976% | 23.07%
CAPACITY FACTOR AVG | 2024-01-15 09:00: 20.2%

## W2022-2023
Wind - Coastal
HOUR ENDING | 2022-12-22 19:00 | 2022-12-22 20:00 | 2022-12-22 21:00 | 2022-12-22 22:00 | 2022-12-22 23:00 | 2022-12-23 | 2022-12-23 19:00 | 2022-12-23 20:00 | 2022-12-23 01:00 | 2022-12-23 02:00 | 2022-12-23 03:00 | 2022-12-23 04:00 | 2022-12-23 05:00 | 2022-12-23 06:00 | 2022-12-23 07:00 | 2022-12-23 08:00 | 2022-12-23 09:00 | 2022-12-23 10:00 | 2022-12-23 11:00 | 2022-12-23 12:00
ERCOT LOAD (MW) | 70801.0125 | 72374.3216 | 73524.6926 | 73801.8754 | 72968.754 | 71957.8808 | 68300.8301 | 68347.5527 | 71268.3385 | 70801.7612 | 70488.7302 | 70538.1959 | 71119.0949 | 72201.1366 | 73589.2046 | 74524.9021 | 74364.223 | 73675.7468 | 72127.7091 | 69854.0413
TOTAL HSL (MW) | 2905.305 | 3565.6674 | 3881.2122 | 3969.2937 | 3943.6882 | 3943.6215 | 1144.666 | 1060.2524 | 3932.9557 | 3784.9275 | 3686.4639 | 3645.2371 | 3612.0415 | 3521.8552 | 3331.5942 | 3307.1867 | 3340.1814 | 3309.9418 | 3316.1683 | 3265.8574
TOTAL CAPACITY (MW) | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858
CAPACITY FACTOR | 59.8% | 73.4% | 79.89% | 81.71% | 81.18% | 81.18% | 23.56% | 21.82% | 80.96% | 77.91% | 75.88% | 75.04% | 74.35% | 72.5% | 68.58% | 68.08% | 68.76% | 68.13% | 68.26% | 67.23%
CAPACITY FACTOR AVG | 68.41%
Wind - Panhandle
HOUR ENDING | 2022-12-22 19:00 | 2022-12-22 20:00 | 2022-12-22 21:00 | 2022-12-22 22:00 | 2022-12-22 23:00 | 2022-12-23 | 2022-12-23 19:00 | 2022-12-23 20:00 | 2022-12-23 01:00 | 2022-12-23 02:00 | 2022-12-23 03:00 | 2022-12-23 04:00 | 2022-12-23 05:00 | 2022-12-23 06:00 | 2022-12-23 07:00 | 2022-12-23 08:00 | 2022-12-23 09:00 | 2022-12-23 10:00 | 2022-12-23 11:00 | 2022-12-23 12:00
ERCOT LOAD (MW) | 70801.0125 | 72374.3216 | 73524.6926 | 73801.8754 | 72968.754 | 71957.8808 | 68300.8301 | 68347.5527 | 71268.3385 | 70801.7612 | 70488.7302 | 70538.1959 | 71119.0949 | 72201.1366 | 73589.2046 | 74524.9021 | 74364.223 | 73675.7468 | 72127.7091 | 69854.0413
TOTAL HSL (MW) | 2894.9595 | 2591.1183 | 2634.4712 | 2499.1847 | 2403.3239 | 2207.7882 | 7.5294 | 14.8726 | 1971.2439 | 1835.4518 | 1895.6674 | 1990.5233 | 1852.2307 | 1763.2042 | 1632.6307 | 1432.7246 | 1292.9566 | 1157.1658 | 989.2521 | 790.0468
TOTAL CAPACITY (MW) | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406
CAPACITY FACTOR | 65.7% | 58.81% | 59.79% | 56.72% | 54.55% | 50.11% | 0.1709% | 0.3376% | 44.74% | 41.66% | 43.02% | 45.18% | 42.04% | 40.02% | 37.05% | 32.52% | 29.35% | 26.26% | 22.45% | 17.93%
CAPACITY FACTOR AVG | 38.42%
Wind - Other
HOUR ENDING | 2022-12-22 19:00 | 2022-12-22 20:00 | 2022-12-22 21:00 | 2022-12-22 22:00 | 2022-12-22 23:00 | 2022-12-23 | 2022-12-23 19:00 | 2022-12-23 20:00 | 2022-12-23 01:00 | 2022-12-23 02:00 | 2022-12-23 03:00 | 2022-12-23 04:00 | 2022-12-23 05:00 | 2022-12-23 06:00 | 2022-12-23 07:00 | 2022-12-23 08:00 | 2022-12-23 09:00 | 2022-12-23 10:00 | 2022-12-23 11:00 | 2022-12-23 12:00
ERCOT LOAD (MW) | 70801.0125 | 72374.3216 | 73524.6926 | 73801.8754 | 72968.754 | 71957.8808 | 68300.8301 | 68347.5527 | 71268.3385 | 70801.7612 | 70488.7302 | 70538.1959 | 71119.0949 | 72201.1366 | 73589.2046 | 74524.9021 | 74364.223 | 73675.7468 | 72127.7091 | 69854.0413
TOTAL HSL (MW) | 13724.6446 | 14020.6705 | 13859.23 | 13490.3028 | 12729.0751 | 11903.3798 | 1166.8898 | 1020.147 | 10993.7942 | 9862.806 | 8735.8624 | 8065.2966 | 7672.4238 | 6922.2235 | 6196.9812 | 5405.7242 | 4862.0387 | 4602.8108 | 4200.1821 | 3794.6421
TOTAL CAPACITY (MW) | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309 | 19309
CAPACITY FACTOR | 71.08% | 72.61% | 71.78% | 69.87% | 65.92% | 61.65% | 6.043% | 5.283% | 56.94% | 51.08% | 45.24% | 41.77% | 39.73% | 35.85% | 32.09% | 28% | 25.18% | 23.84% | 21.75% | 19.65%
CAPACITY FACTOR AVG | 42.27%
Solar
HOUR ENDING | 2022-12-22 19:00 | 2022-12-22 20:00 | 2022-12-22 21:00 | 2022-12-22 22:00 | 2022-12-22 23:00 | 2022-12-23 | 2022-12-23 19:00 | 2022-12-23 20:00 | 2022-12-23 01:00 | 2022-12-23 02:00 | 2022-12-23 03:00 | 2022-12-23 04:00 | 2022-12-23 05:00 | 2022-12-23 06:00 | 2022-12-23 07:00 | 2022-12-23 08:00 | 2022-12-23 09:00 | 2022-12-23 10:00 | 2022-12-23 11:00 | 2022-12-23 12:00
ERCOT LOAD (MW) | 70801.0125 | 72374.3216 | 73524.6926 | 73801.8754 | 72968.754 | 71957.8808 | 68300.8301 | 68347.5527 | 71268.3385 | 70801.7612 | 70488.7302 | 70538.1959 | 71119.0949 | 72201.1366 | 73589.2046 | 74524.9021 | 74364.223 | 73675.7468 | 72127.7091 | 69854.0413
TOTAL HSL (MW) | 2.0668 | 2.0066 | 2.0154 | 2.0082 | 2.0079 | 2.0147 | 2.5153 | 2.4712 | 2.2618 | 4.5582 | 7.1542 | 3.3235 | 2.0061 | 2.0128 | 2.0155 | 54.0352 | 1234.5978 | 4250.0587 | 5109.4224 | 5113.4351
TOTAL CAPACITY (MW) | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983 | 8983
CAPACITY FACTOR | 0.02301% | 0.02234% | 0.02244% | 0.02236% | 0.02235% | 0.02243% | 0.028% | 0.02751% | 0.02518% | 0.05074% | 0.07964% | 0.037% | 0.02233% | 0.02241% | 0.02244% | 0.6015% | 13.74% | 47.31% | 56.88% | 56.92%
CAPACITY FACTOR AVG | 8.795%

## W2021-2022
Wind - Coastal
HOUR ENDING | 2022-02-03 19:00 | 2022-02-03 20:00 | 2022-02-03 21:00 | 2022-02-03 22:00 | 2022-02-03 23:00 | 2022-02-03 12:00 | 2022-02-03 13:00 | 2022-02-03 14:00 | 2022-02-03 16:00 | 2022-02-03 17:00 | 2022-02-03 18:00 | 2022-02-04 06:00 | 2022-02-04 07:00 | 2022-02-04 08:00 | 2022-02-04 09:00 | 2022-02-04 10:00 | 2022-02-04 11:00 | 2022-02-04 12:00 | 2022-02-05 08:00 | 2022-02-25 08:00
ERCOT LOAD (MW) | 67903.8071 | 67900.9783 | 67356.2474 | 66255.1133 | 64487.6673 | 63973.9256 | 64100.3405 | 63972.7417 | 63930.0189 | 64731.1883 | 66159.057 | 64320.0543 | 66229.8877 | 67835.9095 | 68663.5893 | 68967.6626 | 68005.2931 | 66095.9921 | 64197.3432 | 63828.4593
TOTAL HSL (MW) | 3899.5167 | 3852.2517 | 3747.602 | 3756.3083 | 3640.3313 | 3863.4447 | 3920.3191 | 3974.5541 | 4016.1513 | 3981.9427 | 3942.7412 | 3905.5599 | 3882.8886 | 3750.9911 | 3753.0252 | 3740.7178 | 3765.0016 | 3771.0406 | 1610.1314 | 2551.2277
TOTAL CAPACITY (MW) | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437 | 4437
CAPACITY FACTOR | 87.89% | 86.82% | 84.46% | 84.66% | 82.04% | 87.07% | 88.36% | 89.58% | 90.52% | 89.74% | 88.86% | 88.02% | 87.51% | 84.54% | 84.58% | 84.31% | 84.85% | 84.99% | 36.29% | 57.5%
CAPACITY FACTOR AVG | 82.63%
Wind - Panhandle
HOUR ENDING | 2022-02-03 19:00 | 2022-02-03 20:00 | 2022-02-03 21:00 | 2022-02-03 22:00 | 2022-02-03 23:00 | 2022-02-03 12:00 | 2022-02-03 13:00 | 2022-02-03 14:00 | 2022-02-03 16:00 | 2022-02-03 17:00 | 2022-02-03 18:00 | 2022-02-04 06:00 | 2022-02-04 07:00 | 2022-02-04 08:00 | 2022-02-04 09:00 | 2022-02-04 10:00 | 2022-02-04 11:00 | 2022-02-04 12:00 | 2022-02-05 08:00 | 2022-02-25 08:00
ERCOT LOAD (MW) | 67903.8071 | 67900.9783 | 67356.2474 | 66255.1133 | 64487.6673 | 63973.9256 | 64100.3405 | 63972.7417 | 63930.0189 | 64731.1883 | 66159.057 | 64320.0543 | 66229.8877 | 67835.9095 | 68663.5893 | 68967.6626 | 68005.2931 | 66095.9921 | 64197.3432 | 63828.4593
TOTAL HSL (MW) | 2757.3688 | 2421.3913 | 2251.5873 | 2193.197 | 1950.8533 | 3228.1288 | 3408.2116 | 3472.8481 | 3341.9334 | 3175.6027 | 3044.7163 | 1482.7984 | 1589.8025 | 1980.6487 | 2001.9054 | 1539.5061 | 961.23 | 764.89 | 3661.3105 | 430.814
TOTAL CAPACITY (MW) | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406
CAPACITY FACTOR | 62.58% | 54.96% | 51.1% | 49.78% | 44.28% | 73.27% | 77.35% | 78.82% | 75.85% | 72.07% | 69.1% | 33.65% | 36.08% | 44.95% | 45.44% | 34.94% | 21.82% | 17.36% | 83.1% | 9.778%
CAPACITY FACTOR AVG | 51.81%
Wind - Other
HOUR ENDING | 2022-02-03 19:00 | 2022-02-03 20:00 | 2022-02-03 21:00 | 2022-02-03 22:00 | 2022-02-03 23:00 | 2022-02-03 12:00 | 2022-02-03 13:00 | 2022-02-03 14:00 | 2022-02-03 16:00 | 2022-02-03 17:00 | 2022-02-03 18:00 | 2022-02-04 06:00 | 2022-02-04 07:00 | 2022-02-04 08:00 | 2022-02-04 09:00 | 2022-02-04 10:00 | 2022-02-04 11:00 | 2022-02-04 12:00 | 2022-02-05 08:00 | 2022-02-25 08:00
ERCOT LOAD (MW) | 67903.8071 | 67900.9783 | 67356.2474 | 66255.1133 | 64487.6673 | 63973.9256 | 64100.3405 | 63972.7417 | 63930.0189 | 64731.1883 | 66159.057 | 64320.0543 | 66229.8877 | 67835.9095 | 68663.5893 | 68967.6626 | 68005.2931 | 66095.9921 | 64197.3432 | 63828.4593
TOTAL HSL (MW) | 6577.203 | 6517.8637 | 6758.5641 | 7101.7697 | 7731.3205 | 8382.9827 | 8258.5658 | 8250.0367 | 8171.9524 | 7846.4725 | 7131.8429 | 6435.9656 | 6274.5055 | 6312.0019 | 5809.2573 | 4517.1497 | 3903.8184 | 3810.4043 | 1317.9985 | 2591.4501
TOTAL CAPACITY (MW) | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 17116 | 16916
CAPACITY FACTOR | 38.43% | 38.08% | 39.49% | 41.49% | 45.17% | 48.98% | 48.25% | 48.2% | 47.74% | 45.84% | 41.67% | 37.6% | 36.66% | 36.88% | 33.94% | 26.39% | 22.81% | 22.26% | 7.7% | 15.32%
CAPACITY FACTOR AVG | 36.15%
Solar
HOUR ENDING | 2022-02-03 19:00 | 2022-02-03 20:00 | 2022-02-03 21:00 | 2022-02-03 22:00 | 2022-02-03 23:00 | 2022-02-03 12:00 | 2022-02-03 13:00 | 2022-02-03 14:00 | 2022-02-03 16:00 | 2022-02-03 17:00 | 2022-02-03 18:00 | 2022-02-04 06:00 | 2022-02-04 07:00 | 2022-02-04 08:00 | 2022-02-04 09:00 | 2022-02-04 10:00 | 2022-02-04 11:00 | 2022-02-04 12:00 | 2022-02-05 08:00 | 2022-02-25 08:00
ERCOT LOAD (MW) | 67903.8071 | 67900.9783 | 67356.2474 | 66255.1133 | 64487.6673 | 63973.9256 | 64100.3405 | 63972.7417 | 63930.0189 | 64731.1883 | 66159.057 | 64320.0543 | 66229.8877 | 67835.9095 | 68663.5893 | 68967.6626 | 68005.2931 | 66095.9921 | 64197.3432 | 63828.4593
TOTAL HSL (MW) | 76.5054 | 22.6617 | 22.6648 | 22.6855 | 22.6568 | 2643.3313 | 2875.8507 | 2985.9465 | 2646.3486 | 2520.4987 | 1368.647 | 22.6229 | 22.6014 | 70.5315 | 1971.2738 | 4687.6465 | 5422.0331 | 5665.3029 | 113.4303 | 262.6411
TOTAL CAPACITY (MW) | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334 | 7334
CAPACITY FACTOR | 1.043% | 0.309% | 0.309% | 0.3093% | 0.3089% | 36.04% | 39.21% | 40.71% | 36.08% | 34.37% | 18.66% | 0.3085% | 0.3082% | 0.9617% | 26.88% | 63.92% | 73.93% | 77.25% | 1.547% | 3.581%
CAPACITY FACTOR AVG | 22.8%

## W2020-2021
Wind - Coastal
HOUR ENDING | 2021-02-12 10:00 | 2021-02-12 11:00 | 2021-02-13 11:00 | 2021-02-13 12:00 | 2021-02-14 19:00 | 2021-02-14 20:00 | 2021-02-14 21:00 | 2021-02-14 22:00 | 2021-02-14 23:00 | 2021-02-15 | 2021-02-14 11:00 | 2021-02-14 12:00 | 2021-02-14 13:00 | 2021-02-14 14:00 | 2021-02-14 15:00 | 2021-02-14 16:00 | 2021-02-14 17:00 | 2021-02-14 18:00 | 2021-02-15 01:00 | 2021-02-15 02:00
ERCOT LOAD (MW) | 63866.0932 | 64022.4929 | 64271.8071 | 63727.0283 | 69754.2066 | 69811.9544 | 69415.5536 | 68544.7909 | 67294.5061 | 66376.9238 | 64255.6692 | 64906.6716 | 65091.0671 | 65089.1249 | 65253.6624 | 65620.4638 | 66526.7679 | 68154.8851 | 65856.2778 | 63993.5841
TOTAL HSL (MW) | 2416.5566 | 2348.1035 | 1416.906 | 1361.7455 | 2796.4763 | 2273.3051 | 1953.833 | 1822.6277 | 1503.4932 | 983.4256 | 1692.4546 | 1760.9625 | 1724.9042 | 2270.5598 | 2509.0152 | 2603.0288 | 2713.0022 | 2869.9136 | 865.653 | 681.3903
TOTAL CAPACITY (MW) | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579
CAPACITY FACTOR | 67.52% | 65.61% | 39.59% | 38.05% | 78.14% | 63.52% | 54.59% | 50.93% | 42.01% | 27.48% | 47.29% | 49.2% | 48.2% | 63.44% | 70.1% | 72.73% | 75.8% | 80.19% | 24.19% | 19.04%
CAPACITY FACTOR AVG | 53.88%
Wind - Panhandle
HOUR ENDING | 2021-02-12 10:00 | 2021-02-12 11:00 | 2021-02-13 11:00 | 2021-02-13 12:00 | 2021-02-14 19:00 | 2021-02-14 20:00 | 2021-02-14 21:00 | 2021-02-14 22:00 | 2021-02-14 23:00 | 2021-02-15 | 2021-02-14 11:00 | 2021-02-14 12:00 | 2021-02-14 13:00 | 2021-02-14 14:00 | 2021-02-14 15:00 | 2021-02-14 16:00 | 2021-02-14 17:00 | 2021-02-14 18:00 | 2021-02-15 01:00 | 2021-02-15 02:00
ERCOT LOAD (MW) | 63866.0932 | 64022.4929 | 64271.8071 | 63727.0283 | 69754.2066 | 69811.9544 | 69415.5536 | 68544.7909 | 67294.5061 | 66376.9238 | 64255.6692 | 64906.6716 | 65091.0671 | 65089.1249 | 65253.6624 | 65620.4638 | 66526.7679 | 68154.8851 | 65856.2778 | 63993.5841
TOTAL HSL (MW) | 482.8053 | 356.8767 | 149.1532 | 178.4886 | 1770.5326 | 1715.3767 | 1610.3739 | 1683.7816 | 1565.5135 | 1312.4633 | 2358.3738 | 2435.6307 | 2409.6421 | 2433.3789 | 2392.6446 | 2383.3092 | 2101.1802 | 1845.6734 | 1348.386 | 1418.7474
TOTAL CAPACITY (MW) | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406
CAPACITY FACTOR | 10.96% | 8.1% | 3.385% | 4.051% | 40.18% | 38.93% | 36.55% | 38.22% | 35.53% | 29.79% | 53.53% | 55.28% | 54.69% | 55.23% | 54.3% | 54.09% | 47.69% | 41.89% | 30.6% | 32.2%
CAPACITY FACTOR AVG | 36.26%
Wind - Other
HOUR ENDING | 2021-02-12 10:00 | 2021-02-12 11:00 | 2021-02-13 11:00 | 2021-02-13 12:00 | 2021-02-14 19:00 | 2021-02-14 20:00 | 2021-02-14 21:00 | 2021-02-14 22:00 | 2021-02-14 23:00 | 2021-02-15 | 2021-02-14 11:00 | 2021-02-14 12:00 | 2021-02-14 13:00 | 2021-02-14 14:00 | 2021-02-14 15:00 | 2021-02-14 16:00 | 2021-02-14 17:00 | 2021-02-14 18:00 | 2021-02-15 01:00 | 2021-02-15 02:00
ERCOT LOAD (MW) | 63866.0932 | 64022.4929 | 64271.8071 | 63727.0283 | 69754.2066 | 69811.9544 | 69415.5536 | 68544.7909 | 67294.5061 | 66376.9238 | 64255.6692 | 64906.6716 | 65091.0671 | 65089.1249 | 65253.6624 | 65620.4638 | 66526.7679 | 68154.8851 | 65856.2778 | 63993.5841
TOTAL HSL (MW) | 2409.9676 | 2007.4841 | 1240.9503 | 1049.9571 | 3186.1932 | 3093.2328 | 2938.3032 | 2592.738 | 2444.594 | 2385.3798 | 2905.9476 | 2759.4063 | 2750.6867 | 2833.0114 | 2819.3393 | 2963.9292 | 3130.3848 | 3265.128 | 2429.5536 | 2364.5813
TOTAL CAPACITY (MW) | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672 | 14672
CAPACITY FACTOR | 16.43% | 13.68% | 8.458% | 7.156% | 21.72% | 21.08% | 20.03% | 17.67% | 16.66% | 16.26% | 19.81% | 18.81% | 18.75% | 19.31% | 19.22% | 20.2% | 21.34% | 22.25% | 16.56% | 16.12%
CAPACITY FACTOR AVG | 17.57%
Solar
HOUR ENDING | 2021-02-12 10:00 | 2021-02-12 11:00 | 2021-02-13 11:00 | 2021-02-13 12:00 | 2021-02-14 19:00 | 2021-02-14 20:00 | 2021-02-14 21:00 | 2021-02-14 22:00 | 2021-02-14 23:00 | 2021-02-15 | 2021-02-14 11:00 | 2021-02-14 12:00 | 2021-02-14 13:00 | 2021-02-14 14:00 | 2021-02-14 15:00 | 2021-02-14 16:00 | 2021-02-14 17:00 | 2021-02-14 18:00 | 2021-02-15 01:00 | 2021-02-15 02:00
ERCOT LOAD (MW) | 63866.0932 | 64022.4929 | 64271.8071 | 63727.0283 | 69754.2066 | 69811.9544 | 69415.5536 | 68544.7909 | 67294.5061 | 66376.9238 | 64255.6692 | 64906.6716 | 65091.0671 | 65089.1249 | 65253.6624 | 65620.4638 | 66526.7679 | 68154.8851 | 65856.2778 | 63993.5841
TOTAL HSL (MW) | 191.9483 | 338.2279 | 446.3262 | 582.3295 | 22.0478 | 0.17234 | 0.16152 | 0.16152 | 0.16897 | 0.16152 | 313.0459 | 437.7993 | 505.118 | 596.8606 | 605.5021 | 527.9894 | 436.584 | 172.3693 | 0.16152 | 0.16152
TOTAL CAPACITY (MW) | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582 | 3582
CAPACITY FACTOR | 5.359% | 9.442% | 12.46% | 16.26% | 0.6155% | 0.004811% | 0.004509% | 0.004509% | 0.004717% | 0.004509% | 8.739% | 12.22% | 14.1% | 16.66% | 16.9% | 14.74% | 12.19% | 4.812% | 0.004509% | 0.004509%
CAPACITY FACTOR AVG | 7.227%

## W2019-2020
Wind - Coastal
HOUR ENDING | 2019-12-17 08:00 | 2019-12-18 07:00 | 2019-12-18 08:00 | 2019-12-18 09:00 | 2019-12-19 07:00 | 2019-12-19 08:00 | 2019-12-19 09:00 | 2020-02-05 19:00 | 2020-02-05 20:00 | 2020-02-05 21:00 | 2020-02-06 07:00 | 2020-02-06 08:00 | 2020-02-06 09:00 | 2020-02-14 07:00 | 2020-02-14 08:00 | 2020-02-14 09:00 | 2020-02-21 07:00 | 2020-02-21 08:00 | 2020-02-27 07:00 | 2020-02-27 08:00
ERCOT LOAD (MW) | 52940.2465 | 55052.4028 | 56080.311 | 53603.4353 | 53836.667 | 54993.5372 | 52786.6713 | 53417.3169 | 53842.5233 | 53409.6219 | 55022.7939 | 56127.6102 | 54361.7593 | 53483.7605 | 54684.6894 | 52784.0494 | 52517.8303 | 53549.7163 | 55016.38 | 55405.4167
TOTAL HSL (MW) | 2363.0304 | 927.7073 | 825.1239 | 623.0944 | 238.794 | 258.6082 | 261.0509 | 934.8664 | 822.3163 | 1705.1694 | 1384.2888 | 1203.3842 | 1044.8714 | 1179.2287 | 1106.0605 | 989.9548 | 2012.677 | 1912.2595 | 221.1966 | 156.3963
TOTAL CAPACITY (MW) | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977 | 2977
CAPACITY FACTOR | 79.38% | 31.16% | 27.72% | 20.93% | 8.021% | 8.687% | 8.769% | 31.4% | 27.62% | 57.28% | 46.5% | 40.42% | 35.1% | 39.61% | 37.15% | 33.25% | 67.61% | 64.23% | 7.43% | 5.253%
CAPACITY FACTOR AVG | 2019-12-17 08:00: 33.88%
Wind - Panhandle
HOUR ENDING | 2019-12-17 08:00 | 2019-12-18 07:00 | 2019-12-18 08:00 | 2019-12-18 09:00 | 2019-12-19 07:00 | 2019-12-19 08:00 | 2019-12-19 09:00 | 2020-02-05 19:00 | 2020-02-05 20:00 | 2020-02-05 21:00 | 2020-02-06 07:00 | 2020-02-06 08:00 | 2020-02-06 09:00 | 2020-02-14 07:00 | 2020-02-14 08:00 | 2020-02-14 09:00 | 2020-02-21 07:00 | 2020-02-21 08:00 | 2020-02-27 07:00 | 2020-02-27 08:00
ERCOT LOAD (MW) | 52940.2465 | 55052.4028 | 56080.311 | 53603.4353 | 53836.667 | 54993.5372 | 52786.6713 | 53417.3169 | 53842.5233 | 53409.6219 | 55022.7939 | 56127.6102 | 54361.7593 | 53483.7605 | 54684.6894 | 52784.0494 | 52517.8303 | 53549.7163 | 55016.38 | 55405.4167
TOTAL HSL (MW) | 1340.4788 | 1126.8609 | 1231.4523 | 1343.9837 | 3458.2774 | 3321.7089 | 3238.516 | 365.1554 | 492.7319 | 765.5464 | 1232.4693 | 1655.697 | 1794.8393 | 679.3164 | 788.1844 | 959.3313 | 1464.7264 | 1740.1477 | 2704.1404 | 2364.9562
TOTAL CAPACITY (MW) | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196
CAPACITY FACTOR | 31.95% | 26.86% | 29.35% | 32.03% | 82.42% | 79.16% | 77.18% | 8.702% | 11.74% | 18.24% | 29.37% | 39.46% | 42.78% | 16.19% | 18.78% | 22.86% | 34.91% | 41.47% | 64.45% | 56.36%
CAPACITY FACTOR AVG | 2019-12-17 08:00: 38.21%
Wind - Other
HOUR ENDING | 2019-12-17 08:00 | 2019-12-18 07:00 | 2019-12-18 08:00 | 2019-12-18 09:00 | 2019-12-19 07:00 | 2019-12-19 08:00 | 2019-12-19 09:00 | 2020-02-05 19:00 | 2020-02-05 20:00 | 2020-02-05 21:00 | 2020-02-06 07:00 | 2020-02-06 08:00 | 2020-02-06 09:00 | 2020-02-14 07:00 | 2020-02-14 08:00 | 2020-02-14 09:00 | 2020-02-21 07:00 | 2020-02-21 08:00 | 2020-02-27 07:00 | 2020-02-27 08:00
ERCOT LOAD (MW) | 52940.2465 | 55052.4028 | 56080.311 | 53603.4353 | 53836.667 | 54993.5372 | 52786.6713 | 53417.3169 | 53842.5233 | 53409.6219 | 55022.7939 | 56127.6102 | 54361.7593 | 53483.7605 | 54684.6894 | 52784.0494 | 52517.8303 | 53549.7163 | 55016.38 | 55405.4167
TOTAL HSL (MW) | 4309.1335 | 3935.393 | 3678.2113 | 3059.2594 | 6534.1542 | 6545.3863 | 6332.8509 | 2030.8542 | 2065.4005 | 2272.0592 | 2698.9428 | 2888.6196 | 2871.5015 | 2015.1949 | 1699.2389 | 1408.7663 | 1410.9338 | 1289.5079 | 7610.3889 | 8020.699
TOTAL CAPACITY (MW) | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636 | 12636
CAPACITY FACTOR | 34.1% | 31.14% | 29.11% | 24.21% | 51.71% | 51.8% | 50.12% | 16.07% | 16.35% | 17.98% | 21.36% | 22.86% | 22.72% | 15.95% | 13.45% | 11.15% | 11.17% | 10.21% | 60.23% | 63.47%
CAPACITY FACTOR AVG | 2019-12-17 08:00: 28.76%

## W2018-2019
Wind - Coastal
HOUR ENDING | 2018-12-10 08:00 | 2019-01-02 19:00 | 2019-01-02 20:00 | 2019-01-02 18:00 | 2019-01-23 08:00 | 2019-01-24 07:00 | 2019-01-24 08:00 | 2019-01-24 09:00 | 2019-01-29 08:00 | 2019-02-08 19:00 | 2019-02-08 20:00 | 2019-02-08 21:00 | 2019-02-08 07:00 | 2019-02-08 08:00 | 2019-02-08 09:00 | 2019-02-08 10:00 | 2019-02-08 11:00 | 2019-02-08 12:00 | 2019-02-08 18:00 | 2019-02-08 13:00
ERCOT LOAD (MW) | 51955.9447 | 53299.1125 | 52327.3404 | 52744.0429 | 51824.8248 | 53667.1282 | 54693.0216 | 51882.8745 | 51793.6279 | 53690.4829 | 53336.7065 | 52517.6661 | 51665.0508 | 53752.2794 | 53603.2456 | 53745.9767 | 53119.3626 | 52436.1955 | 52500.5858 | 51633.5898
TOTAL HSL (MW) | 376.5246 | 556.6256 | 364.8685 | 776.1501 | 2020.7036 | 40.7657 | 17.3915 | 1.9912 | 2010.3532 | 925.0723 | 896.6758 | 955.9919 | 1722.0667 | 1675.3594 | 1477.5766 | 1401.8837 | 1388.2655 | 1392.716 | 1003.6712 | 1379.1243
TOTAL CAPACITY (MW) | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613
CAPACITY FACTOR | 14.41% | 21.3% | 13.96% | 29.7% | 77.33% | 1.56% | 0.6656% | 0.0762% | 76.94% | 35.4% | 34.32% | 36.59% | 65.9% | 64.12% | 56.55% | 53.65% | 53.13% | 53.3% | 38.41% | 52.78%
CAPACITY FACTOR AVG | 39%
Wind - Panhandle
HOUR ENDING | 2018-12-10 08:00 | 2019-01-02 19:00 | 2019-01-02 20:00 | 2019-01-02 18:00 | 2019-01-23 08:00 | 2019-01-24 07:00 | 2019-01-24 08:00 | 2019-01-24 09:00 | 2019-01-29 08:00 | 2019-02-08 19:00 | 2019-02-08 20:00 | 2019-02-08 21:00 | 2019-02-08 07:00 | 2019-02-08 08:00 | 2019-02-08 09:00 | 2019-02-08 10:00 | 2019-02-08 11:00 | 2019-02-08 12:00 | 2019-02-08 18:00 | 2019-02-08 13:00
ERCOT LOAD (MW) | 51955.9447 | 53299.1125 | 52327.3404 | 52744.0429 | 51824.8248 | 53667.1282 | 54693.0216 | 51882.8745 | 51793.6279 | 53690.4829 | 53336.7065 | 52517.6661 | 51665.0508 | 53752.2794 | 53603.2456 | 53745.9767 | 53119.3626 | 52436.1955 | 52500.5858 | 51633.5898
TOTAL HSL (MW) | 1367.1861 | 224.3254 | 204.2197 | 131.6056 | 1737.8529 | 3151.7951 | 3182.4069 | 3048.4163 | 723.8721 | 3419.2387 | 3382.9477 | 3072.8588 | 649.6958 | 615.3797 | 578.9058 | 539.4445 | 676.7481 | 1314.7625 | 3437.847 | 2063.6437
TOTAL CAPACITY (MW) | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196
CAPACITY FACTOR | 32.58% | 5.346% | 4.867% | 3.136% | 41.42% | 75.11% | 75.84% | 72.65% | 17.25% | 81.49% | 80.62% | 73.23% | 15.48% | 14.67% | 13.8% | 12.86% | 16.13% | 31.33% | 81.93% | 49.18%
CAPACITY FACTOR AVG | 39.95%
Wind - Other
HOUR ENDING | 2018-12-10 08:00 | 2019-01-02 19:00 | 2019-01-02 20:00 | 2019-01-02 18:00 | 2019-01-23 08:00 | 2019-01-24 07:00 | 2019-01-24 08:00 | 2019-01-24 09:00 | 2019-01-29 08:00 | 2019-02-08 19:00 | 2019-02-08 20:00 | 2019-02-08 21:00 | 2019-02-08 07:00 | 2019-02-08 08:00 | 2019-02-08 09:00 | 2019-02-08 10:00 | 2019-02-08 11:00 | 2019-02-08 12:00 | 2019-02-08 18:00 | 2019-02-08 13:00
ERCOT LOAD (MW) | 51955.9447 | 53299.1125 | 52327.3404 | 52744.0429 | 51824.8248 | 53667.1282 | 54693.0216 | 51882.8745 | 51793.6279 | 53690.4829 | 53336.7065 | 52517.6661 | 51665.0508 | 53752.2794 | 53603.2456 | 53745.9767 | 53119.3626 | 52436.1955 | 52500.5858 | 51633.5898
TOTAL HSL (MW) | 1281.7128 | 378.2591 | 183.4635 | 596.5339 | 5264.7759 | 6943.0485 | 6606.5685 | 5727.1613 | 1171.2158 | 1466.6647 | 1503.4106 | 1630.4457 | 3565.3952 | 3633.8234 | 3251.0356 | 2574.2534 | 1510.5556 | 1228.3925 | 1601.2664 | 1294.0003
TOTAL CAPACITY (MW) | 11785 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811 | 11811
CAPACITY FACTOR | 10.88% | 3.203% | 1.553% | 5.051% | 44.58% | 58.78% | 55.94% | 48.49% | 9.916% | 12.42% | 12.73% | 13.8% | 30.19% | 30.77% | 27.53% | 21.8% | 12.79% | 10.4% | 13.56% | 10.96%
CAPACITY FACTOR AVG | 21.77%

## W2017-2018
Wind - Coastal
HOUR ENDING | 2018-01-02 19:00 | 2018-01-02 20:00 | 2018-01-02 21:00 | 2018-01-03 07:00 | 2018-01-03 08:00 | 2018-01-03 09:00 | 2018-01-16 19:00 | 2018-01-16 20:00 | 2018-01-16 21:00 | 2018-01-16 22:00 | 2018-01-16 11:00 | 2018-01-16 12:00 | 2018-01-16 13:00 | 2018-01-16 18:00 | 2018-01-17 06:00 | 2018-01-17 07:00 | 2018-01-17 08:00 | 2018-01-17 09:00 | 2018-01-17 10:00 | 2018-01-18 08:00
ERCOT LOAD (MW) | 61964.13 | 61796.0601 | 61138.4242 | 61862.5464 | 62896.689 | 61358.6846 | 63223.1891 | 63529.244 | 62920.8759 | 61459.5274 | 60946.9695 | 61143.8552 | 60794.3469 | 60912.8622 | 61305.0981 | 64670.549 | 65914.6978 | 64762.5174 | 62818.8935 | 61386.7152
TOTAL HSL (MW) | 2224.4656 | 2157.7669 | 2054.0133 | 908.3929 | 776.0212 | 581.7767 | 1289.352 | 1184.7636 | 1043.6367 | 1030.8569 | 2280.2775 | 2177.5406 | 2032.4941 | 1448.7749 | 1170.4243 | 1055.8092 | 997.7694 | 977.5755 | 908.3327 | 712.037
TOTAL CAPACITY (MW) | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613
CAPACITY FACTOR | 85.13% | 82.58% | 78.61% | 34.76% | 29.7% | 22.26% | 49.34% | 45.34% | 39.94% | 39.45% | 87.27% | 83.33% | 77.78% | 55.44% | 44.79% | 40.41% | 38.18% | 37.41% | 34.76% | 27.25%
CAPACITY FACTOR AVG | 51.69%
Wind - Panhandle
HOUR ENDING | 2018-01-02 19:00 | 2018-01-02 20:00 | 2018-01-02 21:00 | 2018-01-03 07:00 | 2018-01-03 08:00 | 2018-01-03 09:00 | 2018-01-16 19:00 | 2018-01-16 20:00 | 2018-01-16 21:00 | 2018-01-16 22:00 | 2018-01-16 11:00 | 2018-01-16 12:00 | 2018-01-16 13:00 | 2018-01-16 18:00 | 2018-01-17 06:00 | 2018-01-17 07:00 | 2018-01-17 08:00 | 2018-01-17 09:00 | 2018-01-17 10:00 | 2018-01-18 08:00
ERCOT LOAD (MW) | 61964.13 | 61796.0601 | 61138.4242 | 61862.5464 | 62896.689 | 61358.6846 | 63223.1891 | 63529.244 | 62920.8759 | 61459.5274 | 60946.9695 | 61143.8552 | 60794.3469 | 60912.8622 | 61305.0981 | 64670.549 | 65914.6978 | 64762.5174 | 62818.8935 | 61386.7152
TOTAL HSL (MW) | 68.0921 | 52.0613 | 162.5266 | 2662.3574 | 2320.0486 | 1773.9351 | 83.6935 | 154.8878 | 432.3685 | 802.5516 | 1015.6592 | 758.6872 | 605.9707 | 54.7242 | 3253.761 | 3214.4752 | 3128.5663 | 2937.5655 | 2205.8453 | 2713.0474
TOTAL CAPACITY (MW) | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196
CAPACITY FACTOR | 1.623% | 1.241% | 3.873% | 63.45% | 55.29% | 42.28% | 1.995% | 3.691% | 10.3% | 19.13% | 24.21% | 18.08% | 14.44% | 1.304% | 77.54% | 76.61% | 74.56% | 70.01% | 52.57% | 64.66%
CAPACITY FACTOR AVG | 33.84%
Wind - Other
HOUR ENDING | 2018-01-02 19:00 | 2018-01-02 20:00 | 2018-01-02 21:00 | 2018-01-03 07:00 | 2018-01-03 08:00 | 2018-01-03 09:00 | 2018-01-16 19:00 | 2018-01-16 20:00 | 2018-01-16 21:00 | 2018-01-16 22:00 | 2018-01-16 11:00 | 2018-01-16 12:00 | 2018-01-16 13:00 | 2018-01-16 18:00 | 2018-01-17 06:00 | 2018-01-17 07:00 | 2018-01-17 08:00 | 2018-01-17 09:00 | 2018-01-17 10:00 | 2018-01-18 08:00
ERCOT LOAD (MW) | 61964.13 | 61796.0601 | 61138.4242 | 61862.5464 | 62896.689 | 61358.6846 | 63223.1891 | 63529.244 | 62920.8759 | 61459.5274 | 60946.9695 | 61143.8552 | 60794.3469 | 60912.8622 | 61305.0981 | 64670.549 | 65914.6978 | 64762.5174 | 62818.8935 | 61386.7152
TOTAL HSL (MW) | 1176.35 | 1312.5614 | 1370.1355 | 3882.4195 | 4339.9462 | 3719.4732 | 974.287 | 992.4534 | 863.5685 | 847.4088 | 4068.9172 | 3467.7437 | 3028.685 | 1164.8074 | 777.6995 | 822.4444 | 844.5536 | 922.4213 | 619.5845 | 1837.7176
TOTAL CAPACITY (MW) | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576 | 10576
CAPACITY FACTOR | 11.12% | 12.41% | 12.96% | 36.71% | 41.04% | 35.17% | 9.212% | 9.384% | 8.165% | 8.013% | 38.47% | 32.79% | 28.64% | 11.01% | 7.353% | 7.777% | 7.986% | 8.722% | 5.858% | 17.38%
CAPACITY FACTOR AVG | 17.51%

## W2016-2017
Wind - Coastal
HOUR ENDING | 2016-12-19 07:00 | 2016-12-19 08:00 | 2016-12-19 09:00 | 2016-12-19 10:00 | 2017-01-06 19:00 | 2017-01-06 20:00 | 2017-01-06 21:00 | 2017-01-06 22:00 | 2017-01-06 23:00 | 2017-01-06 11:00 | 2017-01-06 12:00 | 2017-01-06 16:00 | 2017-01-06 17:00 | 2017-01-06 18:00 | 2017-01-07 06:00 | 2017-01-07 07:00 | 2017-01-07 08:00 | 2017-01-07 09:00 | 2017-01-07 10:00 | 2017-01-07 11:00
ERCOT LOAD (MW) | 56337.4495 | 57932.3555 | 57318.8303 | 55891.0695 | 59649.9652 | 59395.6479 | 58943.2194 | 57958.0009 | 56169.1602 | 55034.1244 | 54931.8289 | 55127.9112 | 56055.5752 | 57852.8115 | 55593.5565 | 57218.2407 | 58697.6289 | 58826.9454 | 57532.4547 | 55292.223
TOTAL HSL (MW) | 1179.2191 | 1046.2776 | 1032.1985 | 936.0439 | 1887.8352 | 1902.6223 | 1864.554 | 1835.9171 | 1833.0583 | 1775.8136 | 1742.3701 | 1746.2108 | 1794.0693 | 1860.3309 | 1676.5169 | 1615.0981 | 1620.2855 | 1754.5976 | 1724.3394 | 1493.5708
TOTAL CAPACITY (MW) | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041 | 2041
CAPACITY FACTOR | 57.78% | 51.26% | 50.57% | 45.86% | 92.5% | 93.22% | 91.35% | 89.95% | 89.81% | 87.01% | 85.37% | 85.56% | 87.9% | 91.15% | 82.14% | 79.13% | 79.39% | 85.97% | 84.49% | 73.18%
CAPACITY FACTOR AVG | 79.18%
Wind - Panhandle
HOUR ENDING | 2016-12-19 07:00 | 2016-12-19 08:00 | 2016-12-19 09:00 | 2016-12-19 10:00 | 2017-01-06 19:00 | 2017-01-06 20:00 | 2017-01-06 21:00 | 2017-01-06 22:00 | 2017-01-06 23:00 | 2017-01-06 11:00 | 2017-01-06 12:00 | 2017-01-06 16:00 | 2017-01-06 17:00 | 2017-01-06 18:00 | 2017-01-07 06:00 | 2017-01-07 07:00 | 2017-01-07 08:00 | 2017-01-07 09:00 | 2017-01-07 10:00 | 2017-01-07 11:00
ERCOT LOAD (MW) | 56337.4495 | 57932.3555 | 57318.8303 | 55891.0695 | 59649.9652 | 59395.6479 | 58943.2194 | 57958.0009 | 56169.1602 | 55034.1244 | 54931.8289 | 55127.9112 | 56055.5752 | 57852.8115 | 55593.5565 | 57218.2407 | 58697.6289 | 58826.9454 | 57532.4547 | 55292.223
TOTAL HSL (MW) | 1239.5367 | 1134.4588 | 1051.4147 | 741.6141 | 376.6936 | 537.0859 | 646.8401 | 712.1642 | 985.4305 | 293.928 | 461.7211 | 751.749 | 464.6051 | 328.7313 | 1174.6788 | 1043.5277 | 895.793 | 730.5674 | 544.8114 | 237.6593
TOTAL CAPACITY (MW) | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428 | 3428
CAPACITY FACTOR | 36.16% | 33.09% | 30.67% | 21.63% | 10.99% | 15.67% | 18.87% | 20.77% | 28.75% | 8.574% | 13.47% | 21.93% | 13.55% | 9.59% | 34.27% | 30.44% | 26.13% | 21.31% | 15.89% | 6.933%
CAPACITY FACTOR AVG | 20.93%
Wind - Other
HOUR ENDING | 2016-12-19 07:00 | 2016-12-19 08:00 | 2016-12-19 09:00 | 2016-12-19 10:00 | 2017-01-06 19:00 | 2017-01-06 20:00 | 2017-01-06 21:00 | 2017-01-06 22:00 | 2017-01-06 23:00 | 2017-01-06 11:00 | 2017-01-06 12:00 | 2017-01-06 16:00 | 2017-01-06 17:00 | 2017-01-06 18:00 | 2017-01-07 06:00 | 2017-01-07 07:00 | 2017-01-07 08:00 | 2017-01-07 09:00 | 2017-01-07 10:00 | 2017-01-07 11:00
ERCOT LOAD (MW) | 56337.4495 | 57932.3555 | 57318.8303 | 55891.0695 | 59649.9652 | 59395.6479 | 58943.2194 | 57958.0009 | 56169.1602 | 55034.1244 | 54931.8289 | 55127.9112 | 56055.5752 | 57852.8115 | 55593.5565 | 57218.2407 | 58697.6289 | 58826.9454 | 57532.4547 | 55292.223
TOTAL HSL (MW) | 647.1245 | 560.7202 | 458.572 | 287.3067 | 2138.1732 | 2073.8444 | 1762.5562 | 1539.8151 | 1287.2699 | 3204.892 | 3187.4167 | 3572.4425 | 3275.6707 | 2901.3495 | 1040.5981 | 913.0983 | 916.8316 | 807.0298 | 660.7538 | 482.4362
TOTAL CAPACITY (MW) | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736 | 8736
CAPACITY FACTOR | 7.408% | 6.419% | 5.249% | 3.289% | 24.48% | 23.74% | 20.18% | 17.63% | 14.74% | 36.69% | 36.49% | 40.89% | 37.5% | 33.21% | 11.91% | 10.45% | 10.49% | 9.238% | 7.564% | 5.522%
CAPACITY FACTOR AVG | 18.15%

## W2015-2016
Wind - Coastal
HOUR ENDING | 2016-01-05 08:00 | 2016-01-11 07:00 | 2016-01-11 08:00 | 2016-01-11 09:00 | 2016-01-11 10:00 | 2016-01-12 07:00 | 2016-01-12 08:00 | 2016-01-18 08:00 | 2016-01-18 09:00 | 2016-01-22 07:00 | 2016-01-22 08:00 | 2016-01-22 09:00 | 2016-01-23 09:00 | 2016-01-27 08:00 | 2016-01-28 07:00 | 2016-01-28 08:00 | 2016-02-04 07:00 | 2016-02-04 08:00 | 2016-02-05 07:00 | 2016-02-05 08:00
ERCOT LOAD (MW) | 46989.1332 | 47982.0983 | 49262.1876 | 47705.662 | 46169.0383 | 46968.6559 | 48100.8315 | 46511.7974 | 46137.3761 | 46367.1093 | 47932.4845 | 46583.3941 | 46493.6058 | 47028.3933 | 47616.5025 | 48640.8975 | 46223.832 | 47416.235 | 46403.0302 | 47380.1973
TOTAL HSL (MW) | 650.2256 | 269.5464 | 296.7867 | 281.2783 | 236.4633 | 243.7408 | 298.3922 | 303.5763 | 231.8421 | 543.2241 | 725.1018 | 726.2799 | 171.486 | 1374.4671 | 247.3567 | 129.0122 | 853.3751 | 839.3037 | 475.9497 | 499.3804
TOTAL CAPACITY (MW) | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674
CAPACITY FACTOR | 38.84% | 16.1% | 17.73% | 16.8% | 14.13% | 14.56% | 17.83% | 18.13% | 13.85% | 32.45% | 43.32% | 43.39% | 10.24% | 82.11% | 14.78% | 7.707% | 50.98% | 50.14% | 28.43% | 29.83%
CAPACITY FACTOR AVG | 2016-01-05 08:00: 28.07%
Wind - Panhandle
HOUR ENDING | 2016-01-05 08:00 | 2016-01-11 07:00 | 2016-01-11 08:00 | 2016-01-11 09:00 | 2016-01-11 10:00 | 2016-01-12 07:00 | 2016-01-12 08:00 | 2016-01-18 08:00 | 2016-01-18 09:00 | 2016-01-22 07:00 | 2016-01-22 08:00 | 2016-01-22 09:00 | 2016-01-23 09:00 | 2016-01-27 08:00 | 2016-01-28 07:00 | 2016-01-28 08:00 | 2016-02-04 07:00 | 2016-02-04 08:00 | 2016-02-05 07:00 | 2016-02-05 08:00
ERCOT LOAD (MW) | 46989.1332 | 47982.0983 | 49262.1876 | 47705.662 | 46169.0383 | 46968.6559 | 48100.8315 | 46511.7974 | 46137.3761 | 46367.1093 | 47932.4845 | 46583.3941 | 46493.6058 | 47028.3933 | 47616.5025 | 48640.8975 | 46223.832 | 47416.235 | 46403.0302 | 47380.1973
TOTAL HSL (MW) | 1786.245 | 404.9059 | 359.4309 | 260.2586 | 174.8508 | 1169.2801 | 1008.773 | 23.6253 | 20.4979 | 1032.1528 | 917.5643 | 766.7074 | 1833.913 | 1015.3648 | 546.2688 | 436.4017 | 319.1747 | 396.6478 | 2341.9479 | 2022.7334
TOTAL CAPACITY (MW) | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670 | 2670
CAPACITY FACTOR | 66.9% | 15.17% | 13.46% | 9.748% | 6.549% | 43.79% | 37.78% | 0.8848% | 0.7677% | 38.66% | 34.37% | 28.72% | 68.69% | 38.03% | 20.46% | 16.34% | 11.95% | 14.86% | 87.71% | 75.76%
CAPACITY FACTOR AVG | 2016-01-05 08:00: 31.53%
Wind - Other
HOUR ENDING | 2016-01-05 08:00 | 2016-01-11 07:00 | 2016-01-11 08:00 | 2016-01-11 09:00 | 2016-01-11 10:00 | 2016-01-12 07:00 | 2016-01-12 08:00 | 2016-01-18 08:00 | 2016-01-18 09:00 | 2016-01-22 07:00 | 2016-01-22 08:00 | 2016-01-22 09:00 | 2016-01-23 09:00 | 2016-01-27 08:00 | 2016-01-28 07:00 | 2016-01-28 08:00 | 2016-02-04 07:00 | 2016-02-04 08:00 | 2016-02-05 07:00 | 2016-02-05 08:00
ERCOT LOAD (MW) | 46989.1332 | 47982.0983 | 49262.1876 | 47705.662 | 46169.0383 | 46968.6559 | 48100.8315 | 46511.7974 | 46137.3761 | 46367.1093 | 47932.4845 | 46583.3941 | 46493.6058 | 47028.3933 | 47616.5025 | 48640.8975 | 46223.832 | 47416.235 | 46403.0302 | 47380.1973
TOTAL HSL (MW) | 3000.3024 | 1375.9217 | 1618.0559 | 1508.6865 | 1082.2163 | 781.9178 | 831.6295 | 395.8634 | 278.132 | 3874.9914 | 3523.1659 | 3208.2744 | 3045.675 | 608.7184 | 3051.2776 | 2489.5004 | 503.4795 | 509.2211 | 5985.388 | 6140.8868
TOTAL CAPACITY (MW) | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619 | 7619
CAPACITY FACTOR | 39.38% | 18.06% | 21.24% | 19.8% | 14.2% | 10.26% | 10.92% | 5.196% | 3.651% | 50.86% | 46.24% | 42.11% | 39.97% | 7.989% | 40.05% | 32.67% | 6.608% | 6.684% | 78.56% | 80.6%
CAPACITY FACTOR AVG | 2016-01-05 08:00: 28.75%

## W2014-2015
Wind - Coastal
HOUR ENDING | 2015-01-05 08:00 | 2015-01-08 20:00 | 2015-01-08 07:00 | 2015-01-08 08:00 | 2015-01-08 09:00 | 2015-01-08 10:00 | 2015-01-08 11:00 | 2015-01-09 19:00 | 2015-01-09 20:00 | 2015-02-23 19:00 | 2015-02-23 20:00 | 2015-02-23 21:00 | 2015-02-23 22:00 | 2015-02-23 18:00 | 2015-02-24 08:00 | 2015-02-24 09:00 | 2015-02-24 10:00 | 2015-02-27 19:00 | 2015-02-27 20:00 | 2015-02-27 08:00
ERCOT LOAD (MW) | 52269.4364 | 51589.8327 | 55802.6945 | 56847.5024 | 54925.9456 | 53392.805 | 51834.6085 | 52457.9085 | 51757.2856 | 54549.7256 | 54520.6771 | 53522.8363 | 51662.0431 | 52885.555 | 51867.8324 | 51719.0412 | 51615.1428 | 52141.4653 | 52188.272 | 51585.1719
TOTAL HSL (MW) | 341.8465 | 60.032 | 1113.5661 | 990.5028 | 834.9975 | 668.6153 | 540.9037 | 1370.4537 | 1377.4149 | 857.8301 | 724.1704 | 683.2125 | 625.7756 | 1017.0438 | 402.9287 | 371.1559 | 302.1193 | 562.505 | 530.145 | 693.8788
TOTAL CAPACITY (MW) | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674
CAPACITY FACTOR | 20.42% | 3.586% | 66.52% | 59.17% | 49.88% | 39.94% | 32.31% | 81.87% | 82.28% | 51.24% | 43.26% | 40.81% | 37.38% | 60.76% | 24.07% | 22.17% | 18.05% | 33.6% | 31.67% | 41.45%
CAPACITY FACTOR AVG | 42.02%
Wind - Panhandle
HOUR ENDING | 2015-01-05 08:00 | 2015-01-08 20:00 | 2015-01-08 07:00 | 2015-01-08 08:00 | 2015-01-08 09:00 | 2015-01-08 10:00 | 2015-01-08 11:00 | 2015-01-09 19:00 | 2015-01-09 20:00 | 2015-02-23 19:00 | 2015-02-23 20:00 | 2015-02-23 21:00 | 2015-02-23 22:00 | 2015-02-23 18:00 | 2015-02-24 08:00 | 2015-02-24 09:00 | 2015-02-24 10:00 | 2015-02-27 19:00 | 2015-02-27 20:00 | 2015-02-27 08:00
ERCOT LOAD (MW) | 52269.4364 | 51589.8327 | 55802.6945 | 56847.5024 | 54925.9456 | 53392.805 | 51834.6085 | 52457.9085 | 51757.2856 | 54549.7256 | 54520.6771 | 53522.8363 | 51662.0431 | 52885.555 | 51867.8324 | 51719.0412 | 51615.1428 | 52141.4653 | 52188.272 | 51585.1719
TOTAL HSL (MW) | 657.8634 | 569.8259 | 712.4332 | 743.4617 | 751.8387 | 748.9322 | 740.5719 | 35.3088 | 42.1392 | 4.7592 | 17.4989 | 35.6006 | 20.6883 | 1 | 100.7787 | 130.9749 | 162.4714 | 184.3633 | 188.3187 | 189.534
TOTAL CAPACITY (MW) | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777 | 777
CAPACITY FACTOR | 84.67% | 73.34% | 91.69% | 95.68% | 96.76% | 96.39% | 95.31% | 4.544% | 5.423% | 0.6125% | 2.252% | 4.582% | 2.663% | 0.1287% | 12.97% | 16.86% | 20.91% | 23.73% | 24.24% | 24.39%
CAPACITY FACTOR AVG | 38.86%
Wind - Other
HOUR ENDING | 2015-01-05 08:00 | 2015-01-08 20:00 | 2015-01-08 07:00 | 2015-01-08 08:00 | 2015-01-08 09:00 | 2015-01-08 10:00 | 2015-01-08 11:00 | 2015-01-09 19:00 | 2015-01-09 20:00 | 2015-02-23 19:00 | 2015-02-23 20:00 | 2015-02-23 21:00 | 2015-02-23 22:00 | 2015-02-23 18:00 | 2015-02-24 08:00 | 2015-02-24 09:00 | 2015-02-24 10:00 | 2015-02-27 19:00 | 2015-02-27 20:00 | 2015-02-27 08:00
ERCOT LOAD (MW) | 52269.4364 | 51589.8327 | 55802.6945 | 56847.5024 | 54925.9456 | 53392.805 | 51834.6085 | 52457.9085 | 51757.2856 | 54549.7256 | 54520.6771 | 53522.8363 | 51662.0431 | 52885.555 | 51867.8324 | 51719.0412 | 51615.1428 | 52141.4653 | 52188.272 | 51585.1719
TOTAL HSL (MW) | 1739.2881 | 2601.3937 | 453.9997 | 969.4923 | 1100.5331 | 1280.5608 | 1837.0072 | 962.9193 | 685.927 | 88.4924 | 89.1029 | 53.4378 | 55.574 | 134.7935 | 23.1781 | 20.2719 | 16.4011 | 464.1492 | 382.9482 | 1077.2758
TOTAL CAPACITY (MW) | 6247 | 6247 | 6247 | 6247 | 6247 | 6247 | 6247 | 6247 | 6247 | 6241 | 6241 | 6241 | 6241 | 6241 | 6241 | 6241 | 6241 | 6241 | 6241 | 6241
CAPACITY FACTOR | 27.84% | 41.64% | 7.267% | 15.52% | 17.62% | 20.5% | 29.41% | 15.41% | 10.98% | 1.418% | 1.428% | 0.8562% | 0.8905% | 2.16% | 0.3714% | 0.3248% | 0.2628% | 7.437% | 6.136% | 17.26%
CAPACITY FACTOR AVG | 11.24%