## Declaration of Preparedness
NOTE: The only authorized modification to this document is adding new rows. Other modifications will result in ERCOT rejecting the document and requiring you to resubmit it. Instructions: • Every row requires a response. • Existing rows cannot be deleted. • Rows can be added by right-clicking on the row number and selecting “Insert”.
Appendix A: Winter - Generation Entity Declaration of Weatherization Preparedness
Generation Entity: <generation_entity>
Generation Resource | If a Resource is not covered by this declaration, please indicate the reason below. | By December 1, 2024 this resource has been fully commissioned? (Y/N) | Design Basis Cold Temperature (°F) | Design Basis Wind Speed (mph) | Minimum Experienced Ambient Temperature (°F) | Activities to Complete the Requirements of 16 TAC §25.55(c)(1) | Comments

## FieldData (hidden)
Exception Reason
Resource in Scheduled Outage as of December 1
Resource Operations Suspended as of December 1
Resource Has Not Completed Step 3 of Commissioning Process as of December 1
Winter Weather Readiness Not Complete
Fully Commissioned Choices
Yes
No