## Slide 1: Operations Working Group Meeting Notes
Chair- Rickey Floyd
Vice-Chair- Tyler Springer
HITE List Sub-Chair – Pushkar Chhajed
05/16/2024

## Slide 2: ERCOT Updates and System Operation Report
Unofficial Peaks Reported by ERCOT
May Peak Demand – 77,122 MW 5/27 HE 1700 (May, 2023 Peak 68,169).
May Solar Penetration – 19,387 MW 5/18 11:40

## Slide 3: Texas Reliability Entity Report
NERC alert from June 4th on Inverter-Based Resources Model Quality Deficiencies was acknowledged by 99% of the participants in Texas
NERC Annual Report is posted on the NERC website
NERC is requesting participants to the join the National Standards Group

## Slide 4: NOGRR262 – Provisions for Operator Controlled Load Shed
Golden Spread Provided Overview of Comments Filed on 5/30/2024
  Added the phrase “by the TO and/or TDSP(s)” to address the situation where several of GSEC’s individual member Transmission and/or Distribution Service Provider (TDSP) cooperatives do not have Supervisory Control and Data Acquisition (SCADA) control for Load shed.
  AEP raised concerns that the term “should” still didn’t provide enough flexibility to use commercial load that is SCADA controllable by the customer.
  OWG made desk top edits to paragraph (7)(a) “SCADA-controlled Load shed is preferred to be utilized by the TO and/or TDSP…”
  OWG reach consensus on the desk top edits made on 6/20/2024 and will formally submit these comments with OWG endorsement.

## Slide 5: NPRR 1221 – Related to NOGRR262
OWG reached consensus and endorses the comments filed on 3/20/2024

## Slide 6: NPRR 1070 - Planning Criteria for GTC Exit Solutions
ERCOT is currently still working with PUC staff to finalize the language on the congestion cost savings criteria, and does not have a specific timeline on the posting yet.
Remains tabled at OWG.

## Slide 7: OTWG Update
No Update from OTWG

## Slide 8: HITE List Reminder
Sent email reminder for HITE list timeline for private and public submission.

## Slide 9: Other Business
None.