## Slide 1: DSWG REVIEW
DSWG meeting occurred on June 21
We covered three topics
Goals and Future
  Discussed possibly having an update revolving other groups like Large Flexible load
Presentation from Floyd Trefny about NPRR 1226 – Demand Response Monitor
  The Large Flexible Load Task Force has reviewed the need for this monitor and has recommended that the aggregate of the total response being observed be published on the ERCOT website
  NPRR 1226 requires ERCOT to publish the aggregate demand response from each SCED run for the last two hours in graphical format including SCED LMPs
Market Participants thought this was essential for future
Chart: Demand Response Monitor
| 120 | 115 | 110 | 105 | 100 | 95 | 90 | 85 | 80 | 75 | 70 | 65 | 60 | 55 | 50 | 45 | 40 | 35 | 30 | 25 | 20 | 15 | 10 | 5
Demand Response | 2 | 3.22 | 0.87835 | 0 | 50 | 30 | 40 | 60 | 122.6146 | 132.4155 | 149.77 | 163.1 | 189.21 | 214.21 | 208.1 | 210.24 | 243.44 | 280.75 | 348 | 575 | 775 | 879 | 863.77 | 914
System LMP | 50 | 52 | 51.22 | 49.6584 | 49.2 | 50.8328 | 53.8216 | 57.88 | 60.4191 | 62.1955 | 70.22 | 79.55 | 83.55 | 105.66 | 108.55 | 99.55 | 110.69 | 132.75 | 148 | 200 | 375 | 400 | 479 | 384.77

## Slide 2: NPRR1217 Remove VDI Requirement for Deployment and Recall of Load Resources and ERS Resources
Once approved NPRR1217 will be implemented on December 1, 2024
The only change for LRs is the removal of the VDI for those LR services (ECRS and RRS) that currently receive a VDI.
For ERS Resources with multiple “test portfolios”
  Test portfolios will be renamed “GROUP_NUMBER: #”
  When an XML message with the GROUP_TYPE: t is received than the GROUP_NUMBER will indicate which group is being tested.
  CM-ASM-NOTF AS_TYPE: ERS, QSE_NAME: QWXYZ, RAMP_TYPE: 10 , GROUP_NUMBER: 3, GROUP_TYPE: t , WS_TYPE: NON-WS , DEPLOY_MW: 0.0, BUSINESS_HOUR: TP1, BEGIN_TIME: 2014-09-03 11:46:01;
**Testing XML functionality ahead of implementing NPRR1217.
  By end of July information regarding required QSE XML testing will be sent out.