## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for June 2024

## Slide 2: Non-IRR GREDP < 85% – June 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 383 | 1,051 | 1,331 | 2.94 | 78.96
Unit 442 | 204 | 314 | 2.89 | 64.97

## Slide 3: IRR Summary – June 2024
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 86.71 | 74.27 | 81.95
GREDP Median (%) | 95.51 | 84.31 | 87.16
Average MW Error | 5.90 | 6.38 | 6.19
Median MW Error | 5.12 | 5.77 | 5.89
Total Intervals Scored | 74,997 | 36,045 | 34,314
100+ Intervals Scored | 123 | 254 | 71
Total Intervals Scored Average | 198.40 | 255.64 | 483.30

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,364 | 2,455 | 5.98 | 96.29
Unit 3 | 2,019 | 2,023 | 5.48 | 99.80
Unit 4 | 1,899 | 1,949 | 5.80 | 97.43
Unit 5 | 1,683 | 1,744 | 5.81 | 96.50
Unit 8 | 1,300 | 1,310 | 1.88 | 99.24
Unit 9 | 1,250 | 1,261 | 2.52 | 99.13
Unit 10 | 1,186 | 1,238 | 2.48 | 95.80
Unit 11 | 1,178 | 1,189 | 4.02 | 99.07
Unit 12 | 1,126 | 1,144 | 5.53 | 98.43
Unit 13 | 1,040 | 1,080 | 2.67 | 96.30
Unit 14 | 1,067 | 1,074 | 9.70 | 99.35
Unit 18 | 1,040 | 1,041 | 6.10 | 99.90
Unit 19 | 962 | 965 | 3.21 | 99.69
Unit 20 | 937 | 965 | 7.45 | 97.10
Unit 22 | 915 | 931 | 4.93 | 98.28
Unit 23 | 884 | 926 | 4.43 | 95.46
Unit 25 | 857 | 861 | 7.04 | 99.54
Unit 26 | 820 | 824 | 4.19 | 99.51
Unit 28 | 744 | 761 | 10.71 | 97.77

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 33 | 713 | 715 | 10.52 | 99.72
Unit 35 | 661 | 692 | 2.54 | 95.52
Unit 36 | 654 | 673 | 4.07 | 97.18
Unit 37 | 637 | 662 | 9.48 | 96.22
Unit 40 | 632 | 651 | 4.98 | 97.08
Unit 42 | 623 | 635 | 5.68 | 98.11
Unit 43 | 613 | 624 | 3.08 | 98.24
Unit 44 | 605 | 624 | 4.81 | 96.96
Unit 46 | 590 | 602 | 1.46 | 98.01
Unit 48 | 596 | 596 | 2.39 | 100.00
Unit 49 | 569 | 595 | 2.57 | 95.63
Unit 51 | 567 | 577 | 0.88 | 98.27
Unit 57 | 524 | 529 | 5.74 | 99.05
Unit 59 | 520 | 527 | 6.95 | 98.67
Unit 64 | 474 | 490 | 11.93 | 96.73
Unit 65 | 488 | 489 | 6.69 | 99.80
Unit 68 | 444 | 460 | 13.46 | 96.52
Unit 69 | 410 | 428 | 9.20 | 95.79
Unit 77 | 336 | 345 | 7.85 | 97.39

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 78 | 325 | 336 | 3.92 | 96.73
Unit 79 | 331 | 333 | 6.23 | 99.40
Unit 84 | 271 | 282 | 6.21 | 96.10
Unit 89 | 257 | 261 | 3.44 | 98.47
Unit 96 | 208 | 216 | 2.35 | 96.30
Unit 99 | 204 | 208 | 3.79 | 98.08
Unit 102 | 201 | 205 | 7.03 | 98.05
Unit 106 | 185 | 189 | 2.92 | 97.88
Unit 111 | 156 | 160 | 2.59 | 97.50
Unit 112 | 158 | 159 | 4.50 | 99.37
Unit 114 | 154 | 154 | 6.78 | 100.00
Unit 116 | 139 | 146 | 3.33 | 95.21
Unit 119 | 123 | 123 | 2.90 | 100.00
Unit 123 | 95 | 100 | 1.98 | 95.00

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – June 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 1,996 | 2,215 | 4.63 | 90.11
Unit 6 | 1,468 | 1,591 | 2.66 | 92.27
Unit 7 | 1,358 | 1,496 | 2.05 | 90.78
Unit 15 | 962 | 1,059 | 5.89 | 90.84
Unit 16 | 795 | 1,056 | 8.77 | 75.28
Unit 17 | 914 | 1,046 | 3.23 | 87.38
Unit 21 | 846 | 963 | 7.31 | 87.85
Unit 24 | 812 | 915 | 7.17 | 88.74
Unit 27 | 426 | 785 | 7.80 | 54.27
Unit 29 | 684 | 755 | 7.44 | 90.60
Unit 30 | 565 | 749 | 5.21 | 75.43
Unit 31 | 623 | 742 | 8.96 | 83.96
Unit 32 | 665 | 739 | 5.92 | 89.99
Unit 34 | 522 | 712 | 6.73 | 73.31
Unit 38 | 584 | 652 | 6.73 | 89.57
Unit 39 | 569 | 652 | 4.00 | 87.27
Unit 41 | 558 | 639 | 9.12 | 87.32
Unit 45 | 558 | 608 | 4.21 | 91.78
Unit 47 | 195 | 600 | 2.79 | 32.50

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – June 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 50 | 536 | 581 | 7.41 | 92.25
Unit 52 | 547 | 576 | 9.10 | 94.97
Unit 53 | 498 | 563 | 1.03 | 88.45
Unit 54 | 520 | 561 | 4.92 | 92.69
Unit 55 | 490 | 546 | 6.15 | 89.74
Unit 56 | 459 | 533 | 13.81 | 86.12
Unit 58 | 316 | 528 | 4.30 | 59.85
Unit 60 | 455 | 524 | 3.66 | 86.83
Unit 61 | 480 | 522 | 3.87 | 91.95
Unit 62 | 477 | 519 | 2.59 | 91.91
Unit 63 | 452 | 507 | 1.18 | 89.15
Unit 66 | 47 | 488 | 2.91 | 9.63
Unit 67 | 385 | 461 | 6.42 | 83.51
Unit 70 | 331 | 380 | 7.76 | 87.11
Unit 71 | 284 | 377 | 3.82 | 75.33
Unit 72 | 286 | 374 | 3.36 | 76.47
Unit 73 | 347 | 374 | 10.41 | 92.78
Unit 74 | 319 | 366 | 2.07 | 87.16
Unit 75 | 272 | 361 | 16.53 | 75.35

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – June 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 76 | 270 | 352 | 4.27 | 76.70
Unit 80 | 200 | 326 | 8.04 | 61.35
Unit 81 | 298 | 319 | 6.54 | 93.42
Unit 82 | 283 | 314 | 12.50 | 90.13
Unit 83 | 268 | 310 | 3.74 | 86.45
Unit 85 | 201 | 277 | 2.81 | 72.56
Unit 86 | 246 | 277 | 14.57 | 88.81
Unit 87 | 240 | 267 | 2.74 | 89.89
Unit 88 | 209 | 266 | 1.52 | 78.57
Unit 90 | 214 | 259 | 6.85 | 82.63
Unit 91 | 185 | 257 | 4.83 | 71.98
Unit 92 | 208 | 248 | 6.71 | 83.87
Unit 93 | 119 | 241 | 7.95 | 49.38
Unit 94 | 196 | 226 | 3.82 | 86.73
Unit 95 | 198 | 218 | 6.19 | 90.83
Unit 97 | 184 | 215 | 5.36 | 85.58
Unit 98 | 198 | 209 | 18.61 | 94.74
Unit 100 | 194 | 208 | 3.83 | 93.27
Unit 101 | 175 | 208 | 8.94 | 84.13

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – June 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 103 | 183 | 204 | 2.38 | 89.71
Unit 104 | 164 | 192 | 10.07 | 85.42
Unit 105 | 151 | 191 | 9.60 | 79.06
Unit 107 | 116 | 183 | 11.10 | 63.39
Unit 108 | 134 | 177 | 2.19 | 75.71
Unit 109 | 160 | 171 | 10.80 | 93.57
Unit 110 | 117 | 170 | 3.49 | 68.82
Unit 113 | 140 | 156 | 3.86 | 89.74
Unit 115 | 98 | 147 | 5.09 | 66.67
Unit 117 | 110 | 138 | 5.65 | 79.71
Unit 118 | 101 | 133 | 6.52 | 75.94
Unit 120 | 108 | 119 | 8.76 | 90.76
Unit 121 | 107 | 114 | 2.18 | 93.86
Unit 122 | 101 | 107 | 6.39 | 94.39