DRAFT

Minutes of the Reliability Operations Subcommittee (ROS) Meeting – Webex Only

Thursday, July 11, 2024 – 9:30 a.m.

Attendance

ROS Representatives:

| Bevill, Rob | Texas-New Mexico Power (TNMP) |  | Alt. Rep. for Chris Gerety |
| --- | --- | --- | --- |
| Borkar, Sandeep | Lower Colorado River Authority (LCRA) |  |  |
| Bowen, Kenneth | CPS Energy |  |  |
| Burkhead, Brett | Calpine Corporation (Calpine) |  |  |
| Carter, Matt | Garland Power & Light (GP&L) |  |  |
| Cochran, Adam | Tenaska Power Services (Tenaska) |  |  |
| Cook, Kristin | Southern Power |  | Alt. Rep. for Chase Smith |
| Dillard, Mike | Austin Energy |  | Alt. Rep. for Imane Mrini |
| Fun, Meng | Chariot Energy |  |  |
| Hendrix, Chris | Demand Control 2 |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative (GSEC) |  |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Lutrick, Chris | Denton Municipal Electric (DME) |  |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |  |
| Miller, Alex | EDF Renewables |  |  |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |  |
| Reid, Mike | Air Liquide |  |  |
| Rich, Katie | Luminant Corporation (Luminant) |  |  |
| Schmitt, Jennifer | Rhythm Ops |  |  |
| Smith, Chase | Southern Power |  |  |
| Spalek, Matthew | AEP Service Corporation (AEPSC) |  |  |
| Thomas, Shane | Shell Energy North America (SENA) |  | Alt. Rep. for Resmi Surendran |
| Woitt, Wes | CenterPoint Energy (CNP) |  |  |

| - Guests: |  |  |
| --- | --- | --- |
| Amirazodi, Roozbeh | Got Rhythm |  |
| Anderson, Connor | AB Power Advisors |  |
| Archambault, Miah | Enel |  |
| Bailey, Robert | NRG |  |
| Bevill, Robert | TNMP |  |
| Blackburn, Don | Hunt |  |
| Breshears, Doug | Brazos |  |
| Bulzak, Jacob | Public Utility Commission of Texas (PUCT) |  |
| Buongiorno, Anna | Scout Clean Energy |  |
| Calcagni, Anthony | DC Energy |  |
| Carter. Cathy | GridAxon |  |
| Cheng, Yong | LCRA |  |
| Chwialkowski, Todd | EDF Renewables |  |
| Cox, Jason | EQ Energy Advisors |  |
| DeLeon, Seth | DME |  |
| Dharme, Neeraja | EDFT |  |
| Dillard, Michael | Austin Energy |  |
| Downey, Marty | Consultant/Luminant Corporation |  |
| Escamilla, Gerardo | CPS Energy |  |
| Evans, Doug | AEP |  |
| Fletcher, Jennifer | Sempra Infrastructure |  |
| Henson, Martha | Oncor |  |
| Hernandez, Rene | GVEC |  |
| Ho, Yenpo | Oncor |  |
| Holt, Blake | LCRA |  |
| Huynh, Thuy | Potomac Economics |  |
| Jablonski, Ward | MEPPI |  |
| Johnson, Stephen | DME |  |
| Jowlabar, Nicholas | RWE |  |
| Kandah, Amjed | Oncor |  |
| Koberlein, Paul | LP&L |  |
| Korde, Kshitij | NG Renewables |  |
| Koz, Brian | Wolframium |  |
| Lee, Jim | CNP |  |
| Lotter, Eric | GridMonitor |  |
| Matevosyan, Julia | ESIG |  |
| McChesney, Mark | Oncor |  |
| Morris, Sandy | WETT |  |
| Mulholland, Chad | NRG Energy |  |
| Oxendine, Helen | CPS Energy |  |
| Parvathaneni, Sirisha | Oncor |  |
| Preas, Dylan | LCRA TSC |  |
| Price, Mark | DC Energy |  |
| Pulla, Suma | Orsted |  |
| Rochelle, Jenni | CES |  |
| Sanchez, Manuel | Oncor |  |
| Shu, Tony | DC Energy |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Springer, Tyler | AEP |  |
| Tovar, Matt | Oncor |  |
| Trefny, Floyd | ERCOT Steel Mills |  |
| Turner, Lucas | STEC |  |
| Utomi, Samuel | Leeward Energy |  |
| Walker, Zach | Oncor |  |
| Wallin, Shane | DME |  |
| Wilson, Joe Dan | GSEC |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Xiao, Hong | Energy Exemplar |  |
| Zang, Hailing | TC Energy |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Arth, Matt |  |  |
| Avila, Nelson |  |  |
| Azeredo, Chris |  |  |
| Bigbee, Nathan |  |  |
| Blevins, Bill |  |  |
| Boren, Ann |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Cyphers, Darrell |  |  |
| Davarikia, Hamzeh |  |  |
| Devadhas Mohanadha, Thinesh |  |  |
| Du, Pengwei |  |  |
| Garcia, Freddy |  |  |
| Golen, Robert |  |  |
| Gonzalez, Ino |  |  |
| Gnanam, Prabhu |  |  |
| Du, Pengwei |  |  |
| Hanson, Pamela |  |  |
| Herrera, Shane |  |  |
| Hinojosa, Luis |  |  |
| Huang, Fred |  |  |
| Jenkins, Darrell |  |  |
| Kang, Sun Wook |  |  |
| King, Ryan |  |  |
| Koepke, Joel |  |  |
| Lee, Alex |  |  |
| Li, Ying |  |  |
| Luker, Bryan |  |  |
| Maggio, Dave |  |  |
| Mago, Nitika |  |  |
| Matlock, Robert |  |  |
| Meier, Eric |  |  |
| Phillips, Cory |  |  |
| Shanks, Magie |  |  |
| Sheets, Jarod |  |  |
| Smith, Ira |  |  |
| Springer, Agee |  |  |
| Wasik-Gutierrez, Erin |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the July 11, 2024 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Ms. Rich reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

- June 6, 2024

Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update

- Ms. Rich reviewed the disposition of items considered at the June 24, 2024 TAC meeting, highlighted the 2025 Ancillary Service Methodology discussion kick-off, and noted the Public Utility Commission of Texas (PUCT) Ancillary Services Study update and August 28, 2024 TAC Workshop for Ancillary Services Study.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the May 2024 Operations Report.

- System Planning Report

- Robert Golen reviewed the May 2024 System Planning Report.  Prabhu Gnanam highlighted discussion at the April 9, 2024 and May 14, 2024 Regional Planning Group (RPG) meetings regarding challenges with Generation assumptions and the request for stakeholder comments, summarized comment categories, and reviewed next steps to finalize the 2024 Regional Transmission Plan (RTP).  In consideration of the time constraints for 2024 changes, Mr. Gnanam offered to provide additional updates at future ROS meetings.  Mr. Gnanam encouraged participants attend the July 16, 2024 RPG meeting to further discuss the issues.

- Generic Transmission Constraint (GTC) Update

Yunzhi Cheng reviewed the Hamilton, Valley Area, and McCamey GTC limit updates.

Outage Coordination for Private Use Network (PUN) Resource Planned Outages

Chris Azeredo reviewed the challenges in outage coordination due to the increased number of registered PUNs, summarized the ERCOT mitigation options and impacts, and presented Next Steps.  In response to participants’ questions and concerns, Fred Huang reviewed the implementation timeline and offered to provide an update at the September 9, 2024 ROS meeting.

Urgency Votes(s) Vote (see Key Documents)

Nodal Operating Guide Revision Request (NOGRR) 265, Related to NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities

Ms. Rich noted the NOGRR265 and Nodal Protocol Revision Request (NPRR) 1238, Voluntary Registration of Loads with Curtailable Load Capabilities, discussion at the July 8, 2024 Large Flexible Load Task Force (LFLTF) meeting.  Chris Koenig provided an overview of NOGRR265, confirmed there was no longer a need for urgency, and requested that NOGRR265 be referred to the Operations Working Group (OWG) along with NPRR1238.  Participants discussed the issues, noted the 7/10/24 ERCOT comments to NOGRR265, and confirmed forthcoming additional clarifications from various parties.  Market Participants requested that OWG review the issues, including the appropriate trigger for deployment.  Ms. Rich noted these items could be considered for inclusion in the Combined Ballot.

NPRR1238 (see Key Documents)

This item was considered with NOGRR265.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

NPRR1229, Real-Time Constraint Management Plan Energy Payment

Lucas Turner provided an overview of NPRR1229, the 5/8/24 and 6/12/24 STEC comments, and highlighted the discussions at the May 9, 2024 and June 13, 2024 PRS meetings.  Market Participants noted the Settlement issues being considered at the Wholesale Market Subcommittee (WMS).  Ino Gonzalez stated that ERCOT Staff were developing a list of questions and concerns for review at the Wholesale Market Working Group (WMWG).  Market Participants requested additional time to review the issues after WMS concluded its review.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater

Bill Blevins provided an overview of NPRR1234 and the related Planning Guide Revision Request (PGRR) 115; highlighted differences in concepts in NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater, and the related PGRR111; noted ongoing discussions at LFLTF; and requested further review of the modeling issues in NPRR1234 by the Network Data Support Working Group (NDSWG) and further review of PGRR115 by the Planning Working Group.  Floyd Trefny reviewed the 6/26/24 ERCOT Steel Mills comments to NPRR1234 and 7/3/24 ERCOT Steel Mills comments to PGRR115.  Ms. Rich noted these items could be considered for inclusion in the Combined Ballot.

NPRR1235, Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service

Nitika Mago provided an overview of NPRR1235 and the related NOGRR264.  Participants requested further review of the issues by the Performance Disturbance Compliance Working Group (PDCWG).  Ms. Rich noted these items could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (see Key Documents)

Language Review

PGRR115, Related to NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater

This item was considered with NPRR1234.

NOGRR264, Related to NPRR1235, Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service

This item was considered with NPRR1235.

NOGRR265, Related to NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities

This item was considered above under Urgent Votes(s).

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR263, Clarification of Controllable Load Resource Primary Frequency Response Responsibilities

ROS took no action on these items.

Operations Working Group (OWG) (see Key Documents)

Tyler Springer reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

NPRR1221, Related to NOGRR262, Provisions for Operator-Controlled Manual Load Shed

NOGRR262, Provisions for Operator-Controlled Manual Load Shed

Mr. Springer highlighted NPRR1221 and NOGRR262 discussion at the June 20, 2024 OWG meeting, reviewed the 6/27/24 OWG comments to NOGRR262, and stated that OWG was in consensus to recommend ROS endorse NPRR221 as submitted and recommend approval of NOGRR262 as amended by the 6/27/24 OWG comments.  Ms. Rich noted these items could be considered for inclusion in the Combined Ballot.

PLWG (see Key Documents)

Dylan Preas reviewed PLWG activities.

PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

ROS took no action on this item.

Steady State Working Group (SSWG) (see Key Documents)

SSWG Procedure Manual

Zach Walker reviewed SSWG activities and presented the updated SSWG Procedure Manual for ROS consideration.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Wes Woitt moved to approve the Combined Ballot as follows:

- To approve the June 6, 2024 ROS meeting minutes as submitted

- To table NOGRR265 and refer the issue to OWG

- To request PRS to table NPRR1238 for further review by OWG

- To request PRS continue to table NPRR1229

- To request PRS continue to table NPRR1234 for further review by NDSWG

- To table PGRR115 and refer the issue to PLWG

- To request PRS continue to table NPRR1235 for further review by PDCWG

- To table NOGRR264 and refer the issue to PDCWG

- To endorse NPRR1221 as submitted

- To recommend approval of NOGRR262 as amended by the 6/27/24 OWG comments

- To approve the SSWG Procedure Manual as submitted

Chris Hendrix seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Black Start Working Group (BSWG) (see Key Documents)

This item was deferred to the August 1, 2024 ROS meeting.

Dynamics Working Group (DWG) (see Key Documents)

Paul Koberlein reviewed DWG activities, including collaborative efforts with the Inverter Based Resources Working Group (IBRWG) in drafting updates to the DWG Procedure Manual.

IBRWG (see Key Documents)

Julia Matevosyan reviewed IBRWG activities.

NDSWG

Gerardo Escamilla summarized NDSWG activities, including NPRR1234.

Operations Training Working Group (OTWG) (see Key Documents)

Manual Sanchez reviewed OTWG activities, noted the Black Start training dates of October 14, 2024 through November 21, 2024, and highlighted topics for the 2025 Operations Training Seminar.

Other Business (See Key Documents)

2025 Meeting Schedule

Participants reviewed the 2025 Meeting Schedule and did not object to the proposed ROS meeting dates.  Ms. Rich noted that PRS will finalize their 2025 PRS meeting dates at the July 18, 2024 PRS meeting and then ROS will finalize its meeting schedule at the August 1, 2024 ROS meeting.

Review Open Action Items List

- Participants reviewed the ROS Open Action Items List and the following completed item was removed:

- PGRR113, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations – ROS requested SSWG update the SSWG Procedure manual to clarify that Extended Action Plan (EAP) topology reconfigurations would be removed from SSWG cases, as recommended by PLWG.

No Report

- PDCWG

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Ms. Rich adjourned the July 11, 2024 ROS meeting at 11:23 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/07112024-ROS-Meeting-_-Webex