## Slide 1
Item 5: PRS Report
Diana Coleman
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
July 31, 2024

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1227, Related to RMGRR181, Alignment of Defined Term Usage and Resolution of Inconsistencies
NPRR1233, Modification of Weatherization Inspection Fees on the ERCOT Fee Schedule
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1217, Remove Verbal Dispatch Instruction (VDI) Requirement for Deployment and Recall of Load Resources and Emergency Response Service (ERS) Resources
  IA: Between $10K and $20K Priority 2024; Rank 4100
NPRR1231, FFSS Program Communication Improvements and Additional Clarifications
  IA: Less than $5K O&M Priority N/A; Rank N/A

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR1219, Methodology Revisions and New Definitions for the Report on Capacity, Demand and Reserves in the ERCOT Region (CDR) – URGENT
  IA: Between $50K and $75K Priority 2024; Rank 4110

## Slide 4: Appendix

## Slide 5: NPRR1217, Remove Verbal Dispatch Instruction (VDI) Requirement for Deployment and Recall of Load Resources and Emergency Response Service (ERS) Resources
Sponsor: ERCOT
Proposed Effective Date: Upon system implementation – Priority 2024; Rank 4100
Estimated Impacts: Between $10K and $20K
Revision Description: This NPRR removes the requirement for Load Resources and Emergency Response Service (ERS) Resources to be deployed using a Verbal Dispatch Instruction (VDI) from ERCOT and updates a reference in paragraph (3)(a) of Section 6.5.9.4.1, General Procedures Prior to EEA Operations, to be consistent with changes made in NPRR1176, Update to EEA Trigger Levels.
PRS Decision: On 6/13/24, PRS voted unanimously to recommend approval of NPRR1217 as submitted. On 7/18/24, PRS voted unanimously to endorse and forward to TAC the 6/13/24 PRS Report and 5/14/24 Revised Impact Analysis for NPRR1217 with a recommended priority of 2024 and rank of 4100.

## Slide 6: NPRR1219, Methodology Revisions and New Definitions for the Report on Capacity, Demand and Reserves in the ERCOT Region (CDR) – URGENT
Sponsor: ERCOT
Proposed Effective Date: Upon system implementation – Priority 2024; Rank 4110
Estimated Impacts: Between $50K and $75K
Revision Description: This NPRR changes the methodologies for preparation of the Report on Capacity, Demand, and Reserves in the ERCOT Region (“CDR”) and incorporates a report release schedule. Other changes include new definitions to support the methodology changes and revisions to address outdated terms and add clarity to the methodology descriptions. Finally, Section 16.5.4, Maintaining and Updating Resource Entity Information, is updated to require Switchable Generation Resource (SWGR) owners to provide information on unavailable SWGR units for all seasons rather than just for the summer and winter.
PRS Decision: On 7/18/24, PRS voted to grant NPRR1219 Urgent status. There were five opposing votes from the Consumer (Occidental), Independent Generator (ENGIE), and Investor-Owned Utility (IOU) (3) (Oncor, TNMP, CNP) Market Segments, and five abstentions from the Consumer (Residential), Independent Power Marketer (IPM) (Tenaska), and Municipal (3) (CPS Energy, GEUS, Austin Energy) Market Segments. PRS then voted to recommend approval of NPRR1219 as amended by the 7/9/24 ERCOT comments and to forward to TAC NPRR1219 and the 3/5/24 Impact Analysis with a recommended priority of 2024 and rank of 4110. There was one opposing vote from the Consumer (Occidental) Market Segment, and five abstentions from the Consumer (Residential), Independent Generator (2) (ENGIE, EDP Renewables), IPM (Tenaska), and Municipal (GEUS) Market Segments.

## Slide 7: NPRR1227, Related to RMGRR181, Alignment of Defined Term Usage and Resolution of Inconsistencies
Sponsor: ERCOT
Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval
Estimated Impacts: No impact
Revision Description: This NPRR aligns defined term usage in the Protocols with Section 2.1 and adds five definitions (‘Acquisition Transfer’, ‘Decision’, ‘Effective Date’, ‘Gaining Competitive Retailer (CR)’, and ‘Losing Competitive Retailer (CR)’) that were previously located in Retail Market Guide Sections 2.1, Definitions, and 7.11.2, Acquisition and Transfer of Customers from one Retail Electric Provider to Another. This NPRR also replaces the broadly titled terms ‘Decision’ and ‘Effective Date’ with the specific terms ‘Mass Transition Decision’, ‘Acquisition Transfer Decision’, ‘Mass Transition Effective Date’, and ‘Acquisition Transfer Effective Date’ to provide additional clarity. Finally, this NPRR expands the definitions of Gaining Competitive Retailer (CR) and Losing Competitive Retailer (CR) to apply beyond the Mass Transition and Acquisition Transfer processes.
PRS Decision: On 6/13/24, PRS voted unanimously to recommend approval of NPRR1227 as submitted. On 7/18/24, PRS voted unanimously to endorse and forward to TAC the 6/13/24 PRS Report and 4/30/24 Impact Analysis for NPRR1227.

## Slide 8: NPRR1231, FFSS Program Communication Improvements and Additional Clarifications
Sponsor: ERCOT
Proposed Effective Date: Upon system implementation
Estimated Impacts: Less than $5K (Operations & Maintenance (O&M))
Revision Description: This NPRR provides additional clarifications and improvements to the Firm Fuel Supply Service (FFSS) process.
PRS Decision: On 6/13/24, PRS voted unanimously to recommend approval of NPRR1231 as amended by the 6/12/24 ERCOT comments. On 7/18/24, PRS voted unanimously to endorse and forward to TAC the 6/13/24 PRS Report and 5/7/24 Impact Analysis for NPRR1231.

## Slide 9: NPRR1233, Modification of Weatherization Inspection Fees on the ERCOT Fee Schedule
Sponsor: ERCOT
Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval
Estimated Impacts: No impact
Revision Description: This NPRR adds a flat fee for federally owned generation units, and adjusts the weatherization inspection fee for Transmission Service Providers (TSPs).
PRS Decision: On 6/13/24, PRS voted unanimously to recommend approval of NPRR1233 as submitted. On 7/18/24, PRS voted unanimously to endorse and forward to TAC the 6/13/24 PRS Report and 5/28/24 Impact Analysis for NPRR1233.

## Slide 10: 2024 Release Targets – Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
January 1/25 | February 2/22 | March 3/28 | April 4/25 | May 5/30 | June 6/27
NPRR1092(b) PGRR098(a) ESR Telemetry Public API Enhancements | NPRR1132(a) RRGRR032 NOGRR249(b) NPRR1184(a) NPRR1026(b) NPRR1172(a) | NPRR1040 NOGRR247(a) NPRR1165 NPRR989(a) NPRR1038 NOGRR204(a) |  | SCR819 NPRR1111 Securitization Default Charge Supporting Data | NPRR1149 NPRR1186 NPRR1196 NPRR1121 NPRR1090 NPRR962 NPRR1139
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R4
R5
R6
NPRR989(a) – ESR tech. req.
NPRR1026(b) – SLF – Reporting
NPRR1092(b) – Limit RUC Opt-Out
NPRR1132(a) – RIOO portion
NPRR1172(a) – Phase 1 elements
NPRR1184(a) – Interest calcs
ü
ü
ü
ü
ü
ü
July 7/25 | August 8/22 | September 9/26 | October 10/24 | TX SET 5.0 11/10 | December 12/11-12/12
NPRR1002 RRGRR023 | NPRR1058 NPRR1131 SCR821 Forecast Presentation Platform (CDR rpts) SCR813 | OBDRR040 NPRR1002 RRGRR023 Forecast Presentation Platform (CDR rpts) | NPRR1183 | NPRR1095 SCR817 SCR823 RMGRR172 RMGRR168 RMGRR179 | PGRR088 PGRR094 NPRR1023
R7
R8
R10
R11
E
E
E
E
E
E
ü
ü
ü
ü
ü
ü
2/1
3/1
NS
NS
P
1/1
2/16
4/1
Various effective dates
2/26
E
E
I
3/11
NOGRR204(a) – ESR tech req
NOGRR247(a) – UFLS changes
NOGRR249(b) – MIS posting
PGRR098(a) – Section 4.1.1.8
R3
ü
ü
ü
ü
ü
ü
E
E
E
R9
TBD
6/1
P
E
E
E
ü
ü
ü
ü
ü
ü
ü
ü
Moving to future year