| 1. | Antitrust Admonition |
| --- | --- |
| 2. | Agenda Review |
| 3. | Review of PLWG Meeting Minutes (June 11) |
| 4. | General updates - TAC approved PGRR 106. - ROS referred PGRR 115 to PLWG. |
| 5. | PGRR 107 (NPRR 1180) – Inclusion of Forecasted Load in Planning Analyses - ERCOT submitted NPRR 1180 reply comments and PGRR 107 reply comments on July 15. Nathan Bigbee (ERCOT) reviewed the reply comments. - After discussion, Nathan Bigbee (ERCOT) said that ERCOT would submit reply comments to revise the definition of “Load” to “load” or “Load forecast” where appropriate. - Rodica Donaldson (EDF Renewables) – What is meaning of a “letter from a TDSP officer”? - Martha Henson (Oncor) – Officer-letter loads are high-confidence loads where a customer has shown significant interest & competence in developing that load. - Brian Hithersay (Brazos) – What is the consequence of officer-letter loads not materializing? - Martha Henson (Oncor) – Including an officer-letter load in planning cases and studies is only one step in a multi-step process. If an officer-letter load stalls, Oncor would withdraw the load from its officer-letter list and would not proceed with (for example) RPG project submissions or CCN applications. These additional steps disincentivize project development if the load does not materialize as expected. - Kristy Ashley (CES) – What checks-and-balances help ensure that officer-letter loads are not duplicative or excessive? - Martha Henson (Oncor) reiterated her prior answer. - Kristy Ashley (CES) – How does PGRR 107 and NPRR 1180 correspond to the modeling approach in the ERCOT Permian Basin Study? - Martha Henson (Oncor) – The Permian Basin Study was directed by legislation, so the comparison is not apt. - Rodica Donaldson (EDF Renewables) – Will these load definitions be rolled into the CDR? - Prabhu Gnanam (ERCOT) – These discussions are ongoing. - Sandeep Borkar (LCRA TSC) – It would be helpful if the proposed language specifically accounted for native load growth. - Prabhu Gnanam (ERCOT) – Native load growth could be captured as an officer-letter load. ERCOT intentionally drafted the language to be permissive and non-exhaustive. - Andrew Hamann (LCRA TSC) – What information does ERCOT expect TSPs to include with an RPG Project Submission to substantiate load? - Prabhu Gnanam (ERCOT) – TSPs would need to submit the FDA/FEA or an officer-letter to ERCOT when submitting an RPG project triggered or justified by a new load. - Blake Holt (LCRA) – What transparency or reporting requirements will be associated with Substantiated Load? - Nathan Bigbee (ERCOT) – ERCOT is not opposed to publicly reporting Substantiated Load provided that the reports do not disclose confidential information. - Brad Woods (TRE) – What prevents double-counting of Substantiated Load? - Prabhu Gnanam (ERCOT) – There are mechanisms to partially mitigate this risk, and ERCOT is still considering reporting or review mechanisms. - PLWG will table PGRR 107 (and NPRR 1180) for further discussion at the August meeting to allow time for additional comments & discussion, with the intention of sending PGRR 107 back to ROS at the Sept meeting. |
| 6. | PGRR 115 (NPRR 1234) (Slides) – Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater - Bill Blevins (ERCOT) reviewed PGRR 115 and NPRR 1234, which ERCOT submitted on May 28 to replace PGRR 111 and NPRR 1191. There was lengthy discussion. - Discussion included, but not limited to, the following items: - Load co-located with generation resources - QSA and GTC limits – loads will be incorporated into the QSA to test impact to GTC limits. - Commissioning plan/schedule needs to be up to date. - Stakeholder(s) request a high-level process flow and estimate of timeline. - ERCOT will preform final check of the studies. - PG Section 9.1 (1) (d) Requirement designed to provide best information on future Large Loads so that ERCOT can factor into resource adequacy. - PG Section 9.2.2 (1) (a) ERCOT will provide standardized format for Large Load Interconnection requests. - PG Section 9.2.5 (1) Large Loads must have a TO remote control disconnecting device to respond to a system fault or ERCOT instruction to disconnect. - ERCOT has a focus on steady state and dynamic stability studies, with less emphasis on short circuit studies. - At some point, interconnection study reports will be available to TSPs in RIOO, but not to load entities, although can consider posting redacted reports. - Per ERCOT, PGRR and NPRR requirements will be placed on new and existing loads. - Floyd Trefney (ERCOT Steel Mills) submitted reply comments on July 3. The primary concern of these comments is Section 9.2.5(1) remote-control disconnect requirements for existing large loads, particularly industrial facilities. ERCOT agree to follow-up with ERCOT Steel Mills. - In response to a question, Agee Springer (ERCOT) clarified that while large loads will be included in QSAs, ERCOT will not directly impose a consumption limit on a large load through the QSA or LLIS process. - PLWG will table PGRR 115 for further discussion at the August meeting to allow time for additional comments & discussion. |
| 7. | PGRR 117 – Addition of Resiliency Assessment and Criteria to Reflect PUCT Rule Changes - Robert Golen (ERCOT) said that ERCOT plans to submit the PGRR this week. |
| 8. | NERC Topics Roundtable: - Mina Turner (AEP) is on the drafting team for NERC CIP-014-4 (Slides) and plans to discuss the revised standard at a future PLWG meeting. - In June, Prabhu Gnanam (ERCOT) had said that ERCOT may also discuss implementation details for TPL-008-1 Transmission Planning Performance Requirements for Extreme Weather at a future PLWG meeting. |
| 9. | Review Open Action Items - ERCOT Congestion Cost Savings Test & NPRR 1070 – Planning Criteria for GTC Exit Solutions. Ping Yan (ERCOT) says that a draft PGRR is currently undergoing ERCOT and PUCT internal review. |
| 10. | Other business |
| 11. | Adjourn |

| Open Action Items | Responsible Party |
| --- | --- |
| Congestion Cost Test Implementation and NPRR 1070 | ERCOT Planning |

Attendees – In Person

| Jim Lee | CNP |
| --- | --- |
| Brad Schwarz | Sharyland |
| Monica Jha | Vistra |
| Andrew Hamann | LCRA TSC |
| Dylan Preas | LCRA TSC |
| David Withrow | AEP |
| Mina Turner | AEP |
| Julia Wagner | PUCT |
| Justin Loth | Oncor |
| Jared Gurley | Oncor |
| Harsh Naik | Oncor |
| Maribel Murillo | Oncor |
| Martha Hensen | Oncor |
| Montse Meadows | Oncor |
| Nelson Avila | ERCOT |
| Pengwei Du | ERCOT |
| Ping Yan | ERCOT |
| Prabhu Gnanam | ERCOT |
| Nathan Bigbee | ERCOT |
| Agee Springer | ERCOT |
| Bill Blevins | ERCOT |
| Julie Snitman | ERCOT |
| Robert Golen | ERCOT |

Attendees – Webex

| Aidan Tai |  |
| --- | --- |
| Amir Exir | LCRA TSC |
| Ana Julia |  |
| Bob Wittmeyer |  |
| Brad Bell | Solar Proponent |
| Brad Woods | Texas RE |
| Brian Hithersay | BEPC |
| Brian Koz |  |
| Bryan Zhang |  |
| Cathey Carter | GridAxon |
| Charles Aleman | Sharyland |
| Chenyan Guo |  |
| Christina Minchew | CTT |
| Conner Anderson | AB Power Advisors |
| Craig Wolf | RES |
| Dan |  |
| David Glenn |  |
| Debra Ponce |  |
| Donna Cavaliere |  |
| Doug Evans | AEP |
| Durga Mohapatra | SB Energy |
| Eduardo Olivarez |  |
| Eithar Nashawati | Oncor |
| Ethan Catoe | BTU |
| Eric Lotter | GridMonitor |
| Erin Wasik-Gutierrez | ERCOT |
| Fireflies.ai Notetaker |  |
| Floyd Trefny | ERCOT Steel Mills |
| Frank Horak |  |
| GH |  |
| Glenn Reed | AEP |
| Hong Xiao |  |
| Humberto Brano |  |
| Jenni Rochelle | CES |
| JG |  |
| Jianhong Yan |  |
| Jianpanah, Zahra |  |
| Jillian Huweart | APEX |
| John Poole |  |
| Joseph Lee |  |
| Joshua Rivers | PEC |
| Justin Cockrell |  |
| Ken Bowen | CPS |
| Katie Rich | Luminant |
| Ken Donohoo | OwlERC LLC |
| Kevin Hanson | National Grid Renewables |
| Kristy Ashley | CES |
| Kshitij Korde |  |
| Larisa Loyferman | CenterPoint Energy |
| Long Tran | STEC |
| Lucas | STEC |
| Madeline Chen |  |
| Malcolm Ainspan |  |
| Mark Dreyfus |  |
| Marty Downey |  |
| Mathew Hall |  |
| Mohammed Majidi | COP |
| Monica |  |
| Neeraja Dharme | EDFT |
| Pushkar Chhajed | ENEL |
| R Reader | EPROD |
| Raja Kakarla | CNP |
| Ramsey Cripe | Senergy |
| Regan Fink |  |
| Rob Bevill | TNMP |
| Rodica Donaldon |  |
| Ryan Aldridge | AB Power |
| Sam Senanayake | PGR |
| Samuel Utomi |  |
| Sandeep Bokar | LCRA TSC |
| Sam Morris | ERCOT |
| Sun Wook Khan | ERCOT |
| Senen Paule | Luminant Energy |
| Talha |  |
| Terrazas Marcos |  |
| Thuy Huynh |  |
| Tong Wang | AEP |
| Vincent DiCosimo |  |
| Wes William | Bryan Texas Utilities |
| Wes Woitt | CenterPoint Energy |
| Xiaoyu Wen |  |
| Yong |  |
| Zero Emission Grid |  |