## Slide 1
Item 5: PRS Report
Diana Coleman
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
August 28, 2024

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1221, Related to NOGRR262, Provisions for Operator Controlled Manual Load Shed
NPRR1236, RTC+B Modifications to RUC Capacity Short Calculations

## Slide 3: Appendix

## Slide 4: NPRR1221, Related to NOGRR262, Provisions for Operator Controlled Manual Load Shed
Sponsor: ERCOT
Proposed Effective Date: Upon implementation of Nodal Operating Guide Revision Request (NOGRR) 262, Provisions for Operator Controlled Manual Load Shed
Estimated Impacts: There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NOGRR262.
Revision Description: This NPRR aligns provisions regarding manual and automatic firm Load shed; clarifies the proper use and interplay of Under-Voltage Load Shed (UVLS), Under-Frequency Load Shed (UFLS), and manual Load shed; and addresses reliability concerns ERCOT has identified regarding the extent of Transmission Operators’ (TOs’) manual Load shed capabilities.
PRS Decision: On 7/18/24, PRS voted unanimously to recommend approval of NPRR1221 as submitted. On 8/8/24, PRS voted unanimously to endorse and forward to TAC the 7/18/24 PRS Report and 3/20/24 Impact Analysis for NPRR1221.

## Slide 5: NPRR1236, RTC+B Modifications to RUC Capacity Short Calculations
Sponsor: ERCOT
Proposed Effective Date: Upon implementation of PR447, Real-Time Co-Optimization (RTC)
Estimated Impacts: There are no additional impacts to this NPRR beyond what was captured in PR447.
Revision Description: This NPRR reflects the modifications addressed in the Real-Time Co-optimization Plus Batteries (RTC+B) Task Force whitepaper to the Reliability Unit Commitment (RUC) Capacity Short calculations. These modifications were discussed in RTC+B Task Force meetings on February 21, March 19, and April 10, 2024 as part of RTC+B Task Force Issue No. 17 and were endorsed by TAC on April 15, 2024. This NPRR addresses limitations in the current RUC Capacity Short calculations by considering Ancillary Service sub-types and changes to the calculation process involving Regulation Down Service (Reg-Down). This NPRR also addresses changes required to align Protocol language with the recently approved NPRR1204, Considerations of State of Charge with Real-Time Co-Optimization Implementation, as it relates to the RUC process.
PRS Decision: On 7/18/24, PRS voted unanimously to recommend approval of NPRR1236 as revised by PRS. On 8/8/24, PRS voted unanimously to endorse and forward to TAC the 7/18/24 PRS Report and 6/4/24 Impact Analysis for NPRR1236.

## Slide 6: 2024 Release Targets – Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
January 1/25 | February 2/22 | March 3/28 | April 4/25 | May 5/30 | June 6/27
NPRR1092(b) PGRR098(a) ESR Telemetry Public API Enhancements | NPRR1132(a) RRGRR032 NOGRR249(b) NPRR1184(a) NPRR1026(b) NPRR1172(a) | NPRR1040 NOGRR247(a) NPRR1165 NPRR989(a) NPRR1038 NOGRR204(a) |  | SCR819 NPRR1111 Securitization Default Charge Supporting Data | NPRR1149 NPRR1186 NPRR1196 NPRR1121 NPRR1090 NPRR962 NPRR1139
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R4
R5
R6
NPRR989(a) – ESR tech. req.
NPRR1026(b) – SLF – Reporting
NPRR1092(b) – Limit RUC Opt-Out
NPRR1132(a) – RIOO portion
NPRR1172(a) – RUC Process/Clawback
NPRR1172(b) – Mitigated Offer Cap
ü
ü
ü
ü
ü
ü
July 7/25 | August 8/22 | September 9/26 | October 10/24 | TX SET 5.0 11/10 | December 12/11-12/12
NPRR1002 RRGRR023 | NPRR1058 NPRR1131 NPRR1172(b) NPRR1186(b) OBDRR040 SCR821 | OBDRR040 Forecast Presentation Platform (CDR rpts) NPRR1002 RRGRR023 | NPRR1183 | NPRR1095 SCR817 SCR823 RMGRR172 RMGRR168 RMGRR179 | NPRR1183 PGRR088 PGRR094 NPRR1023
R7
R8
R10
R11
E
E
E
E
E
E
ü
ü
ü
ü
ü
ü
2/1
3/1
P
E
E
P
1/1
2/16
4/1
Various effective dates
2/26
3/11
NPRR1184(a) – Interest calcs
NPRR1186(b) – 60 Day Reports
NOGRR204(a) – ESR tech req
NOGRR247(a) – UFLS changes
NOGRR249(b) – MIS posting
PGRR098(a) – Section 4.1.1.8
R3
ü
ü
ü
ü
ü
ü
E
E
E
E
E
E
R9
TBD
6/1
E
E
E
ü
ü
ü
ü
ü
ü
ü
ü