Date:			August 28, 2024

To:			Technical Advisory Committee (TAC) Representatives

From:			Diana Coleman, Protocol Revision Subcommittee (PRS) Chair

Subject: 		Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR(s) recommended for approval by PRS: - NPRR1221, Related to NOGRR262, Provisions for Operator Controlled Manual Load Shed [ERCOT] - NPRR1236, RTC+B Modifications to RUC Capacity Short Calculations [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1221, Related to NOGRR262, Provisions for Operator Controlled Manual Load Shed Sponsor: ERCOT Proposed Effective Date: Upon implementation of Nodal Operating Guide Revision Request (NOGRR) 262, Provisions for Operator Controlled Manual Load Shed Estimated Impacts: There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NOGRR262. Revision Description: This NPRR aligns provisions regarding manual and automatic firm Load shed; clarifies the proper use and interplay of Under-Voltage Load Shed (UVLS), Under-Frequency Load Shed (UFLS), and manual Load shed; and addresses reliability concerns ERCOT has identified regarding the extent of Transmission Operators’ (TOs’) manual Load shed capabilities. PRS Decision: On 7/18/24, PRS voted unanimously to recommend approval of NPRR1221 as submitted. On 8/8/24, PRS voted unanimously to endorse and forward to TAC the 7/18/24 PRS Report and 3/20/24 Impact Analysis for NPRR1221. - NPRR1236, RTC+B Modifications to RUC Capacity Short Calculations Sponsor: ERCOT Proposed Effective Date: Upon implementation of PR447, Real-Time Co-Optimization (RTC) Estimated Impacts: There are no additional impacts to this NPRR beyond what was captured in PR447. Revision Description: This NPRR reflects the modifications addressed in the Real-Time Co-optimization Plus Batteries (RTC+B) Task Force whitepaper to the Reliability Unit Commitment (RUC) Capacity Short calculations. These modifications were discussed in RTC+B Task Force meetings on February 21, March 19, and April 10, 2024 as part of RTC+B Task Force Issue No. 17 and were endorsed by TAC on April 15, 2024. This NPRR addresses limitations in the current RUC Capacity Short calculations by considering Ancillary Service sub-types and changes to the calculation process involving Regulation Down Service (Reg-Down). This NPRR also addresses changes required to align Protocol language with the recently approved NPRR1204, Considerations of State of Charge with Real-Time Co-Optimization Implementation, as it relates to the RUC process. PRS Decision: On 7/18/24, PRS voted unanimously to recommend approval of NPRR1236 as revised by PRS. On 8/8/24, PRS voted unanimously to endorse and forward to TAC the 7/18/24 PRS Report and 6/4/24 Impact Analysis for NPRR1236. Revision Requests Rejected None Revision Requests Withdrawn - NPRR1232, Standing Deployment of ECRS in the Operating Hour for a Portion of ECRS that is Provided from SCED-Dispatchable Resources [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1188, Implement Nodal Dispatch and Energy Settlement for Controllable Load Resources [ERCOT] - NPRR1237, Retail Market Qualification Testing Requirements [CNP Energy] - NPRR1244, Related to NOGRR263, Clarification of Controllable Load Resource Primary Frequency Response Responsibilities [Priority Power] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1180, Inclusion of Forecasted Load in Planning Analyses [Oncor] - NPRR1200, Utilization of Calculated Values for Non-WSL for ESRs [NextEra Energy] - NPRR1202, Refundable Deposits for Large Load Interconnection Studies [Lancium] - NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk [Joint Sponsors] - NPRR1226, Demand Response Monitor [ERCOT Steel Mills] - NPRR1229, Real-Time Constraint Management Plan Energy Payment [STEC] - NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater [ERCOT] - NPRR1235, Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service [ERCOT] - NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities [GSEC] - NPRR1239, Access to Market Information [ERCOT] - NPRR1240, Access to Transmission Planning Information [ERCOT] - NPRR1241, Firm Fuel Supply Service (FFSS) Availability and Hourly Standby Fee [Luminant] - NPRR1242, Related to VCMRR042, SO2 and NOx Emission Index Prices Used in Verifiable Cost Calculations [Luminant] - NPRR1243, Revision to Requirements for Notice and Release of Protected Information or ECEII to Certain Governmental Authorities [ERCOT] - SCR826, ERCOT.com Enhancements [Residential Consumer] - SCR827, Grid Conditions Graph Addition for Operating Reserve Demand Curve (ORDC) Level [ACES] New Revision Requests Scheduled for Consideration at PRS - NPRR1245, Additional Clarifying Revisions to Real-Time Co-Optimization [ERCOT] - NPRR1246, Energy Storage Resource Terminology Alignment for the Single-Model Era [ERCOT] - NPRR1247, Incorporation of Congestion Cost Savings Test in Economic Evaluation of Transmission Projects [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr https://www.ercot.com/mktrules/issues/scr