## Slide 1
ERCOT Updates
Joel Koepke

## Slide 2: ERCOT Agenda
NDSWG Contact List Update Kickoff
  Email to be sent in coming weeks
  End of September completion goal
ERCOT Model Coordination Reminders
ERCOT Project Updates
Validation Changes to Support Node/Breaker Planning Models
NPRR1234
ICCP Handbook
Chronic Congestion Discussion

## Slide 3: Model Coordination Reminders
Use 'Message ISO' button instead of public comment when replying to ERCOT
  Public Comment was intended for use by ERCOT but is not used often
  Internal Comment if for each TSP to use
NOMCR Status emails should be received for statuses of:
  Additional Action Required
  Modeling Completed
Remove private job on submitted CR after Interim Period 2, 20 days before PLD

## Slide 4: Model Coordination Reminders
Use Model Auditing tab instead of creating a job to view the model
Before submitting ‘Modeling Completed’ CAMR, review the updates
To know if an Interim Update Request Form is needed, review the Interim Update Restriction List at https://www.ercot.com/gridinfo/transmission/opsys-change-schedule

## Slide 5: Project Updates
Active/Upcoming Projects
  Upgrade NMMS Application to CIM16 and SCR813 Implementation
    Scope
      Upgrades the NMMS database schema to CIM16
      Upgrades XML models and incremental files to CIM16
      Adds coordination confirmation prompt when jointly-rated equipment is modified
    Tentative timeline:
      Vendor to being database work “soon”
      ERCOT internal work to follow
      MOTE availability: Q4 2026
      MP Training: Q4 2026
      Go-Live: Q1 2027
  Upgrade to NMMS RHEL Operating System
    Upgrades the OS of additional NMMS systems
    No changes in MAGE functionality