## Slide 1: Revision Request Summary for 8/28/24 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
NPRR1221, Related to NOGRR262, Provisions for Operator Controlled Manual Load Shed | Regulatory Requirements | No impact | ERCOT supports approval of NPRR1221. ERCOT Staff has reviewed NPRR1221 and believes it provides a positive market impact by ensuring the required alignment between ERCOT and TOs during an EEA Level 3 Load shed event, and ensuring ERCOT and TOs understand their respective responsibilities during an EEA Level 3 firm Load shed event. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1221 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1221.
NPRR1236, RTC+B Modifications to RUC Capacity Short Calculations | General system and/or process improvement(s) | No impact (There are no additional impacts to this OBDRR beyond what was captured in PR447, Real-Time Co-Optimization (RTC).) | ERCOT supports approval of NPRR1236. ERCOT Staff has reviewed NPRR1236 and believes the market impact for NPRR1236 addresses limitations in the current RTC grey-boxed language for RUC Capacity Short calculations by considering Ancillary Service sub-types, changes to the calculation process involving Reg-Down, correction to bill determinant formulas, and SOC of ESRs in alignment with NPRR1204. The changes in this NPRR were anticipated by the RTC+B project and are already being incorporated in the design. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1236 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1236.
NPRR1227, Related to RMGRR181, Alignment of Defined Term Usage and Resolution of Inconsistencies | General system and/or process improvement(s) | No impact | ERCOT supports approval of NPRR1227. ERCOT Staff has reviewed Nodal Protocol Revision Request (NPRR) 1227 and believes that it provides a positive market impact by offering process improvements by relocating four, shared-use definitions from the Retail Market Guide to the Protocols; and by aligning defined term usage throughout the Protocols. | ERCOT Credit Staff and CFSG have reviewed NPRR1227 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1227.
OBDRR052, Related to NPRR1246, Energy Storage Resource Terminology Alignment for the Single-Model Era | General system and/or process improvement(s) | No impact (There are no additional impacts to this OBDRR beyond what was captured in the Impact Analysis for NPRR1246.) | Pending NPRR1246. | Not applicable. | Pending NPRR1246.
RMGRR181, Alignment of Defined Term Usage and Resolution of Inconsistencies | General system and/or process improvement(s) | No impact | ERCOT supports approval of RMGRR181. ERCOT Staff has reviewed Retail Market Guide Revision Request (RMGRR) 181 and believes that it provides a positive market impact by offering process improvements by relocating four, shared-use definitions from the Retail Market Guide to the Protocols; and by applying various, non-substantive alignment edits throughout the Retail Market Guide. | Not applicable. | IMM has no opinion on RMGRR181.
NOGRR262, Provisions for Operator-Controlled Manual Load Shed | Regulatory requirements | No impact | ERCOT supports approval of NOGRR262. ERCOT Staff has reviewed NOGRR262 and believes it provides a positive market impact by ensuring the required alignment between ERCOT and TOs during an Energy Emergency Alert (EEA) Level 3 Load shed event, and ensuring ERCOT and TOs understand their respective responsibilities during an EEA Level 3 firm Load shed event. | Not applicable. | IMM has no opinion on NOGRR262.

## Slide 2: Revision Request Summary for 8/28/24 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
OBDRR046, Related to NPRR1188, Implement Nodal Dispatch and Energy Settlement for Controllable Load Resources | ERCOT Board and/or PUCT Directive | No impact | Pending NPRR1188. | Not applicable | Pending NPRR1188
NPRR1215, Clarifications to the Day-Ahead Market (DAM) Energy-Only Offer Calculation | General system and/or process improvement(s) | No impact | ERCOT supports approval of NPRR1215. ERCOT Staff has reviewed NPRR1215 and believes the market impact for NPRR1215 is to clarify how ERCOT calculates credit exposure for bids and offers in the DAM. | ERCOT Credit Staff and CFSG have reviewed NPRR1215 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1215.