## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for August 2024

## Slide 2: Non-IRR GREDP < 85% – August 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 511 | 8 | 15 | 0.54 | 53.33
Unit 517 | 0 | 1 | 1.32 | 0.00

## Slide 3: IRR Summary – August 2024
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 86.35 | 68.51 | 87.02
GREDP Median (%) | 97.74 | 80.00 | 88.30
Average MW Error | 5.53 | 5.83 | 4.41
Median MW Error | 4.78 | 4.85 | 4.40
Total Intervals Scored | 17,915 | 7,244 | 4,881
100+ Intervals Scored | 47 | 337 | 22
Total Intervals Scored Average | 46.41 | 62.99 | 221.86

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – August 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1806 | 1839 | 6.44 | 98.21
Unit 2 | 843 | 851 | 9.02 | 99.06
Unit 4 | 632 | 662 | 1.96 | 95.47
Unit 6 | 510 | 531 | 3.43 | 96.05
Unit 7 | 374 | 378 | 8.24 | 98.94
Unit 8 | 366 | 377 | 5.79 | 97.08
Unit 9 | 361 | 363 | 5.59 | 99.45
Unit 11 | 336 | 343 | 5.65 | 97.96
Unit 15 | 245 | 256 | 5.09 | 95.70
Unit 16 | 246 | 250 | 3.81 | 98.40
Unit 17 | 244 | 244 | 4.64 | 100.00
Unit 19 | 239 | 242 | 4.62 | 98.76
Unit 20 | 207 | 215 | 10.27 | 96.28
Unit 23 | 183 | 189 | 5.08 | 96.83
Unit 24 | 172 | 179 | 3.49 | 96.09
Unit 25 | 174 | 178 | 7.98 | 97.75
Unit 30 | 127 | 129 | 2.39 | 98.45
Unit 31 | 124 | 124 | 1.64 | 100.00
Unit 33 | 121 | 122 | 10.76 | 99.18

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – August 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 34 | 115 | 119 | 4.19 | 96.64
Unit 36 | 116 | 118 | 8.72 | 98.31
Unit 42 | 107 | 110 | 5.17 | 97.27
Unit 43 | 108 | 109 | 4.37 | 99.08
Unit 44 | 108 | 109 | 4.45 | 99.08
Unit 46 | 108 | 109 | 7.39 | 99.08

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – August 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 625 | 802 | 2.73 | 77.93
Unit 5 | 556 | 619 | 2.38 | 89.82
Unit 10 | 338 | 356 | 4.08 | 94.94
Unit 12 | 253 | 277 | 6.32 | 91.34
Unit 13 | 238 | 273 | 1.11 | 87.18
Unit 14 | 239 | 264 | 7.56 | 90.53
Unit 18 | 181 | 242 | 1.39 | 74.79
Unit 21 | 186 | 206 | 4.75 | 90.29
Unit 22 | 138 | 201 | 3.15 | 68.66
Unit 26 | 148 | 176 | 4.56 | 84.09
Unit 27 | 139 | 162 | 5.71 | 85.80
Unit 28 | 125 | 152 | 5.70 | 82.24
Unit 29 | 116 | 130 | 3.51 | 89.23
Unit 32 | 116 | 124 | 9.21 | 93.55
Unit 35 | 113 | 119 | 7.06 | 94.96
Unit 37 | 110 | 116 | 4.49 | 94.83
Unit 38 | 92 | 115 | 5.16 | 80.00
Unit 39 | 96 | 114 | 4.31 | 84.21
Unit 40 | 105 | 111 | 3.02 | 94.59

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – August 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 41 | 92 | 110 | 2.72 | 83.64
Unit 45 | 103 | 109 | 5.23 | 94.50
Unit 47 | 90 | 103 | 2.89 | 87.38