## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Tyler Springer
HITE List Sub-Chair – Pushkar Chhajed
09/17/2024

## Slide 2: ERCOT Updates and System Operation Report
Unofficial Peaks Reported by ERCOT
August Peak Demand – 85,199 MW set on 8/20 at HE 18, 300 MW less than all time peak set last august
August Solar Penetration – 20,836 MW on 8/19 at 1430, new all time peak

## Slide 3: Texas Reliability Entity Report
Standard comment for PRC-029 IBR ride through comments due by sept 30.
Winter weather workshop on 10/2, virtual workshop, sign up on TRE website
9/18 is quarterly TRE board meeting, sign up on TRE website

## Slide 4: NPRR 1070 - Planning Criteria for GTC Exit Solutions
ERCOT is currently still working with PUC staff to finalize the language on the congestion cost savings criteria and does not have a specific timeline on the posting yet.
Remains tabled at OWG.

## Slide 5: NPRR 1238 - Voluntary Registration of Loads with Curtailable Load Capabilities
ONCOR Comments – filed 8/14/2024, OWG reached consensus on NPRR 1238.
ERCOT presentation on VECL’s answering the question of how load shed obligations will very depending on whether VECL’s (Voluntary Early Curtailment Load) are considered or not.
  For example in the 2027 SSWG case the example company would be .39 (VECL’s not considered) or 2.74 % (VECL’s considered) of the load shed obligation.

## Slide 6: NOGRR 265 – Related to NPRR 1238 Voluntary Registration of Loads with Curtailable Load Capabilities
ONCOR Comments – filed 8/14/2024, OWG reached consensus on NOGRR 265.

## Slide 7: OTWG Update
No Update

## Slide 8: Other Business
None.