## Slide 1
Potential Price Corrections for Operating Day August 20 ‘24 – Incorrect Recall of ERCOT Contingency Reserve Service (ECRS)
Matthew Young
Supervisor, Market Validation
Technical Advisory Committee (TAC)
September 19, 2024

## Slide 2: Background
On August 20, 2024, ERCOT became aware of an issue concerning the incorrect recall of ERCOT Contingency Reserve Service (ECRS). At 8:28:44 PM, ERCOT attempted to recall 500 megawatts (MW) of the 2,000 MW of ECRS that was then currently deployed. Instead, a software defect in the Energy Management System (EMS) User Interface caused all 2,000 MW of deployed ECRS to be recalled.
At the time of the recall, System Lambda was at $849.75/MWh. When Security-Constrained Economic Dispatch (SCED) ran at 8:30:02 PM, System Lambda spiked to $5,001/MWh. SCED ran again at 8:30:27 PM with the resulting System Lambda of $5,001/MWh.
ERCOT Operators corrected the deployment of ECRS to 1,500 MW at 8:30:48 PM, and SCED ran again at 8:32:00 PM resulting in a System Lambda of $284.64/MWh.
On August 28, 2024, around 10:30 AM, ERCOT implemented a fix to the EMS User Interface, preventing the issue from reoccurring.
Market Notice M-A082824-01 was issued on August 28, 2024, notifying the market of the issue and ERCOT’s intent, upon completion of impact analysis, to seek ERCOT Board of Directors (Board) approval for price correction as specified by ERCOT Protocol Section 6.3(7)(b) for the Real-Time Market (RTM).
Market Notice M-A082824-02 was issued on September 17, 2024, notifying the market of the price impact results and ERCOT’s intent to seek Board approval for price correction.

## Slide 3: RTM Impact Analysis
ERCOT Protocols Section 6.3(7)(b) requires that the absolute value impact to any single Counter-Party (CP) meet one of the following two criteria before seeking approval from the Board.
  2% and also greater than $20,000; or
  20% and also greater than $2,000.
ERCOT determined that Operating Day (OD) August 20, 2024, met criteria for significance for the RTM.
Operating Day | Counter-Parties meeting criteria in Protocol Section 6.3(7)(b)(i) | Counter-Parties meeting criteria in Protocol Section 6.3(7)(b)(ii)
8/20/2024 | 36 | 1

## Slide 4: RTM Impact Analysis
The table below has the maximum estimated absolute value impact to Counter-Parties:
Operating Day | Maximum Amount ($Thousands) | Maximum Percentage for Criteria (i)* | Maximum Percentage for Criteria (ii)**
8/20/2024 | $597.43 | 41.05% | 41.05%
* The maximum of percentage change to any single Counter-Party with impact more than $20,000.
** The maximum of percentage change to any single Counter-Party with impact more than $2,000.

## Slide 5: RTM Impact Analysis
The table below has the maximum estimated change in charges due to ERCOT. Negative amounts are increased payments to Market Participants; positive amounts are increased charges. The percent amount is the absolute value of the percent impact to the previously settlement net amount due to/from ERCOT.
Operating Day | Change in Statement Charges Due to ERCOT ($ thousands) | 
8/20/2024 | $(3,523.43) | 2.42%

## Slide 6: Next Steps
ERCOT will seek approval to correct RTM prices for Operating Day August 20, 2024, at the Reliability and Markets Committee meeting on October 9, 2024, and the Board meeting on October 10, 2024.