## Slide 1: Congestion Management Working Group - 9/23/2024 Meeting Update
October 7, 2024
Alexandra miller, chair

## Slide 2: SCR819 / NPRR1111 – NTE Implementation Monitoring and Impacts
The Goal of SCR819 was to improve control of flows over GTCs by limiting resources to not exceed their base point during SCED intervals when the GTC is binding
Was implemented in June 2024 and performance through the summer was monitored
Observed patterns of dispatch across four GTCs before and after implementation showed improvement in reducing the generation beyond setpoint, and some GTC limit margins of safety have been reduced a few percent
Oscillation in dispatch around the limit when incrementing the GTL is a phenomenon to be studied and further addressed, perhaps with smaller step changes
ERCOT needs further analysis and testing to provide more training and guidelines for control room operators
Continued monitoring through the fall period will provide more data when coincident wind production may be higher than the summer and there is room for potential future improvements to the current safety margins

## Slide 3: CRR Long Term Auction Solution Time, Transaction Limits
Highlighted increasing performance issues and risks in ERCOT CRR LTAS auctions due to rising bid volumes
Three resolution paths discussed:
  Administrative Guardrails: limiting numbers of transactions per time of use and/or per account holder
  Market Incentives: Increasing minimum point-to-point option bid price and/or bid fee for unawarded options
  Market Redesign: Removing multi-month bid functionality from LTA (44% of bids) and adjusting network model percentages
Stakeholders expressed concerns on potential unintended consequences of raising minimum bid price, and suggested looking for other ways to increase data transparency and eliminate motivation to participate in auction for data discovery
Next Steps for ERCOT:
  Study how discontinuing multi-month bids could improve performance
  Draft an NPRR to allow for administrative limits on transaction per time of use and bids per account holder

## Slide 4: NPRR 1214 Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk
ERCOT comments review
  Concerns on treatment of energy storage resources and controllable load resources
  Issues with modeling of DC Tie curtailments
  Implementation must be post RTC implementation
Sponsor update – draft redlines pending co-sponsors approvals
  Current use of indifference payment causes incentive incompatibility with dispatch instructions
  Inefficient price signals are problematic for price responsive resources and large flexible loads
  Examples showing specific impacts on both wind and thermal resources
  Acknowledges risks and resources needed for implementing before and after RTC+B
  Draft incorporates ERCOT feedback and addressed issues including WSRs and DC Tie curtailments
Draft redlines to be submitted and CMWG will discuss at next meeting

## Slide 5: Other Business
CMWG 2025 calendar
  meetings scheduled on Thursdays mid-month, typically the week following WMS
  Webex only, could be switched to in-person for select meetings