## Slide 1: NDSWG Report to ROS
Gerardo Escamilla-NDSWG Chair
Dec. 5, 2024

## Slide 2: NDSWG Meeting on Nov. 19, 2024
Tap lines: Modeling Zero Impedance Lines
Update on NMMS node breaker validation rules
Update on NMMS and CIM Upgrade Project
2025 Chair and Vice-Chair nominations
Other topics

## Slide 3: NDSWG Meeting Updates
Modeling zero impedance lines instead of series compensators for tap buses. Possible impact on state estimator
  There is no impact on the state estimator.
  If there is no impedance, the zero-impedance line would have to be modeled.
    Ratings should be included.
  It would also be on a case-by-case basis.
  The tap line can be modeled as a zero-impedance line without modeling another substation.
Update on NMMS node breaker validation rules.
  Mage template would pre-populated to “1” be populated.
  NDSWG is expected to work with the planning group.
  ERCOT sent TSPs bulk PSSEID to be populated and submitted by Friday 11/22.

## Slide 4: NDSWG Meeting Updates
Update on NMMS and CIM Upgrade Project
  The go-live date for CIM16 is first quarter of 2027.
  The CIM model would be available in the full redacted format.
2025 Chair and Vice-Chair nominations
  Chair – Phil Hoffer (AEP)
  Vice-Chair – Teddi Flessner (STEC)
Other topics
  Discuss NPRR1234 on the December 12/17 NDSWG meeting.

## Slide 5
Questions