## Slide 1: Planning Working Group Report
to
The Reliability and Operations Subcommittee
Dylan Preas, PLWG Chair
Mina Turner, PLWG Vice-Chair
December 5, 2024

## Slide 2: PLWG Update Nov 12 Meeting
PGRR115 (related to NPRR1234) – Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater
  ERCOT reviewed reply comments to PGRR 115 (dated Nov 11, 2024) and NPRR 1234 (dated Nov 11, 2024).
  Discussion included the potential overlap of PGRR 115 and the new PGRR 122, with questions related to the 1000 MW total load loss limit in PRGRR 122.
  PLWG tabled PGRR115 for further discussion at the December meeting.

## Slide 3: PLWG Update Nov 12 Meeting
PGRR119 – Stability Constraint Modeling Assumptions in the Regional Transmission Plan
  ERCOT PGRR 119 formalizes the existing practice in which ERCOT applies a reliability margin (e.g., 10 percent) to stability constraints when ERCOT models a stability constraint in RTP reliability and economic cases.
  PLWG reviewed OPUC Nov 6 comments.
  PLWG reached consensus on the original version of PGRR 119 submitted by ERCOT on Sept 9, 2024.

## Slide 4: PLWG Update Nov 12 Meeting
PGRR120 – SSO Prevention for Generator Interconnection
  PGRR 120 will prohibit future generation resources from interconnecting on a series-compensated circuit such that an N-1 contingency event would cause the generation to become radial to a series capacitor.
  ERCOT presented on overview of the draft revision request.
  Discussion was related to the SSO study process, OEM technology to mitigate the affects of SSO, and recent SSO events impacting multiple generation resources.
  PLWG tabled PGRR 120 pending further discussion at the December meeting.

## Slide 5: PLWG Update Nov 12 Meeting
NERC Topics Roundtable
  Mina Turner (AEP) is on the drafting team for NERC CIP-014-4 and plans to discuss the revised standard at a future PLWG meeting.
  Future topics related to NERC TPL-008-1 Transmission Planning Performance Requirements for Extreme Weather.

## Slide 6: PLWG Update Nov 12 Meeting
Review use of “Load” in the Planning Guide, revise as needed.
  Align the use of the terms “load” and “Load” in the Planning Guide with the defined term in Protocol Section 2.
  Action plan is to take up one section of the Planning Guide at each meeting; seeking a sponsor the oversee the revision request.
  PLWG will take up this action item at the December meeting.
Open Action Item(s)

## Slide 7: Questions?