## Slide 1
NPRR for RTC+B policy issues
Matt Mereness
RTCBTF
December 11, 2024

## Slide 2: Parameters/Policy Needing NPRR
ERCOT will work with RTCBTF to sponsor a single NPRR to incorporate the TAC- and Board-approved items and values into the Protocols:
AS Proxy Offer Floors
Ramp Rate Sharing
ASDCs for RUC
Ancillary Services Duration Requirements (State of Charge)

## Slide 3: Parameters/Policy Needing NPRR
AS Proxy Offer Floors- Dave leading discussion
  Grey-boxed Protocol 6.5.7.3 (5) (d) Proxy Ancillary Service Offer price floors shall be approved by TAC and posted on the ERCOT website.
  Targeting Sept-Dec 2024
    On agenda today (also interdependency with IMM ASDC discussion)

## Slide 4: Parameters/Policy Needing NPRR
Scaling Factors/Ramp Rate Sharing- Abhi leading discussion
  Note this was not a TAC-approved item, rather a loose-end to confirm, and RTCBTF provided feedback that protocols would be best.
  Targeting discussion Sept 2024-Dec 2024
Potentially additional language in grey-boxed Section 6.5.7.3 (12) grey box
(12) SCED will enforce Resource-specific Ancillary Service constraints to ensure that Ancillary Service awards are aligned with a Resource’s qualifications and telemetered Ancillary Service capabilities.
  A scaling factor of 5/7 shall be used for Regulation Up award when ensuring that the SCED Base Point plus the product of this scaling factor and the Regulation Up award does not exceed HDL
  A scaling factor of 5/7 shall be used for Regulation Down award when ensuring that the SCED Base Point minus the product of this scaling factor and the Regulation Down award does not go below LDL

## Slide 5: Parameters/Policy Needing NPRR
ASDCs for RUC
  Targeting Dec 2024 – Feb 2025 (may move a month later)
  TBD, likely Protocol section 5.5.2
Ancillary Services Duration Requirements (State of Charge)
  Targeting Jan-Feb/March 2025
  Revisit and/or confirm current posture of AS duration requirements
    NPRR1096- Require Sustained Two-Hour Capability for ECRS and Four-Hour Capability for Non-Spin
    NPRR1186- Improvements Prior to the RTC+B Project for Better ESR State of Charge Awareness, Accounting, and Monitoring

## Slide 6: Timeline for NPRR
Timeline
  ERCOT will frame up the applicable sections of protocols and file NPRR in January 2025
  In parallel, RTCBTF can be vetting the values and filling in the blanks/values
  MP can document positions in NPRR formal comments
  Target completing RTCBTF analysis by March to then move NPRR though stakeholder process.
  Best before trials start in early May 2025):
    RTCBTF discussions in meetings (Nov2024-Feb2024)
    Potentially add a RTCBTF meeting in early March
    PRS Approval March 12, 2025 (assumes Urgent status)
    TAC approval March 26, 2025
    Board approval April 8, 2025
    PUCT consideration May 15, 2025