- Summary of Planning Guide Revisions

- Effective:  December 12, 2024

Section 3:

PGRR108 – Related to NPRR1183, ECEII Definition Clarification and Updates to Posting Rules for Certain Documents without ECEII

This Planning Guide Revision Request (PGRR) reflects the current practice of posting versions of the Regional Transmission Plan and versions of Geomagnetic Disturbance (GMD) assessments, correspondingly updates the data sets in paragraph (2) of Section 7.1, Planning Data and Information, and generally updates posting locations from “Public” to “ERCOT website”.

Revised Subsections:  3.1.1.2 and 3.1.8 [unboxed due to system implementation of NPRR1183]

Section 5:

PGRR082 – Revise Section 5 and Establish Small Generation Interconnection Process

This Planning Guide Revision Request (PGRR) creates a new interconnection process for generators and generator modifications that are less than ten MW in size.  This PGRR also extends the generator interconnection process to apply to distribution-connected Generation Resources and Settlement Only Generators (SOGs), and clarifies the roles of ERCOT and Transmission and/or Distribution Service Providers (TDSPs) in interconnecting these generators, and reorganizes Section 5, Generator Interconnection or Modification, eliminates duplicative language, and provides further clarifications of existing requirements.

Revised Subsection:  5.2.4 [unboxed due to system implementation]

Section 7:

PGRR108 – Related to NPRR1183, ECEII Definition Clarification and Updates to Posting Rules for Certain Documents without ECEII

See Section 3 above.

Revised Subsection:  7.1 [unboxed due to system implementation of NPRR1183]

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

Revised Subsections:  3.1.8, 5.2.4, 5.2.5 and 7.1